## Major Event Days
Major Event Days (MEDs) prior to and including March 31, 2021 were determined based on IEEE Std 1366-2012 methodology. | 0 | 0 | 0
Major Event Days (MEDs) from April 1, 2021 and forward are determined based on an adjusted IEEE Std 1366 methodology. (Docket No. 2019-0110, Decision and Order No. 37600, issued on February 2, 2021, https://shareus11.springcm.com/Public/DownloadPdf/25256/8402f293-820d-ee11-b83b-48df377ef808/6dc37d18-690e-ee11-b83b-48df377ef808) | 0 | 0 | 0
MEDs are excluded from normalized indices. MEDs for the most recent eight quarters are listed here. | 0 | 0 | 0
0 | 0 | 0 | 0
Quarter | Hawaiian Electric Company/Oahu | Hawaii Electric Light Company/Hawaii Island | Maui Electric/Maui County
Q1-2022 | 3/1/2022: deteriorated T&D equipment. | None | 1/17/2022: T&D equipment failed (Lāna‘i only). 3/15/2022: underfrequency load shed when a generator tripped offline (Lāna‘i only).
Q2-2022 | None | None | 4/21/2022: unknown cause that affected the T&D system (Lāna‘i only).
Q3-2022 | None | None | 8/23/2022: substation equipment failures and underfrequency load shed (Maui only).
Q4-2022 | 12/19/2022: various vegetation and weather-related interruptions affected Oahu. | 12/19/2022: various vegetation and weather-related interruptions. 12/20/2022: various tree-related interruptions during high winds. | 12/19/2022: various vegetation and weather-related interruptions (Maui only).
Q1-2023 | 2/9/2023: various weather and vegetation-related interruptions. 3/8/2023: various wind-related interruptions. | 3/8/2023: various vegetation and weather-related interruptions during Flood and High Wind Advisory/Warning. | 2/3/2023: underfrequency load shed when generators tripped offline (Lāna‘i only). 3/2/2023: a large tree that fell during heavy rain and wind (Lāna‘i only).
Q2-2023 | 4/19/2023: various wind-related interruptions and unknown causes. | None | None
Q3-2023 | 8/8/2023: various vegetation, weather, and equipment-related interruptions. | None | 8/1/2023: a large tree fell during high winds (Maui only). 8/7/2023: various vegetation-related interruptions during high winds (Maui only). 8/8/2023: various weather and vegetation-related interruptions during very high winds (Maui only). 8/11/2023: forced interruption as a result of fire under conductors (Maui only).
Q4-2023 | None | None | 11/28/2023: underfrequency load shed when a generator tripped offline (Lāna‘i only). 12/14/2023: various vegetation-related interruptions during high winds (Lāna‘i only).
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0

## MAIFI Normalized
Momentary Average Interruption Frequency Index (MAIFI)
With Normalization (# of Interruptions)
Annual MAIFI Index
|  | O‘ahu | Maui County | Hawai‘i Island
| 2010 | 1.676 | 1.641 | 0.823
| 2011 | 3.209 | 1.988 | 1.045
| 2012 | 1.869 | 2.22 | 0.907
| 2013 | 1.817 | 1.068 | 1.465
| 2014 | 2.205 | 1.146 | 0.926
| 2015 | 3.641 | 2.61 | 3.312
| 2016 | 2.431 | 1.395 | 2.585
| 2017 | 3.027 | 1.894 | 2.543
| 2018 | 2.814 | 1.627 | 2.456
| 2019 | 3.3 | 2.066 | 1.498
| 2020 | 2.357 | 1.534 | 2.278
| 2021 | 2.708 | 1.852 | 2.86
| 2022 | 2.285 | 1.282 | 2.697
| 2023 | 2.57 | 0.918 | 1.809
Quarterly MAIFI Index
|  | O‘ahu | Maui County | Hawai‘i Island
2019 | Q1-2019 | 0.64163 | 0.89068 | 0.49239
| Q2-2019 | 1.0071 | 0.24549 | 0.34071
| Q3-2019 | 0.88195 | 0.21905 | 0.27605
| Q4-2019 | 0.76925 | 0.71106 | 0.38864
2020 | Q1-2020 | 0.69062 | 0.79483 | 0.60731
| Q2-2020 | 0.61851 | 0.24454 | 0.54864
| Q3-2020 | 0.68499 | 0.30659 | 0.59943
| Q4-2020 | 0.36337 | 0.19003 | 0.52283
2021 | Q1-2021 | 0.63412 | 0.60864 | 0.76775
| Q2-2021 | 0.66416 | 0.21902 | 1.0213
| Q3-2021 | 0.9115 | 0.36488 | 0.42641
| Q4-2021 | 0.49804 | 0.65824 | 0.64749
2022 | Q1-2022 | 0.42953 | 0.29287 | 0.29942
| Q2-2022 | 0.58648 | 0.055779 | 0.74632
| Q3-2022 | 0.37035 | 0.12955 | 0.65583
| Q4-2022 | 0.89922 | 0.80372 | 0.99442
2023 | Q1-2023 | 1.1002 | 0.65635 | 0.82113
| Q2-2023 | 0.60396 | 0.059412 | 0.2962
| Q3-2023 | 0.46118 | 0.092912 | 0.39464
| Q4-2023 | 0.40588 | 0.10552 | 0.29764

## MAIFI Non Normalized
Momentary Average Interruption Frequency Index (MAIFI)
Non-Normalized (# of Interruptions)
Annual MAIFI Index
|  | O‘ahu | Maui County | Hawai‘i Island
| 2010 | 1.731 | 1.641 | 0.903
| 2011 | 3.522 | 2.097 | 1.045
| 2012 | 1.951 | 2.237 | 0.907
| 2013 | 1.876 | 1.366 | 1.499
| 2014 | 2.205 | 1.375 | 1.174
| 2015 | 4.394 | 4.348 | 4.107
| 2016 | 2.823 | 1.419 | 2.783
| 2017 | 3.977 | 2.069 | 2.571
| 2018 | 3.125 | 2.356 | 2.456
| 2019 | 4.316 | 2.577 | 1.87
| 2020 | 2.665 | 1.625 | 2.278
| 2021 | 3.168 | 2.471 | 3.611
| 2022 | 2.452 | 1.437 | 3.336
| 2023 | 3.378 | 1.462 | 1.938
Quarterly MAIFI Index
|  | O‘ahu | Maui County | Hawai‘i Island
2019 | Q1-2019 | 1.071 | 1.3788 | 0.75926
| Q2-2019 | 1.0071 | 0.24549 | 0.34071
| Q3-2019 | 0.88195 | 0.21905 | 0.38162
| Q4-2019 | 1.3559 | 0.73464 | 0.38864
2020 | Q1-2020 | 0.9048 | 0.79483 | 0.60731
| Q2-2020 | 0.61851 | 0.24454 | 0.54864
| Q3-2020 | 0.68499 | 0.30659 | 0.59943
| Q4-2020 | 0.45675 | 0.28089 | 0.52283
2021 | Q1-2021 | 0.86335 | 0.60864 | 0.76775
| Q2-2021 | 0.66416 | 0.21902 | 1.0213
| Q3-2021 | 0.9115 | 0.36488 | 0.42641
| Q4-2021 | 0.72915 | 1.277 | 1.3958
2022 | Q1-2022 | 0.42953 | 0.29287 | 0.29942
| Q2-2022 | 0.58648 | 0.055779 | 0.74632
| Q3-2022 | 0.37035 | 0.19269 | 0.65583
| Q4-2022 | 1.0668 | 0.89522 | 1.6314
2023 | Q1-2023 | 1.5617 | 0.66146 | 0.95043
| Q2-2023 | 0.75642 | 0.059412 | 0.2962
| Q3-2023 | 0.65524 | 0.6333 | 0.39464
| Q4-2023 | 0.40588 | 0.10552 | 0.29764