## Major Event Days
Major Event Days (MEDs) prior to and including March 31, 2021 were determined based on IEEE Std 1366-2012 methodology. | 0 | 0 | 0
Major Event Days (MEDs) from April 1, 2021 and forward are determined based on an adjusted IEEE Std 1366 methodology. (Docket No. 2019-0110, Decision and Order No. 37600, issued on February 2, 2021, https://dms.puc.hawaii.gov/dms/DocumentViewer?pid=A1001001A21B02B15413D00151) | 0 | 0 | 0
MEDs are excluded from normalized indices. MEDs for the most recent eight quarters are listed here. | 0 | 0 | 0
0 | 0 | 0 | 0
Quarter | Hawaiian Electric Company/Oahu | Hawaii Electric Light Company/Hawaii Island | Maui Electric/Maui County
Q3-2021 | 8/21/2021: bird in conductors and faulty equipment operation. | 7/29/2021: scheduled interruption to replace multiple poles on a transmission circuit. | None
Q4-2021 | 12/5/2021: weather-related interruptions. 12/6/2021: weather-related interruptions. | 12/5/2021: tree-related outages affecting various parts of Hawai‘i Island during high winds. 12/6/2021: tree-related interruptions during high winds. 12/16/2021: a tree fell on transmission circuit conductors. | 11/29/2021: T&D equipment failed (Maui only). 12/5/2021: various weather-related interruptions (Maui only). 12/7/2021: T&D equipment failed (Maui only).
Q1-2022 | 3/1/2022: deteriorated T&D equipment. | None | 1/17/2022: T&D equipment failed (Lanai only). 3/15/2022: underfrequency load shed when a generator tripped offline (Lanai only).
Q2-2022 | None | None | 4/21/2022: unknown cause that affected the T&D system (Lanai only).
Q3-2022 | None | None | 8/23/2022: substation equipment failures and underfrequency load shed (Maui only).
Q4-2022 | 12/19/2022: various vegetation and weather-related interruptions affected Oahu. | 12/19/2022: various vegetation and weather-related interruptions. 12/20/2022: various tree-related interruptions during high winds. | 12/19/2022: various vegetation and weather-related interruptions (Maui only).
Q1-2023 | 2/9/2023: various weather and vegetation-related interruptions. 3/8/2023: various wind-related interruptions. | 3/8/2023: various vegetation and weather-related interruptions during Flood and High Wind Advisory/Warning. | 2/3/2023: underfrequency load shed when generators tripped offline (Lanai only). 3/2/2023: a large tree that fell during heavy rain and wind (Lanai only).
Q2-2023 | 4/19/2023: various wind-related interruptions and unknown causes. | None | None
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0

## CAIDI Normalized
Customer Average Interruption Duration Index (CAIDI)
With Normalization (In Minutes)
Annual CAIDI Index
|  | O‘ahu | Maui County | Hawai‘i Island
| 2010 | 93.47 | 53.81 | 55.25
| 2011 | 98.66 | 70.55 | 69.49
| 2012 | 95.18 | 72.81 | 71.14
| 2013 | 88.98 | 76.68 | 44.84
| 2014 | 83.83 | 68.35 | 63.26
| 2015 | 68.35 | 82.46 | 67.04
| 2016 | 83.04 | 84.05 | 66.17
| 2017 | 83.97 | 91.13 | 89.13
| 2018 | 89.34 | 90.28 | 90.87
| 2019 | 94.21 | 77.25 | 88.42
| 2020 | 89.33 | 96.49 | 70.78
| 2021 | 86.64 | 116.45 | 70.28
| 2022 | 110.67 | 104.32 | 60.55
Quarterly CAIDI Index
|  | O‘ahu | Maui County | Hawai‘i Island
2019 | Q1-2019 | 97.9603 | 105.6406 | 88.8099
| Q2-2019 | 88.2841 | 80.677 | 106.3283
| Q3-2019 | 81.3166 | 57.5693 | 89.7155
| Q4-2019 | 109.0822 | 71.5656 | 80.7804
2020 | Q1-2020 | 93.8432 | 107.1886 | 114.2847
| Q2-2020 | 70.9 | 65.4229 | 62.7033
| Q3-2020 | 87.3545 | 91.6962 | 33.523
| Q4-2020 | 108.5358 | 132.9881 | 132.9456
2021 | Q1-2021 | 76.8599 | 112.3216 | 121.0225
| Q2-2021 | 77.6284 | 101.3194 | 38.5619
| Q3-2021 | 85.1819 | 124.1271 | 85.9378
| Q4-2021 | 120.3971 | 122.1282 | 73.6716
2022 | Q1-2022 | 112.0618 | 94.7791 | 107.9091
| Q2-2022 | 149.4434 | 99.907 | 66.6043
| Q3-2022 | 94.7192 | 93.9564 | 54.3899
| Q4-2022 | 100.7682 | 120.8805 | 53.8105
2023 | Q1-2023 | 135.5736 | 107.7107 | 55.5087
| Q2-2023 | 106.6767 | 90.5622 | 136.569
-
-

## CAIDI Non Normalized
Customer Average Interruption Duration Index (CAIDI)
Non-Normalized (In Minutes)
Annual CAIDI Index
|  | O‘ahu | Maui County | Hawai‘i Island
| 2010 | 96.81 | 53.81 | 53.44
| 2011 | 154.3 | 76.62 | 69.49
| 2012 | 87.04 | 77.81 | 71.14
| 2013 | 95.67 | 98.89 | 63.43
| 2014 | 83.83 | 74.83 | 243.48
| 2015 | 79.51 | 149.77 | 115.03
| 2016 | 84.12 | 93.39 | 75.71
| 2017 | 99.05 | 237.84 | 104.36
| 2018 | 93.04 | 141.59 | 90.87
| 2019 | 118.96 | 106.82 | 82.51
| 2020 | 101.9 | 124.42 | 70.78
| 2021 | 96.32 | 248.76 | 150.74
| 2022 | 132.41 | 175.36 | 83.59
Quarterly CAIDI Index
|  | O‘ahu | Maui County | Hawai‘i Island
2019 | Q1-2019 | 130.2358 | 147.9969 | 100.3488
| Q2-2019 | 88.2841 | 80.677 | 106.3283
| Q3-2019 | 81.3166 | 57.5693 | 59.13
| Q4-2019 | 148.648 | 96.5245 | 80.7804
2020 | Q1-2020 | 118.0918 | 107.1886 | 114.2847
| Q2-2020 | 70.9 | 65.4229 | 62.7033
| Q3-2020 | 87.3545 | 91.6962 | 33.523
| Q4-2020 | 109.8845 | 225.6609 | 132.9456
2021 | Q1-2021 | 84.665 | 112.3216 | 121.0225
| Q2-2021 | 77.6284 | 95.6015 | 38.5619
| Q3-2021 | 91.3224 | 124.1271 | 113.403
| Q4-2021 | 150.9497 | 351.1005 | 246.1558
2022 | Q1-2022 | 191.9095 | 94.1921 | 107.9091
| Q2-2022 | 149.4434 | 99.7379 | 66.6043
| Q3-2022 | 94.7192 | 229.2805 | 54.3899
| Q4-2022 | 111.9108 | 164.4976 | 103.8894
2023 | Q1-2023 | 153.546 | 107.1554 | 75.0309
| Q2-2023 | 148.8129 | 90.5622 | 136.569
-
-