## SAIDI Normalized
System Average Interruption Duration Index (SAIDI)
With Normalization (In Minutes)
Annual SAIDI Index
| O‘ahu | Maui County | Hawai‘i Island
2010 | 105.77 | 91.12 | 116.56
2011 | 116.59 | 149.14 | 178.47
2012 | 105.71 | 144.17 | 138.53
2013 | 108.24 | 121.87 | 126.64
2014 | 107.3 | 144.83 | 172.43
2015 | 99.34 | 134.03 | 154.08
2016 | 83.24 | 135.18 | 145.12
2017 | 96.58 | 150.62 | 135.05
2018 | 111.94 | 228.04 | 230.71
2019 | 104.13 | 158.42 | 164.86
2020 | 81.62 | 166.43 | 128.76
2021 | 106.79 | 156.71 | 161.56
2022 | 99.65 | 134.85 | 193.6
Quarterly SAIDI Index
|  |  | O‘ahu | Maui County | Hawai‘i Island
| 2019 | Q1-2019 | 28.6578 | 54.4091 | 50.0469
|  | Q2-2019 | 25.278 | 24.8214 | 21.6185
|  | Q3-2019 | 21.1813 | 35.5925 | 45.6517
|  | Q4-2019 | 29.0108 | 43.6053 | 47.5
| 2020 | Q1-2020 | 28.8293 | 62.8188 | 34.8136
|  | Q2-2020 | 18.5415 | 35.6069 | 30.937
|  | Q3-2020 | 13.2337 | 24.7456 | 24.494
|  | Q4-2020 | 21.0186 | 43.3391 | 38.5317
| 2021 | Q1-2021 | 35.5175 | 35.0147 | 48.3663
|  | Q2-2021 | 19.426 | 24.8915 | 35.4402
|  | Q3-2021 | 26.1809 | 32.7059 | 38.2607
|  | Q4-2021 | 25.6835 | 64.0506 | 39.5167
| 2022 | Q1-2022 | 20.8724 | 37.1187 | 21.4279
|  | Q2-2022 | 26.1266 | 21.6433 | 53.7434
|  | Q3-2022 | 26.7048 | 23.2245 | 47.6862
|  | Q4-2022 | 25.9478 | 52.8496 | 70.6589
| 2023 | Q1-2023 | 37.1852 | 98.3702 | 60.5298
|  | Q2-2023 | 25.6767 | 30.6545 | 21.2517
-
-

## SAIDI Non Normalized
System Average Interruption Duration Index (SAIDI)
Non-Normalized (In Minutes)
Annual SAIDI Index
|  | O‘ahu | Maui County | Hawai‘i Island
| 2010 | 114.42 | 91.12 | 153.36
| 2011 | 254.18 | 185.09 | 178.47
| 2012 | 113.51 | 217.16 | 138.53
| 2013 | 121.28 | 191.15 | 198.14
| 2014 | 107.3 | 188.25 | 953.5
| 2015 | 151.95 | 455.33 | 474.78
| 2016 | 109.33 | 186.87 | 176.12
| 2017 | 138.65 | 831.18 | 186.14
| 2018 | 123.41 | 476.53 | 230.71
| 2019 | 174.9 | 289.08 | 252.52
| 2020 | 120.08 | 236.57 | 128.76
| 2021 | 155.35 | 495.94 | 478.03
| 2022 | 132.75 | 490.26 | 299.29
Quarterly SAIDI Index
|  | O‘ahu | Maui County | Hawai‘i Island
2019 | Q1-2019 | 62.4634 | 163.8266 | 119.9826
| Q2-2019 | 25.278 | 24.8214 | 21.6185
| Q3-2019 | 21.1813 | 35.5925 | 63.4905
| Q4-2019 | 65.9813 | 65.0609 | 47.5
2020 | Q1-2020 | 60.3968 | 62.8188 | 34.8136
| Q2-2020 | 18.5415 | 35.6069 | 30.937
| Q3-2020 | 13.2337 | 24.7456 | 24.494
| Q4-2020 | 27.93 | 113.2252 | 38.5317
2021 | Q1-2021 | 62.0862 | 35.0147 | 48.3663
| Q2-2021 | 19.426 | 26.1405 | 35.4402
| Q3-2021 | 32.5387 | 32.7059 | 53.3201
| Q4-2021 | 41.3326 | 401.6831 | 339.9784
2022 | Q1-2022 | 45.1422 | 39.7005 | 21.4279
| Q2-2022 | 26.1266 | 22.1088 | 53.7434
| Q3-2022 | 26.7048 | 262.9866 | 47.6862
| Q4-2022 | 34.7715 | 165.302 | 176.1121
2023 | Q1-2023 | 67.9185 | 100.8058 | 96.9423
| Q2-2023 | 46.8389 | 30.6545 | 21.2517
-
-

## Major Event Days
Major Event Days (MEDs) prior to and including March 31, 2021 were determined based on IEEE Std 1366-2012 methodology. | 0 | 0 | 0
Major Event Days (MEDs) from April 1, 2021 and forward are determined based on an adjusted IEEE Std 1366 methodology. (Docket No. 2019-0110, Decision and Order No. 37600, issued on February 2, 2021, https://dms.puc.hawaii.gov/dms/DocumentViewer?pid=A1001001A21B02B15413D00151) | 0 | 0 | 0
MEDs are excluded from normalized indices. MEDs for the most recent eight quarters are listed here. | 0 | 0 | 0
0 | 0 | 0 | 0
Quarter | Hawaiian Electric Company/Oahu | Hawaii Electric Light Company/Hawaii Island | Maui Electric/Maui County
Q3-2021 | 8/21/2021: bird in conductors and faulty equipment operation. | 7/29/2021: scheduled interruption to replace multiple poles on a transmission circuit. | None
Q4-2021 | 12/5/2021: weather-related interruptions. 12/6/2021: weather-related interruptions. | 12/5/2021: tree-related outages affecting various parts of Hawai‘i Island during high winds. 12/6/2021: tree-related interruptions during high winds. 12/16/2021: a tree fell on transmission circuit conductors. | 11/29/2021: T&D equipment failed (Maui only). 12/5/2021: various weather-related interruptions (Maui only). 12/7/2021: T&D equipment failed (Maui only).
Q1-2022 | 3/1/2022: deteriorated T&D equipment. | None | 1/17/2022: T&D equipment failed (Lanai only). 3/15/2022: underfrequency load shed when a generator tripped offline (Lanai only).
Q2-2022 | None | None | 4/21/2022: unknown cause that affected the T&D system (Lanai only).
Q3-2022 | None | None | 8/23/2022: substation equipment failures and underfrequency load shed (Maui only).
Q4-2022 | 12/19/2022: various vegetation and weather-related interruptions affected Oahu. | 12/19/2022: various vegetation and weather-related interruptions. 12/20/2022: various tree-related interruptions during high winds. | 12/19/2022: various vegetation and weather-related interruptions (Maui only).
Q1-2023 | 2/9/2023: various weather and vegetation-related interruptions. 3/8/2023: various wind-related interruptions. | 3/8/2023: various vegetation and weather-related interruptions during Flood and High Wind Advisory/Warning. | 2/3/2023: underfrequency load shed when generators tripped offline (Lanai only). 3/2/2023: a large tree that fell during heavy rain and wind (Lanai only).
Q2-2023 | 4/19/2023: various wind-related interruptions and unknown causes. | None | None
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0