## Summary
Incremental Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.073625 | 0.086384 | 0.10096 | 0.11722 | 0.12915 | 0.14168 | 0.1556 | 0.15833 | 0.16048 | 0.16787 | 0.16159 | 0.16032 | 0.1394 | 0.12222 | 0.12316 | 0.12 | 0.11983 | 0.13413 | 0.12869 | 0.096155 | 0.082001 | 0.07514 | 0.06632 | 0.065826 | 0.065163 | 0.064332 | 0.063332 | 0.062165 | 0.060829
Other_A | 0.17392 | 0.20451 | 0.23645 | 0.27396 | 0.26855 | 0.25628 | 0.27481 | 0.29898 | 0.31183 | 0.3181 | 0.31642 | 0.31756 | 0.26285 | 0.25633 | 0.24842 | 0.23095 | 0.22491 | 0.22479 | 0.23078 | 0.2166 | 0.19331 | 0.18495 | 0.16563 | 0.16484 | 0.16378 | 0.16244 | 0.16082 | 0.15893 | 0.15676
Peak_B | 0.068278 | 0.068501 | 0.071838 | 0.06934 | 0.051126 | 0.040488 | 0.037455 | 0.035302 | 0.031441 | 0.030879 | 0.030289 | 0.031602 | 0.033232 | 0.029834 | 0.032011 | 0.031327 | 0.028264 | 0.030762 | 0.027336 | 0.018449 | 0.016915 | 0.018487 | 0.01718 | 0.017149 | 0.017089 | 0.016999 | 0.016879 | 0.016729 | 0.016549
Other_B | 0.036392 | 0.034653 | 0.034008 | 0.029537 | 0.012485 | 0.0056766 | 0.0054934 | 0.0050161 | 0.004634 | 0.0047322 | 0.0039357 | 0.0027594 | 0.0020884 | 0.0019957 | 0.0019744 | 0.0019588 | 0.0043234 | 0.0043145 | 0.0040934 | 0.0024991 | 0.0023555 | 0.0022897 | 0.00056121 | 0.00056034 | 0.0005591 | 0.00055751 | 0.00055555 | 0.00055323 | 0.00055056
Peak_C | 0.0020498 | 0.0023463 | 0.0026471 | 0.0029809 | 0.0032567 | 0.0035247 | 0.0037771 | 0.0039652 | 0.0041095 | 0.0042919 | 0.0044237 | 0.0045568 | 0.0046041 | 0.0045595 | 0.0045461 | 0.0045395 | 0.0045415 | 0.0045291 | 0.0043278 | 0.0019106 | 0.0014504 | 0.0014316 | 0.0014139 | 0.0014025 | 0.0013856 | 0.0013631 | 0.0013351 | 0.0013016 | 0.0012625
Other_C | 0.013336 | 0.015161 | 0.016807 | 0.017888 | 0.019082 | 0.02051 | 0.021458 | 0.022099 | 0.021696 | 0.021626 | 0.021214 | 0.014807 | 0.014308 | 0.01463 | 0.01472 | 0.014249 | 0.014165 | 0.014072 | 0.013677 | 0.0053033 | 0.003575 | 0.0035282 | 0.0033764 | 0.003355 | 0.0033231 | 0.0032808 | 0.003228 | 0.0031648 | 0.0030911
Peak_D | 0.035477 | 0.041736 | 0.047846 | 0.053894 | 0.059346 | 0.064573 | 0.069436 | 0.073678 | 0.073579 | 0.07285 | 0.072239 | 0.066298 | 0.03405 | 0.031752 | 0.0318 | 0.0316 | 0.031631 | 0.03209 | 0.030475 | 0.021324 | 0.019265 | 0.018865 | 0.018455 | 0.018393 | 0.018305 | 0.01819 | 0.018048 | 0.017878 | 0.017681
Other_D | 0.028618 | 0.034355 | 0.043777 | 0.050097 | 0.056093 | 0.062928 | 0.067431 | 0.073796 | 0.074169 | 0.075771 | 0.076482 | 0.075334 | 0.058263 | 0.055931 | 0.052981 | 0.049566 | 0.047213 | 0.053815 | 0.050921 | 0.039658 | 0.035545 | 0.031949 | 0.031085 | 0.03087 | 0.03059 | 0.030244 | 0.029835 | 0.02936 | 0.02882
Total | 0.4317 | 0.48764 | 0.55433 | 0.61492 | 0.59908 | 0.59566 | 0.63547 | 0.67117 | 0.68194 | 0.69612 | 0.6866 | 0.67324 | 0.5488 | 0.51725 | 0.50961 | 0.48419 | 0.47488 | 0.4985 | 0.4903 | 0.4019 | 0.35442 | 0.33664 | 0.30403 | 0.3024 | 0.30019 | 0.2974 | 0.29403 | 0.29008 | 0.28554
Cumulative Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.073625 | 0.16001 | 0.26097 | 0.37819 | 0.50734 | 0.64903 | 0.80463 | 0.96296 | 1.1234 | 1.2913 | 1.4529 | 1.6132 | 1.7526 | 1.8749 | 1.998 | 2.118 | 2.2378 | 2.372 | 2.5007 | 2.5968 | 2.6788 | 2.754 | 2.8203 | 2.8861 | 2.9513 | 3.0156 | 3.0789 | 3.1411 | 3.2019
Other_A | 0.17392 | 0.37843 | 0.61487 | 0.88883 | 1.1574 | 1.4137 | 1.6885 | 1.9874 | 2.2993 | 2.6174 | 2.9338 | 3.2514 | 3.5142 | 3.7705 | 4.019 | 4.2499 | 4.4748 | 4.6996 | 4.9304 | 5.147 | 5.3403 | 5.5253 | 5.6909 | 5.8557 | 6.0195 | 6.182 | 6.3428 | 6.5017 | 6.6585
Peak_B | 0.068278 | 0.13678 | 0.20862 | 0.27796 | 0.32908 | 0.36957 | 0.40703 | 0.44233 | 0.47377 | 0.50465 | 0.53494 | 0.56654 | 0.59977 | 0.62961 | 0.66162 | 0.69294 | 0.72121 | 0.75197 | 0.77931 | 0.79775 | 0.81467 | 0.83316 | 0.85034 | 0.86749 | 0.88457 | 0.90157 | 0.91845 | 0.93518 | 0.95173
Other_B | 0.036392 | 0.071045 | 0.10505 | 0.13459 | 0.14707 | 0.15275 | 0.15824 | 0.16326 | 0.16789 | 0.17263 | 0.17656 | 0.17932 | 0.18141 | 0.18341 | 0.18538 | 0.18734 | 0.19166 | 0.19598 | 0.20007 | 0.20257 | 0.20492 | 0.20721 | 0.20778 | 0.20834 | 0.2089 | 0.20945 | 0.21001 | 0.21056 | 0.21111
Peak_C | 0.0020498 | 0.0043961 | 0.0070432 | 0.010024 | 0.013281 | 0.016806 | 0.020583 | 0.024548 | 0.028657 | 0.032949 | 0.037373 | 0.04193 | 0.046534 | 0.051093 | 0.055639 | 0.060179 | 0.06472 | 0.069249 | 0.073577 | 0.075488 | 0.076938 | 0.07837 | 0.079784 | 0.081186 | 0.082572 | 0.083935 | 0.08527 | 0.086572 | 0.087834
Other_C | 0.013336 | 0.028498 | 0.045304 | 0.063193 | 0.082275 | 0.10278 | 0.12424 | 0.14634 | 0.16804 | 0.18966 | 0.21088 | 0.22568 | 0.23999 | 0.25462 | 0.26934 | 0.28359 | 0.29776 | 0.31183 | 0.32551 | 0.33081 | 0.33438 | 0.33791 | 0.34129 | 0.34464 | 0.34797 | 0.35125 | 0.35447 | 0.35764 | 0.36073
Peak_D | 0.035477 | 0.077213 | 0.12506 | 0.17895 | 0.2383 | 0.30287 | 0.37231 | 0.44599 | 0.51957 | 0.59242 | 0.66466 | 0.73095 | 0.765 | 0.79676 | 0.82856 | 0.86016 | 0.89179 | 0.92388 | 0.95435 | 0.97568 | 0.99494 | 1.0138 | 1.0323 | 1.0507 | 1.069 | 1.0871 | 1.1052 | 1.1231 | 1.1408
Other_D | 0.028618 | 0.062973 | 0.10675 | 0.15685 | 0.21294 | 0.27587 | 0.3433 | 0.41709 | 0.49126 | 0.56703 | 0.64352 | 0.71885 | 0.77711 | 0.83304 | 0.88603 | 0.93559 | 0.9828 | 1.0366 | 1.0875 | 1.1272 | 1.1627 | 1.1947 | 1.2258 | 1.2566 | 1.2872 | 1.3175 | 1.3473 | 1.3767 | 1.4055
Total | 0.4317 | 0.91934 | 1.4737 | 2.0886 | 2.6877 | 3.2833 | 3.9188 | 4.59 | 5.2719 | 5.968 | 6.6546 | 7.3279 | 7.8767 | 8.3939 | 8.9035 | 9.3877 | 9.8626 | 10.3611 | 10.8514 | 11.2533 | 11.6077 | 11.9444 | 12.2484 | 12.5508 | 12.851 | 13.1484 | 13.4424 | 13.7325 | 14.018
Savings-Weighted LCOE ($/MWh) Real Dollars (2019)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 44.3057 | 48.4733 | 47.7463 | 49.7871 | 52.309 | 51.3754 | 51.0086 | 53.5615 | 54.7737 | 53.3326 | 57.0821 | 57.5066 | 67.0336 | 69.0066 | 60.4683 | 62.4093 | 61.7857 | 55.9967 | 66.6251 | 83.3468 | 76.6333 | 72.725 | 91.4365 | 82.4263 | 73.2158 | 73.4149 | 73.6222 | 73.8399 | 74.0703
Other_A | -1.4982 | -3.1217 | -4.106 | -8.642 | -1.6632 | 19.8371 | 43.3016 | 43.3588 | 43.856 | 52.4968 | 55.7519 | 59.9472 | 72.6922 | 64.0163 | 67.4323 | 68.075 | 66.2366 | 65.3222 | 62.1009 | 67.8456 | 74.9155 | 72.1138 | 78.8082 | 72.2294 | 72.379 | 72.5051 | 72.6345 | 72.768 | 72.9065
Peak_B | 49.3228 | 41.3646 | 49.7477 | 13.3667 | 12.1191 | 3.5785 | 22.1026 | 31.7271 | 29.2074 | 31.6367 | 38.4073 | 45.3461 | 55.2203 | 60.6611 | 36.6658 | 44.9129 | 48.1323 | 45.4186 | 62.0467 | 147.0985 | 73.9922 | 63.7455 | 42.8877 | 39.3233 | 39.3776 | 39.4472 | 39.5182 | 39.5907 | 39.6653
Other_B | 4.3932 | 5.4615 | 7.703 | 4.1185 | 18.1518 | 86.1182 | 114.4281 | 135.7513 | 158.805 | 160.0284 | 196.4507 | 290.8532 | 309.257 | 273.1117 | 270.3232 | 272.6033 | 123.474 | 117.3905 | 123.3763 | 189.5304 | 67.8545 | 48.4457 | 187.9185 | 213.0248 | 213.1281 | 213.2668 | 213.4068 | 213.5484 | 213.6918
Peak_C | 181.6764 | 192.8731 | 196.4073 | 197.4692 | 203.572 | 205.9827 | 208.4388 | 213.2017 | 216.672 | 214.5126 | 216.6328 | 211.2808 | 210.1177 | 209.4468 | 208.2252 | 208.5304 | 208.5806 | 209.619 | 218.9298 | 472.2225 | 321.3761 | 266.3932 | 264.1132 | 260.7757 | 262.1938 | 263.2981 | 264.4619 | 265.7039 | 267.0466
Other_C | 145.3585 | 151.367 | 156.6332 | 164.4056 | 164.9011 | 164.1915 | 169.0011 | 171.8448 | 180.0029 | 178.8757 | 182.2063 | 255.0893 | 193.1606 | 184.5063 | 183.5622 | 188.9109 | 186.7326 | 186.7723 | 190.7692 | 477.4605 | 280.7467 | 195.2016 | 199.9232 | 194.5717 | 195.3834 | 196.0247 | 196.693 | 197.3963 | 198.1438
Peak_D | 604.2025 | 638.8565 | 668.3343 | 686.6867 | 706.238 | 718.5816 | 728.9686 | 740.293 | 789.1704 | 790.5264 | 788.4824 | 848.0665 | 1568.2767 | 701.4985 | 603.5684 | 611.4539 | 613.0155 | 607.1549 | 637.4176 | 869.4043 | 670.4825 | 618.1107 | 645.742 | 635.798 | 624.9564 | 625.9016 | 626.8663 | 627.8552 | 628.8736
Other_D | 1569.1181 | 941.0875 | 862.8259 | 864.1542 | 864.3018 | 849.6057 | 864.4669 | 836.9245 | 891.0165 | 891.8648 | 906.2081 | 939.7264 | 1219.3196 | 1016.7742 | 1050.9166 | 1127.352 | 1184.1486 | 1047.7159 | 1142.9332 | 1398.571 | 1374.6997 | 1454.6435 | 1436.8606 | 1398.5811 | 1399.593 | 1402.7105 | 1405.9412 | 1409.3114 | 1412.8506
Total | 175.4367 | 140.8552 | 145.6762 | 149.7597 | 174.4873 | 199.8252 | 214.6619 | 217.1397 | 227.8977 | 227.3457 | 233.9418 | 239.87 | 288.2454 | 210.9889 | 202.9156 | 212.8193 | 214.591 | 205.0552 | 214.0699 | 253.5599 | 236.8984 | 231.5234 | 245.5898 | 236.0375 | 236.3517 | 236.6631 | 236.9735 | 237.2847 | 237.5987
Savings-Weighted LCOE ($/MWh) Nominal Dollars
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 44.3057 | 49.4912 | 49.7727 | 52.99 | 56.8434 | 57.0012 | 57.7827 | 61.9488 | 64.6812 | 64.302 | 70.2679 | 72.2772 | 86.0204 | 90.4118 | 80.8888 | 85.2384 | 86.1589 | 79.726 | 96.8503 | 123.7024 | 116.1267 | 112.5186 | 144.4395 | 132.9407 | 120.5653 | 123.432 | 126.38 | 129.4155 | 132.5455
Other_A | -1.4982 | -3.1873 | -4.2803 | -9.1979 | -1.8074 | 22.0093 | 49.0522 | 50.1484 | 51.7887 | 63.2942 | 68.6305 | 75.3446 | 93.2817 | 83.8736 | 90.2045 | 92.9767 | 92.3655 | 93.0033 | 90.2737 | 100.6957 | 113.5237 | 111.5729 | 124.491 | 116.4947 | 119.1875 | 121.9023 | 124.6844 | 127.5368 | 130.4628
Peak_B | 49.3228 | 42.2332 | 51.859 | 14.2266 | 13.1696 | 3.9703 | 25.0378 | 36.6954 | 34.4904 | 38.1437 | 47.2793 | 56.9932 | 70.861 | 79.4777 | 49.0481 | 61.3419 | 67.1194 | 64.6653 | 90.1949 | 218.322 | 112.1246 | 98.6257 | 67.7484 | 63.4224 | 64.8435 | 66.3224 | 67.8369 | 69.3886 | 70.9794
Other_B | 4.3932 | 5.5762 | 8.0299 | 4.3835 | 19.7253 | 95.5484 | 129.6245 | 157.0089 | 187.5297 | 192.9428 | 241.8304 | 365.5586 | 396.8519 | 357.8285 | 361.6127 | 372.3208 | 172.1818 | 167.1362 | 179.3474 | 281.2988 | 102.8237 | 74.9542 | 296.8493 | 343.5756 | 350.9607 | 358.5641 | 366.3343 | 374.2755 | 382.3919
Peak_C | 181.6764 | 196.9234 | 204.743 | 210.1729 | 221.2183 | 228.5386 | 236.1201 | 246.5874 | 255.8637 | 258.6334 | 266.6746 | 265.5482 | 269.6321 | 274.4153 | 278.5439 | 284.8102 | 290.8612 | 298.4476 | 318.2499 | 700.8673 | 486.9994 | 412.1579 | 417.2117 | 420.5903 | 431.7578 | 442.6814 | 453.9755 | 465.6858 | 477.8679
Other_C | 145.3585 | 154.5457 | 163.2808 | 174.9822 | 179.1953 | 182.1711 | 191.4449 | 198.7543 | 212.5619 | 215.6666 | 224.2956 | 320.6088 | 247.8719 | 241.7385 | 245.5521 | 258.0139 | 260.3946 | 265.9195 | 277.3139 | 708.6414 | 425.4314 | 302.0118 | 315.8127 | 313.8135 | 321.7402 | 329.575 | 337.6433 | 345.9664 | 354.5694
Peak_D | 604.2025 | 652.2725 | 696.6991 | 730.8628 | 767.457 | 797.2688 | 825.7779 | 856.217 | 931.9159 | 953.121 | 970.6205 | 1065.8917 | 2012.4801 | 919.0971 | 807.3966 | 835.1218 | 854.8371 | 864.4445 | 926.5895 | 1290.3599 | 1016.0201 | 956.328 | 1020.0592 | 1025.4423 | 1029.1236 | 1052.3244 | 1076.0791 | 1100.41 | 1125.3411
Other_D | 1569.1181 | 960.8503 | 899.4451 | 919.7472 | 939.2223 | 942.6405 | 979.2709 | 967.9803 | 1052.184 | 1075.3027 | 1115.5405 | 1181.0943 | 1564.6833 | 1332.1685 | 1405.8165 | 1539.7339 | 1651.27 | 1491.6988 | 1661.4383 | 2075.7432 | 2083.1603 | 2250.594 | 2269.7654 | 2255.6916 | 2304.7274 | 2358.3681 | 2413.4398 | 2470.0287 | 2528.2326
Total | 175.4367 | 143.8131 | 151.8589 | 159.3941 | 189.6124 | 221.7068 | 243.1697 | 251.1421 | 269.12 | 274.1059 | 287.9819 | 301.4804 | 369.8888 | 276.4357 | 271.4412 | 290.668 | 299.2425 | 291.9499 | 311.1853 | 376.3307 | 358.9856 | 358.2081 | 387.9508 | 380.6914 | 389.2033 | 397.9001 | 406.7889 | 415.8769 | 425.1722
Financial Escalation Factor | 2.1%
LCOE Floor |  | Applies cap to negative levelized costs (e.g. when NEIs push costs negative or efficient option is cheaper than baseline option)
LCOE Ceiling |  | Applies cap to very high levelized costs (e.g. when a measure is an unusually small saver resulting in a near-infinite ratio)

## End Use Summary
Island | Molokai
|  | Peak_A | Peak_B | Peak_C | Peak_D | Other_A | Other_B | Other_C | Other_D
|  | Peak |  |  |  | Other
| End Use | A | B | C | D | A | B | C | D
Cooling | Cooling | 2.2203 | 0.25264 | 0.034016 | 0.69799 | 0.47765 | 0.001132 | 0.044355 | 0.10825
Ventilation | Ventilation | 0.19297 | 0.0073568 | 0.006951 | 0.031364 | 0.1843 | 0.010489 | 0.014859 | 0.039172
Water Heating | Water Heating | 0.042263 | 0.0050411 | 0.0041544 | 0.007522 | 1.6128 | 0.0014163 | 0.01928 | 0.1006
Interior Lighting | Interior Lighting | 0.082942 | 0.67376 | 0.0039491 | 0.044679 | 1.2359 | 0.15653 | 0.026363 | 0.042213
Exterior Lighting | Exterior Lighting | 0.035659 | 0.088282 | 0.0020061 | 0.018355 | 0.17604 | 0.071698 | 0.0056353 | 0.061078
Appliances | Res Appliances | 0.01077 | 0.0072599 | 0.01576 | 0.040045 | 0.34245 | 0 | 0.046027 | 0.71719
Refrigeration | Com Refrigeration | 0.030792 | 0.0001218 | 2.8623e-05 | 0.014285 | 0.33449 | 0.013122 | 0.0048496 | 0.077875
Electronics | Electronics | 0.14067 | 0.001027 | 0.0031856 | 0.00042343 | 0.16698 | 0.010919 | 0.083994 | 0.012888
Office Equipment | Electronics | 0.0048465 | 0 | 8.5065e-06 | 0.0020767 | 0.12807 | 0.0064817 | 8.1561e-05 | 0.010058
Food Preparation | Food Preparation | 0.0072874 | 0.0010573 | 4.666e-06 | 1.2395e-05 | 0.048622 | 0.001526 | 1.0631e-06 | 8.2109e-05
Miscellaneous | Miscellaneous | 0.04892 | 0.0038139 | 0.004998 | 0.001077 | 0.34186 | 0 | 0.058578 | 0.075277
| Total | 2.8175 | 1.0404 | 0.075062 | 0.85783 | 5.0492 | 0.27332 | 0.30402 | 1.2447