## Summary
Incremental Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 20.3925 | 22.5956 | 25.3741 | 32.2799 | 31.407 | 34.0534 | 36.9369 | 37.4232 | 37.1705 | 38.5445 | 36.7235 | 34.4762 | 32.2266 | 28.7386 | 28.1893 | 27.3684 | 27.5274 | 30.7509 | 27.8556 | 24.1853 | 20.2032 | 18.5786 | 16.7492 | 16.6342 | 16.4815 | 16.2911 | 16.063 | 15.7972 | 15.4937
Other_A | 51.0842 | 55.4354 | 60.6799 | 75.2172 | 68.4822 | 63.6138 | 66.6784 | 70.2191 | 72.2708 | 72.6429 | 70.9007 | 63.8657 | 60.5943 | 54.292 | 53.5367 | 43.0371 | 41.9096 | 42.6521 | 41.9589 | 43.3348 | 35.6026 | 37.1854 | 32.8614 | 32.7635 | 32.597 | 32.3619 | 32.0584 | 31.6862 | 31.2456
Peak_B | 8.8385 | 8.5915 | 9.0925 | 9.2504 | 7.7953 | 7.1549 | 7.078 | 7.121 | 6.8912 | 6.8532 | 6.8608 | 6.9941 | 7.3078 | 6.4895 | 6.3305 | 6.0512 | 5.6564 | 6.5457 | 5.4957 | 4.2687 | 3.6947 | 3.4779 | 3.0129 | 2.9927 | 2.9644 | 2.928 | 2.8836 | 2.8311 | 2.7705
Other_B | 7.5304 | 5.5423 | 5.785 | 8.1245 | 4.6749 | 3.0098 | 3.5849 | 4.0052 | 4.4267 | 4.7083 | 4.6229 | 4.6661 | 4.5466 | 4.4794 | 4.0968 | 4.0023 | 4.5127 | 4.5617 | 4.3173 | 3.7827 | 3.5415 | 3.2282 | 2.6016 | 2.5862 | 2.5666 | 2.5428 | 2.5147 | 2.4823 | 2.4457
Peak_C | 1.3735 | 1.4622 | 1.5447 | 1.9254 | 1.726 | 1.7951 | 1.8559 | 1.9129 | 1.9354 | 1.4641 | 1.2119 | 1.2142 | 1.1906 | 1.1965 | 1.2143 | 1.231 | 1.249 | 1.2662 | 1.1119 | 0.84309 | 0.79664 | 0.77537 | 0.75473 | 0.7522 | 0.74865 | 0.74408 | 0.7385 | 0.73189 | 0.72427
Other_C | 1.7081 | 1.9912 | 2.2579 | 2.7003 | 2.6719 | 2.956 | 3.1682 | 3.3769 | 3.3096 | 3.2967 | 3.1209 | 3.0044 | 2.0857 | 2.104 | 2.035 | 1.8398 | 1.7454 | 1.7702 | 1.5792 | 1.1931 | 0.94211 | 0.78077 | 0.74301 | 0.73684 | 0.72875 | 0.71873 | 0.70678 | 0.69291 | 0.67712
Peak_D | 7.6513 | 8.8032 | 9.9135 | 11.2205 | 12.053 | 13.0154 | 13.917 | 14.7328 | 14.5813 | 14.0872 | 13.8569 | 13.0332 | 6.7557 | 6.46 | 6.4654 | 6.4784 | 6.5003 | 6.526 | 6.0631 | 4.093 | 3.6633 | 3.5787 | 3.4962 | 3.4842 | 3.4668 | 3.444 | 3.4159 | 3.3825 | 3.3437
Other_D | 7.3495 | 8.1585 | 9.5421 | 10.7296 | 11.3448 | 12.189 | 12.5122 | 13.2929 | 13.3445 | 13.1774 | 13.0933 | 12.5946 | 10.6096 | 10.2162 | 9.7904 | 9.415 | 8.9437 | 9.5916 | 8.6756 | 7.3987 | 6.7969 | 6.3536 | 5.7216 | 5.688 | 5.6427 | 5.5859 | 5.5175 | 5.4376 | 5.346
Total | 105.9281 | 112.5799 | 124.1896 | 151.4477 | 140.155 | 137.7874 | 145.7315 | 152.084 | 153.93 | 154.7742 | 150.3909 | 139.8485 | 125.3168 | 113.9762 | 111.6584 | 99.4232 | 98.0445 | 103.6646 | 97.0574 | 89.0994 | 75.241 | 73.9584 | 65.9407 | 65.6377 | 65.1964 | 64.6166 | 63.8983 | 63.0417 | 62.0466
Cumulative Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 20.3925 | 42.988 | 68.3621 | 100.642 | 132.049 | 166.1024 | 203.0393 | 240.4625 | 277.633 | 316.1774 | 352.901 | 387.3772 | 419.6038 | 448.3424 | 476.5317 | 503.9001 | 531.4276 | 562.1785 | 590.0341 | 614.2194 | 634.4227 | 653.0012 | 669.7504 | 686.3846 | 702.8661 | 719.1572 | 735.2202 | 751.0174 | 766.5111
Other_A | 51.0842 | 106.5196 | 167.1994 | 242.4167 | 310.8989 | 374.5126 | 441.191 | 511.4101 | 583.681 | 656.3238 | 727.2245 | 791.0902 | 851.6845 | 905.9765 | 959.5132 | 1002.5502 | 1044.4598 | 1087.1119 | 1129.0708 | 1172.4056 | 1208.0082 | 1245.1935 | 1278.055 | 1310.8184 | 1343.4154 | 1375.7773 | 1407.8357 | 1439.5219 | 1470.7675
Peak_B | 8.8385 | 17.43 | 26.5225 | 35.7729 | 43.5682 | 50.7231 | 57.8011 | 64.922 | 71.8132 | 78.6664 | 85.5272 | 92.5213 | 99.8291 | 106.3186 | 112.6491 | 118.7003 | 124.3567 | 130.9024 | 136.3981 | 140.6667 | 144.3614 | 147.8393 | 150.8523 | 153.845 | 156.8094 | 159.7374 | 162.621 | 165.4521 | 168.2225
Other_B | 7.5304 | 13.0728 | 18.8577 | 26.9822 | 31.6571 | 34.6669 | 38.2518 | 42.257 | 46.6838 | 51.392 | 56.0149 | 60.681 | 65.2276 | 69.707 | 73.8038 | 77.8061 | 82.3188 | 86.8806 | 91.1978 | 94.9806 | 98.5221 | 101.7503 | 104.3518 | 106.938 | 109.5046 | 112.0474 | 114.5621 | 117.0444 | 119.4901
Peak_C | 1.3735 | 2.8358 | 4.3804 | 6.3058 | 8.0319 | 9.827 | 11.6829 | 13.5958 | 15.5312 | 16.9952 | 18.2071 | 19.4213 | 20.6119 | 21.8084 | 23.0227 | 24.2537 | 25.5027 | 26.769 | 27.8809 | 28.724 | 29.5206 | 30.296 | 31.0507 | 31.8029 | 32.5516 | 33.2957 | 34.0342 | 34.7661 | 35.4903
Other_C | 1.7081 | 3.6993 | 5.9572 | 8.6575 | 11.3294 | 14.2854 | 17.4536 | 20.8305 | 24.1401 | 27.4367 | 30.5576 | 33.562 | 35.6477 | 37.7517 | 39.7867 | 41.6265 | 43.3719 | 45.1421 | 46.7214 | 47.9145 | 48.8566 | 49.6374 | 50.3804 | 51.1173 | 51.846 | 52.5647 | 53.2715 | 53.9644 | 54.6415
Peak_D | 7.6513 | 16.4545 | 26.3681 | 37.5885 | 49.6415 | 62.6569 | 76.5739 | 91.3067 | 105.888 | 119.9753 | 133.8322 | 146.8654 | 153.6211 | 160.0811 | 166.5465 | 173.0249 | 179.5253 | 186.0513 | 192.1144 | 196.2075 | 199.8707 | 203.4494 | 206.9456 | 210.4298 | 213.8966 | 217.3406 | 220.7565 | 224.139 | 227.4827
Other_D | 7.3495 | 15.508 | 25.0501 | 35.7796 | 47.1244 | 59.3135 | 71.8257 | 85.1186 | 98.463 | 111.6404 | 124.7337 | 137.3283 | 147.9379 | 158.1541 | 167.9446 | 177.3595 | 186.3032 | 195.8948 | 204.5704 | 211.9691 | 218.766 | 225.1196 | 230.8412 | 236.5292 | 242.1719 | 247.7579 | 253.2754 | 258.713 | 264.059
Total | 105.9281 | 218.508 | 342.6976 | 494.1453 | 634.3003 | 772.0877 | 917.8192 | 1069.9032 | 1223.8332 | 1378.6074 | 1528.9983 | 1668.8468 | 1794.1637 | 1908.1398 | 2019.7982 | 2119.2214 | 2217.2659 | 2320.9305 | 2417.988 | 2507.0874 | 2582.3284 | 2656.2868 | 2722.2275 | 2787.8652 | 2853.0616 | 2917.6781 | 2981.5765 | 3044.6182 | 3106.6648
Savings-Weighted LCOE ($/MWh) Real Dollars (2019)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 69.9912 | 70.1413 | 70.3217 | 73.5515 | 69.3148 | 69.2681 | 67.9031 | 70.3996 | 70.2401 | 68.9639 | 72.4873 | 76.9341 | 81.9642 | 80.2829 | 80.0887 | 80.396 | 79.7231 | 82.9102 | 82.3273 | 86.1004 | 90.1055 | 88.6545 | 89.6716 | 89.6738 | 89.6665 | 89.6665 | 89.6665 | 89.6665 | 89.6665
Other_A | 25.651 | 20.6944 | 16.8664 | 17.5749 | 16.5919 | 43.3548 | 45.1569 | 45.1015 | 42.0954 | 42.937 | 43.0311 | 42.276 | 43.8348 | 48.5758 | 48.3588 | 68.0922 | 68.0502 | 66.5993 | 68.5933 | 66.9376 | 72.1006 | 72.647 | 73.8093 | 73.7028 | 73.8962 | 73.8962 | 73.8962 | 73.8962 | 73.8962
Peak_B | 71.7924 | 83.9147 | 87.9152 | 59.1407 | 70.2089 | 94.3516 | 107.0412 | 115.5403 | 114.2467 | 126.4001 | 133.0106 | 137.2061 | 135.6729 | 126.7515 | 124.0223 | 123.9895 | 128.2163 | 138.7301 | 158.3454 | 157.4167 | 155.8861 | 132.875 | 130.9158 | 130.9092 | 130.919 | 130.919 | 130.919 | 130.919 | 130.919
Other_B | 27.1999 | 48.2577 | 62.6385 | 45.0013 | 101.6705 | 185.6383 | 170.1795 | 173.6926 | 172.9695 | 179.578 | 185.2797 | 186.0491 | 186.0367 | 186.5604 | 187.1106 | 187.2315 | 157.0287 | 159.4222 | 154.1787 | 155.6766 | 147.6574 | 150.945 | 180.4025 | 180.271 | 180.5081 | 180.5081 | 180.5081 | 180.5081 | 180.5081
Peak_C | 199.5147 | 200.2433 | 200.9043 | 209.3414 | 202.9729 | 203.6983 | 204.3487 | 205.0304 | 206.1034 | 223.7692 | 239.084 | 236.6934 | 238.6933 | 240.6157 | 241.3763 | 242.0164 | 242.5359 | 242.5267 | 238.1842 | 247.3148 | 249.2318 | 249.1503 | 249.0676 | 249.1336 | 248.9705 | 248.9705 | 248.9705 | 248.9705 | 248.9705
Other_C | 185.583 | 183.5584 | 182.5343 | 185.9923 | 180.5802 | 179.4393 | 177.3264 | 175.429 | 173.3224 | 174.7819 | 174.6986 | 175.8775 | 186.7603 | 188.3891 | 189.5318 | 191.7607 | 192.8305 | 187.0596 | 189.161 | 180.6416 | 183.5096 | 194.0392 | 193.1169 | 193.0155 | 193.1831 | 193.1831 | 193.1831 | 193.1831 | 193.1831
Peak_D | 782.0409 | 799.1298 | 810.8922 | 818.0648 | 829.9395 | 835.556 | 839.6543 | 844.1108 | 844.3435 | 862.6873 | 869.7558 | 853.4929 | 751.1484 | 718.2218 | 723.5465 | 727.9499 | 731.203 | 729.2309 | 730.0677 | 790.2461 | 815.6719 | 823.5522 | 825.4845 | 826.1198 | 825.7895 | 825.7895 | 825.7895 | 825.7895 | 825.7895
Other_D | 1723.3433 | 1678.3699 | 1534.1248 | 1482.8336 | 1468.57 | 1427.4512 | 1428.904 | 1395.9029 | 1401.3883 | 1425.6487 | 1435.3939 | 1372.1789 | 1422.065 | 1458.2578 | 1518.6188 | 1579.7855 | 1652.6616 | 1558.8956 | 1624.2906 | 1689.1709 | 1752.7963 | 1807.693 | 1325.8744 | 1326.3025 | 1325.1262 | 1325.1262 | 1325.1262 | 1325.1262 | 1325.1262
Total | 215.4051 | 223.0118 | 220.3854 | 202.0722 | 227.1236 | 257.7956 | 256.5821 | 258.3857 | 254.6031 | 254.1254 | 260.4091 | 260.2941 | 223.1988 | 235.3524 | 238.4332 | 270.2666 | 271.854 | 264.073 | 265.7096 | 251.4055 | 275.9054 | 271.4374 | 236.4987 | 236.3935 | 236.2915 | 236.2351 | 236.2097 | 236.2161 | 236.2559
Savings-Weighted LCOE ($/MWh) Nominal Dollars
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 69.9912 | 71.6143 | 73.3062 | 78.2832 | 75.3233 | 76.8532 | 76.9209 | 81.4236 | 82.9452 | 83.1483 | 89.2318 | 96.6945 | 105.1799 | 105.186 | 107.1351 | 109.8046 | 111.1722 | 118.0445 | 119.6761 | 127.7892 | 136.542 | 137.1644 | 141.6516 | 144.6298 | 147.655 | 150.7557 | 153.9216 | 157.1539 | 160.4542
Other_A | 25.651 | 21.1289 | 17.5822 | 18.7055 | 18.0301 | 48.1023 | 51.1539 | 52.1641 | 49.7096 | 51.7682 | 52.9712 | 53.1346 | 56.2508 | 63.6436 | 64.6898 | 93.0001 | 94.8945 | 94.8216 | 99.7115 | 99.348 | 109.2582 | 112.3979 | 116.5943 | 118.8711 | 121.6859 | 124.2413 | 126.8503 | 129.5142 | 132.234
Peak_B | 71.7924 | 85.6769 | 91.6464 | 62.9454 | 76.2948 | 104.6835 | 121.2567 | 133.633 | 134.9117 | 152.398 | 163.7358 | 172.4474 | 174.1013 | 166.0687 | 165.9052 | 169.3444 | 178.795 | 197.5187 | 230.1806 | 233.6361 | 236.223 | 205.5814 | 206.8037 | 211.1361 | 215.586 | 220.1133 | 224.7357 | 229.4551 | 234.2737
Other_B | 27.1999 | 49.2711 | 65.297 | 47.8963 | 110.4837 | 205.9664 | 192.7799 | 200.8914 | 204.2563 | 216.5134 | 228.079 | 233.8356 | 238.7303 | 244.4298 | 250.2988 | 255.7202 | 218.9731 | 226.9793 | 224.1236 | 231.0535 | 223.7537 | 233.539 | 284.9764 | 290.7488 | 297.2449 | 303.4871 | 309.8603 | 316.3674 | 323.0111
Peak_C | 199.5147 | 204.4484 | 209.4309 | 222.8088 | 220.5672 | 226.004 | 231.4868 | 237.1365 | 243.3835 | 269.7938 | 294.3119 | 297.488 | 306.3015 | 315.2526 | 322.8903 | 330.5453 | 338.2111 | 345.3005 | 346.2392 | 367.0618 | 377.675 | 385.4801 | 393.4445 | 401.8134 | 409.9828 | 418.5924 | 427.3829 | 436.3579 | 445.5214
Other_C | 185.583 | 187.4131 | 190.2813 | 197.9576 | 196.2335 | 199.0886 | 200.8759 | 202.8998 | 204.6731 | 210.7308 | 215.0537 | 221.0515 | 239.6588 | 246.8257 | 253.5376 | 261.9062 | 268.898 | 266.3284 | 274.9761 | 268.1062 | 278.0825 | 300.2133 | 305.061 | 311.3037 | 318.117 | 324.7974 | 331.6182 | 338.5822 | 345.6924
Peak_D | 782.0409 | 815.9115 | 845.3073 | 870.6928 | 901.8813 | 927.0524 | 951.1631 | 976.2918 | 997.0688 | 1040.1239 | 1070.6679 | 1072.7119 | 963.906 | 941.0078 | 967.8919 | 994.2318 | 1019.647 | 1038.2517 | 1061.2714 | 1172.8743 | 1236.0337 | 1274.1828 | 1303.993 | 1332.4014 | 1359.8379 | 1388.3945 | 1417.5508 | 1447.3194 | 1477.7131
Other_D | 1723.3433 | 1713.6156 | 1599.2346 | 1578.2277 | 1595.8704 | 1583.7622 | 1618.667 | 1614.4902 | 1654.8721 | 1718.8747 | 1766.9673 | 1724.6219 | 1824.855 | 1910.5964 | 2031.4641 | 2157.6662 | 2304.6013 | 2219.4974 | 2361.1691 | 2507.0482 | 2656.1114 | 2796.8248 | 2094.4439 | 2139.1176 | 2182.102 | 2227.9262 | 2274.7126 | 2322.4816 | 2371.2537
Total | 215.4051 | 227.695 | 229.7388 | 215.072 | 246.8114 | 286.0251 | 290.657 | 298.8469 | 300.6558 | 306.3937 | 320.5631 | 327.1504 | 286.4182 | 308.3566 | 318.9533 | 369.1292 | 379.0946 | 375.9772 | 386.2519 | 373.1332 | 418.095 | 419.9622 | 373.5899 | 381.2656 | 389.1043 | 397.1806 | 405.4777 | 414.0041 | 422.7692
Financial Escalation Factor | 2.1%
LCOE Floor |  | Applies cap to negative levelized costs (e.g. when NEIs push costs negative or efficient option is cheaper than baseline option)
LCOE Ceiling |  | Applies cap to very high levelized costs (e.g. when a measure is an unusually small saver resulting in a near-infinite ratio)

## End Use Summary
Island | Oahu
|  | Peak_A | Peak_B | Peak_C | Peak_D | Other_A | Other_B | Other_C | Other_D
|  | Peak |  |  |  | Other
| End Use | A | B | C | D | A | B | C | D
Cooling | Cooling | 551.656 | 90.2124 | 17.0424 | 140.7242 | 156.798 | 4.5463 | 3.6821 | 43.6694
Ventilation | Ventilation | 41.74 | 3.565 | 7.4768 | 9.7891 | 49.6604 | 1.2001 | 5.6271 | 16.1428
Water Heating | Water Heating | 13.3992 | 0.38116 | 0.76643 | 0.69186 | 258.3082 | 48.4352 | 0.46227 | 10.4307
Interior Lighting | Interior Lighting | 9.8268 | 66.8503 | 1.7029 | 7.7617 | 466.6668 | 38.3495 | 1.6032 | 7.731
Exterior Lighting | Exterior Lighting | 4.7099 | 8.8249 | 0.95927 | 2.3508 | 63.9863 | 17.8126 | 0.254 | 15.6296
Appliances | Res Appliances | 2.3846 | 1.599 | 0.17821 | 7.4543 | 73.1488 | 17.9065 | 10.3411 | 90.9488
Refrigeration | Com Refrigeration | 12.5778 | 0.19558 | 0.097281 | 5.9232 | 85.7842 | 3.4538 | 11.2685 | 26.1984
Electronics | Electronics | 34.1861 | 0.3505 | 0.043265 | 5.3569e-05 | 21.2234 | 1.3371 | 10.3238 | 1.2392
Office Equipment | Electronics | 1.1516 | 0.00079124 | 0 | 0.52143 | 34.6841 | 0.25713 | 1.4566 | 2.7311
Food Preparation | Food Preparation | 1.8029 | 0.26563 | 0 | 0.0024298 | 13.2962 | 0.39374 | 0.00042766 | 0.020085
Miscellaneous | Miscellaneous | 7.9404 | 0.542 | 0.05439 | 0.060731 | 107.8279 | 8.7072 | 4.6515 | 12.2402
| Total | 681.3754 | 172.7873 | 28.3209 | 175.2799 | 1331.3842 | 142.3991 | 49.6707 | 226.9813