## Summary
Incremental Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 3.9075 | 4.3848 | 4.9583 | 5.543 | 6.1159 | 6.6723 | 7.3294 | 7.5512 | 7.4652 | 7.7763 | 7.4244 | 7.2764 | 6.5318 | 5.8198 | 5.6514 | 5.4124 | 5.3283 | 5.9788 | 5.1903 | 4.2168 | 3.6306 | 3.307 | 2.8618 | 2.8392 | 2.8087 | 2.7704 | 2.7242 | 2.6701 | 2.6082
Other_A | 8.7481 | 9.7236 | 10.8177 | 11.6803 | 12.0354 | 10.731 | 11.1398 | 11.8767 | 12.1591 | 12.4105 | 12.1132 | 11.9885 | 10.0857 | 9.0087 | 8.6939 | 7.2334 | 6.9693 | 6.9966 | 6.9561 | 6.5171 | 5.8776 | 5.672 | 5.0233 | 4.9958 | 4.957 | 4.9067 | 4.845 | 4.7719 | 4.6874
Peak_B | 1.6537 | 1.5614 | 1.652 | 1.5918 | 1.2417 | 1.0381 | 0.97714 | 0.936 | 0.86092 | 0.82905 | 0.78571 | 0.77729 | 0.72264 | 0.68153 | 0.68136 | 0.65883 | 0.59131 | 0.61887 | 0.45647 | 0.28472 | 0.24762 | 0.28351 | 0.24589 | 0.24521 | 0.24397 | 0.24218 | 0.23985 | 0.23696 | 0.23353
Other_B | 1.2997 | 1.0265 | 1.0769 | 1.1154 | 0.82688 | 0.7003 | 0.67901 | 0.73251 | 0.76396 | 0.81565 | 0.80356 | 0.80668 | 0.80469 | 0.80934 | 0.70702 | 0.69133 | 0.75907 | 0.78173 | 0.73431 | 0.70229 | 0.658 | 0.63648 | 0.51063 | 0.50866 | 0.50597 | 0.50256 | 0.49842 | 0.49356 | 0.48798
Peak_C | 0.17701 | 0.19352 | 0.20946 | 0.22374 | 0.2378 | 0.25172 | 0.26295 | 0.27384 | 0.2801 | 0.28398 | 0.28403 | 0.28539 | 0.26664 | 0.24137 | 0.23858 | 0.23588 | 0.2338 | 0.23067 | 0.21208 | 0.18619 | 0.1779 | 0.17482 | 0.17101 | 0.17032 | 0.16934 | 0.16807 | 0.1665 | 0.16464 | 0.16248
Other_C | 0.24226 | 0.28779 | 0.3384 | 0.37029 | 0.40565 | 0.4507 | 0.48593 | 0.51939 | 0.49366 | 0.48255 | 0.46865 | 0.46319 | 0.25478 | 0.24111 | 0.23273 | 0.22233 | 0.20847 | 0.21991 | 0.19608 | 0.15239 | 0.13479 | 0.11823 | 0.11255 | 0.11185 | 0.11094 | 0.10981 | 0.10846 | 0.10689 | 0.10509
Peak_D | 1.5478 | 1.7709 | 1.9848 | 2.1869 | 2.3795 | 2.5608 | 2.7299 | 2.8779 | 2.8273 | 2.7736 | 2.6402 | 2.5502 | 1.2626 | 1.0995 | 1.0938 | 1.0902 | 1.0459 | 0.99699 | 0.85667 | 0.58432 | 0.51888 | 0.50906 | 0.48804 | 0.48602 | 0.48304 | 0.47911 | 0.47423 | 0.4684 | 0.46162
Other_D | 1.1607 | 1.3053 | 1.5745 | 1.7168 | 1.8658 | 2.0216 | 2.1087 | 2.2383 | 2.2425 | 2.2698 | 2.2346 | 2.1489 | 1.7422 | 1.669 | 1.5793 | 1.4903 | 1.394 | 1.5452 | 1.3336 | 1.1591 | 1.0489 | 0.97529 | 0.9005 | 0.89502 | 0.88763 | 0.87834 | 0.86714 | 0.85404 | 0.83903
Total | 21.6228 | 24.6557 | 28.0509 | 31.3751 | 33.4276 | 33.6682 | 36.2904 | 38.5341 | 40.167 | 41.4474 | 41.6028 | 42.2097 | 38.1123 | 38.5818 | 39.4918 | 40.3686 | 41.223 | 43.3407 | 43.8372 | 43.3761 | 43.0181 | 43.815 | 52.1486 | 52.3821 | 52.7097 | 53.1312 | 53.6467 | 54.2562 | 54.9596
Cumulative Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 3.9075 | 8.2923 | 13.2506 | 18.7936 | 24.9095 | 31.5818 | 38.9112 | 46.4624 | 53.9276 | 61.7038 | 69.1282 | 76.4046 | 82.9364 | 88.7562 | 94.4076 | 99.82 | 105.1484 | 111.1272 | 116.3175 | 120.5343 | 124.165 | 127.472 | 130.3338 | 133.173 | 135.9817 | 138.7521 | 141.4763 | 144.1464 | 146.7547
Other_A | 8.7481 | 18.4717 | 29.2894 | 40.9697 | 53.0051 | 63.7361 | 74.8759 | 86.7525 | 98.9117 | 111.3221 | 123.4353 | 135.4239 | 145.5095 | 154.5183 | 163.2122 | 170.4456 | 177.4148 | 184.4115 | 191.3675 | 197.8847 | 203.7623 | 209.4343 | 214.4575 | 219.4533 | 224.4103 | 229.317 | 234.162 | 238.9338 | 243.6212
Peak_B | 1.6537 | 3.2151 | 4.8672 | 6.459 | 7.7007 | 8.7388 | 9.716 | 10.652 | 11.5129 | 12.3419 | 13.1276 | 13.9049 | 14.6276 | 15.3091 | 15.9905 | 16.6493 | 17.2406 | 17.8595 | 18.3159 | 18.6007 | 18.8483 | 19.1318 | 19.3777 | 19.6229 | 19.8669 | 20.109 | 20.3489 | 20.5859 | 20.8194
Other_B | 1.2997 | 2.3262 | 3.4031 | 4.5186 | 5.3455 | 6.0458 | 6.7248 | 7.4573 | 8.2212 | 9.0369 | 9.8404 | 10.6471 | 11.4518 | 12.2612 | 12.9682 | 13.6595 | 14.4186 | 15.2003 | 15.9346 | 16.6369 | 17.2949 | 17.9314 | 18.442 | 18.9507 | 19.4567 | 19.9592 | 20.4577 | 20.9512 | 21.4392
Peak_C | 0.17701 | 0.37053 | 0.57998 | 0.80373 | 1.0415 | 1.2932 | 1.5562 | 1.83 | 2.1101 | 2.3941 | 2.6782 | 2.9635 | 3.2302 | 3.4715 | 3.7101 | 3.946 | 4.1798 | 4.4105 | 4.6226 | 4.8088 | 4.9866 | 5.1615 | 5.3325 | 5.5028 | 5.6721 | 5.8402 | 6.0067 | 6.1713 | 6.3338
Other_C | 0.24226 | 0.53005 | 0.86845 | 1.2387 | 1.6444 | 2.0951 | 2.581 | 3.1004 | 3.5941 | 4.0766 | 4.5453 | 5.0085 | 5.2632 | 5.5043 | 5.7371 | 5.9594 | 6.1679 | 6.3878 | 6.5839 | 6.7363 | 6.871 | 6.9893 | 7.1018 | 7.2137 | 7.3246 | 7.4344 | 7.5429 | 7.6498 | 7.7549
Peak_D | 1.5478 | 3.3187 | 5.3035 | 7.4905 | 9.8699 | 12.4307 | 15.1606 | 18.0385 | 20.8658 | 23.6394 | 26.2796 | 28.8298 | 30.0924 | 31.1919 | 32.2857 | 33.3759 | 34.4217 | 35.4187 | 36.2754 | 36.8597 | 37.3786 | 37.8877 | 38.3757 | 38.8617 | 39.3448 | 39.8239 | 40.2981 | 40.7665 | 41.2281
Other_D | 1.1607 | 2.466 | 4.0405 | 5.7572 | 7.623 | 9.6446 | 11.7533 | 13.9916 | 16.2341 | 18.504 | 20.7386 | 22.8875 | 24.6297 | 26.2987 | 27.878 | 29.3683 | 30.7623 | 32.3075 | 33.6411 | 34.8002 | 35.849 | 36.8243 | 37.7248 | 38.6198 | 39.5075 | 40.3858 | 41.253 | 42.107 | 42.946
Total | 18.7368 | 38.9907 | 61.6027 | 86.031 | 111.1396 | 135.5661 | 161.2789 | 188.2847 | 215.3775 | 243.0189 | 269.7732 | 296.0698 | 317.7408 | 337.3112 | 356.1893 | 373.224 | 389.7542 | 407.123 | 423.0585 | 436.8615 | 449.1558 | 460.8322 | 471.1459 | 481.398 | 491.5646 | 501.6217 | 511.5455 | 521.312 | 530.8973
Incremental Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.86767 | 1.0637 | 1.021 | 1.3376 | 1.5567 | 1.4424 | 1.6254 | 1.64 | 1.9369 | 1.8766 | 1.889 | 1.6157 | 1.5846 | 1.264 | 1.735 | 1.3777 | 1.1519 | 1.3276 | 1.2596 | 1.0941 | 0.87615 | 0.84176 | 0.61642 | 0.6952 | 0.62348 | 0.74642 | 0.87927 | 0.62531 | 0.64442
Other_A | 1.0841 | 1.2049 | 1.4122 | 1.506 | 1.5034 | 1.4004 | 1.3745 | 1.4374 | 1.6203 | 1.6001 | 1.506 | 1.4857 | 1.2498 | 1.0903 | 1.0216 | 0.90355 | 0.90947 | 0.86707 | 0.85728 | 0.86844 | 0.75783 | 0.7085 | 0.65294 | 0.62555 | 0.61515 | 0.6832 | 0.60833 | 0.68445 | 0.65911
Peak_B | 0.38866 | 0.37801 | 0.40984 | 0.38693 | 0.30815 | 0.24817 | 0.22951 | 0.23768 | 0.21656 | 0.20153 | 0.19488 | 0.18268 | 0.17495 | 0.17306 | 0.18069 | 0.1635 | 0.14136 | 0.14545 | 0.11046 | 0.071618 | 0.060191 | 0.070357 | 0.058658 | 0.05968 | 0.062802 | 0.062457 | 0.066085 | 0.059951 | 0.059293
Other_B | 0.15471 | 0.12136 | 0.15027 | 0.1426 | 0.099396 | 0.097604 | 0.080342 | 0.087846 | 0.10961 | 0.10428 | 0.096103 | 0.096024 | 0.095135 | 0.09706 | 0.072275 | 0.083103 | 0.1058 | 0.093054 | 0.086297 | 0.10076 | 0.084122 | 0.07651 | 0.070905 | 0.060853 | 0.062448 | 0.075849 | 0.054969 | 0.076695 | 0.067133
Peak_C | 0.035184 | 0.04034 | 0.040777 | 0.046616 | 0.052407 | 0.043668 | 0.05212 | 0.054136 | 0.055717 | 0.059167 | 0.06256 | 0.056727 | 0.055581 | 0.047717 | 0.055493 | 0.051985 | 0.040559 | 0.045851 | 0.043956 | 0.037036 | 0.037065 | 0.038528 | 0.029546 | 0.035787 | 0.034097 | 0.034492 | 0.040525 | 0.030467 | 0.035169
Other_C | 0.032371 | 0.037981 | 0.045515 | 0.048984 | 0.054941 | 0.06111 | 0.064659 | 0.067371 | 0.067504 | 0.063835 | 0.063285 | 0.061894 | 0.033624 | 0.031275 | 0.032326 | 0.030113 | 0.028266 | 0.029386 | 0.025686 | 0.020839 | 0.01783 | 0.016013 | 0.015202 | 0.01496 | 0.014838 | 0.015815 | 0.016288 | 0.016117 | 0.016143
Peak_D | 0.34546 | 0.43392 | 0.43376 | 0.53472 | 0.61453 | 0.58115 | 0.60834 | 0.66798 | 0.75721 | 0.67816 | 0.68145 | 0.56919 | 0.30937 | 0.25519 | 0.34068 | 0.28155 | 0.23735 | 0.22253 | 0.21045 | 0.15649 | 0.12687 | 0.13147 | 0.11033 | 0.11962 | 0.11334 | 0.13081 | 0.15073 | 0.11088 | 0.10906
Other_D | 0.1605 | 0.17901 | 0.22473 | 0.23918 | 0.26045 | 0.28561 | 0.29035 | 0.30349 | 0.32166 | 0.31623 | 0.31098 | 0.29715 | 0.23893 | 0.2263 | 0.22296 | 0.20804 | 0.19695 | 0.21366 | 0.18178 | 0.16626 | 0.14613 | 0.13614 | 0.12679 | 0.12378 | 0.12273 | 0.13028 | 0.12875 | 0.12943 | 0.12734
Total | 3.0687 | 3.4593 | 3.7382 | 4.2427 | 4.45 | 4.1601 | 4.3252 | 4.4959 | 5.0854 | 4.8999 | 4.8043 | 4.3651 | 3.7419 | 3.1849 | 3.6611 | 3.0995 | 2.8116 | 2.9446 | 2.7755 | 2.5155 | 2.1062 | 2.0193 | 1.6808 | 1.7354 | 1.6489 | 1.8793 | 1.9449 | 1.7333 | 1.7177
Cumulative Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.86767 | 1.9314 | 2.9524 | 4.2901 | 5.8468 | 7.2892 | 8.9146 | 10.5546 | 12.4915 | 14.3681 | 16.2571 | 17.8728 | 19.4574 | 20.7214 | 22.4564 | 23.8341 | 24.986 | 26.3136 | 27.5732 | 28.6673 | 29.5434 | 30.3852 | 31.0016 | 31.6968 | 32.3203 | 33.0667 | 33.946 | 34.5713 | 35.2157
Other_A | 1.0841 | 2.2891 | 3.7013 | 5.2073 | 6.7107 | 8.111 | 9.4855 | 10.9229 | 12.5432 | 14.1433 | 15.6493 | 17.135 | 18.3848 | 19.4751 | 20.4967 | 21.4003 | 22.3098 | 23.1768 | 24.0341 | 24.9025 | 25.6604 | 26.3689 | 27.0218 | 27.6474 | 28.2625 | 28.9457 | 29.554 | 30.2385 | 30.8976
Peak_B | 0.38866 | 0.76667 | 1.1765 | 1.5634 | 1.8716 | 2.1198 | 2.3493 | 2.587 | 2.8035 | 3.005 | 3.1999 | 3.3826 | 3.5575 | 3.7306 | 3.9113 | 4.0748 | 4.2162 | 4.3616 | 4.4721 | 4.5437 | 4.6039 | 4.6742 | 4.7329 | 4.7926 | 4.8554 | 4.9178 | 4.9839 | 5.0439 | 5.1032
Other_B | 0.15471 | 0.27607 | 0.42634 | 0.56895 | 0.66834 | 0.76595 | 0.84629 | 0.93414 | 1.0437 | 1.148 | 1.2441 | 1.3401 | 1.4353 | 1.5323 | 1.6046 | 1.6877 | 1.7935 | 1.8866 | 1.9729 | 2.0736 | 2.1578 | 2.2343 | 2.3052 | 2.366 | 2.4285 | 2.5043 | 2.5593 | 2.636 | 2.7031
Peak_C | 0.035184 | 0.075524 | 0.1163 | 0.16292 | 0.21532 | 0.25899 | 0.31111 | 0.36525 | 0.42096 | 0.48013 | 0.54269 | 0.59942 | 0.655 | 0.70272 | 0.75821 | 0.8102 | 0.85075 | 0.8966 | 0.94056 | 0.9776 | 1.0147 | 1.0532 | 1.0827 | 1.1185 | 1.1526 | 1.1871 | 1.2276 | 1.2581 | 1.2933
Other_C | 0.032371 | 0.070352 | 0.11587 | 0.16485 | 0.21979 | 0.2809 | 0.34556 | 0.41293 | 0.48044 | 0.54427 | 0.60755 | 0.66945 | 0.70307 | 0.73435 | 0.76667 | 0.79679 | 0.82505 | 0.85444 | 0.88012 | 0.90096 | 0.91879 | 0.93481 | 0.95001 | 0.96497 | 0.97981 | 0.99562 | 1.0119 | 1.028 | 1.0442
Peak_D | 0.34546 | 0.77938 | 1.2131 | 1.7479 | 2.3624 | 2.9435 | 3.5519 | 4.2199 | 4.9771 | 5.6552 | 6.3367 | 6.9059 | 7.2152 | 7.4704 | 7.8111 | 8.0927 | 8.33 | 8.5525 | 8.763 | 8.9195 | 9.0463 | 9.1778 | 9.2881 | 9.4078 | 9.5211 | 9.6519 | 9.8026 | 9.9135 | 10.0226
Other_D | 0.1605 | 0.33951 | 0.56424 | 0.80341 | 1.0639 | 1.3495 | 1.6398 | 1.9433 | 2.265 | 2.5812 | 2.8922 | 3.1893 | 3.4283 | 3.6546 | 3.8775 | 4.0856 | 4.2825 | 4.4962 | 4.678 | 4.8442 | 4.9903 | 5.1265 | 5.2533 | 5.3771 | 5.4998 | 5.6301 | 5.7588 | 5.8883 | 6.0156
Total | 3.0687 | 6.528 | 10.2661 | 14.5088 | 18.9588 | 23.1188 | 27.444 | 31.9399 | 37.0254 | 41.9253 | 46.7295 | 51.0946 | 54.8366 | 58.0215 | 61.6826 | 64.7821 | 67.5937 | 70.5383 | 73.3138 | 75.8294 | 77.9355 | 79.9548 | 81.6356 | 83.3711 | 85.0199 | 86.8993 | 88.8442 | 90.5775 | 92.2952
Savings-Weighted LCOE ($/MWh) Real Dollars (2019)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 62.58 | 62.178 | 62.4614 | 61.4739 | 60.8185 | 60.546 | 59.9802 | 59.8504 | 60.3464 | 59.7441 | 62.4233 | 64.3441 | 67.4393 | 67.6851 | 70.597 | 69.6085 | 68.8973 | 71.8853 | 71.532 | 74.3093 | 74.9244 | 74.5603 | 74.724 | 74.7258 | 74.7215 | 74.7215 | 74.7215 | 74.7215 | 74.7215
Other_A | 19.5111 | 13.7527 | 9.5918 | 9.7126 | 12.579 | 44.623 | 46.7869 | 46.8834 | 45.5381 | 46.006 | 45.69 | 44.8597 | 44.4603 | 44.4863 | 44.0234 | 45.6753 | 45.4626 | 44.8336 | 44.6407 | 42.4713 | 41.8741 | 41.8999 | 35.8414 | 35.8382 | 35.8075 | 35.8075 | 35.8075 | 35.8075 | 35.8075
Peak_B | 52.193 | 51.6054 | 55.5543 | 15.2236 | 15.7061 | 17.7305 | 18.4476 | 19.3761 | 7.356 | 7.8323 | 9.7839 | 11.0519 | 9.3925 | 9.5186 | 10.0018 | 10.1515 | 8.3264 | 9.0474 | 7.4798 | 1.5962 | -4.4224 | -6.3961 | -5.5087 | -5.5082 | -5.5094 | -5.5094 | -5.5094 | -5.5094 | -5.5094
Other_B | 17.8954 | 18.6745 | 21.0586 | 13.6322 | 16.2295 | 18.3182 | 15.9592 | 17.6036 | 17.5457 | 18.6718 | 18.8473 | 17.1108 | 19.0097 | 19.7935 | 20.4304 | 21.2669 | 22.9237 | 24.5068 | 24.7512 | 24.0954 | 26.0102 | 27.7409 | 13.7095 | 13.7057 | 13.7112 | 13.7112 | 13.7112 | 13.7112 | 13.7112
Peak_C | 208.8545 | 207.8937 | 207.5527 | 207.2602 | 207.0689 | 206.8097 | 206.778 | 206.7343 | 206.7369 | 206.8541 | 207.4544 | 207.5895 | 206.1495 | 204.4084 | 204.4687 | 205.1834 | 205.7885 | 206.2413 | 197.7643 | 198.1623 | 198.7392 | 197.77 | 197.2737 | 196.5463 | 197.8005 | 197.8005 | 197.8005 | 197.8005 | 197.8005
Other_C | 173.22 | 170.6715 | 165.9781 | 164.6213 | 163.438 | 162.3938 | 160.3383 | 158.6334 | 160.0718 | 160.425 | 160.981 | 161.157 | 160.9181 | 157.8807 | 157.9534 | 159.231 | 159.2548 | 155.8182 | 158.5425 | 159.2935 | 162.0564 | 163.7706 | 165.9627 | 166.0274 | 165.8995 | 165.8995 | 165.8995 | 165.8995 | 165.8995
Peak_D | 859.7849 | 841.0114 | 826.5721 | 815.0256 | 805.51 | 797.1564 | 789.3402 | 783.289 | 782.5347 | 779.8916 | 666.3063 | 597.2858 | 648.4286 | 667.9826 | 672.4074 | 678.9397 | 674.3748 | 669.7056 | 673.3978 | 725.5885 | 736.2018 | 745.5798 | 739.093 | 738.682 | 739.3967 | 739.3967 | 739.3967 | 739.3967 | 739.3967
Other_D | 1551.661 | 1488.9915 | 1317.7188 | 1272.6734 | 1232.8571 | 1192.5585 | 1157.7835 | 1127.4287 | 1132.8902 | 1125.5414 | 1088.5389 | 1040.9521 | 1055.3419 | 1047.8574 | 1060.6269 | 1071.7132 | 1081.8417 | 997.3811 | 1000.4177 | 979.1037 | 966.0625 | 949.8601 | 871.7421 | 871.9797 | 871.2809 | 871.2809 | 871.2809 | 871.2809 | 871.2809
Total | 176.393 | 168.4046 | 160.5714 | 149.3687 | 151.1942 | 171.9846 | 169.2542 | 167.8595 | 161.0817 | 158.5886 | 147.0651 | 135.6594 | 124.9414 | 123.5511 | 124.1733 | 125.1376 | 124.3213 | 122.9886 | 119.9239 | 114.8579 | 115.7511 | 115.3172 | 95.5677 | 95.3714 | 95.0637 | 94.6858 | 94.2205 | 93.6725 | 93.0476
Savings-Weighted LCOE ($/MWh) Nominal Dollars
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 62.58 | 63.4837 | 65.1124 | 65.4287 | 66.0904 | 67.176 | 67.9457 | 69.2225 | 71.2619 | 72.0321 | 76.843 | 80.8709 | 86.541 | 88.6804 | 94.438 | 95.0711 | 96.0758 | 102.3476 | 103.9833 | 110.289 | 113.5371 | 115.3582 | 118.0393 | 120.521 | 123.0449 | 125.6288 | 128.267 | 130.9606 | 133.7108
Other_A | 19.5111 | 14.0415 | 9.9989 | 10.3375 | 13.6694 | 49.5094 | 53.0004 | 54.2249 | 53.775 | 55.4684 | 56.2444 | 56.3818 | 57.0534 | 58.2855 | 58.8903 | 62.3832 | 63.3967 | 63.8325 | 64.8924 | 63.0354 | 63.4541 | 64.8267 | 56.6175 | 57.8014 | 58.9647 | 60.2029 | 61.4672 | 62.758 | 64.0759
Peak_B | 52.193 | 52.6891 | 57.9121 | 16.203 | 17.0676 | 19.672 | 20.8975 | 22.4103 | 8.6866 | 9.4432 | 12.044 | 13.8905 | 12.0528 | 12.4712 | 13.3794 | 13.8649 | 11.611 | 12.8813 | 10.8731 | 2.3691 | -6.7015 | -9.8958 | -8.7019 | -8.8839 | -9.0724 | -9.263 | -9.4575 | -9.6561 | -9.8589
Other_B | 17.8954 | 19.0667 | 21.9523 | 14.5091 | 17.6363 | 20.3241 | 18.0786 | 20.3601 | 20.7194 | 22.5122 | 23.2011 | 21.5057 | 24.3941 | 25.9333 | 27.3298 | 29.0463 | 31.9666 | 34.8918 | 35.9798 | 35.7621 | 39.4147 | 42.9202 | 21.6564 | 22.1052 | 22.5783 | 23.0525 | 23.5366 | 24.0308 | 24.5355
Peak_C | 208.8545 | 212.2594 | 216.3614 | 220.5937 | 225.0183 | 229.4561 | 234.2388 | 239.1072 | 244.1316 | 249.3996 | 255.3761 | 260.9087 | 264.54 | 267.8141 | 273.5188 | 280.2389 | 286.9677 | 293.6386 | 287.4823 | 294.1102 | 301.1607 | 305.9856 | 311.6274 | 316.9983 | 325.7206 | 332.5607 | 339.5445 | 346.6749 | 353.9551
Other_C | 173.22 | 174.2556 | 173.0223 | 175.2118 | 177.6054 | 180.1765 | 181.6317 | 183.4741 | 189.0257 | 193.4211 | 198.1674 | 202.5501 | 206.497 | 206.8539 | 211.2951 | 217.4772 | 222.0774 | 221.8481 | 230.4671 | 236.4217 | 245.5733 | 253.3824 | 262.1663 | 267.7761 | 273.1888 | 278.9258 | 284.7832 | 290.7637 | 296.8697
Peak_D | 859.7849 | 858.6726 | 861.6526 | 867.4581 | 875.3343 | 884.4478 | 894.1671 | 905.9458 | 924.0799 | 940.2989 | 820.2218 | 750.6982 | 832.0915 | 875.1849 | 899.4828 | 927.2937 | 940.4013 | 953.5019 | 978.8926 | 1076.9103 | 1115.6082 | 1153.5454 | 1167.5229 | 1191.3779 | 1217.5738 | 1243.1429 | 1269.2489 | 1295.9031 | 1323.1171
Other_D | 1551.661 | 1520.2603 | 1373.6441 | 1354.5474 | 1339.7252 | 1323.148 | 1311.5408 | 1303.9751 | 1337.8079 | 1357.0416 | 1339.9894 | 1308.3198 | 1354.2602 | 1372.8934 | 1418.806 | 1463.7426 | 1508.6051 | 1420.034 | 1454.269 | 1453.1745 | 1463.9292 | 1469.6036 | 1377.0647 | 1406.3662 | 1434.7492 | 1464.8789 | 1495.6414 | 1527.0499 | 1559.1179
Total | 176.393 | 171.9411 | 167.3862 | 158.9779 | 164.3002 | 190.8175 | 191.7317 | 194.145 | 190.2183 | 191.207 | 181.0369 | 170.5035 | 160.3302 | 161.8756 | 166.1072 | 170.9126 | 173.3633 | 175.1066 | 174.3288 | 170.4708 | 175.4042 | 178.4163 | 150.9654 | 153.819 | 156.5426 | 159.1947 | 161.7389 | 164.1751 | 166.5045
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 281824.8175 | 256304.9099 | 303322.4179 | 254740.0507 | 238939.6153 | 280072.6309 | 270474.8258 | 275571.956 | 232584.6397 | 247571.5963 | 245339.5391 | 289769.2067 | 277992.587 | 311645.5979 | 229949.2072 | 273473.2971 | 318703.9109 | 323730.3761 | 294755.3868 | 286399.7581 | 310476.8618 | 292927.6308 | 346917.6562 | 305180.854 | 336615.525 | 277331.2597 | 231505.6277 | 319069.6104 | 302429.3259
Other_A | 157440.3598 | 110982.5481 | 73472.7407 | 75330.0727 | 100701.6162 | 341945.7855 | 379193.0922 | 387376.5817 | 341738.0016 | 356817.5536 | 367507.119 | 361984.5143 | 358788.4037 | 367570.2576 | 374626.3906 | 365655.0134 | 348380.0049 | 361774.4349 | 362220.9432 | 318723.6604 | 324770.7932 | 335431.2627 | 275738.9995 | 286213.4529 | 288542.1617 | 257166.2946 | 285186.6481 | 249643.5304 | 254650.2247
Peak_B | 222079.8312 | 213162.2351 | 223930.6461 | 62628.0037 | 63289.8909 | 74168.6691 | 78539.3278 | 76305.0714 | 29244.1642 | 32220.9168 | 39445.9383 | 47025.3961 | 38796.6548 | 37485.1232 | 37715.6175 | 40906.8796 | 34830.4597 | 38496.2065 | 30908.4538 | 6345.8985 | -18193.232 | -25773.7739 | -23092.0567 | -22631.3495 | -21402.738 | -21363.4799 | -19995.6852 | -21776.3651 | -21698.8255
Other_B | 150336.0057 | 157955.987 | 150916.5165 | 106629.8749 | 135013.3052 | 131431.9987 | 134878.5427 | 146788.6466 | 122289.8392 | 146049.8583 | 157591.2983 | 143745.2364 | 160791.1139 | 165049.7562 | 199858.6486 | 176919.4978 | 164475.8416 | 205877.3087 | 210610.4959 | 167940.0597 | 203450.157 | 230776.6022 | 98731.0934 | 114564.4221 | 111092.3225 | 90846.5303 | 124323.9128 | 88237.092 | 99664.6601
Peak_C | 1050717.775 | 997318.3298 | 1066137.111 | 994769.3657 | 939572.289 | 1192151.7843 | 1043205.8954 | 1045744.4148 | 1039324.4377 | 992819.9328 | 941889.7303 | 1044353.9615 | 988951.3856 | 1033979.3899 | 879076.3163 | 931016.8512 | 1186265.3426 | 1037571.0799 | 954188.7499 | 996217.3104 | 953871.5891 | 897378.6365 | 1141792.634 | 935438.1956 | 982384.5189 | 963832.1301 | 812690.6568 | 1068868.1947 | 913824.6922
Other_C | 1296322.7795 | 1293229.5473 | 1234035.9447 | 1244444.0097 | 1206723.9297 | 1197690.8509 | 1204986.4457 | 1222969.4897 | 1170605.9078 | 1212722.2907 | 1192122.0335 | 1206047.6394 | 1219324.7692 | 1217166.8348 | 1137153.7161 | 1175661.9349 | 1174540.3678 | 1166093.1599 | 1210282.8039 | 1164914.3373 | 1225054.5888 | 1209179.4444 | 1228749.2156 | 1241360.2651 | 1240388.2532 | 1151877.0339 | 1104646.581 | 1100235.1813 | 1080040.6113
Peak_D | 3852146.2073 | 3432320.0389 | 3782292.7371 | 3333380.5494 | 3118923.048 | 3512657.0774 | 3542110.2019 | 3374718.6345 | 2921840.5984 | 3189685.5867 | 2581524.0833 | 2676055.5442 | 2646354.8114 | 2877933.0461 | 2158947.9925 | 2628844.4277 | 2971622.0647 | 3000522.4747 | 2741149.5809 | 2709214.1723 | 3010998.0653 | 2886873.9472 | 3269366.281 | 3001272.0909 | 3151173.1319 | 2708109.4633 | 2326342.156 | 3123519.6025 | 3129573.2856
Other_D | 11221304.9644 | 10857312.0689 | 9232175.7421 | 9134999.3465 | 8831681.0428 | 8440985.745 | 8408269.3128 | 8315091.0769 | 7898272.1639 | 8078914.7842 | 7821998.8174 | 7527959.4092 | 7695260.2709 | 7728230.9744 | 7512674.098 | 7677312.4138 | 7657326.4187 | 7212862.4594 | 7339119.8624 | 6826104.7043 | 6934206.296 | 6804406.4195 | 6191310.5627 | 6305057.3843 | 6301458.2252 | 5874056.9065 | 5868355.4199 | 5748891.9146 | 5740953.5835
Total | 1242910.5419 | 1200287.0313 | 1204921.5452 | 1104603.7809 | 1135748.3245 | 1391898.5564 | 1420123.8329 | 1438706.7252 | 1272296.4999 | 1341477.0808 | 1273518.6426 | 1311799.2084 | 1272546.5699 | 1496691.9298 | 1339437.7784 | 1629822.4713 | 1822755.6086 | 1810223.2335 | 1894114.2542 | 1980532.9654 | 2364183.046 | 2502178.6503 | 2965099.788 | 2878685.0036 | 3038900.4757 | 2676897.7888 | 2598862.9843 | 2932152.0197 | 2977209.3266
Savings-Weighted LCOE ($/MW) Nominal Dollars - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 281824.8175 | 261687.313 | 316195.7247 | 271128.0541 | 259651.675 | 310741.5885 | 306394.7379 | 318724.3275 | 274654.6564 | 298491.8625 | 302012.533 | 364196.1872 | 356732.0422 | 408315.2908 | 307604.2318 | 373508.9888 | 444425.8035 | 460915.2391 | 428474.6259 | 425071.264 | 470483.1583 | 453211.5016 | 548015.3578 | 492208.7751 | 554309.0283 | 466275.2638 | 397402.7308 | 559217.1456 | 541183.6656
Other_A | 157440.3598 | 113313.1816 | 76590.9973 | 80176.2266 | 109430.7584 | 379390.0754 | 429551.1337 | 448036.6663 | 403551.7288 | 430207.4135 | 452400.6051 | 454959.9366 | 460412.7088 | 481587.2825 | 501139.6407 | 499410.4938 | 485808.4833 | 515080.9515 | 526546.7235 | 473046.0322 | 492143.5614 | 518972.2317 | 435576.5808 | 461617.3367 | 475146.0149 | 432372.0377 | 489551.6099 | 437537.5714 | 455685.1146
Peak_B | 222079.8312 | 217638.6421 | 233434.4866 | 66657.0048 | 68776.0636 | 82290.4044 | 88969.5988 | 88253.8373 | 34533.8621 | 38848.0812 | 48557.8794 | 59103.8301 | 49785.5358 | 49112.6751 | 50452.3746 | 55870.4905 | 48570.3328 | 54809.4635 | 44930.4365 | 9418.5105 | -27569.234 | -39876.6438 | -36477.8255 | -36500.8115 | -35244.1585 | -35918.2813 | -34324.6079 | -38166.3321 | -38829.0716
Other_B | 150336.0057 | 161273.0627 | 157321.5643 | 113489.6158 | 146716.6957 | 145824.2739 | 152790.8396 | 169774.5784 | 144409.6816 | 176089.2398 | 193994.6059 | 180666.0812 | 206334.0719 | 216246.7227 | 267351.9374 | 241636.1065 | 229358.0516 | 293120.436 | 306156.4181 | 249254.7268 | 308299.536 | 357052.7305 | 155962.5303 | 184774.4153 | 182937.1278 | 152739.6872 | 213414.5201 | 154648.682 | 178345.423
Peak_C | 1050717.775 | 1018262.0147 | 1111385.0361 | 1058765.1282 | 1021017.4578 | 1322696.6803 | 1181746.9367 | 1209499.6536 | 1227317.9209 | 1197022.0945 | 1159464.5706 | 1312595.4106 | 1269064.9463 | 1354710.6009 | 1175944.889 | 1271579.9546 | 1654221.7085 | 1477255.0173 | 1387067.6705 | 1478574.4031 | 1445455.5977 | 1388405.451 | 1803655.3854 | 1508714.8566 | 1617704.9711 | 1620484.7633 | 1395065.3791 | 1873351.1477 | 1635248.1529
Other_C | 1296322.7795 | 1320387.3678 | 1286409.6642 | 1324501.9065 | 1311326.6678 | 1328842.2945 | 1365012.4556 | 1414476.7626 | 1382345.6438 | 1462153.7386 | 1467500.0875 | 1515819.9756 | 1564689.9789 | 1594721.162 | 1521176.3479 | 1605715.4582 | 1637871.4813 | 1660239.9629 | 1759341.7964 | 1728952.6119 | 1856394.5431 | 1870817.1373 | 1941018.0745 | 2002119.0958 | 2042562.9727 | 1936643.4511 | 1896237.1333 | 1928326.4764 | 1932684.0583
Peak_D | 3852146.2073 | 3504398.7597 | 3942817.0231 | 3547824.4569 | 3389281.3984 | 3897305.6255 | 4012513.6361 | 3903172.6701 | 3450344.4723 | 3845736.7706 | 3177851.5216 | 3363398.1917 | 3395916.2962 | 3770642.282 | 2888035.7828 | 3590467.6415 | 4143863.5628 | 4272032.0239 | 3984704.2464 | 4020984.8653 | 4562735.7582 | 4466510.9706 | 5164519.3039 | 4840580.3971 | 5189076.5193 | 4553127.0289 | 3993400.6559 | 5474434.6039 | 5600230.5239
Other_D | 11221304.9644 | 11085315.6223 | 9623998.5128 | 9722674.5087 | 9597239.7568 | 9365303.9576 | 9524914.0629 | 9617168.0534 | 9326915.2724 | 9740577.4979 | 9628866.5306 | 9461509.5414 | 9874888.902 | 10125459.4914 | 10049742.6035 | 10485649.704 | 10677978.3041 | 10269404.6353 | 10668597.6877 | 10131226.9755 | 10507795.2012 | 10527635.2473 | 9780226.5546 | 10169067.0664 | 10376690.6941 | 9876014.1096 | 10073623.2298 | 10075791.6826 | 10273178.0218
Total | 1242910.5419 | 1225493.059 | 1256059.6205 | 1175665.4397 | 1234198.6674 | 1544316.4403 | 1608720.768 | 1663996.7293 | 1502430.077 | 1617390.6789 | 1567699.1674 | 1648733.7473 | 1632986.4823 | 1960952.4555 | 1791772.7737 | 2226006.5232 | 2541793.8034 | 2577328.345 | 2753401.4066 | 2939484.5045 | 3582580.3568 | 3871318.456 | 4683878.7023 | 4642866.6832 | 5004195.7211 | 4500651.0411 | 4461210.1103 | 5139034.3342 | 5327582.0777
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | Total $/MW (Cumulative)
Peak_A | 281824.8175 | 266956.1485 | 280328.6586 | 269300.1678 | 259109.7353 | 262326.7401 | 261807.8585 | 263468.2138 | 260524.2917 | 256571.7407 | 265435.8259 | 275064.7702 | 287457.1277 | 289916.5931 | 296792.235 | 291528.8663 | 289940.2629 | 303585.1533 | 301757.7945 | 312440.6042 | 314891.857 | 312795.7277 | 314147.4081 | 313958.0506 | 314377.4738 | 313541.2191 | 311416.338 | 311554.7666 | 311387.7781 | 276381.2792
Other_A | 157440.3598 | 110978.6434 | 75902.6592 | 76416.6325 | 99356.8792 | 350645.137 | 369321.8679 | 372359.0218 | 359098.9392 | 362113.2991 | 360384.9415 | 354541.8731 | 351888.6282 | 352960.5796 | 350551.0567 | 363787.2346 | 361534.5385 | 356728.6183 | 355443.7814 | 337492.4108 | 332511.0153 | 332789.3896 | 284453.6567 | 284468.7096 | 284319.2185 | 283678.334 | 283709.3805 | 282938.2941 | 282334.8482 | 289154.3212
Peak_B | 222079.8312 | 216415.4444 | 229824.7415 | 62892.2457 | 64622.8437 | 73094.5018 | 76293.9774 | 79782.3288 | 30208.2455 | 32167.6809 | 40138.5261 | 45431.1882 | 38618.9822 | 39060.9031 | 40890.0247 | 41478.2641 | 34048.2728 | 37046.276 | 30634.5698 | 6534.5968 | -18105.3678 | -26179.2939 | -22553.9275 | -22553.1921 | -22543.0693 | -22528.0884 | -22494.5094 | -22485.9736 | -22476.8278 | 81329.7681
Other_B | 150336.0057 | 157354.0388 | 168092.9667 | 108266.5088 | 129804.7097 | 144588.9739 | 126814.5712 | 140530.4733 | 138201.4701 | 146978.8754 | 149073.5822 | 135940.866 | 151674.3896 | 158379.0071 | 165113.6311 | 172122.9841 | 184289.905 | 197453.6942 | 199912.1954 | 193319.5064 | 208478.062 | 222638.7684 | 109679.7607 | 109776.4528 | 109852.534 | 109276.893 | 109600.0749 | 108978.5114 | 108747.1963 | 149034.3252
Peak_C | 1050717.775 | 1019943.6014 | 1035053.2341 | 1022485.4944 | 1001591.3688 | 1032678.7052 | 1034310.6529 | 1035818.8235 | 1036294.4537 | 1031451.7986 | 1023776.041 | 1026327.0257 | 1016640.2509 | 1009814.1458 | 1000521.4745 | 999334.7253 | 1011053.1908 | 1014519.8744 | 971949.8869 | 974751.3309 | 976722.6186 | 969231.2317 | 971574.3196 | 966950.0618 | 973394.5509 | 973116.7131 | 967821.011 | 970268.0387 | 968733.1263 | 998768.2436
Other_C | 1296322.7795 | 1285877.2328 | 1244042.085 | 1237014.239 | 1222773.4412 | 1211203.6542 | 1197578.2373 | 1191064.4034 | 1197472.6946 | 1201593.6154 | 1204337.6629 | 1205690.8125 | 1204640.5132 | 1183404.4576 | 1181976.5895 | 1190936.6788 | 1190546.8892 | 1164898.0129 | 1185995.051 | 1190996.1058 | 1211913.3892 | 1224466.1818 | 1240662.4682 | 1241149.0982 | 1240196.0864 | 1238793.1545 | 1236633.8387 | 1234495.4667 | 1232107.5707 | 1203654.9673
Peak_D | 3852146.2073 | 3581124.3872 | 3613551.7485 | 3492804.1934 | 3365374.6093 | 3366442.1822 | 3369174.6018 | 3348312.1653 | 3280694.7444 | 3260029.1629 | 2763323.7891 | 2493479.9583 | 2704385.3238 | 2789081.2386 | 2779267.5844 | 2800094.7247 | 2786691.9292 | 2773463.3378 | 2787610.3734 | 2998494.1959 | 3041913.5904 | 3077886.576 | 3053700.4597 | 3051357.2304 | 3055462.6726 | 3050755.0127 | 3039616.2585 | 3040554.6854 | 3041523.3501 | 3083213.0801
Other_D | 11221304.9644 | 10815133.5143 | 9436120.1234 | 9119937.1193 | 8833896.5859 | 8523097.1581 | 8298237.7764 | 8117283.7794 | 8119918.8373 | 8068676.3278 | 7805414.0482 | 7470132.2837 | 7581890.2809 | 7540510.4596 | 7625517.3099 | 7703802.6448 | 7771123.0693 | 7166724.9069 | 7194396.1243 | 7033738.9041 | 6939881.7354 | 6822981.9396 | 6260146.674 | 6262847.4382 | 6258802.0715 | 6249898.9485 | 6241369.0694 | 6230543.5081 | 6220180.0747 | 7829213.0022
Total | 1077021.5813 | 1005857.844 | 963521.8623 | 885693.4967 | 886326.8925 | 1008496.5079 | 994647.201 | 989525.157 | 937016.3149 | 919255.448 | 849018.4469 | 786083.8111 | 723950.6399 | 718271.5015 | 717044.849 | 720945.7666 | 716852.5369 | 709847.932 | 692022.5617 | 661709.3453 | 667093.1305 | 664648.4448 | 551552.4381 | 550689.7356 | 549635.1117 | 546569.1561 | 542500.7868 | 539125.1968 | 535225.4275 | 1635861.3932
Savings-Weighted LCOE ($/MW) Nominal Dollars - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 281824.8175 | 272562.2276 | 292226.0872 | 286624.8565 | 281570.2063 | 291052.459 | 296576.7699 | 304725.2357 | 307648.0457 | 309343.147 | 326751.0261 | 345714.9283 | 368877.3479 | 379846.1419 | 397020.4922 | 398169.2298 | 404315.5101 | 432233.222 | 438653.7581 | 463720.7916 | 477173.4504 | 483951.0055 | 496249.1853 | 506365.0142 | 517689.349 | 527154.8358 | 534577.5149 | 546046.2594 | 557214.4125
Other_A | 157440.3598 | 113309.1949 | 79124.0439 | 81332.6873 | 107969.4553 | 389042.0371 | 418368.9796 | 430667.4762 | 424052.9208 | 436592.3824 | 443633.2174 | 445605.6592 | 451558.6201 | 462445.8124 | 468933.9433 | 496859.4872 | 504152.1998 | 507896.906 | 516695.0228 | 500902.3981 | 503872.758 | 514884.7808 | 449342.8618 | 458803.3399 | 468192.0411 | 476946.559 | 487015.7312 | 495891.6175 | 505225.5022
Peak_B | 222079.8312 | 220960.1687 | 239578.7334 | 66938.2461 | 70224.5611 | 81098.6119 | 86426.0589 | 92275.6055 | 35672.3268 | 38783.8958 | 49410.4538 | 57100.1512 | 49557.5387 | 51177.2479 | 54698.7954 | 56650.8856 | 47479.5899 | 52745.1065 | 44532.3017 | 9698.5742 | -27436.0883 | -40504.0558 | -35627.759 | -36374.7559 | -37121.9563 | -37876.3302 | -38614.0915 | -39410.027 | -40221.2716
Other_B | 150336.0057 | 160658.4736 | 175227.0003 | 115231.5381 | 141056.6023 | 160421.9851 | 143655.9472 | 162536.4251 | 163199.4157 | 177209.3362 | 183509.3127 | 170857.1647 | 194635.0993 | 207506.7666 | 220873.3497 | 235085.0427 | 256988.3403 | 281127.2077 | 290604.7082 | 286922.613 | 315918.605 | 344462.0444 | 173257.8099 | 177052.173 | 180895.5525 | 183726.5376 | 188139.5691 | 191001.1173 | 194598.2127
Peak_C | 1050717.775 | 1041362.417 | 1078981.9284 | 1088264.2981 | 1088412.5523 | 1145760.7271 | 1171670.3779 | 1198019.7939 | 1223739.872 | 1243599.722 | 1260266.4723 | 1289938.2713 | 1304596.489 | 1323049.513 | 1338402.6989 | 1364888.2971 | 1409892.1014 | 1444435.5704 | 1412886.3557 | 1446714.8405 | 1480083.0558 | 1499574.283 | 1534766.6482 | 1559538.5464 | 1602901.0773 | 1636094.873 | 1661362.2593 | 1700539.6483 | 1733504.3242
Other_C | 1296322.7795 | 1312880.6547 | 1296840.4751 | 1316594.1619 | 1328767.403 | 1343834.7983 | 1356620.4137 | 1377575.594 | 1414072.1074 | 1448736.1291 | 1482537.5054 | 1515371.4979 | 1545846.5102 | 1550485.9957 | 1581136.1351 | 1626577.6564 | 1660192.2339 | 1658538.357 | 1724035.6196 | 1767662.8763 | 1836480.9398 | 1894468.4576 | 1959837.0803 | 2001778.5167 | 2042246.5292 | 2082774.9658 | 2122806.5571 | 2163637.6784 | 2204801.0372
Peak_D | 3852146.2073 | 3656327.9993 | 3766914.4983 | 3717504.1844 | 3657096.1791 | 3735079.6749 | 3816611.6416 | 3872631.1583 | 3874108.3215 | 3930548.5396 | 3401646.6337 | 3133928.2181 | 3470383.5452 | 3654229.4341 | 3717840.4767 | 3824360.7708 | 3885982.4348 | 3948753.6907 | 4052242.5224 | 4450330.9867 | 4609583.8028 | 4762041.7135 | 4823838.511 | 4921359.859 | 5031468.8995 | 5129214.788 | 5217807.5049 | 5329026.1957 | 5442669.1278
Other_D | 11221304.9644 | 11042251.3181 | 9836598.4976 | 9706643.2944 | 9599647.3504 | 9456406.8649 | 9400269.9906 | 9388385.7099 | 9588653.4982 | 9728233.2067 | 9608450.7094 | 9388829.5666 | 9729407.6555 | 9879509.7424 | 10200693.5458 | 10521829.9802 | 10836665.3052 | 10203715.7083 | 10458218.3279 | 10439395.2937 | 10516395.5157 | 10556374.9034 | 9888964.8834 | 10100989.0544 | 10306448.2682 | 10507914.9183 | 10713938.7349 | 10919958.0353 | 11130732.2564
Total | 1077021.5813 | 1026980.8587 | 1004414.6937 | 942672.1619 | 963156.5779 | 1118930.4924 | 1126739.4941 | 1144476.9083 | 1106504.2577 | 1108326.9438 | 1045140.1871 | 987988.7862 | 929004.5935 | 941072.9333 | 959194.5656 | 984665.5127 | 999635.5669 | 1010655.0187 | 1005966.7154 | 982101.4853 | 1010883.9709 | 1028330.1676 | 871270.7507 | 888176.0327 | 905091.067 | 918943.208 | 931257.2495 | 944897.4262 | 957761.8105
Financial Escalation Factor | 2.1%
LCOE Floor |  | Applies cap to negative levelized costs (e.g. when NEIs push costs negative or efficient option is cheaper than baseline option)
LCOE Ceiling |  | Applies cap to very high levelized costs (e.g. when a measure is an unusually small saver resulting in a near-infinite ratio)

## End Use Summary
Island | Maui
|  | Peak_A | Peak_B | Peak_C | Peak_D | Other_A | Other_B | Other_C | Other_D
|  | Peak |  |  |  | Other
| End Use | A | B | C | D | A | B | C | D
Cooling | Cooling | 108.3578 | 5.6121 | 2.5583 | 25.8701 | 20.3592 | 0.50971 | 0.5944 | 3.9143
Ventilation | Ventilation | 8.4178 | 0.41433 | 0.39217 | 1.6837 | 6.8621 | 0.48959 | 0.62803 | 1.1945
Water Heating | Water Heating | 1.6372 | 0.0088289 | 0.2828 | 0.18137 | 56.9689 | 9.125 | 0.17538 | 3.0371
Interior Lighting | Interior Lighting | 2.0687 | 15.4602 | 0.49012 | 1.1747 | 70.6599 | 5.8446 | 0.24406 | 0.91695
Exterior Lighting | Exterior Lighting | 0.91 | 1.8698 | 0.22111 | 0.45043 | 10.4704 | 2.652 | 0.033673 | 2.0996
Appliances | Res Appliances | 0.52161 | 0 | 0.62326 | 1.6433 | 16.3412 | 3.4532 | 1.7031 | 20.5495
Refrigeration | Com Refrigeration | 1.1676 | 0.0034871 | 0.0030303 | 0.52777 | 12.5363 | 0.48559 | 0.19025 | 2.9153
Electronics | Electronics | 5.9941 | 0 | 0.12989 | 0.0013543 | 4.2949 | 0.371 | 2.0451 | 0.32516
Office Equipment | Electronics | 0.16613 | 0 | 0 | 0.07676 | 4.7112 | 0.26884 | 0.0028296 | 0.37333
Food Preparation | Food Preparation | 0.27394 | 0.03972 | 0 | 0.00033061 | 1.8373 | 0.05774 | 1.6364e-05 | 0.0033415
Miscellaneous | Miscellaneous | 2.1068 | 0 | 0.60018 | 0.014206 | 15.4676 | 1.2207 | 1.0313 | 1.4676
| Total | 131.6217 | 23.4085 | 5.3009 | 31.624 | 220.509 | 24.478 | 6.6481 | 36.7967