## Summary
Incremental Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.073625 | 0.086384 | 0.10096 | 0.11722 | 0.12915 | 0.14168 | 0.1556 | 0.15833 | 0.16048 | 0.16787 | 0.16159 | 0.16032 | 0.1394 | 0.12222 | 0.12316 | 0.12 | 0.11983 | 0.13413 | 0.12869 | 0.096155 | 0.082001 | 0.07514 | 0.06632 | 0.065826 | 0.065163 | 0.064332 | 0.063332 | 0.062165 | 0.060829
Other_A | 0.17392 | 0.20451 | 0.23645 | 0.27396 | 0.26855 | 0.25628 | 0.27481 | 0.29898 | 0.31183 | 0.3181 | 0.31642 | 0.31756 | 0.26285 | 0.25633 | 0.24842 | 0.23095 | 0.22491 | 0.22479 | 0.23078 | 0.2166 | 0.19331 | 0.18495 | 0.16563 | 0.16484 | 0.16378 | 0.16244 | 0.16082 | 0.15893 | 0.15676
Peak_B | 0.068278 | 0.068501 | 0.071838 | 0.06934 | 0.051126 | 0.040488 | 0.037455 | 0.035302 | 0.031441 | 0.030879 | 0.030289 | 0.031602 | 0.033232 | 0.029834 | 0.032011 | 0.031327 | 0.028264 | 0.030762 | 0.027336 | 0.018449 | 0.016915 | 0.018487 | 0.01718 | 0.017149 | 0.017089 | 0.016999 | 0.016879 | 0.016729 | 0.016549
Other_B | 0.036392 | 0.034653 | 0.034008 | 0.029537 | 0.012485 | 0.0056766 | 0.0054934 | 0.0050161 | 0.004634 | 0.0047322 | 0.0039357 | 0.0027594 | 0.0020884 | 0.0019957 | 0.0019744 | 0.0019588 | 0.0043234 | 0.0043145 | 0.0040934 | 0.0024991 | 0.0023555 | 0.0022897 | 0.00056121 | 0.00056034 | 0.0005591 | 0.00055751 | 0.00055555 | 0.00055323 | 0.00055056
Peak_C | 0.0020498 | 0.0023463 | 0.0026471 | 0.0029809 | 0.0032567 | 0.0035247 | 0.0037771 | 0.0039652 | 0.0041095 | 0.0042919 | 0.0044237 | 0.0045568 | 0.0046041 | 0.0045595 | 0.0045461 | 0.0045395 | 0.0045415 | 0.0045291 | 0.0043278 | 0.0019106 | 0.0014504 | 0.0014316 | 0.0014139 | 0.0014025 | 0.0013856 | 0.0013631 | 0.0013351 | 0.0013016 | 0.0012625
Other_C | 0.013336 | 0.015161 | 0.016807 | 0.017888 | 0.019082 | 0.02051 | 0.021458 | 0.022099 | 0.021696 | 0.021626 | 0.021214 | 0.014807 | 0.014308 | 0.01463 | 0.01472 | 0.014249 | 0.014165 | 0.014072 | 0.013677 | 0.0053033 | 0.003575 | 0.0035282 | 0.0033764 | 0.003355 | 0.0033231 | 0.0032808 | 0.003228 | 0.0031648 | 0.0030911
Peak_D | 0.035477 | 0.041736 | 0.047846 | 0.053894 | 0.059346 | 0.064573 | 0.069436 | 0.073678 | 0.073579 | 0.07285 | 0.072239 | 0.066298 | 0.03405 | 0.031752 | 0.0318 | 0.0316 | 0.031631 | 0.03209 | 0.030475 | 0.021324 | 0.019265 | 0.018865 | 0.018455 | 0.018393 | 0.018305 | 0.01819 | 0.018048 | 0.017878 | 0.017681
Other_D | 0.028618 | 0.034355 | 0.043777 | 0.050097 | 0.056093 | 0.062928 | 0.067431 | 0.073796 | 0.074169 | 0.075771 | 0.076482 | 0.075334 | 0.058263 | 0.055931 | 0.052981 | 0.049566 | 0.047213 | 0.053815 | 0.050921 | 0.039658 | 0.035545 | 0.031949 | 0.031085 | 0.03087 | 0.03059 | 0.030244 | 0.029835 | 0.02936 | 0.02882
Total | 0.4317 | 0.48764 | 0.55433 | 0.61492 | 0.59908 | 0.59566 | 0.63547 | 0.67117 | 0.68194 | 0.69612 | 0.6866 | 0.67324 | 0.5488 | 0.51725 | 0.50961 | 0.48419 | 0.47488 | 0.4985 | 0.4903 | 0.4019 | 0.35442 | 0.33664 | 0.30403 | 0.3024 | 0.30019 | 0.2974 | 0.29403 | 0.29008 | 0.28554
Cumulative Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.073625 | 0.16001 | 0.26097 | 0.37819 | 0.50734 | 0.64903 | 0.80463 | 0.96296 | 1.1234 | 1.2913 | 1.4529 | 1.6132 | 1.7526 | 1.8749 | 1.998 | 2.118 | 2.2378 | 2.372 | 2.5007 | 2.5968 | 2.6788 | 2.754 | 2.8203 | 2.8861 | 2.9513 | 3.0156 | 3.0789 | 3.1411 | 3.2019
Other_A | 0.17392 | 0.37843 | 0.61487 | 0.88883 | 1.1574 | 1.4137 | 1.6885 | 1.9874 | 2.2993 | 2.6174 | 2.9338 | 3.2514 | 3.5142 | 3.7705 | 4.019 | 4.2499 | 4.4748 | 4.6996 | 4.9304 | 5.147 | 5.3403 | 5.5253 | 5.6909 | 5.8557 | 6.0195 | 6.182 | 6.3428 | 6.5017 | 6.6585
Peak_B | 0.068278 | 0.13678 | 0.20862 | 0.27796 | 0.32908 | 0.36957 | 0.40703 | 0.44233 | 0.47377 | 0.50465 | 0.53494 | 0.56654 | 0.59977 | 0.62961 | 0.66162 | 0.69294 | 0.72121 | 0.75197 | 0.77931 | 0.79775 | 0.81467 | 0.83316 | 0.85034 | 0.86749 | 0.88457 | 0.90157 | 0.91845 | 0.93518 | 0.95173
Other_B | 0.036392 | 0.071045 | 0.10505 | 0.13459 | 0.14707 | 0.15275 | 0.15824 | 0.16326 | 0.16789 | 0.17263 | 0.17656 | 0.17932 | 0.18141 | 0.18341 | 0.18538 | 0.18734 | 0.19166 | 0.19598 | 0.20007 | 0.20257 | 0.20492 | 0.20721 | 0.20778 | 0.20834 | 0.2089 | 0.20945 | 0.21001 | 0.21056 | 0.21111
Peak_C | 0.0020498 | 0.0043961 | 0.0070432 | 0.010024 | 0.013281 | 0.016806 | 0.020583 | 0.024548 | 0.028657 | 0.032949 | 0.037373 | 0.04193 | 0.046534 | 0.051093 | 0.055639 | 0.060179 | 0.06472 | 0.069249 | 0.073577 | 0.075488 | 0.076938 | 0.07837 | 0.079784 | 0.081186 | 0.082572 | 0.083935 | 0.08527 | 0.086572 | 0.087834
Other_C | 0.013336 | 0.028498 | 0.045304 | 0.063193 | 0.082275 | 0.10278 | 0.12424 | 0.14634 | 0.16804 | 0.18966 | 0.21088 | 0.22568 | 0.23999 | 0.25462 | 0.26934 | 0.28359 | 0.29776 | 0.31183 | 0.32551 | 0.33081 | 0.33438 | 0.33791 | 0.34129 | 0.34464 | 0.34797 | 0.35125 | 0.35447 | 0.35764 | 0.36073
Peak_D | 0.035477 | 0.077213 | 0.12506 | 0.17895 | 0.2383 | 0.30287 | 0.37231 | 0.44599 | 0.51957 | 0.59242 | 0.66466 | 0.73095 | 0.765 | 0.79676 | 0.82856 | 0.86016 | 0.89179 | 0.92388 | 0.95435 | 0.97568 | 0.99494 | 1.0138 | 1.0323 | 1.0507 | 1.069 | 1.0871 | 1.1052 | 1.1231 | 1.1408
Other_D | 0.028618 | 0.062973 | 0.10675 | 0.15685 | 0.21294 | 0.27587 | 0.3433 | 0.41709 | 0.49126 | 0.56703 | 0.64352 | 0.71885 | 0.77711 | 0.83304 | 0.88603 | 0.93559 | 0.9828 | 1.0366 | 1.0875 | 1.1272 | 1.1627 | 1.1947 | 1.2258 | 1.2566 | 1.2872 | 1.3175 | 1.3473 | 1.3767 | 1.4055
Total | 0.4317 | 0.91934 | 1.4737 | 2.0886 | 2.6877 | 3.2833 | 3.9188 | 4.59 | 5.2719 | 5.968 | 6.6546 | 7.3279 | 7.8767 | 8.3939 | 8.9035 | 9.3877 | 9.8626 | 10.3611 | 10.8514 | 11.2533 | 11.6077 | 11.9444 | 12.2484 | 12.5508 | 12.851 | 13.1484 | 13.4424 | 13.7325 | 14.018
Incremental Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.015645 | 0.01936 | 0.014187 | 0.024502 | 0.027009 | 0.028266 | 0.032965 | 0.019447 | 0.036023 | 0.035088 | 0.033771 | 0.034068 | 0.031242 | 0.015013 | 0.030321 | 0.025096 | 0.023907 | 0.028503 | 0.02905 | 0.021584 | 0.01714 | 0.015714 | 0.013179 | 0.014882 | 0.0081702 | 0.014962 | 0.0163 | 0.013368 | 0.014284
Other_A | 0.021736 | 0.026079 | 0.030244 | 0.035889 | 0.033569 | 0.033038 | 0.034168 | 0.036178 | 0.045596 | 0.041672 | 0.039354 | 0.039687 | 0.03352 | 0.031017 | 0.02789 | 0.02887 | 0.028994 | 0.028093 | 0.029273 | 0.031672 | 0.025324 | 0.023119 | 0.021263 | 0.021238 | 0.020303 | 0.024768 | 0.019208 | 0.022382 | 0.022028
Peak_B | 0.021431 | 0.021832 | 0.022436 | 0.021814 | 0.015957 | 0.012762 | 0.011738 | 0.010877 | 0.010232 | 0.0097143 | 0.0094446 | 0.0099192 | 0.010591 | 0.0091922 | 0.010445 | 0.0097776 | 0.0089091 | 0.0096557 | 0.0087253 | 0.0060039 | 0.0053215 | 0.00577 | 0.0054027 | 0.0054901 | 0.0053259 | 0.0056493 | 0.0056833 | 0.0055307 | 0.0055433
Other_B | 0.0055084 | 0.005235 | 0.0047415 | 0.004474 | 0.0018892 | 0.00079473 | 0.00083094 | 0.00073783 | 0.00056482 | 0.00071679 | 0.00059376 | 0.00041766 | 0.0003155 | 0.00029355 | 0.00029455 | 0.0002964 | 0.00060528 | 0.00065305 | 0.00061563 | 0.00030461 | 0.00035679 | 0.00034647 | 7.8468e-05 | 8.5403e-05 | 8.4059e-05 | 7.0654e-05 | 8.8176e-05 | 8.4316e-05 | 9.3333e-05
Peak_C | 0.00038886 | 0.00046012 | 0.00044163 | 0.00056531 | 0.00061009 | 0.00063076 | 0.0007135 | 0.00059343 | 0.00081651 | 0.00081392 | 0.00082745 | 0.00086445 | 0.00090288 | 0.00068237 | 0.00093061 | 0.00085039 | 0.00081271 | 0.00085921 | 0.00084534 | 0.00037961 | 0.00027506 | 0.00026818 | 0.00025202 | 0.00028056 | 0.00021714 | 0.00029297 | 0.00030727 | 0.00027417 | 0.00029708
Other_C | 0.0021087 | 0.0024084 | 0.002683 | 0.0028098 | 0.0030011 | 0.0033156 | 0.0033779 | 0.0033722 | 0.0036866 | 0.0033969 | 0.0033261 | 0.0023413 | 0.0022729 | 0.0022325 | 0.00236 | 0.0022409 | 0.0022898 | 0.002225 | 0.0021642 | 0.00090115 | 0.00056155 | 0.00055488 | 0.00054379 | 0.00053681 | 0.00051583 | 0.00057423 | 0.00054072 | 0.00054506 | 0.00053203
Peak_D | 0.0073233 | 0.0092117 | 0.0078124 | 0.011018 | 0.011966 | 0.013742 | 0.014282 | 0.011095 | 0.017618 | 0.014893 | 0.014553 | 0.013686 | 0.0075153 | 0.0047814 | 0.0078189 | 0.0063714 | 0.0067313 | 0.0066243 | 0.0067911 | 0.0051058 | 0.0039384 | 0.0038037 | 0.0039114 | 0.0040776 | 0.0027856 | 0.0044358 | 0.0045108 | 0.0039561 | 0.0038453
Other_D | 0.0042312 | 0.0050805 | 0.006355 | 0.0074028 | 0.0082853 | 0.0091431 | 0.009926 | 0.010176 | 0.011301 | 0.011197 | 0.011261 | 0.011138 | 0.0086161 | 0.0077121 | 0.0076801 | 0.0073212 | 0.0068597 | 0.0079567 | 0.0074925 | 0.0060428 | 0.0052525 | 0.0047191 | 0.004501 | 0.0046059 | 0.0043057 | 0.004773 | 0.0045554 | 0.0045881 | 0.0046918
Total | 0.078373 | 0.089666 | 0.088901 | 0.10847 | 0.10229 | 0.10169 | 0.108 | 0.092476 | 0.12584 | 0.11749 | 0.11313 | 0.11212 | 0.094976 | 0.070924 | 0.08774 | 0.080824 | 0.079109 | 0.084571 | 0.084957 | 0.071994 | 0.05817 | 0.054295 | 0.049132 | 0.051196 | 0.041708 | 0.055525 | 0.051194 | 0.050728 | 0.051315
Cumulative Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.015645 | 0.035005 | 0.049192 | 0.073694 | 0.1007 | 0.12897 | 0.16193 | 0.18138 | 0.21741 | 0.25249 | 0.28626 | 0.32033 | 0.35157 | 0.36659 | 0.39691 | 0.422 | 0.44591 | 0.47441 | 0.50346 | 0.52505 | 0.54219 | 0.5579 | 0.57108 | 0.58596 | 0.59413 | 0.60909 | 0.6254 | 0.63876 | 0.65305
Other_A | 0.021736 | 0.047816 | 0.078059 | 0.11395 | 0.14752 | 0.18056 | 0.21472 | 0.2509 | 0.2965 | 0.33817 | 0.37752 | 0.41721 | 0.45073 | 0.48175 | 0.50964 | 0.53851 | 0.5675 | 0.5956 | 0.62487 | 0.65654 | 0.68187 | 0.70498 | 0.72625 | 0.74748 | 0.76779 | 0.79256 | 0.81176 | 0.83415 | 0.85617
Peak_B | 0.021431 | 0.043263 | 0.065699 | 0.087513 | 0.10347 | 0.11623 | 0.12797 | 0.13885 | 0.14908 | 0.15879 | 0.16824 | 0.17816 | 0.18875 | 0.19794 | 0.20839 | 0.21816 | 0.22707 | 0.23673 | 0.24545 | 0.25146 | 0.25678 | 0.26255 | 0.26795 | 0.27344 | 0.27877 | 0.28442 | 0.2901 | 0.29563 | 0.30118
Other_B | 0.0055084 | 0.010743 | 0.015485 | 0.019959 | 0.021848 | 0.022643 | 0.023474 | 0.024212 | 0.024776 | 0.025493 | 0.026087 | 0.026505 | 0.02682 | 0.027114 | 0.027408 | 0.027705 | 0.02831 | 0.028963 | 0.029579 | 0.029883 | 0.03024 | 0.030586 | 0.030665 | 0.03075 | 0.030834 | 0.030905 | 0.030993 | 0.031078 | 0.031171
Peak_C | 0.00038886 | 0.00084898 | 0.0012906 | 0.0018559 | 0.002466 | 0.0030968 | 0.0038103 | 0.0044037 | 0.0052202 | 0.0060341 | 0.0068616 | 0.007726 | 0.0086289 | 0.0093113 | 0.010242 | 0.011092 | 0.011905 | 0.012764 | 0.01361 | 0.013989 | 0.014264 | 0.014532 | 0.014784 | 0.015065 | 0.015282 | 0.015575 | 0.015882 | 0.016157 | 0.016454
Other_C | 0.0021087 | 0.0045171 | 0.0072001 | 0.01001 | 0.013011 | 0.016327 | 0.019705 | 0.023077 | 0.026763 | 0.03016 | 0.033486 | 0.035828 | 0.038101 | 0.040333 | 0.042693 | 0.044934 | 0.047224 | 0.049449 | 0.051613 | 0.052514 | 0.053076 | 0.053631 | 0.054174 | 0.054711 | 0.055227 | 0.055801 | 0.056342 | 0.056887 | 0.057419
Peak_D | 0.0073233 | 0.016535 | 0.024347 | 0.035365 | 0.047331 | 0.061073 | 0.075355 | 0.08645 | 0.10407 | 0.11896 | 0.13351 | 0.1472 | 0.15471 | 0.1595 | 0.16731 | 0.17369 | 0.18042 | 0.18704 | 0.19383 | 0.19894 | 0.20288 | 0.20668 | 0.21059 | 0.21467 | 0.21746 | 0.22189 | 0.2264 | 0.23036 | 0.2342
Other_D | 0.0042312 | 0.0093117 | 0.015667 | 0.023069 | 0.031355 | 0.040498 | 0.050424 | 0.0606 | 0.071901 | 0.083097 | 0.094359 | 0.1055 | 0.11411 | 0.12183 | 0.12951 | 0.13683 | 0.14369 | 0.15164 | 0.15914 | 0.16518 | 0.17043 | 0.17515 | 0.17965 | 0.18426 | 0.18856 | 0.19334 | 0.19789 | 0.20248 | 0.20717
Total | 0.078373 | 0.16804 | 0.25694 | 0.36541 | 0.4677 | 0.56939 | 0.6774 | 0.76987 | 0.89571 | 1.0132 | 1.1263 | 1.2385 | 1.3334 | 1.4044 | 1.4921 | 1.5729 | 1.652 | 1.7366 | 1.8216 | 1.8936 | 1.9517 | 2.006 | 2.0551 | 2.1063 | 2.1481 | 2.2036 | 2.2548 | 2.3055 | 2.3568
Savings-Weighted LCOE ($/MWh) Real Dollars (2019)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 44.3057 | 48.4733 | 47.7463 | 49.7871 | 52.309 | 51.3754 | 51.0086 | 53.5615 | 54.7737 | 53.3326 | 57.0821 | 57.5066 | 67.0336 | 69.0066 | 60.4683 | 62.4093 | 61.7857 | 55.9967 | 66.6251 | 83.3468 | 76.6333 | 72.725 | 91.4365 | 82.4263 | 73.2158 | 73.4149 | 73.6222 | 73.8399 | 74.0703
Other_A | -1.4982 | -3.1217 | -4.106 | -8.642 | -1.6632 | 19.8371 | 43.3016 | 43.3588 | 43.856 | 52.4968 | 55.7519 | 59.9472 | 72.6922 | 64.0163 | 67.4323 | 68.075 | 66.2366 | 65.3222 | 62.1009 | 67.8456 | 74.9155 | 72.1138 | 78.8082 | 72.2294 | 72.379 | 72.5051 | 72.6345 | 72.768 | 72.9065
Peak_B | 49.3228 | 41.3646 | 49.7477 | 13.3667 | 12.1191 | 3.5785 | 22.1026 | 31.7271 | 29.2074 | 31.6367 | 38.4073 | 45.3461 | 55.2203 | 60.6611 | 36.6658 | 44.9129 | 48.1323 | 45.4186 | 62.0467 | 147.0985 | 73.9922 | 63.7455 | 42.8877 | 39.3233 | 39.3776 | 39.4472 | 39.5182 | 39.5907 | 39.6653
Other_B | 4.3932 | 5.4615 | 7.703 | 4.1185 | 18.1518 | 86.1182 | 114.4281 | 135.7513 | 158.805 | 160.0284 | 196.4507 | 290.8532 | 309.257 | 273.1117 | 270.3232 | 272.6033 | 123.474 | 117.3905 | 123.3763 | 189.5304 | 67.8545 | 48.4457 | 187.9185 | 213.0248 | 213.1281 | 213.2668 | 213.4068 | 213.5484 | 213.6918
Peak_C | 181.6764 | 192.8731 | 196.4073 | 197.4692 | 203.572 | 205.9827 | 208.4388 | 213.2017 | 216.672 | 214.5126 | 216.6328 | 211.2808 | 210.1177 | 209.4468 | 208.2252 | 208.5304 | 208.5806 | 209.619 | 218.9298 | 472.2225 | 321.3761 | 266.3932 | 264.1132 | 260.7757 | 262.1938 | 263.2981 | 264.4619 | 265.7039 | 267.0466
Other_C | 145.3585 | 151.367 | 156.6332 | 164.4056 | 164.9011 | 164.1915 | 169.0011 | 171.8448 | 180.0029 | 178.8757 | 182.2063 | 255.0893 | 193.1606 | 184.5063 | 183.5622 | 188.9109 | 186.7326 | 186.7723 | 190.7692 | 477.4605 | 280.7467 | 195.2016 | 199.9232 | 194.5717 | 195.3834 | 196.0247 | 196.693 | 197.3963 | 198.1438
Peak_D | 604.2025 | 638.8565 | 668.3343 | 686.6867 | 706.238 | 718.5816 | 728.9686 | 740.293 | 789.1704 | 790.5264 | 788.4824 | 848.0665 | 1568.2767 | 701.4985 | 603.5684 | 611.4539 | 613.0155 | 607.1549 | 637.4176 | 869.4043 | 670.4825 | 618.1107 | 645.742 | 635.798 | 624.9564 | 625.9016 | 626.8663 | 627.8552 | 628.8736
Other_D | 1569.1181 | 941.0875 | 862.8259 | 864.1542 | 864.3018 | 849.6057 | 864.4669 | 836.9245 | 891.0165 | 891.8648 | 906.2081 | 939.7264 | 1219.3196 | 1016.7742 | 1050.9166 | 1127.352 | 1184.1486 | 1047.7159 | 1142.9332 | 1398.571 | 1374.6997 | 1454.6435 | 1436.8606 | 1398.5811 | 1399.593 | 1402.7105 | 1405.9412 | 1409.3114 | 1412.8506
Total | 175.4367 | 140.8552 | 145.6762 | 149.7597 | 174.4873 | 199.8252 | 214.6619 | 217.1397 | 227.8977 | 227.3457 | 233.9418 | 239.87 | 288.2454 | 210.9889 | 202.9156 | 212.8193 | 214.591 | 205.0552 | 214.0699 | 253.5599 | 236.8984 | 231.5234 | 245.5898 | 236.0375 | 236.3517 | 236.6631 | 236.9735 | 237.2847 | 237.5987
Savings-Weighted LCOE ($/MWh) Nominal Dollars
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 44.3057 | 49.4912 | 49.7727 | 52.99 | 56.8434 | 57.0012 | 57.7827 | 61.9488 | 64.6812 | 64.302 | 70.2679 | 72.2772 | 86.0204 | 90.4118 | 80.8888 | 85.2384 | 86.1589 | 79.726 | 96.8503 | 123.7024 | 116.1267 | 112.5186 | 144.4395 | 132.9407 | 120.5653 | 123.432 | 126.38 | 129.4155 | 132.5455
Other_A | -1.4982 | -3.1873 | -4.2803 | -9.1979 | -1.8074 | 22.0093 | 49.0522 | 50.1484 | 51.7887 | 63.2942 | 68.6305 | 75.3446 | 93.2817 | 83.8736 | 90.2045 | 92.9767 | 92.3655 | 93.0033 | 90.2737 | 100.6957 | 113.5237 | 111.5729 | 124.491 | 116.4947 | 119.1875 | 121.9023 | 124.6844 | 127.5368 | 130.4628
Peak_B | 49.3228 | 42.2332 | 51.859 | 14.2266 | 13.1696 | 3.9703 | 25.0378 | 36.6954 | 34.4904 | 38.1437 | 47.2793 | 56.9932 | 70.861 | 79.4777 | 49.0481 | 61.3419 | 67.1194 | 64.6653 | 90.1949 | 218.322 | 112.1246 | 98.6257 | 67.7484 | 63.4224 | 64.8435 | 66.3224 | 67.8369 | 69.3886 | 70.9794
Other_B | 4.3932 | 5.5762 | 8.0299 | 4.3835 | 19.7253 | 95.5484 | 129.6245 | 157.0089 | 187.5297 | 192.9428 | 241.8304 | 365.5586 | 396.8519 | 357.8285 | 361.6127 | 372.3208 | 172.1818 | 167.1362 | 179.3474 | 281.2988 | 102.8237 | 74.9542 | 296.8493 | 343.5756 | 350.9607 | 358.5641 | 366.3343 | 374.2755 | 382.3919
Peak_C | 181.6764 | 196.9234 | 204.743 | 210.1729 | 221.2183 | 228.5386 | 236.1201 | 246.5874 | 255.8637 | 258.6334 | 266.6746 | 265.5482 | 269.6321 | 274.4153 | 278.5439 | 284.8102 | 290.8612 | 298.4476 | 318.2499 | 700.8673 | 486.9994 | 412.1579 | 417.2117 | 420.5903 | 431.7578 | 442.6814 | 453.9755 | 465.6858 | 477.8679
Other_C | 145.3585 | 154.5457 | 163.2808 | 174.9822 | 179.1953 | 182.1711 | 191.4449 | 198.7543 | 212.5619 | 215.6666 | 224.2956 | 320.6088 | 247.8719 | 241.7385 | 245.5521 | 258.0139 | 260.3946 | 265.9195 | 277.3139 | 708.6414 | 425.4314 | 302.0118 | 315.8127 | 313.8135 | 321.7402 | 329.575 | 337.6433 | 345.9664 | 354.5694
Peak_D | 604.2025 | 652.2725 | 696.6991 | 730.8628 | 767.457 | 797.2688 | 825.7779 | 856.217 | 931.9159 | 953.121 | 970.6205 | 1065.8917 | 2012.4801 | 919.0971 | 807.3966 | 835.1218 | 854.8371 | 864.4445 | 926.5895 | 1290.3599 | 1016.0201 | 956.328 | 1020.0592 | 1025.4423 | 1029.1236 | 1052.3244 | 1076.0791 | 1100.41 | 1125.3411
Other_D | 1569.1181 | 960.8503 | 899.4451 | 919.7472 | 939.2223 | 942.6405 | 979.2709 | 967.9803 | 1052.184 | 1075.3027 | 1115.5405 | 1181.0943 | 1564.6833 | 1332.1685 | 1405.8165 | 1539.7339 | 1651.27 | 1491.6988 | 1661.4383 | 2075.7432 | 2083.1603 | 2250.594 | 2269.7654 | 2255.6916 | 2304.7274 | 2358.3681 | 2413.4398 | 2470.0287 | 2528.2326
Total | 175.4367 | 143.8131 | 151.8589 | 159.3941 | 189.6124 | 221.7068 | 243.1697 | 251.1421 | 269.12 | 274.1059 | 287.9819 | 301.4804 | 369.8888 | 276.4357 | 271.4412 | 290.668 | 299.2425 | 291.9499 | 311.1853 | 376.3307 | 358.9856 | 358.2081 | 387.9508 | 380.6914 | 389.2033 | 397.9001 | 406.7889 | 415.8769 | 425.1722
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 208499.3137 | 216293.0807 | 339784.3263 | 238192.2792 | 250120.216 | 257519.302 | 240772.9687 | 436063.0043 | 244013.1933 | 255155.0159 | 273136.9518 | 270622.1023 | 299111.0895 | 561807.0808 | 245610.8755 | 298415.3438 | 309701.0444 | 263516.4832 | 295140.1569 | 371304.3902 | 366630.3113 | 347740.7879 | 460123.1067 | 364585.8219 | 583947.9755 | 315667.2346 | 286048.5426 | 343382.7594 | 315423.5837
Other_A | -11987.8263 | -24479.6546 | -32100.9268 | -65968.7493 | -13305.5072 | 153876.3944 | 348266.8841 | 358320.9671 | 299930.3954 | 400735.4772 | 448263.4292 | 479662.9817 | 570028.4751 | 529036.7171 | 600638.2501 | 544591.8748 | 513796.9556 | 522670.5694 | 489585.6275 | 463994.7263 | 571869.6504 | 576901.5305 | 613889.7243 | 560637.8039 | 583849.8375 | 475518.5316 | 608140.2224 | 516694.7734 | 518826.2149
Peak_B | 157138.0983 | 129788.3389 | 159285.3805 | 42488.2105 | 38829.1023 | 11352.8399 | 70527.8062 | 102973.7998 | 89747.3572 | 100562.6086 | 123172.0618 | 144468.6388 | 173262.8982 | 196882.0526 | 112363.7867 | 143899.078 | 152700.6392 | 144699.5693 | 194390.1585 | 451999.0944 | 235196.7831 | 204238.0357 | 136378.7457 | 122834.9808 | 126350.1197 | 118697.335 | 117363.9166 | 119750.6287 | 118418.1648
Other_B | 29024.5459 | 36151.7306 | 55248.7717 | 27189.8962 | 119959.4926 | 615126.1224 | 756496.7546 | 922891.6104 | 1302902.0071 | 1056489.9683 | 1302182.6564 | 1921569.6073 | 2047079.6672 | 1856722.0314 | 1812055.2514 | 1801548.174 | 881951.7525 | 775559.6433 | 820341.9417 | 1554985.5593 | 447967.9772 | 320162.3269 | 1344015.8031 | 1397671.7084 | 1417573.5662 | 1682807.3973 | 1344564.4732 | 1401185.7685 | 1260534.6132
Peak_C | 957673.9539 | 983535.9585 | 1177242.1022 | 1041267.668 | 1086688.4053 | 1151048.3204 | 1103404.4061 | 1424574.6565 | 1090505.2181 | 1131138.6267 | 1158162.1906 | 1113728.2952 | 1071473.1915 | 1399484.8858 | 1017201.2447 | 1113156.6299 | 1165565.7172 | 1104967.901 | 1120835.3246 | 2376685.6374 | 1694636.3276 | 1422033.9878 | 1481775.8246 | 1303632.5664 | 1673106.4356 | 1225070.4416 | 1149078.703 | 1261370.3326 | 1134822.8063
Other_C | 919312.3965 | 952888.9453 | 981171.5452 | 1046660.7812 | 1048518.4956 | 1015657.8278 | 1073570.0022 | 1126136.9423 | 1059331.1007 | 1138782.1991 | 1162100.521 | 1613299.6419 | 1215988.5158 | 1209110.3156 | 1144922.1632 | 1201183.7756 | 1155092.6155 | 1181232.3203 | 1205636.6655 | 2809891.8123 | 1787327.3637 | 1241182.7913 | 1241305.0455 | 1216044.0363 | 1258718.4674 | 1119967.8808 | 1174239.6987 | 1146151.226 | 1151211.5768
Peak_D | 2926947.2159 | 2894524.0325 | 4093102.986 | 3358955.5358 | 3502655.752 | 3376710.6884 | 3544093.5632 | 4916151.0071 | 3295861.8486 | 3866891.3769 | 3914043.1338 | 4108301.1946 | 7105531.0873 | 4658523.9453 | 2454782.2179 | 3032564.6937 | 2880641.6701 | 2941249.2107 | 2860460.0973 | 3630947.7637 | 3279691.9571 | 3065580.2071 | 3046664.9884 | 2867984.5576 | 4106871.5881 | 2566631.1013 | 2508041.0105 | 2837350.5049 | 2891708.6634
Other_D | 10612748.6887 | 6363781.8685 | 5943652.1266 | 5848008.6294 | 5851459.9124 | 5847468.4341 | 5872611.3878 | 6069604.2396 | 5847599.928 | 6035535.6061 | 6154616.9781 | 6355850.5958 | 8245231.001 | 7373922.9491 | 7249628.4637 | 7632351.3996 | 8149982.9788 | 7086238.9532 | 7767669.2378 | 9178599.6787 | 9303034.3209 | 9848166.4443 | 9923400.8586 | 9373507.7132 | 9943375.6818 | 8888379.7122 | 9207830.9216 | 9018364.9774 | 8678765.1108
Total | 966344.8435 | 766028.1872 | 908349.6697 | 848954.1183 | 1021952.4297 | 1170474.5795 | 1263032.9047 | 1575934.3931 | 1235014.3534 | 1346993.2368 | 1419804.0258 | 1440293.1054 | 1665584.961 | 1538757.6345 | 1178573.2033 | 1274941.2926 | 1288156.2444 | 1208705.7756 | 1235429.956 | 1415487.358 | 1443387.4984 | 1435466.9041 | 1519693.9565 | 1394207.1492 | 1701151.8794 | 1267608.5214 | 1361054.9191 | 1356853.9311 | 1322113.8596
Savings-Weighted LCOE ($/MW) Nominal Dollars - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 208499.3137 | 220835.2354 | 354205.1129 | 253515.7271 | 271801.4463 | 285718.5892 | 272748.3802 | 504346.9946 | 288150.4122 | 307635.0317 | 336231.0984 | 340131.1649 | 383832.2129 | 736074.6408 | 328554.9257 | 407574.7596 | 431871.4982 | 375184.9435 | 429033.9515 | 551085.7535 | 555575.658 | 538017.2715 | 726842.5934 | 588019.656 | 961594.4924 | 530729.2919 | 491031.1385 | 601829.5704 | 564436.305
Other_A | -11987.8263 | -24993.7274 | -33463.3222 | -70212.6681 | -14458.8716 | 170726.4115 | 394517.8275 | 414431.1741 | 354181.9436 | 483158.3296 | 551811.4783 | 602864.0208 | 731485.0525 | 693139.2017 | 803476.8622 | 743801.9092 | 716478.8916 | 744158.8687 | 711691.891 | 688655.6962 | 866586.4428 | 892569.9778 | 969743.0815 | 904220.7041 | 961432.8872 | 799486.2499 | 1043933.953 | 905584.7592 | 928416.1578
Peak_B | 157138.0983 | 132513.894 | 166045.6113 | 45221.5731 | 42194.9346 | 12596.0166 | 79894.1218 | 119098.676 | 105980.9006 | 121246.2204 | 151624.5874 | 181575.2889 | 222338.4018 | 257953.1143 | 150309.6127 | 196536.9186 | 212937.7832 | 206017.8516 | 282577.5345 | 670851.9158 | 356406.995 | 315992.8156 | 215433.3912 | 198113.5272 | 208062.3349 | 199565.0661 | 201466.9855 | 209880.8616 | 211903.9756
Other_B | 29024.5459 | 36910.9169 | 57593.5848 | 28939.0837 | 130357.9699 | 682484.639 | 856961.9155 | 1067409.0794 | 1538571.5225 | 1273787.7162 | 1602984.517 | 2415123.1676 | 2626900.6603 | 2432660.6928 | 2423995.5869 | 2460548.9603 | 1229862.9004 | 1104212.9031 | 1192499.6875 | 2307891.8837 | 678831.2259 | 495348.4536 | 2123101.2261 | 2254224.8981 | 2334336.2611 | 2829293.2574 | 2308080.3636 | 2455787.3277 | 2255669.9503
Peak_C | 957673.9539 | 1004190.2136 | 1227205.4343 | 1108254.7714 | 1180886.0755 | 1277092.2397 | 1249940 | 1647651.6913 | 1287756.3045 | 1363790.0323 | 1425695.5816 | 1399788.4843 | 1374960.4763 | 1833592.651 | 1360715.3128 | 1520345.9046 | 1625356.5225 | 1573212.0983 | 1629315.4189 | 3527449.7952 | 2567978.3253 | 2200141.2334 | 2340716.577 | 2102554.5352 | 2755125.4583 | 2059703.0569 | 1972509.3466 | 2210739.8947 | 2030714.3305
Other_C | 919312.3965 | 972899.6131 | 1022813.4468 | 1113994.8358 | 1139407.4744 | 1126876.0026 | 1216143.4929 | 1302481.0101 | 1250943.3983 | 1373005.7267 | 1430543.6593 | 2027674.3171 | 1560408.7551 | 1584165.5823 | 1531568.2393 | 1640573.1097 | 1610752.0057 | 1681794.5349 | 1752587.8829 | 4170409.4737 | 2708438.2976 | 1920332.0461 | 1960852.1403 | 1961287.9958 | 2072747.5674 | 1882994.7972 | 2015700.7303 | 2008801.2023 | 2060041.2974
Peak_D | 2926947.2159 | 2955309.0372 | 4266818.3698 | 3575044.7401 | 3806277.2959 | 3746472.6194 | 4014760.3941 | 5685981.0642 | 3892018.8585 | 4662229.5368 | 4818180.0855 | 5163514.9499 | 9118123.0532 | 6103556.6424 | 3283774.7406 | 4141867.5403 | 4016993.3438 | 4187640.9605 | 4158141.3782 | 5389011.3796 | 4969902.8176 | 4743001.557 | 4812724.7892 | 4625608.5448 | 6762837.2144 | 4315260.3684 | 4305305.0432 | 4972880.5207 | 5174582.4895
Other_D | 10612748.6887 | 6497421.2877 | 6195906.6665 | 6224224.2469 | 6358683.4075 | 6487787.1995 | 6652512.7482 | 7020055.8778 | 6905316.4975 | 7276918.2352 | 7576322.4736 | 7988345.5511 | 10580634.9934 | 9661248.2678 | 9697865.1118 | 10424242.089 | 11364977.3652 | 10089122.8083 | 11291563.5147 | 13622773.2638 | 14097414.3574 | 15236877.0747 | 15675697.0283 | 15117995.408 | 16373882.0791 | 14943975.6622 | 15806169.332 | 15806031.524 | 15530259.511
Total | 966344.8435 | 782114.7792 | 946900.9381 | 903569.2562 | 1110538.5759 | 1298645.7439 | 1430767.6679 | 1822713.156 | 1458404.3187 | 1624041.392 | 1747776.2121 | 1810231.1953 | 2137350.2477 | 2016066.5677 | 1576583.408 | 1741310.8998 | 1796306.397 | 1720910.2163 | 1795897.2491 | 2100850.2398 | 2187246.7564 | 2220924.3606 | 2400614.7063 | 2248637.1083 | 2801308.2441 | 2131222.0569 | 2336387.8751 | 2378089.1616 | 2365863.2398
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | Total $/MW (Cumulative)
Peak_A | 208499.3137 | 221575.4163 | 253303.0842 | 255505.9356 | 263532.7549 | 258541.9927 | 253454.5275 | 284358.5134 | 283042.7216 | 272755.4281 | 289713.7087 | 289608.892 | 334168.3942 | 352923.8199 | 304394.1249 | 313228.0646 | 310077.1565 | 279972.564 | 330921.385 | 412222.593 | 378626.7754 | 358990.7714 | 451558.3147 | 405983.0094 | 363688.3699 | 363473.5231 | 362455.3324 | 363105.3988 | 363170.6189 | 299295.2285
Other_A | -11987.8263 | -24706.3586 | -32342.9926 | -67410.1766 | -13049.1305 | 155314.5736 | 340499.5765 | 343454.2567 | 340094.0041 | 406316.6428 | 433257.2621 | 467172.4779 | 566757.9572 | 501041.6682 | 531764.7074 | 537249.3142 | 522283.4225 | 515431.4438 | 489993.8351 | 531880.2604 | 586731.9012 | 565186.2709 | 617543.2411 | 565839.5208 | 567456.7315 | 565540.9982 | 567534.3486 | 567185.3701 | 566992.7478 | 385435.4082
Peak_B | 157138.0983 | 130776.8352 | 157965.1935 | 42454.6795 | 38544.1545 | 11378.0954 | 70299.8238 | 101073.5177 | 92819.8171 | 100541.4758 | 122121.0396 | 144199.7078 | 175468.1887 | 192948.6558 | 116411.7229 | 142653.9516 | 152872.5377 | 144271.8421 | 196994.9075 | 466670.9425 | 234750.1068 | 202284.9166 | 136102.1073 | 124751.5736 | 124950.859 | 125043.3471 | 125113.2813 | 125238.3676 | 125344.5921 | 127730.1616
Other_B | 29024.5459 | 36116.2126 | 52258.4047 | 27772.3483 | 122192.0468 | 580962.0269 | 771396.754 | 915379.938 | 1076122.8509 | 1083627.7159 | 1329621.2652 | 1967818.0152 | 2091799.542 | 1847416.1622 | 1828376.4827 | 1843346.8087 | 835937.5978 | 794318.9353 | 834520.0646 | 1284770.6716 | 459824.0835 | 328206.1519 | 1273276.5981 | 1443261.8443 | 1443889.3861 | 1445373.3263 | 1446032.7464 | 1446867.8311 | 1447278.9185 | 359063.2437
Peak_C | 957673.9539 | 998724.0076 | 1071848.8189 | 1066563.8948 | 1096350.1524 | 1117829.6624 | 1125961.169 | 1188463.1395 | 1189460.068 | 1171338.166 | 1179930.3366 | 1146634.2332 | 1133117.8751 | 1149285.2917 | 1131189.7986 | 1131338.1755 | 1133928.6686 | 1137243.9703 | 1183601.2857 | 2548195.087 | 1733438.3006 | 1436597.6603 | 1425282.1422 | 1405341.4249 | 1416679.2359 | 1418929.7943 | 1419859.5169 | 1423724.8829 | 1425573.2775 | 1190876.9813
Other_C | 919312.3965 | 954954.2697 | 985566.8697 | 1037893.8583 | 1042751.2753 | 1033673.184 | 1065600.6752 | 1089757.2394 | 1130174.4537 | 1124863.5261 | 1147426.4185 | 1606851.1741 | 1216705.775 | 1164790.0356 | 1158061.4431 | 1192272.8768 | 1177388.7584 | 1177801.1243 | 1203115.9344 | 3007725.2792 | 1768741.1659 | 1229913.1147 | 1259478.7343 | 1225669.5531 | 1231043.6315 | 1233899.7577 | 1237493.5652 | 1241000.6364 | 1244824.7524 | 1160198.2895
Peak_D | 2926947.2159 | 2983235.6517 | 3432844.8102 | 3474723.2184 | 3555705.4884 | 3563594.467 | 3601646.7132 | 3819118.2865 | 3940001.209 | 3936770.8442 | 3925224.279 | 4211289.0954 | 7754539.2788 | 3504317.376 | 2988924.9713 | 3028142.6521 | 3030084.8651 | 2998995.8268 | 3138385.3918 | 4263920.435 | 3288157.7461 | 3031948.454 | 3165240.9829 | 3111777.7828 | 3072142.5495 | 3066590.5949 | 3060094.155 | 3061013.3931 | 3063117.2997 | 3565703.7131
Other_D | 10612748.6887 | 6364361.0949 | 5879130.3537 | 5875290.0195 | 5869731.6155 | 5787432.2845 | 5885505.5348 | 5760389.6298 | 6087883.2248 | 6085845.2046 | 6180246.4008 | 6403243.3934 | 8303608.2222 | 6952732.6845 | 7189960.707 | 7708592.1871 | 8099486.729 | 7162096.6421 | 7810860.0703 | 9544024.7403 | 9378717.6124 | 9922077.4064 | 9803853.252 | 9538439.3615 | 9554429.2579 | 9558742.458 | 9572173.6233 | 9582049.9324 | 9585111.7857 | 7298033.6119
Total | 966344.8435 | 770614.6787 | 835520.4923 | 855976.4424 | 1002700.1288 | 1152265.2567 | 1241839.2385 | 1294582.896 | 1341342.2401 | 1339125.2151 | 1382178.768 | 1419294.3537 | 1702683.206 | 1261093.0282 | 1210823.5517 | 1270178.4354 | 1281106.731 | 1223424.593 | 1275260.9473 | 1506898.4304 | 1408938.0792 | 1378553.5753 | 1463680.708 | 1406445.7884 | 1414003.5819 | 1412130.7638 | 1412781.1535 | 1413365.2761 | 1413208.1419 | 1272548.9163
Savings-Weighted LCOE ($/MW) Nominal Dollars - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 208499.3137 | 226228.5 | 264053.5204 | 271943.2102 | 286376.6275 | 286853.2682 | 287114.0901 | 328886.7898 | 334239.6195 | 328855.4782 | 356637.0563 | 363994.6958 | 428819.2539 | 462397.6501 | 407189.5793 | 427805.9282 | 432395.9786 | 398614.4977 | 481047.7535 | 611816.0848 | 573754.579 | 555423.0105 | 713313.0499 | 654786.8161 | 598890.2233 | 611105.6975 | 622191.0902 | 636396.4415 | 649877.4753
Other_A | -11987.8263 | -25225.1922 | -33715.6615 | -71746.8256 | -14180.2714 | 172322.0764 | 385718.9969 | 397236.4553 | 401610.3642 | 489887.4235 | 533338.9134 | 587165.3415 | 727288.1832 | 656460.3377 | 711344.3715 | 733773.4625 | 728313.0885 | 733852.0716 | 712285.2868 | 789410.634 | 889108.0525 | 874444.3733 | 975514.4318 | 912610.2563 | 934438.1529 | 950840.4442 | 974229.8802 | 994077.0707 | 1014608.0004
Peak_B | 157138.0983 | 133523.1487 | 164669.3943 | 45185.885 | 41885.2866 | 12624.0376 | 79635.8627 | 116900.8248 | 109609.1083 | 121220.741 | 150330.781 | 181237.2832 | 225168.3254 | 252799.6129 | 155724.5577 | 194836.3288 | 213177.492 | 205408.8695 | 286363.9584 | 692627.7059 | 355730.1212 | 312970.9906 | 214996.3938 | 201204.6904 | 205758.1547 | 210234.5755 | 214769.5507 | 219498.9437 | 224298.5055
Other_B | 29024.5459 | 36874.653 | 54476.3037 | 29559.0062 | 132784.0492 | 644579.4524 | 873840.682 | 1058721.1391 | 1270772.448 | 1306507.1272 | 1636761.3953 | 2473250.4407 | 2684287.1268 | 2420468.2257 | 2445828.5816 | 2517637.4072 | 1165697.1435 | 1130921.6836 | 1213109.8821 | 1906842.0203 | 696797.4549 | 507793.6914 | 2011356.6377 | 2327754.6253 | 2377670.8534 | 2430096.8804 | 2482260.876 | 2535851.9651 | 2589840.4787
Peak_C | 957673.9539 | 1019697.2118 | 1117339.1546 | 1135178.3616 | 1191385.3341 | 1240236.0195 | 1275492.3723 | 1374566.993 | 1404610.1532 | 1412257.7707 | 1452492.1304 | 1441146.2852 | 1454065.5853 | 1505783.368 | 1513198.3849 | 1545178.2038 | 1581239.3334 | 1619165.5623 | 1720555.8946 | 3782002.17 | 2626777.1507 | 2222673.8428 | 2251475.211 | 2266594.9459 | 2332863.5561 | 2385637.5401 | 2437331.8909 | 2495290.492 | 2550999.2112
Other_C | 919312.3965 | 975008.3094 | 1027395.3132 | 1104663.9169 | 1133140.3328 | 1146864.1049 | 1207115.8141 | 1260404.5357 | 1334600.9296 | 1356224.2756 | 1412479.8655 | 2019569.5658 | 1561329.173 | 1526097.5455 | 1549144.7214 | 1628402.6316 | 1641843.5013 | 1676909.3261 | 1748923.5926 | 4464031.6555 | 2680273.5802 | 1902895.8383 | 1989560.5683 | 1976812.4424 | 2027175.0662 | 2074547.7292 | 2124282.3641 | 2175038.9598 | 2227557.8614
Peak_D | 2926947.2159 | 3045883.6004 | 3578538.1767 | 3698260.0194 | 3863925.5552 | 3953820.8419 | 4079956.7845 | 4417161.7649 | 4652670.4433 | 4746481.7397 | 4831944.0551 | 5292955.2075 | 9950958.274 | 4591325.4602 | 3998300.2366 | 4135827.9294 | 4225388.6906 | 4269858.4395 | 4562150.7432 | 6328462.2203 | 4982731.5068 | 4690967.2121 | 5000035.7112 | 5018808.7182 | 5058935.863 | 5155839.0505 | 5252959.877 | 5364883.1366 | 5481310.5286
Other_D | 10612748.6887 | 6498012.6779 | 6128646.5251 | 6253260.7105 | 6378538.9609 | 6421176.8762 | 6667119.2787 | 6662420.7251 | 7189062.3478 | 7337575.4591 | 7607872.2471 | 8047911.1494 | 10655547.1541 | 9109408.5288 | 9618047.2482 | 10528371.5223 | 11294561.4224 | 10197126.1575 | 11354348.3752 | 14165132.9847 | 14212101.5318 | 15351230.5689 | 15486851.28 | 15384004.2467 | 15733399.0999 | 16071052.2365 | 16431600.2818 | 16793973.5945 | 17152126.0886
Total | 966344.8435 | 786797.5869 | 870980.8175 | 911043.3423 | 1089617.4232 | 1278442.4349 | 1406759.4158 | 1497304.2574 | 1583964.8426 | 1614555.0839 | 1701459.5871 | 1783838.9316 | 2184956.3111 | 1652272.87 | 1619724.8642 | 1734805.8041 | 1786476.001 | 1741866.3196 | 1853798.0368 | 2236521.514 | 2135043.602 | 2132869.2489 | 2312132.2671 | 2268376.1108 | 2328457.5229 | 2374206.3739 | 2425181.1671 | 2477133.7337 | 2528872.3576
Financial Escalation Factor | 2.1%
LCOE Floor |  | Applies cap to negative levelized costs (e.g. when NEIs push costs negative or efficient option is cheaper than baseline option)
LCOE Ceiling |  | Applies cap to very high levelized costs (e.g. when a measure is an unusually small saver resulting in a near-infinite ratio)

## End Use Summary
Island | Molokai
|  | Peak_A | Peak_B | Peak_C | Peak_D | Other_A | Other_B | Other_C | Other_D
|  | Peak |  |  |  | Other
| End Use | A | B | C | D | A | B | C | D
Cooling | Cooling | 2.2203 | 0.25264 | 0.034016 | 0.69799 | 0.47765 | 0.001132 | 0.044355 | 0.10825
Ventilation | Ventilation | 0.19297 | 0.0073568 | 0.006951 | 0.031364 | 0.1843 | 0.010489 | 0.014859 | 0.039172
Water Heating | Water Heating | 0.042263 | 0.0050411 | 0.0041544 | 0.007522 | 1.6128 | 0.0014163 | 0.01928 | 0.1006
Interior Lighting | Interior Lighting | 0.082942 | 0.67376 | 0.0039491 | 0.044679 | 1.2359 | 0.15653 | 0.026363 | 0.042213
Exterior Lighting | Exterior Lighting | 0.035659 | 0.088282 | 0.0020061 | 0.018355 | 0.17604 | 0.071698 | 0.0056353 | 0.061078
Appliances | Res Appliances | 0.01077 | 0.0072599 | 0.01576 | 0.040045 | 0.34245 | 0 | 0.046027 | 0.71719
Refrigeration | Com Refrigeration | 0.030792 | 0.0001218 | 2.8623e-05 | 0.014285 | 0.33449 | 0.013122 | 0.0048496 | 0.077875
Electronics | Electronics | 0.14067 | 0.001027 | 0.0031856 | 0.00042343 | 0.16698 | 0.010919 | 0.083994 | 0.012888
Office Equipment | Electronics | 0.0048465 | 0 | 8.5065e-06 | 0.0020767 | 0.12807 | 0.0064817 | 8.1561e-05 | 0.010058
Food Preparation | Food Preparation | 0.0072874 | 0.0010573 | 4.666e-06 | 1.2395e-05 | 0.048622 | 0.001526 | 1.0631e-06 | 8.2109e-05
Miscellaneous | Miscellaneous | 0.04892 | 0.0038139 | 0.004998 | 0.001077 | 0.34186 | 0 | 0.058578 | 0.075277
| Total | 2.8175 | 1.0404 | 0.075062 | 0.85783 | 5.0492 | 0.27332 | 0.30402 | 1.2447