## Summary
Incremental Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 5.472 | 6.4645 | 7.4859 | 8.517 | 9.4731 | 10.3869 | 11.3525 | 11.9269 | 12.1139 | 12.5399 | 11.9792 | 11.9024 | 9.2674 | 8.4369 | 8.082 | 7.813 | 7.7063 | 8.2603 | 7.7966 | 6.5291 | 5.6922 | 5.4272 | 4.798 | 4.7707 | 4.7329 | 4.6846 | 4.6258 | 4.5565 | 4.4766
Other_A | 6.4825 | 7.2114 | 7.9965 | 8.5538 | 8.6919 | 7.112 | 7.2157 | 7.5572 | 7.6646 | 7.7582 | 7.3308 | 7.3507 | 7.2169 | 6.2675 | 6.3538 | 4.8726 | 4.6831 | 4.7891 | 5.0454 | 4.8739 | 4.3516 | 4.0372 | 3.4562 | 3.4322 | 3.3997 | 3.3587 | 3.3093 | 3.2514 | 3.185
Peak_B | 2.4169 | 2.3752 | 2.5132 | 2.5033 | 2.0878 | 1.8507 | 1.8024 | 1.789 | 1.7544 | 1.776 | 1.7396 | 1.7641 | 1.8055 | 1.7521 | 1.6875 | 1.6503 | 1.5174 | 1.5664 | 1.426 | 0.99387 | 0.91002 | 0.9797 | 0.88584 | 0.88344 | 0.8791 | 0.87284 | 0.86464 | 0.85451 | 0.84245
Other_B | 1.0281 | 0.71705 | 0.68973 | 0.70464 | 0.4035 | 0.22898 | 0.15577 | 0.15102 | 0.13539 | 0.13947 | 0.11439 | 0.11408 | 0.095642 | 0.089542 | 0.087616 | 0.085798 | 0.20542 | 0.20411 | 0.19616 | 0.15044 | 0.1387 | 0.1283 | 0.032137 | 0.032043 | 0.031924 | 0.031778 | 0.031607 | 0.03141 | 0.031187
Peak_C | 0.41463 | 0.49324 | 0.61385 | 0.70408 | 0.77743 | 0.85179 | 0.92456 | 0.99344 | 0.99156 | 1.005 | 1.0183 | 1.034 | 0.6888 | 0.66869 | 0.65794 | 0.64692 | 0.63857 | 0.68783 | 0.65994 | 0.50574 | 0.46984 | 0.44452 | 0.43733 | 0.43535 | 0.4327 | 0.4294 | 0.42543 | 0.42081 | 0.41552
Other_C | 0.11093 | 0.12459 | 0.13516 | 0.14501 | 0.15488 | 0.16336 | 0.17236 | 0.1807 | 0.19136 | 0.20337 | 0.18925 | 0.19355 | 0.1979 | 0.21951 | 0.2101 | 0.2005 | 0.18479 | 0.17632 | 0.1592 | 0.14291 | 0.12864 | 0.11635 | 0.1005 | 0.099724 | 0.098707 | 0.097451 | 0.095956 | 0.094222 | 0.09225
Peak_D | 2.1378 | 2.5299 | 3.0997 | 3.4918 | 3.8528 | 4.2538 | 4.5307 | 4.8162 | 4.7494 | 4.6843 | 4.6357 | 4.5295 | 2.4368 | 2.2593 | 2.1704 | 2.0922 | 2.0486 | 2.2205 | 2.1097 | 1.6628 | 1.5194 | 1.4528 | 1.4379 | 1.4324 | 1.425 | 1.4154 | 1.4039 | 1.3903 | 1.3747
Other_D | 0.70582 | 0.76753 | 0.82347 | 0.86748 | 0.90928 | 0.9079 | 0.94333 | 0.97831 | 0.99195 | 1.0101 | 1.0226 | 1.0298 | 0.93466 | 0.92442 | 0.93192 | 0.94 | 0.92045 | 0.92718 | 0.85558 | 0.7245 | 0.68449 | 0.65789 | 0.51981 | 0.51714 | 0.51345 | 0.50874 | 0.50303 | 0.4963 | 0.48855
Total | 18.7687 | 20.6834 | 23.3574 | 25.4871 | 26.3507 | 25.7554 | 27.0973 | 28.3928 | 28.5925 | 29.1164 | 28.0299 | 27.9182 | 22.6436 | 20.618 | 20.1813 | 18.3013 | 17.9047 | 18.8318 | 18.2485 | 15.5832 | 13.8949 | 13.2439 | 11.6676 | 11.603 | 11.5134 | 11.399 | 11.2596 | 11.0954 | 10.9062
Cumulative Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 5.472 | 11.9365 | 19.4223 | 27.9393 | 37.4124 | 47.7993 | 59.1519 | 71.0788 | 83.1927 | 95.7326 | 107.7118 | 119.6142 | 128.8816 | 137.3186 | 145.4005 | 153.2135 | 160.9198 | 169.1802 | 176.9768 | 183.5059 | 189.198 | 194.6252 | 199.4232 | 204.1939 | 208.9268 | 213.6114 | 218.2372 | 222.7936 | 227.2702
Other_A | 6.4825 | 13.694 | 21.6905 | 30.2442 | 38.9361 | 46.048 | 53.2637 | 60.8209 | 68.4855 | 76.2438 | 83.5746 | 90.9253 | 98.1422 | 104.4096 | 110.7634 | 115.636 | 120.3191 | 125.1082 | 130.1536 | 135.0275 | 139.3791 | 143.4163 | 146.8725 | 150.3046 | 153.7043 | 157.063 | 160.3723 | 163.6236 | 166.8086
Peak_B | 2.4169 | 4.7921 | 7.3053 | 9.8086 | 11.8964 | 13.7471 | 15.5495 | 17.3385 | 19.0929 | 20.8689 | 22.6085 | 24.3726 | 26.1782 | 27.9303 | 29.6178 | 31.268 | 32.7854 | 34.3518 | 35.7778 | 36.7717 | 37.6817 | 38.6614 | 39.5472 | 40.4307 | 41.3098 | 42.1826 | 43.0473 | 43.9018 | 44.7442
Other_B | 1.0281 | 1.7451 | 2.4348 | 3.1395 | 3.543 | 3.772 | 3.9277 | 4.0788 | 4.2141 | 4.3536 | 4.468 | 4.5821 | 4.6777 | 4.7673 | 4.8549 | 4.9407 | 5.1461 | 5.3502 | 5.5464 | 5.6968 | 5.8355 | 5.9638 | 5.996 | 6.028 | 6.0599 | 6.0917 | 6.1233 | 6.1547 | 6.1859
Peak_C | 0.41463 | 0.90787 | 1.5217 | 2.2258 | 3.0032 | 3.855 | 4.7796 | 5.773 | 6.7646 | 7.7696 | 8.7879 | 9.8219 | 10.5107 | 11.1794 | 11.8373 | 12.4842 | 13.1228 | 13.8106 | 14.4706 | 14.9763 | 15.4461 | 15.8907 | 16.328 | 16.7634 | 17.1961 | 17.6255 | 18.0509 | 18.4717 | 18.8872
Other_C | 0.11093 | 0.23552 | 0.37068 | 0.51569 | 0.67057 | 0.83394 | 1.0063 | 1.187 | 1.3784 | 1.5817 | 1.771 | 1.9645 | 2.1624 | 2.3819 | 2.592 | 2.7925 | 2.9773 | 3.1537 | 3.3129 | 3.4558 | 3.5844 | 3.7008 | 3.8013 | 3.901 | 3.9997 | 4.0971 | 4.1931 | 4.2873 | 4.3796
Peak_D | 2.1378 | 4.6677 | 7.7674 | 11.2592 | 15.1121 | 19.3658 | 23.8965 | 28.7128 | 33.4621 | 38.1464 | 42.7821 | 47.3116 | 49.7484 | 52.0077 | 54.1781 | 56.2704 | 58.319 | 60.5395 | 62.6492 | 64.312 | 65.8314 | 67.2842 | 68.7221 | 70.1545 | 71.5794 | 72.9949 | 74.3988 | 75.7891 | 77.1638
Other_D | 0.70582 | 1.4734 | 2.2968 | 3.1643 | 4.0736 | 4.9815 | 5.9248 | 6.9031 | 7.8951 | 8.9051 | 9.9277 | 10.9575 | 11.8922 | 12.8166 | 13.7485 | 14.6885 | 15.609 | 16.5362 | 17.3917 | 18.1162 | 18.8007 | 19.4586 | 19.9785 | 20.4956 | 21.009 | 21.5178 | 22.0208 | 22.5171 | 23.0057
Total | 18.7687 | 39.4521 | 62.8095 | 88.2966 | 114.6474 | 140.4027 | 167.5 | 195.8929 | 224.4854 | 253.6017 | 281.6316 | 309.5498 | 332.1934 | 352.8113 | 372.9926 | 391.2939 | 409.1986 | 428.0304 | 446.2789 | 461.8622 | 475.757 | 489.0009 | 500.6686 | 512.2716 | 523.785 | 535.184 | 546.4436 | 557.539 | 568.4452
Incremental Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 1.2023 | 1.4204 | 1.6409 | 1.8714 | 2.0815 | 2.2822 | 2.4884 | 2.6206 | 2.6617 | 2.7553 | 2.6258 | 2.6152 | 2.0363 | 1.8538 | 1.7715 | 1.7167 | 1.6933 | 1.815 | 1.709 | 1.4346 | 1.2507 | 1.1925 | 1.0517 | 1.0482 | 1.0399 | 1.0293 | 1.014 | 1.0012 | 0.98361
Other_A | 1.0333 | 1.1495 | 1.2712 | 1.3634 | 1.3855 | 1.1336 | 1.147 | 1.2046 | 1.2217 | 1.2366 | 1.1653 | 1.1717 | 1.1504 | 0.99901 | 1.01 | 0.77667 | 0.74648 | 0.76336 | 0.80204 | 0.77688 | 0.69363 | 0.64351 | 0.54941 | 0.54708 | 0.5419 | 0.53537 | 0.52605 | 0.51826 | 0.50768
Peak_B | 0.8059 | 0.79197 | 0.83583 | 0.83471 | 0.69616 | 0.6171 | 0.59942 | 0.59653 | 0.58497 | 0.59219 | 0.57856 | 0.58823 | 0.60203 | 0.58422 | 0.56122 | 0.55027 | 0.50595 | 0.52231 | 0.47424 | 0.33139 | 0.30344 | 0.32667 | 0.29461 | 0.29457 | 0.29313 | 0.29104 | 0.28756 | 0.28493 | 0.28091
Other_B | 0.17207 | 0.12001 | 0.11514 | 0.11794 | 0.067536 | 0.038325 | 0.026004 | 0.025277 | 0.02266 | 0.023344 | 0.019096 | 0.019094 | 0.016008 | 0.014987 | 0.014627 | 0.01436 | 0.034382 | 0.034163 | 0.032747 | 0.02518 | 0.023215 | 0.021475 | 0.0053649 | 0.0053632 | 0.0053432 | 0.0053188 | 0.0052765 | 0.0052572 | 0.0052199
Peak_C | 0.073025 | 0.086868 | 0.10784 | 0.124 | 0.13692 | 0.15002 | 0.16242 | 0.17496 | 0.17463 | 0.177 | 0.17889 | 0.1821 | 0.12131 | 0.11777 | 0.11558 | 0.11393 | 0.11246 | 0.12114 | 0.11593 | 0.08907 | 0.082747 | 0.078289 | 0.076828 | 0.076673 | 0.076207 | 0.075625 | 0.074738 | 0.074112 | 0.073181
Other_C | 0.019089 | 0.021439 | 0.023198 | 0.024953 | 0.026653 | 0.028112 | 0.029582 | 0.031096 | 0.032929 | 0.034996 | 0.032481 | 0.033306 | 0.034055 | 0.037773 | 0.03606 | 0.034503 | 0.031799 | 0.030341 | 0.027324 | 0.024592 | 0.022137 | 0.020021 | 0.017249 | 0.017161 | 0.016986 | 0.016769 | 0.016469 | 0.016214 | 0.015874
Peak_D | 0.44719 | 0.52919 | 0.64688 | 0.7304 | 0.80592 | 0.88978 | 0.94552 | 1.0074 | 0.99346 | 0.97984 | 0.96743 | 0.94747 | 0.50972 | 0.47259 | 0.45295 | 0.43765 | 0.42853 | 0.46447 | 0.44027 | 0.34782 | 0.31782 | 0.30389 | 0.30007 | 0.29963 | 0.29807 | 0.29608 | 0.29298 | 0.29082 | 0.28755
Other_D | 0.11793 | 0.12824 | 0.13722 | 0.14494 | 0.15192 | 0.15169 | 0.15719 | 0.16346 | 0.16574 | 0.16877 | 0.17039 | 0.17206 | 0.15616 | 0.15445 | 0.15529 | 0.15706 | 0.15379 | 0.15491 | 0.14257 | 0.12105 | 0.11437 | 0.10992 | 0.086617 | 0.086404 | 0.085787 | 0.085001 | 0.08382 | 0.082921 | 0.081627
Total | 3.8708 | 4.2476 | 4.7781 | 5.2118 | 5.352 | 5.2909 | 5.5556 | 5.824 | 5.8578 | 5.9681 | 5.738 | 5.7292 | 4.6259 | 4.2346 | 4.1173 | 3.8011 | 3.7066 | 3.9057 | 3.7441 | 3.1506 | 2.8081 | 2.6963 | 2.3818 | 2.3751 | 2.3573 | 2.3345 | 2.3009 | 2.2737 | 2.2357
Cumulative Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 1.2023 | 2.6227 | 4.2636 | 6.135 | 8.2164 | 10.4987 | 12.9871 | 15.6077 | 18.2694 | 21.0247 | 23.6505 | 26.2657 | 28.302 | 30.1558 | 31.9273 | 33.644 | 35.3373 | 37.1523 | 38.8612 | 40.2958 | 41.5465 | 42.739 | 43.7907 | 44.8389 | 45.8789 | 46.9082 | 47.9221 | 48.9233 | 49.9069
Other_A | 1.0333 | 2.1828 | 3.4539 | 4.8174 | 6.2028 | 7.3365 | 8.4835 | 9.6881 | 10.9098 | 12.1464 | 13.3118 | 14.4834 | 15.6338 | 16.6328 | 17.6428 | 18.4195 | 19.166 | 19.9293 | 20.7314 | 21.5083 | 22.2019 | 22.8454 | 23.3948 | 23.9419 | 24.4838 | 25.0192 | 25.5452 | 26.0635 | 26.5712
Peak_B | 0.8059 | 1.5979 | 2.4337 | 3.2684 | 3.9646 | 4.5817 | 5.1811 | 5.7776 | 6.3626 | 6.9548 | 7.5334 | 8.1216 | 8.7236 | 9.3078 | 9.8691 | 10.4193 | 10.9253 | 11.4476 | 11.9218 | 12.2532 | 12.5567 | 12.8833 | 13.178 | 13.4725 | 13.7657 | 14.0567 | 14.3443 | 14.6292 | 14.9101
Other_B | 0.17207 | 0.29209 | 0.40723 | 0.52517 | 0.5927 | 0.63103 | 0.65703 | 0.68231 | 0.70497 | 0.72831 | 0.74741 | 0.7665 | 0.78251 | 0.7975 | 0.81212 | 0.82649 | 0.86087 | 0.89503 | 0.92778 | 0.95296 | 0.97617 | 0.99765 | 1.003 | 1.0084 | 1.0137 | 1.019 | 1.0243 | 1.0296 | 1.0348
Peak_C | 0.073025 | 0.15989 | 0.26773 | 0.39173 | 0.52865 | 0.67867 | 0.84109 | 1.0161 | 1.1907 | 1.3677 | 1.5466 | 1.7287 | 1.85 | 1.9678 | 2.0833 | 2.1973 | 2.3097 | 2.4309 | 2.5468 | 2.6359 | 2.7186 | 2.7969 | 2.8738 | 2.9504 | 3.0266 | 3.1023 | 3.177 | 3.2511 | 3.3243
Other_C | 0.019089 | 0.040528 | 0.063726 | 0.088679 | 0.11533 | 0.14344 | 0.17303 | 0.20412 | 0.23705 | 0.27205 | 0.30453 | 0.33783 | 0.37189 | 0.40966 | 0.44572 | 0.48022 | 0.51202 | 0.54236 | 0.56969 | 0.59428 | 0.61642 | 0.63644 | 0.65369 | 0.67085 | 0.68783 | 0.7046 | 0.72107 | 0.73728 | 0.75316
Peak_D | 0.44719 | 0.97638 | 1.6233 | 2.3537 | 3.1596 | 4.0494 | 4.9949 | 6.0023 | 6.9958 | 7.9756 | 8.9431 | 9.8905 | 10.4002 | 10.8728 | 11.3258 | 11.7634 | 12.192 | 12.6564 | 13.0967 | 13.4445 | 13.7623 | 14.0662 | 14.3663 | 14.6659 | 14.964 | 15.2601 | 15.5531 | 15.8439 | 16.1314
Other_D | 0.11793 | 0.24617 | 0.38338 | 0.52832 | 0.68025 | 0.83194 | 0.98913 | 1.1526 | 1.3183 | 1.4871 | 1.6575 | 1.8295 | 1.9857 | 2.1402 | 2.2954 | 2.4525 | 2.6063 | 2.7612 | 2.9038 | 3.0248 | 3.1392 | 3.2491 | 3.3357 | 3.4221 | 3.5079 | 3.5929 | 3.6767 | 3.7597 | 3.8413
Total | 3.8708 | 8.1184 | 12.8965 | 18.1083 | 23.4603 | 28.7512 | 34.3068 | 40.1308 | 45.9886 | 51.9567 | 57.6947 | 63.4239 | 68.0498 | 72.2844 | 76.4016 | 80.2028 | 83.9094 | 87.8151 | 91.5592 | 94.7098 | 97.5179 | 100.2141 | 102.596 | 104.9711 | 107.3284 | 109.6629 | 111.9638 | 114.2375 | 116.4731
Savings-Weighted LCOE ($/MWh) Real Dollars (2019)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 57.9762 | 57.9305 | 58.5491 | 58.0614 | 57.85 | 57.6857 | 56.5728 | 57.1991 | 56.7482 | 55.9176 | 57.2511 | 57.8157 | 57.3518 | 67.0753 | 66.216 | 66.891 | 67.1829 | 67.4789 | 67.3728 | 70.9709 | 72.6102 | 71.7478 | 73.9298 | 75.4319 | 74.2139 | 74.2139 | 74.2139 | 74.2139 | 74.2139
Other_A | -3.4561 | -13.1334 | -20.8894 | -23.2603 | -21.2416 | 31.1797 | 35.896 | 35.4179 | 31.2924 | 31.8747 | 31.7137 | 32.1016 | 34.2874 | 39.6071 | 39.7963 | 39.3346 | 40.1202 | 39.5053 | 40.001 | 36.7144 | 37.3657 | 37.6425 | 37.6571 | 37.6585 | 37.654 | 37.654 | 37.654 | 37.654 | 37.654
Peak_B | 54.1849 | 69.0902 | 71.0474 | 35.0785 | 39.3918 | 58.1797 | 67.7683 | 74.7973 | 71.4235 | 76.2685 | 80.4976 | 83.4473 | 82.0308 | 81.0872 | 76.6926 | 77.5384 | 81.0718 | 80.661 | 106.9999 | 86.5342 | 85.7857 | 73.726 | 69.6078 | 69.5889 | 69.6186 | 69.6186 | 69.6186 | 69.6186 | 69.6186
Other_B | 6.2416 | 14.1316 | 17.4846 | 14.4344 | 39.1399 | 85.7729 | 141.3683 | 155.9307 | 181.3406 | 181.9007 | 227.488 | 234.6454 | 252.0167 | 253.1907 | 256.9423 | 260.1627 | 93.9079 | 92.3077 | 93.5008 | 51.3535 | 44.461 | 47.0672 | 216.6801 | 216.6858 | 216.6683 | 216.6683 | 216.6683 | 216.6683 | 216.6683
Peak_C | 157.5605 | 158.8148 | 145.9245 | 147.3738 | 147.6279 | 147.4717 | 147.0928 | 146.6672 | 168.2268 | 169.3392 | 170.0543 | 170.7091 | 179.4805 | 177.909 | 178.756 | 179.8587 | 180.7643 | 178.7521 | 179.7364 | 179.7117 | 181.7291 | 184.0885 | 184.109 | 183.7156 | 184.3925 | 184.3925 | 184.3925 | 184.3925 | 184.3925
Other_C | 233.7552 | 232.9337 | 232.4831 | 232.2764 | 232.1156 | 232.0829 | 231.9586 | 231.7939 | 219.0546 | 218.8053 | 221.0489 | 221.4708 | 221.0923 | 219.6586 | 219.7387 | 221.6667 | 223.7018 | 225.5641 | 228.1859 | 230.1352 | 232.9889 | 236.2244 | 235.7017 | 235.7426 | 235.637 | 235.637 | 235.637 | 235.637 | 235.637
Peak_D | 615.6219 | 624.8402 | 591.0944 | 594.4375 | 598.4834 | 598.3529 | 599.6107 | 601.0809 | 601.1722 | 602.6596 | 601.4858 | 592.8793 | 487.0584 | 452.2003 | 459.2585 | 466.7121 | 474.8775 | 449.7707 | 449.9613 | 432.8524 | 440.3494 | 461.8357 | 466.6299 | 466.4399 | 466.792 | 466.792 | 466.792 | 466.792 | 466.792
Other_D | 2190.7529 | 2188.9671 | 2189.8668 | 2210.9808 | 2232.6183 | 2304.6489 | 2310.2372 | 2310.8474 | 2308.2524 | 2295.1053 | 2291.4578 | 2279.3917 | 2140.532 | 2134.9232 | 2132.7082 | 2132.9124 | 2178.8172 | 2180.763 | 2250.2963 | 2348.4654 | 2369.1225 | 2367.6363 | 1892.5829 | 1893.2319 | 1891.405 | 1891.405 | 1891.405 | 1891.405 | 1891.405
Total | 180.3994 | 184.7979 | 180.6001 | 177.5256 | 187.7772 | 223.2309 | 225.7558 | 227.1874 | 224.9096 | 222.0505 | 229.4266 | 227.4607 | 190.1672 | 200.8588 | 202.5653 | 218.9345 | 222.4579 | 216.3991 | 215.2253 | 210.5497 | 220.6727 | 223.3142 | 198.1923 | 198.934 | 198.6133 | 198.8673 | 199.1861 | 199.5742 | 200.0375
Savings-Weighted LCOE ($/MWh) Nominal Dollars
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 57.9762 | 59.1471 | 61.034 | 61.7966 | 62.8646 | 64.0025 | 64.0859 | 66.156 | 67.0128 | 67.4187 | 70.476 | 72.6657 | 73.5963 | 87.8815 | 88.5775 | 91.3595 | 93.6852 | 96.0739 | 97.9372 | 105.3342 | 110.0303 | 111.0067 | 116.7847 | 121.6597 | 122.2089 | 124.7753 | 127.3956 | 130.0709 | 132.8024
Other_A | -3.4561 | -13.4092 | -21.7759 | -24.7567 | -23.0829 | 34.5939 | 40.6631 | 40.9641 | 36.9526 | 38.4306 | 39.0396 | 40.3468 | 43.9991 | 51.8929 | 53.2358 | 53.723 | 55.9467 | 56.2461 | 58.1479 | 54.4911 | 56.6223 | 58.2397 | 59.4859 | 60.7373 | 62.0053 | 63.3074 | 64.6369 | 65.9942 | 67.3801
Peak_B | 54.1849 | 70.5411 | 74.0627 | 37.3352 | 42.8065 | 64.5506 | 76.7682 | 86.5099 | 84.3427 | 91.9554 | 99.0924 | 104.8806 | 105.2655 | 106.2397 | 102.5921 | 105.9017 | 113.0529 | 114.8422 | 155.5417 | 128.4331 | 129.9959 | 114.0673 | 109.9573 | 112.236 | 114.6418 | 117.0493 | 119.5074 | 122.017 | 124.5794
Other_B | 6.2416 | 14.4284 | 18.2267 | 15.363 | 42.5327 | 95.1653 | 160.1424 | 180.3482 | 214.1415 | 219.3138 | 280.0374 | 294.9138 | 323.3986 | 331.7282 | 343.713 | 355.3295 | 130.9525 | 131.4243 | 135.9185 | 76.2184 | 67.3742 | 72.8215 | 342.283 | 349.4802 | 356.7905 | 364.2831 | 371.933 | 379.7436 | 387.7182
Peak_C | 157.5605 | 162.1499 | 152.1177 | 156.8546 | 160.4248 | 163.6203 | 166.6272 | 169.6341 | 198.6557 | 204.1687 | 209.3366 | 214.5556 | 230.3171 | 233.0948 | 239.1228 | 245.6505 | 252.0719 | 254.5006 | 261.2759 | 266.7261 | 275.3844 | 284.8179 | 290.8314 | 296.3044 | 303.6415 | 310.018 | 316.5283 | 323.1754 | 329.9621
Other_C | 233.7552 | 237.8253 | 242.3499 | 247.2192 | 252.2362 | 257.4968 | 262.7635 | 268.0909 | 258.6772 | 263.809 | 272.1108 | 278.3553 | 283.7152 | 287.7947 | 293.9456 | 302.7517 | 311.9474 | 321.1498 | 331.7051 | 341.564 | 353.0612 | 365.4814 | 372.3309 | 380.2158 | 388.0264 | 396.1749 | 404.4946 | 412.989 | 421.6618
Peak_D | 615.6219 | 637.9618 | 616.1811 | 632.679 | 650.3619 | 663.8747 | 679.2409 | 695.2054 | 709.9125 | 726.614 | 740.4279 | 745.1599 | 625.0143 | 592.4689 | 614.3524 | 637.4339 | 662.2065 | 640.3667 | 654.0916 | 642.4346 | 667.2864 | 714.5425 | 737.1212 | 752.2942 | 768.6723 | 784.8145 | 801.2956 | 818.1228 | 835.3034
Other_D | 2190.7529 | 2234.9354 | 2282.8069 | 2353.2182 | 2426.1489 | 2557.0162 | 2617.044 | 2672.7077 | 2725.7702 | 2767.1602 | 2820.7804 | 2864.8515 | 2746.8227 | 2797.1574 | 2852.9347 | 2913.1253 | 3038.3141 | 3104.8891 | 3271.1696 | 3485.5656 | 3590.0654 | 3663.1574 | 2989.6562 | 3053.4857 | 3114.6005 | 3180.0071 | 3246.7873 | 3314.9698 | 3384.5842
Total | 180.3994 | 188.6786 | 188.265 | 188.9462 | 204.0544 | 247.6755 | 255.7369 | 262.7632 | 265.5914 | 267.7216 | 282.4238 | 285.8837 | 244.0307 | 263.1635 | 270.9726 | 299.02 | 310.2128 | 308.1009 | 312.8648 | 312.4954 | 334.3978 | 345.5071 | 313.0783 | 320.8493 | 327.0591 | 334.3543 | 341.9229 | 349.7836 | 357.9581
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 263860.6896 | 263652.8103 | 267108.0029 | 264248.5111 | 263286.4135 | 262538.6986 | 258091.9078 | 260323.7719 | 258271.787 | 254491.5438 | 261186.1466 | 263130.4162 | 261018.8384 | 305272.42 | 302085.4164 | 304433.6387 | 305762.3421 | 307109.2657 | 307362.57 | 323001.8807 | 330462.6434 | 326537.7762 | 337276.614 | 343304.6921 | 337761.3987 | 337761.3987 | 338572.4682 | 337761.3987 | 337761.3987
Other_A | -21682.062 | -82394.3545 | -131409.6428 | -145927.1008 | -133262.4105 | 195610.1197 | 225812.7987 | 222199.3193 | 196317.4756 | 199970.2917 | 199503.0893 | 201393.897 | 215107.0705 | 248480.8042 | 250348.7159 | 246771.0999 | 251699.7985 | 247842.1053 | 251636.219 | 230333.1836 | 234418.938 | 236155.8843 | 236891.5975 | 236256.3014 | 236227.7191 | 236227.7191 | 236871.691 | 236227.7191 | 236227.7191
Peak_B | 162502.6668 | 207204.1321 | 213626.9337 | 105201.8975 | 118137.7007 | 174483.328 | 203767.3917 | 224320.0099 | 214201.979 | 228732.3463 | 242041.9557 | 250261.6696 | 246013.6502 | 243183.6355 | 230601.1308 | 232540.5961 | 243137.6262 | 241905.6403 | 321729.7327 | 259519.5786 | 257274.6081 | 221107.0491 | 209298.2234 | 208699.9422 | 208788.9585 | 208788.9585 | 209330.8074 | 208788.9585 | 208788.9585
Other_B | 37291.3723 | 84431.6362 | 104736.4776 | 86240.4158 | 233847.5153 | 512463.826 | 846826.6836 | 931632.7887 | 1083448.0538 | 1086794.4792 | 1362702.7702 | 1401926.0795 | 1505713.728 | 1512728.0554 | 1539139.9379 | 1554383.7309 | 561067.5807 | 551507.2797 | 560090.0643 | 306819.9631 | 265639.1813 | 281210.7846 | 1297960.8545 | 1294623.9225 | 1294519.4859 | 1294519.4859 | 1297890.2905 | 1294519.4859 | 1294519.4859
Peak_C | 894628.1262 | 901749.8921 | 830650.6372 | 836787.6276 | 838230.8269 | 837343.5621 | 837300.87 | 832775.8134 | 955191.0861 | 961507.3077 | 968005.293 | 969285.8697 | 1019089.572 | 1010166.5262 | 1017538.0599 | 1021237.0562 | 1026378.8426 | 1014953.9571 | 1023118.8911 | 1020402.5129 | 1031857.2364 | 1045253.8171 | 1048009.1007 | 1043136.3985 | 1046980.0362 | 1046980.0362 | 1049623.1244 | 1046980.0362 | 1046980.0362
Other_C | 1358403.1359 | 1353629.3376 | 1354568.8301 | 1349809.1888 | 1348875.0379 | 1348684.9762 | 1351512.7748 | 1347005.2928 | 1272974.336 | 1271525.9535 | 1287947.0289 | 1287015.4453 | 1284816.327 | 1276484.3163 | 1280313.1721 | 1288154.127 | 1299980.385 | 1310802.8364 | 1329530.8312 | 1337366.2275 | 1353949.6147 | 1372751.8251 | 1373322.0992 | 1369952.368 | 1369338.4732 | 1369338.4732 | 1372944.8369 | 1369338.4732 | 1369338.4732
Peak_D | 2943077.3621 | 2987146.7596 | 2832382.5181 | 2841801.657 | 2861144.0016 | 2860520.227 | 2873190.3101 | 2873561.9367 | 2873998.1157 | 2881108.8878 | 2882175.2568 | 2834352.773 | 2328459.4134 | 2161814.8168 | 2200656.264 | 2231190.5239 | 2270226.4919 | 2150199.3779 | 2156106.6275 | 2069318.927 | 2105159.5226 | 2207878.0252 | 2235978.3375 | 2229889.0516 | 2231572.7452 | 2231572.7452 | 2236755.3024 | 2231572.7452 | 2231572.7452
Other_D | 13111931.2105 | 13101242.8579 | 13141978.4436 | 13232997.7805 | 13362500.8798 | 13793612.7836 | 13864353.5622 | 13830711.9725 | 13815180.662 | 13736493.6596 | 13751653.2816 | 13642445.3524 | 12811352.8384 | 12777783.3643 | 12798954.6371 | 12765748.7423 | 13040494.3659 | 13052140.5282 | 13504632.3034 | 14055860.2544 | 14179495.6793 | 14170600.6773 | 11357898.4188 | 11331230.7967 | 11320296.6685 | 11320296.6685 | 11350829.5852 | 11320296.6685 | 11320296.6685
Total | 874717.0311 | 899858.5408 | 882847.3741 | 868153.1489 | 924521.295 | 1086657.7551 | 1101117.0843 | 1107576.3964 | 1097805.4517 | 1083313.9554 | 1120741.5048 | 1108412.4598 | 930861.7801 | 977967.9255 | 992891.6462 | 1054102.5937 | 1074567.6673 | 1043394.4223 | 1048993.1 | 1041410.1751 | 1091936.468 | 1096912.1972 | 970859.4787 | 971839.5691 | 970040.5228 | 971029.5148 | 974750.6406 | 973911.5854 | 975848.8492
Savings-Weighted LCOE ($/MW) Nominal Dollars - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 263860.6896 | 269189.5193 | 278444.3336 | 281248.2153 | 286108.9325 | 291287.6277 | 292367.3292 | 301088.3993 | 304988.1069 | 306835.0975 | 321519.6786 | 330715.2454 | 334950.5981 | 399965.2097 | 404101.2081 | 415794.5283 | 426379.062 | 437250.7218 | 446801.2057 | 479395.7181 | 500768.7442 | 505212.4153 | 532785.6942 | 553696.5369 | 556195.953 | 567876.068 | 581193.748 | 591977.2962 | 604408.8194
Other_A | -21682.062 | -84124.636 | -136986.7994 | -155314.9211 | -144814.0278 | 217030.1294 | 255801.4523 | 256993.9614 | 231827.4711 | 241099.9714 | 245587.9456 | 253121.7524 | 276034.6432 | 325557.3397 | 334892.7589 | 337039.2099 | 350989.9984 | 352868.3486 | 365793.9419 | 341857.8918 | 355228.2824 | 365375.4432 | 374210.5115 | 381044.2994 | 388999.1629 | 397168.1453 | 406614.119 | 414024.3586 | 422718.8701
Peak_B | 162502.6668 | 211555.4189 | 222693.4744 | 111969.7735 | 128378.2591 | 193589.8782 | 230828.3456 | 259446.7352 | 252946.9317 | 275777.7752 | 297953.2138 | 314541.1719 | 315695.2954 | 318617.0365 | 308476.3133 | 317603.2316 | 339050.2318 | 344416.231 | 467686.2004 | 385176.0073 | 389862.7726 | 342092.2003 | 330622.0907 | 336600.221 | 343815.4098 | 351035.5334 | 359337.418 | 365933.8325 | 373618.443
Other_B | 37291.3723 | 86204.7006 | 109181.5984 | 91788.4568 | 254118.1752 | 568580.4529 | 959287.9446 | 1077519.0566 | 1279422.6371 | 1310325.2271 | 1677484.6687 | 1762009.6306 | 1932196.6066 | 1981962.8447 | 2058915.3748 | 2122972.5233 | 782396.7696 | 785215.5016 | 814181.4927 | 455378.7001 | 402538.0837 | 435083.4423 | 2050349.613 | 2088025.0078 | 2131701.5559 | 2176467.2885 | 2227959.4272 | 2268838.7367 | 2316484.3502
Peak_C | 894628.1262 | 920686.6399 | 865904.2809 | 890620.0677 | 910891.3896 | 929035.6853 | 948497.0729 | 963181.8671 | 1127966.4899 | 1159269.1216 | 1191612.7815 | 1218246.1416 | 1307739.5631 | 1323511.1987 | 1361165.8723 | 1394802.4334 | 1431263.3958 | 1445053.6011 | 1487268.7789 | 1514469.8056 | 1563631.6623 | 1617194.8366 | 1655508.3665 | 1682415.1391 | 1724075.2235 | 1760280.8032 | 1801783.8273 | 1834988.8808 | 1873523.6473
Other_C | 1358403.1359 | 1382055.5537 | 1412058.0858 | 1436645.4658 | 1465799.8945 | 1496370.8181 | 1530997.9445 | 1557935.5836 | 1503230.5204 | 1533052.0771 | 1585460.4852 | 1617584.2953 | 1648731.5622 | 1672438.3988 | 1712681.4852 | 1759356.9485 | 1812794.9087 | 1866272.2046 | 1932688.0902 | 1984903.7464 | 2051716.4701 | 2123892.9025 | 2169395.4981 | 2209517.9566 | 2254906.9255 | 2302259.9709 | 2356798.1167 | 2399970.1863 | 2450369.5602
Peak_D | 2943077.3621 | 3049876.8415 | 2952591.6646 | 3024621.1829 | 3109157.2294 | 3173757.451 | 3254759.0678 | 3323538.8285 | 3393848.2192 | 3473692.34 | 3547952.5775 | 3562353.9325 | 2987979.251 | 2832390.5467 | 2943829.151 | 3047353.1615 | 3165782.4024 | 3061373.7032 | 3134249.6937 | 3071259.619 | 3190067.3538 | 3415982.6864 | 3532107.5385 | 3596460.7352 | 3674758.9703 | 3751928.9087 | 3839615.7972 | 3911164.5235 | 3993298.9785
Other_D | 13111931.2105 | 13376368.9579 | 13699737.1507 | 14084306.4475 | 14520805.7303 | 15304062.854 | 15705583.5516 | 15996491.2117 | 16314076.9061 | 16561801.2587 | 16928260.5526 | 17146496.1289 | 16440078.8939 | 16741338.1243 | 17121227.1449 | 17435420.4058 | 18184691.1442 | 18583151.0299 | 19631167.179 | 20861547.946 | 21486992.2086 | 21924456.884 | 17941729.5572 | 18275495.1927 | 18641275.225 | 19032742.0048 | 19484842.4141 | 19840510.6082 | 20257161.331
Total | 874717.0311 | 918755.5701 | 920316.2995 | 924003.4039 | 1004661.7949 | 1205650.6766 | 1247348.9146 | 1281014.0308 | 1296377.0077 | 1306128.8328 | 1379630.7845 | 1393107.2811 | 1194521.8665 | 1281324.8784 | 1328196.2384 | 1439690.0834 | 1498461.6837 | 1485546.0751 | 1524881.1263 | 1545649.139 | 1654673.1217 | 1697119.6013 | 1533637.4356 | 1567424.5537 | 1597377.9569 | 1632585.6799 | 1673257.6666 | 1706925.5081 | 1746237.59
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | Total $/MW (Cumulative)
Peak_A | 263860.6896 | 263748.1071 | 265041.1878 | 264799.3942 | 264416.1108 | 264007.9915 | 262874.4206 | 262446.1546 | 261837.9828 | 260875.2294 | 260909.7491 | 261130.8566 | 261122.7972 | 263836.8396 | 265959.1259 | 267922.2864 | 269735.4682 | 271561.2777 | 273135.6965 | 274911.0067 | 276583.3056 | 277977.0944 | 279401.2615 | 280895.1794 | 282184.1584 | 283403.7019 | 284570.986 | 285659.4635 | 286686.3349 | 286686.3349
Other_A | -21682.062 | -53653.9843 | -82270.4888 | -100286.9889 | -107652.34 | -60792.4122 | -22041.2483 | 8327.1564 | 29378.8826 | 46746.9802 | 60119.4827 | 71548.3058 | 82111.5125 | 92104.121 | 101163.3474 | 107303.0069 | 112926.9944 | 118094.7021 | 123261.0345 | 127128.4903 | 130480.4742 | 133457.159 | 135886.2277 | 138179.699 | 140349.784 | 142401.4094 | 144346.8424 | 146173.8474 | 147894.4547 | 147894.4547
Peak_B | 162502.6668 | 184658.5234 | 194607.3942 | 171774.3712 | 162356.0328 | 163989.4479 | 168591.5244 | 174345.4254 | 178009.793 | 182328.7479 | 186914.6912 | 191502.7918 | 195264.6683 | 198272.3743 | 200110.815 | 201823.5036 | 203736.7724 | 205478.2851 | 210102.6985 | 211439.202 | 212546.8316 | 212763.8849 | 212686.406 | 212599.2431 | 212518.1063 | 212440.8955 | 212378.5474 | 212308.6338 | 212242.3228 | 212242.3228
Other_B | 37291.3723 | 56660.8143 | 70254.1098 | 73844.2189 | 92075.89 | 117608.0113 | 146468.5128 | 175556.3263 | 204739.5476 | 233011.4615 | 261874.9908 | 290273.5352 | 315137.8486 | 337643.5219 | 359282.7931 | 380047.9812 | 387277.6804 | 393546.2179 | 399424.6405 | 396977.7182 | 393854.3011 | 391429.5977 | 396278.4635 | 401056.4471 | 405765.7735 | 410404.6047 | 414976.229 | 419467.3797 | 423881.5299 | 423881.5299
Peak_C | 894628.1262 | 898497.3113 | 871169.6715 | 860286.1355 | 854573.8845 | 850765.2038 | 848165.1317 | 845515.1003 | 861600.8012 | 874530.3326 | 885342.5791 | 894185.1675 | 902375.6169 | 908826.823 | 914858.119 | 920374.1134 | 925535.608 | 929991.6512 | 934230.939 | 937142.7854 | 940025.6221 | 942971.0754 | 945779.218 | 948309.2427 | 950793.6552 | 953138.4264 | 955408.1995 | 957495.6613 | 959465.5735 | 959465.5735
Other_C | 1358403.1359 | 1355877.818 | 1355401.3115 | 1353827.7709 | 1352683.2162 | 1351899.6541 | 1351833.5101 | 1351097.9815 | 1340245.7056 | 1331405.5311 | 1326770.2203 | 1322850.9368 | 1319367.9585 | 1315413.8657 | 1312574.1545 | 1310819.6357 | 1310146.4674 | 1310183.1862 | 1311111.1448 | 1312197.6108 | 1313697.0024 | 1315554.7395 | 1317079.0776 | 1318431.6028 | 1319688.7112 | 1320870.3652 | 1322059.7121 | 1323099.4343 | 1324074.0238 | 1324074.0238
Peak_D | 2943077.3621 | 2966962.749 | 2913331.7515 | 2891134.0754 | 2883484.4454 | 2878438.4186 | 2877444.9626 | 2876793.2293 | 2876396.3006 | 2876975.2647 | 2877537.78 | 2873400.8585 | 2846693.1268 | 2816924.5802 | 2792278.5139 | 2771403.7902 | 2753788.2677 | 2731637.3156 | 2712289.6972 | 2695655.5161 | 2682018.7497 | 2671775.1872 | 2662672.6481 | 2653830.7125 | 2645419.7676 | 2637390.2529 | 2629843.2635 | 2622532.8624 | 2615563.7787 | 2615563.7787
Other_D | 13111931.2105 | 13106363.2078 | 13119110.1285 | 13150353.7269 | 13197733.5169 | 13306383.4938 | 13395053.8961 | 13456838.141 | 13501888.0254 | 13528513.0294 | 13551451.9366 | 13560009.6314 | 13501132.1676 | 13448928.684 | 13404957.6271 | 13364023.0501 | 13344932.5255 | 13328505.7766 | 13337153.0763 | 13365915.1207 | 13395555.2365 | 13421776.0084 | 13368184.1213 | 13316753.9925 | 13267929.9868 | 13221852.8535 | 13179198.446 | 13138199.3121 | 13099568.8189 | 13099568.8189
Total | 874717.0311 | 887871.2178 | 886009.901 | 880870.5389 | 890828.6353 | 926865.753 | 955083.7894 | 977214.2365 | 992574.5535 | 1002997.4655 | 1014707.613 | 1023172.1094 | 1016897.0203 | 1014616.4565 | 1013445.7047 | 1015372.5951 | 1017987.503 | 1019117.51 | 1020339.2055 | 1021040.1444 | 1023081.6259 | 1025068.0318 | 1023809.5376 | 1022633.6466 | 1021478.4989 | 1020404.5357 | 1019466.348 | 1018559.6712 | 1017739.8552 | 1017739.8552
Savings-Weighted LCOE ($/MW) Nominal Dollars - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 263860.6896 | 269286.8173 | 276289.8008 | 281834.538 | 287336.5556 | 292917.8134 | 297784.9748 | 303543.1302 | 309199.3578 | 314531.7728 | 321179.4337 | 328202.1006 | 335084.0025 | 345676.6808 | 355774.8844 | 365927.4355 | 376140.355 | 386638.8219 | 397046.9096 | 408019.7898 | 419122.3346 | 430080.3445 | 441361.7456 | 453039.7971 | 464676.2109 | 476484.8218 | 488494.7638 | 500660.8734 | 513012.2917
Other_A | -21682.062 | -54780.718 | -85762.1306 | -106738.6777 | -116983.9935 | -67449.3993 | -24968.3958 | 9631.1227 | 34692.9484 | 56361.85 | 74006.9755 | 89925.4288 | 105369.024 | 120674.0003 | 135326.7277 | 146554.1172 | 157474.2841 | 168138.8337 | 179179.8489 | 188682.6596 | 197724.4463 | 206482.1241 | 214655.3753 | 222862.1471 | 231115.7585 | 239418.5741 | 247785.8958 | 256191.4988 | 264650.4695
Peak_B | 162502.6668 | 188536.3524 | 202866.7266 | 182825.0049 | 176429.5795 | 181946.8805 | 190981.0119 | 201646.5291 | 210208.2863 | 219829.9333 | 230091.65 | 240690.1251 | 250572.0194 | 259774.7014 | 267689.2618 | 275649.9211 | 284106.5819 | 292552.321 | 305418.2526 | 313815.6591 | 322084.2417 | 329183.8311 | 335974.3005 | 342889.1808 | 349956.2446 | 357175.5117 | 364569.1706 | 372102.5893 | 379798.0831
Other_B | 37291.3723 | 57850.6914 | 73235.7644 | 78594.7845 | 100057.3263 | 130486.5103 | 165919.9944 | 203047.0475 | 241772.9313 | 280937.0143 | 322367.6445 | 364830.052 | 404398.4393 | 442377.5396 | 480614.4317 | 519068.3649 | 540050.4618 | 560316.4315 | 580628.3146 | 589189.8149 | 596829.7104 | 605611.6839 | 625989.1363 | 646841.0451 | 668179.6142 | 690010.6232 | 712348.4999 | 735179.2308 | 758516.9177
Peak_C | 894628.1262 | 917365.7548 | 908142.9835 | 915630.2877 | 928651.1163 | 943927.0449 | 960804.1429 | 977916.0247 | 1017447.5511 | 1054402.8135 | 1089855.1287 | 1123855.8864 | 1157967.1968 | 1190736.8207 | 1223810.3895 | 1257044.136 | 1290639.657 | 1324087.4378 | 1358055.7646 | 1390896.6648 | 1424474.0205 | 1458945.1185 | 1494018.9042 | 1529473.8336 | 1565683.8974 | 1602505.5081 | 1640054.4179 | 1678154.1493 | 1716920.4557
Other_C | 1358403.1359 | 1384351.2522 | 1412925.8985 | 1440922.5724 | 1469938.178 | 1499937.5148 | 1531361.2745 | 1562669.1548 | 1582669.9664 | 1605247.6234 | 1633251.7641 | 1662624.1031 | 1693069.7016 | 1723443.5482 | 1755837.1665 | 1790313.4306 | 1826971.2938 | 1865389.9699 | 1905912.0971 | 1947548.7716 | 1990719.4087 | 2035398.7684 | 2080550.0934 | 2126423.056 | 2173148.0364 | 2220770.8525 | 2269448.6741 | 2318929.3647 | 2369370.8655
Peak_D | 2943077.3621 | 3029268.9667 | 3036976.4643 | 3077127.2673 | 3133434.2153 | 3193637.7489 | 3259578.7516 | 3327276.1158 | 3396680.1889 | 3468708.5176 | 3542243.8519 | 3611431.4864 | 3652999.0377 | 3690709.5326 | 3735245.2637 | 3785174.7807 | 3840098.9809 | 3889203.3598 | 3942751.7379 | 4000861.2619 | 4064214.7847 | 4133714.6695 | 4206143.6711 | 4280212.0351 | 4356246.0789 | 4434227.2751 | 4514390.8802 | 4596380.5189 | 4680433.6483
Other_D | 13111931.2105 | 13381596.8351 | 13675898.2814 | 13996345.7151 | 14341755.7987 | 14763480.2096 | 15173959.4061 | 15564071.7188 | 15944115.7531 | 16311043.3907 | 16681813.0556 | 17042886.8615 | 17325233.392 | 17620666.7533 | 17931880.4472 | 18252541.6171 | 18609223.6618 | 18976629.5661 | 19387709.0357 | 19837539.2247 | 20299042.8932 | 20765891.0236 | 21117317.2474 | 21477832.1914 | 21848467.5616 | 22229816.1925 | 22623421.7452 | 23026656.4965 | 23441088.7543
Total | 874717.0311 | 906516.5134 | 923613.0472 | 937538.9323 | 968048.5464 | 1028360.8772 | 1081921.9364 | 1130238.1957 | 1172111.8961 | 1209292.9315 | 1249103.2537 | 1285973.0173 | 1304925.9865 | 1329341.4578 | 1355691.5078 | 1386792.7703 | 1419561.8519 | 1450981.5125 | 1483228.0563 | 1515416.1711 | 1550333.483 | 1585963.8119 | 1617281.0465 | 1649347.421 | 1682081.5206 | 1715599.5851 | 1750016.6827 | 1785177.9466 | 1821199.6596
Financial Escalation Factor | 2.1%
LCOE Floor |  | Applies cap to negative levelized costs (e.g. when NEIs push costs negative or efficient option is cheaper than baseline option)
LCOE Ceiling |  | Applies cap to very high levelized costs (e.g. when a measure is an unusually small saver resulting in a near-infinite ratio)

## End Use Summary
Island | Hawaii
|  | Peak_A | Peak_B | Peak_C | Peak_D | Other_A | Other_B | Other_C | Other_D
|  | Peak |  |  |  | Other
| End Use | A | B | C | D | A | B | C | D
Cooling | Cooling | 109.1791 | 9.988 | 2.8743 | 26.8378 | 19.6231 | 0.083453 | 0.81971 | 4.6035
Ventilation | Ventilation | 2.1858 | 0.30146 | 0.18202 | 0.31517 | 11.7866 | 0.51425 | 0.80651 | 4.2299
Water Heating | Water Heating | 44.8479 | 6.0471 | 0.58431 | 4.0648 | 14.4288 | 0.0043809 | 0.060349 | 0.31007
Interior Lighting | Interior Lighting | 2.9261 | 22.0125 | 0.83795 | 0.76366 | 75.5395 | 5.9643 | 0.2825 | 2.1408
Exterior Lighting | Exterior Lighting | 1.1972 | 2.743 | 0.41413 | 0.4936 | 9.7608 | 2.8303 | 0.05337 | 2.3526
Appliances | Res Appliances | 15.0858 | 1.9912 | 5.9618 | 27.4784 | 0 | 0 | 0.11479 | 0.35529
Refrigeration | Com Refrigeration | 1.2326 | 0.0045576 | 0.0073826 | 0.48575 | 11.7084 | 0.51276 | 1.7939 | 3.1747
Electronics | Electronics | 12.0851 | 0.68286 | 2.6484 | 0.68063 | 0.40326 | 0 | 0.028419 | 0.06666
Office Equipment | Electronics | 0.17009 | 0.00024873 | 0 | 0.077131 | 5.0508 | 0.26826 | 0.0024275 | 0.37826
Food Preparation | Food Preparation | 0.29555 | 0.044307 | 0 | 0.00017411 | 1.9923 | 0.062594 | 1.6422e-05 | 0.0035987
Miscellaneous | Miscellaneous | 10.202 | 1.1093 | 2.5196 | 0.27207 | 2.1319 | 0.00010278 | 0.15697 | 0.97674
| Total | 199.4073 | 44.9246 | 16.03 | 61.4693 | 152.4255 | 10.2404 | 4.1189 | 18.5921