## Summary
Incremental Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.074206 | 0.086334 | 0.10066 | 0.12278 | 0.12794 | 0.12854 | 0.1397 | 0.13647 | 0.14361 | 0.15024 | 0.14349 | 0.1438 | 0.13377 | 0.1233 | 0.12736 | 0.12967 | 0.13216 | 0.14372 | 0.13451 | 0.11077 | 0.10098 | 0.095817 | 0.089276 | 0.088841 | 0.088268 | 0.087557 | 0.086708 | 0.085721 | 0.084597
Other_A | 0.19425 | 0.20976 | 0.23834 | 0.27756 | 0.25224 | 0.26379 | 0.28093 | 0.30294 | 0.31661 | 0.31235 | 0.29771 | 0.30483 | 0.28176 | 0.27597 | 0.26208 | 0.24358 | 0.2401 | 0.23864 | 0.24728 | 0.23676 | 0.20676 | 0.19896 | 0.17633 | 0.17549 | 0.17433 | 0.17287 | 0.1711 | 0.16903 | 0.16664
Peak_B | 0.037648 | 0.053296 | 0.060463 | 0.062124 | 0.049309 | 0.028936 | 0.027946 | 0.029666 | 0.028299 | 0.025997 | 0.023984 | 0.024354 | 0.026738 | 0.023005 | 0.025051 | 0.024054 | 0.023171 | 0.025367 | 0.023559 | 0.018113 | 0.018611 | 0.018438 | 0.017242 | 0.017193 | 0.017121 | 0.017027 | 0.01691 | 0.016771 | 0.016609
Other_B | 0.039618 | 0.035921 | 0.036948 | 0.037994 | 0.015314 | 0.0052973 | 0.0060063 | 0.0052067 | 0.0049179 | 0.00488 | 0.0030537 | 0.003011 | 0.0023681 | 0.0022208 | 0.0021811 | 0.0021467 | 0.0066271 | 0.0065055 | 0.0064751 | 0.0040394 | 0.0045393 | 0.0039729 | 0.00048572 | 0.00048403 | 0.00048201 | 0.00047966 | 0.00047696 | 0.00047393 | 0.00047057
Peak_C | 0.0032706 | 0.0052459 | 0.0058993 | 0.0074715 | 0.007667 | 0.0058135 | 0.0061931 | 0.0065512 | 0.0068585 | 0.0071611 | 0.0074618 | 0.0077663 | 0.0078157 | 0.0079122 | 0.0080323 | 0.0081537 | 0.0085313 | 0.0084282 | 0.0080701 | 0.0058059 | 0.0054265 | 0.0053926 | 0.0052729 | 0.0052549 | 0.0052285 | 0.0051937 | 0.0051504 | 0.0050986 | 0.0050385
Other_C | 0.012506 | 0.014009 | 0.015252 | 0.017006 | 0.017625 | 0.017661 | 0.018375 | 0.019046 | 0.0195 | 0.016482 | 0.014741 | 0.01529 | 0.015539 | 0.016634 | 0.016344 | 0.015994 | 0.016051 | 0.015828 | 0.015126 | 0.0079075 | 0.0065203 | 0.0060238 | 0.0056978 | 0.0056572 | 0.0056005 | 0.0055276 | 0.0054385 | 0.0053333 | 0.0052118
Peak_D | 0.034558 | 0.040712 | 0.04515 | 0.050594 | 0.05446 | 0.055343 | 0.058542 | 0.061445 | 0.059099 | 0.058409 | 0.050036 | 0.043438 | 0.028282 | 0.02708 | 0.027178 | 0.027369 | 0.0281 | 0.028126 | 0.026955 | 0.019323 | 0.017713 | 0.017273 | 0.0169 | 0.01685 | 0.016778 | 0.016685 | 0.01657 | 0.016435 | 0.016278
Other_D | 0.031776 | 0.042317 | 0.051813 | 0.058294 | 0.062074 | 0.055604 | 0.055401 | 0.058543 | 0.055139 | 0.055739 | 0.056783 | 0.057146 | 0.044119 | 0.04526 | 0.044529 | 0.039806 | 0.040006 | 0.043097 | 0.039889 | 0.03845 | 0.035896 | 0.035523 | 0.034632 | 0.034561 | 0.034461 | 0.034331 | 0.034172 | 0.033983 | 0.033764
Total | 0.42783 | 0.48759 | 0.55453 | 0.63382 | 0.58663 | 0.56099 | 0.5931 | 0.61986 | 0.63403 | 0.63126 | 0.59726 | 0.59964 | 0.5404 | 0.52138 | 0.51276 | 0.49077 | 0.49475 | 0.50972 | 0.50187 | 0.44117 | 0.39645 | 0.38141 | 0.34584 | 0.34433 | 0.34227 | 0.33967 | 0.33653 | 0.33284 | 0.32861
Cumulative Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.074206 | 0.16054 | 0.2612 | 0.38398 | 0.51191 | 0.64046 | 0.78016 | 0.91663 | 1.0602 | 1.2105 | 1.354 | 1.4978 | 1.6315 | 1.7548 | 1.8822 | 2.0119 | 2.144 | 2.2878 | 2.4223 | 2.533 | 2.634 | 2.7298 | 2.8191 | 2.908 | 2.9962 | 3.0838 | 3.1705 | 3.2562 | 3.3408
Other_A | 0.19425 | 0.404 | 0.64234 | 0.9199 | 1.1721 | 1.4359 | 1.7169 | 2.0198 | 2.3364 | 2.6488 | 2.9465 | 3.2513 | 3.5331 | 3.8091 | 4.0711 | 4.3147 | 4.5548 | 4.7935 | 5.0407 | 5.2775 | 5.4843 | 5.6832 | 5.8596 | 6.035 | 6.2094 | 6.3823 | 6.5534 | 6.7224 | 6.889
Peak_B | 0.037648 | 0.090945 | 0.15141 | 0.21353 | 0.26284 | 0.29178 | 0.31972 | 0.34939 | 0.37769 | 0.40368 | 0.42767 | 0.45202 | 0.47876 | 0.50177 | 0.52682 | 0.55087 | 0.57404 | 0.59941 | 0.62297 | 0.64108 | 0.65969 | 0.67813 | 0.69537 | 0.71256 | 0.72969 | 0.74671 | 0.76362 | 0.78039 | 0.797
Other_B | 0.039618 | 0.075539 | 0.11249 | 0.15048 | 0.16579 | 0.17109 | 0.1771 | 0.18231 | 0.18722 | 0.1921 | 0.19516 | 0.19817 | 0.20054 | 0.20276 | 0.20494 | 0.20708 | 0.21371 | 0.22022 | 0.22669 | 0.23073 | 0.23527 | 0.23924 | 0.23973 | 0.24021 | 0.2407 | 0.24118 | 0.24165 | 0.24213 | 0.2426
Peak_C | 0.0032706 | 0.0085165 | 0.014416 | 0.021887 | 0.029554 | 0.035368 | 0.041561 | 0.048112 | 0.054971 | 0.062132 | 0.069594 | 0.07736 | 0.085176 | 0.093088 | 0.10112 | 0.10927 | 0.11781 | 0.12623 | 0.1343 | 0.14011 | 0.14554 | 0.15093 | 0.1562 | 0.16146 | 0.16668 | 0.17188 | 0.17703 | 0.18213 | 0.18717
Other_C | 0.012506 | 0.026515 | 0.041766 | 0.058772 | 0.076397 | 0.094059 | 0.11243 | 0.13148 | 0.15098 | 0.16746 | 0.1822 | 0.19749 | 0.21303 | 0.22967 | 0.24601 | 0.262 | 0.27805 | 0.29388 | 0.30901 | 0.31691 | 0.32343 | 0.32946 | 0.33516 | 0.34081 | 0.34641 | 0.35194 | 0.35738 | 0.36271 | 0.36793
Peak_D | 0.034558 | 0.07527 | 0.12042 | 0.17101 | 0.22547 | 0.28082 | 0.33936 | 0.4008 | 0.4599 | 0.51831 | 0.56835 | 0.61179 | 0.64007 | 0.66715 | 0.69433 | 0.72169 | 0.74979 | 0.77792 | 0.80487 | 0.8242 | 0.84191 | 0.85918 | 0.87608 | 0.89293 | 0.90971 | 0.9264 | 0.94297 | 0.9594 | 0.97568
Other_D | 0.031776 | 0.074092 | 0.12591 | 0.1842 | 0.24627 | 0.30188 | 0.35728 | 0.41582 | 0.47096 | 0.5267 | 0.58348 | 0.64063 | 0.68475 | 0.73001 | 0.77454 | 0.81434 | 0.85435 | 0.89744 | 0.93733 | 0.97578 | 1.0117 | 1.0472 | 1.0818 | 1.1164 | 1.1509 | 1.1852 | 1.2194 | 1.2533 | 1.2871
Total | 0.42783 | 0.91542 | 1.4699 | 2.1038 | 2.6904 | 3.2514 | 3.8445 | 4.4643 | 5.0984 | 5.7296 | 6.3269 | 6.9265 | 7.4669 | 7.9883 | 8.5011 | 8.9919 | 9.4866 | 9.9963 | 10.4982 | 10.9394 | 11.3358 | 11.7172 | 12.0631 | 12.4074 | 12.7497 | 13.0893 | 13.4259 | 13.7587 | 14.0873
Incremental Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.025754 | 0.029963 | 0.034882 | 0.042611 | 0.044402 | 0.044612 | 0.04841 | 0.047363 | 0.049842 | 0.052142 | 0.049725 | 0.049909 | 0.046428 | 0.042792 | 0.044134 | 0.045002 | 0.045868 | 0.049882 | 0.046612 | 0.038443 | 0.035048 | 0.033255 | 0.030937 | 0.030833 | 0.030634 | 0.030388 | 0.030047 | 0.029751 | 0.02936
Other_A | 0.033561 | 0.036241 | 0.041068 | 0.047956 | 0.043582 | 0.045577 | 0.048407 | 0.05234 | 0.054703 | 0.053967 | 0.051298 | 0.052668 | 0.048682 | 0.047682 | 0.045159 | 0.042085 | 0.041484 | 0.041231 | 0.042608 | 0.040907 | 0.035723 | 0.034376 | 0.030383 | 0.03032 | 0.030121 | 0.029868 | 0.029482 | 0.029204 | 0.028792
Peak_B | 0.013437 | 0.019021 | 0.021534 | 0.022172 | 0.017598 | 0.010327 | 0.0099528 | 0.010588 | 0.0101 | 0.0092784 | 0.0085419 | 0.008692 | 0.0095429 | 0.0082106 | 0.0089217 | 0.0085848 | 0.0082697 | 0.0090533 | 0.0083904 | 0.0064644 | 0.0066421 | 0.0065804 | 0.0061408 | 0.0061362 | 0.0061106 | 0.006077 | 0.0060225 | 0.0059856 | 0.0059278
Other_B | 0.0067164 | 0.0060897 | 0.0062476 | 0.0064411 | 0.0025962 | 0.00089806 | 0.0010156 | 0.00088269 | 0.00083373 | 0.00082731 | 0.00051636 | 0.00051045 | 0.00040146 | 0.0003765 | 0.0003688 | 0.00036392 | 0.0011235 | 0.0011029 | 0.0010949 | 0.00068481 | 0.00076955 | 0.00067352 | 8.2131e-05 | 8.2058e-05 | 8.1715e-05 | 8.1316e-05 | 8.0651e-05 | 8.0346e-05 | 7.9776e-05
Peak_C | 0.00084062 | 0.0013483 | 0.0015127 | 0.0019204 | 0.0019706 | 0.0014942 | 0.001588 | 0.0016838 | 0.0017628 | 0.0018406 | 0.0019133 | 0.0019961 | 0.0020088 | 0.0020336 | 0.0020596 | 0.0020957 | 0.0021928 | 0.0021663 | 0.0020693 | 0.0014923 | 0.0013947 | 0.001386 | 0.001352 | 0.0013507 | 0.0013439 | 0.0013349 | 0.0013206 | 0.0013105 | 0.001295
Other_C | 0.0020917 | 0.0023432 | 0.0025447 | 0.0028443 | 0.002948 | 0.0029541 | 0.0030657 | 0.0031856 | 0.0032615 | 0.0027568 | 0.0024595 | 0.0025575 | 0.002599 | 0.0027823 | 0.0027269 | 0.0026751 | 0.0026846 | 0.0026474 | 0.0025237 | 0.0013226 | 0.0010906 | 0.0010075 | 0.00095065 | 0.00094623 | 0.00093674 | 0.00092455 | 0.0009074 | 0.00089204 | 0.00087173
Peak_D | 0.013037 | 0.015359 | 0.017009 | 0.019087 | 0.020545 | 0.020878 | 0.022054 | 0.02318 | 0.022295 | 0.022035 | 0.01885 | 0.016387 | 0.010669 | 0.010216 | 0.010239 | 0.010325 | 0.010601 | 0.010611 | 0.010154 | 0.0072896 | 0.0066823 | 0.0065162 | 0.0063667 | 0.0063565 | 0.0063294 | 0.0062943 | 0.0062424 | 0.0062 | 0.0061409
Other_D | 0.005308 | 0.0070688 | 0.0086332 | 0.0097379 | 0.010369 | 0.0092884 | 0.009231 | 0.0097793 | 0.0092108 | 0.009311 | 0.0094614 | 0.009546 | 0.0073698 | 0.0075605 | 0.0074195 | 0.0066495 | 0.0066828 | 0.0071992 | 0.0066464 | 0.006423 | 0.0059963 | 0.005934 | 0.0057705 | 0.0057733 | 0.0057566 | 0.0057349 | 0.0056937 | 0.0056766 | 0.0056401
Total | 0.10075 | 0.11743 | 0.13343 | 0.15277 | 0.14401 | 0.13603 | 0.14372 | 0.149 | 0.15201 | 0.15216 | 0.14276 | 0.14227 | 0.1277 | 0.12165 | 0.12103 | 0.11778 | 0.11891 | 0.12389 | 0.1201 | 0.10303 | 0.093346 | 0.089729 | 0.081983 | 0.081798 | 0.081314 | 0.080703 | 0.079796 | 0.079099 | 0.078107
Cumulative Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.025754 | 0.055717 | 0.090599 | 0.13321 | 0.17761 | 0.22222 | 0.27064 | 0.318 | 0.36784 | 0.41998 | 0.46971 | 0.51962 | 0.56604 | 0.60884 | 0.65297 | 0.69797 | 0.74384 | 0.79372 | 0.84034 | 0.87878 | 0.91383 | 0.94708 | 0.97802 | 1.0089 | 1.0395 | 1.0699 | 1.0999 | 1.1297 | 1.159
Other_A | 0.033561 | 0.069802 | 0.11087 | 0.15883 | 0.20241 | 0.24798 | 0.29639 | 0.34873 | 0.40343 | 0.4574 | 0.5087 | 0.56137 | 0.61005 | 0.65773 | 0.70289 | 0.74497 | 0.78646 | 0.82769 | 0.8703 | 0.9112 | 0.94693 | 0.9813 | 1.0117 | 1.042 | 1.0721 | 1.102 | 1.1315 | 1.1607 | 1.1895
Peak_B | 0.013437 | 0.032458 | 0.053992 | 0.076164 | 0.093762 | 0.10409 | 0.11404 | 0.12463 | 0.13473 | 0.14401 | 0.15255 | 0.16124 | 0.17078 | 0.179 | 0.18792 | 0.1965 | 0.20477 | 0.21382 | 0.22222 | 0.22868 | 0.23532 | 0.2419 | 0.24804 | 0.25418 | 0.26029 | 0.26637 | 0.27239 | 0.27837 | 0.2843
Other_B | 0.0067164 | 0.012806 | 0.019054 | 0.025495 | 0.028091 | 0.028989 | 0.030005 | 0.030887 | 0.031721 | 0.032548 | 0.033065 | 0.033575 | 0.033977 | 0.034353 | 0.034722 | 0.035086 | 0.036209 | 0.037312 | 0.038407 | 0.039092 | 0.039862 | 0.040535 | 0.040617 | 0.040699 | 0.040781 | 0.040862 | 0.040943 | 0.041023 | 0.041103
Peak_C | 0.00084062 | 0.002189 | 0.0037016 | 0.005622 | 0.0075926 | 0.0090868 | 0.010675 | 0.012359 | 0.014121 | 0.015962 | 0.017875 | 0.019872 | 0.02188 | 0.023914 | 0.025974 | 0.028069 | 0.030262 | 0.032428 | 0.034498 | 0.03599 | 0.037385 | 0.038771 | 0.040123 | 0.041473 | 0.042817 | 0.044152 | 0.045473 | 0.046783 | 0.048078
Other_C | 0.0020917 | 0.0044349 | 0.0069795 | 0.0098239 | 0.012772 | 0.015726 | 0.018792 | 0.021977 | 0.025239 | 0.027996 | 0.030455 | 0.033013 | 0.035612 | 0.038394 | 0.041121 | 0.043796 | 0.04648 | 0.049128 | 0.051652 | 0.052974 | 0.054065 | 0.055072 | 0.056023 | 0.056969 | 0.057906 | 0.05883 | 0.059738 | 0.06063 | 0.061502
Peak_D | 0.013037 | 0.028396 | 0.045405 | 0.064491 | 0.085037 | 0.10591 | 0.12797 | 0.15115 | 0.17344 | 0.19548 | 0.21433 | 0.23072 | 0.24139 | 0.2516 | 0.26184 | 0.27217 | 0.28277 | 0.29338 | 0.30353 | 0.31082 | 0.3175 | 0.32402 | 0.33039 | 0.33674 | 0.34307 | 0.34937 | 0.35561 | 0.36181 | 0.36795
Other_D | 0.005308 | 0.012377 | 0.02101 | 0.030748 | 0.041117 | 0.050405 | 0.059636 | 0.069416 | 0.078627 | 0.087937 | 0.097399 | 0.10694 | 0.11431 | 0.12188 | 0.12929 | 0.13594 | 0.14263 | 0.14983 | 0.15647 | 0.1629 | 0.16889 | 0.17483 | 0.1806 | 0.18637 | 0.19213 | 0.19786 | 0.20355 | 0.20923 | 0.21487
Total | 0.10075 | 0.21818 | 0.35161 | 0.50438 | 0.64839 | 0.78442 | 0.92814 | 1.0771 | 1.2292 | 1.3813 | 1.5241 | 1.6663 | 1.794 | 1.9157 | 2.0367 | 2.1545 | 2.2734 | 2.3973 | 2.5174 | 2.6204 | 2.7138 | 2.8035 | 2.8855 | 2.9673 | 3.0486 | 3.1293 | 3.2091 | 3.2882 | 3.3663
Savings-Weighted LCOE ($/MWh) Real Dollars (2019)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 60.0031 | 58.3205 | 60.7172 | 62.9071 | 60.7095 | 61.3366 | 60.0558 | 63.1827 | 61.9145 | 60.9588 | 64.3189 | 64.6505 | 64.5628 | 64.1161 | 63.3733 | 64.5086 | 65.1658 | 65.7789 | 65.6372 | 70.2683 | 72.2493 | 72.1251 | 73.6132 | 73.6122 | 73.612 | 73.612 | 73.612 | 73.612 | 73.612
Other_A | -0.81124 | -0.65142 | 2.467 | 16.0571 | 43.6629 | 46.3374 | 46.6534 | 46.6953 | 44.3702 | 44.7239 | 43.458 | 43.817 | 44.4291 | 46.0157 | 44.0905 | 44.6734 | 44.059 | 43.2449 | 43.3666 | 43.7639 | 44.9919 | 45.7751 | 58.5863 | 62.2407 | 52.2162 | 52.2162 | 52.2162 | 52.2162 | 52.2162
Peak_B | 68.6356 | 61.8432 | 63.4568 | 18.2674 | 19.5531 | 46.8695 | 54.2726 | 57.8763 | 46.5978 | 57.5759 | 69.7417 | 89.7188 | 84.6887 | 70.7497 | 61.3696 | 66.0847 | 69.6193 | 87.3414 | 88.6341 | 86.6383 | 79.8319 | 66.794 | 66.8245 | 66.8446 | 66.7985 | 66.7985 | 66.7985 | 66.7985 | 66.7985
Other_B | 2.112 | 4.1762 | 5.6222 | 0.52008 | 22.9631 | 101.4091 | 96.3142 | 121.6437 | 134.763 | 133.6135 | 225.0923 | 236.7455 | 255.9536 | 264.4685 | 268.4179 | 271.5382 | 79.6862 | 80.7351 | 79.2036 | 26.2627 | 11.6159 | 14.4248 | 201.2014 | 201.2219 | 201.1639 | 201.1639 | 201.1639 | 201.1639 | 201.1639
Peak_C | 211.2057 | 201.7032 | 204.7614 | 208.4768 | 207.3085 | 216.5084 | 217.8036 | 219.0067 | 219.8472 | 220.4932 | 220.9665 | 221.3614 | 219.6354 | 220.6554 | 221.7146 | 222.6212 | 222.4478 | 223.4173 | 222.4449 | 237.2196 | 239.8011 | 239.5779 | 239.3321 | 239.3894 | 239.258 | 239.258 | 239.258 | 239.258 | 239.258
Other_C | 174.4781 | 174.5503 | 177.3206 | 180.777 | 180.7077 | 183.0216 | 183.9948 | 184.8958 | 185.6922 | 192.2112 | 195.8648 | 196.1969 | 193.2458 | 192.3117 | 192.1124 | 191.5719 | 191.6689 | 191.0114 | 190.57 | 205.7649 | 210.4806 | 214.0777 | 214.9199 | 214.7924 | 215.005 | 215.005 | 215.005 | 215.005 | 215.005
Peak_D | 789.4497 | 803.2078 | 830.1017 | 845.6406 | 865.1835 | 907.1431 | 922.5195 | 937.2007 | 961.3077 | 967.2986 | 1052.6537 | 1142.5581 | 795.6519 | 722.7608 | 727.7125 | 730.3451 | 725.0672 | 719.9531 | 718.0606 | 726.0152 | 721.4392 | 733.974 | 729.0126 | 728.9211 | 729.008 | 729.008 | 729.008 | 729.008 | 729.008
Other_D | 1125.5897 | 1013.9512 | 931.5896 | 935.3468 | 961.5777 | 1122.8113 | 1171.2011 | 1185.9052 | 1280.3581 | 1307.4899 | 1322.9784 | 1344.9757 | 1440.5306 | 1416.6647 | 1462.1932 | 1650.1648 | 1674.9527 | 1596.0658 | 1653.9314 | 1538.5778 | 1578.2654 | 1539.7124 | 1524.2512 | 1525.051 | 1523.0736 | 1523.0736 | 1523.0736 | 1523.0736 | 1523.0736
Total | 170.3579 | 179.3614 | 181.0626 | 181.8756 | 224.465 | 248.0068 | 248.2107 | 253.4225 | 248.346 | 252.5123 | 262.6255 | 261.4243 | 212.4395 | 213.7668 | 217.5642 | 228.1578 | 229.7886 | 228.4722 | 223.4866 | 217.6313 | 227.6285 | 228.791 | 247.9411 | 250.2611 | 245.4596 | 246.0862 | 246.8427 | 247.7366 | 248.7768
Savings-Weighted LCOE ($/MWh) Nominal Dollars
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 60.0031 | 59.5452 | 63.2941 | 66.9541 | 65.972 | 68.0532 | 68.0313 | 73.0766 | 73.1136 | 73.4968 | 79.1765 | 81.2559 | 82.8498 | 84.0044 | 84.7747 | 88.1057 | 90.8723 | 93.6535 | 95.4142 | 104.2914 | 109.4835 | 111.5904 | 116.2845 | 118.725 | 121.2178 | 123.7634 | 126.3624 | 129.0161 | 131.7254
Other_A | -0.81124 | -0.6651 | 2.5717 | 17.0901 | 47.4478 | 51.4115 | 52.8492 | 54.0074 | 52.3959 | 53.9226 | 53.4967 | 55.0714 | 57.0133 | 60.2894 | 58.9801 | 61.0148 | 61.4393 | 61.5705 | 63.0404 | 64.9539 | 68.1787 | 70.8223 | 92.5471 | 100.3845 | 85.9851 | 87.7907 | 89.6344 | 91.5167 | 93.4385
Peak_B | 68.6356 | 63.1419 | 66.15 | 19.4426 | 21.248 | 52.0019 | 61.4801 | 66.9393 | 55.0264 | 69.418 | 85.8518 | 112.7629 | 108.6762 | 92.6957 | 82.0944 | 90.2583 | 97.0826 | 124.3534 | 128.844 | 128.5876 | 120.9738 | 103.3422 | 105.5606 | 107.8099 | 109.998 | 112.3079 | 114.6664 | 117.0744 | 119.533
Other_B | 2.112 | 4.2639 | 5.8609 | 0.55353 | 24.9536 | 112.5138 | 109.1051 | 140.6921 | 159.139 | 161.095 | 277.0883 | 297.5534 | 328.4507 | 346.5043 | 359.0639 | 370.866 | 111.1207 | 114.9477 | 115.1352 | 38.9788 | 17.6023 | 22.3177 | 317.8318 | 324.5393 | 331.2591 | 338.2155 | 345.318 | 352.5697 | 359.9737
Peak_C | 211.2057 | 205.939 | 213.4517 | 221.8886 | 225.2787 | 240.2168 | 246.7286 | 253.3014 | 259.6132 | 265.844 | 272.0094 | 278.2179 | 281.8456 | 289.1008 | 296.5887 | 304.0553 | 310.1988 | 318.0932 | 323.3596 | 352.0787 | 363.3842 | 370.6699 | 378.0656 | 386.0975 | 393.9891 | 402.2629 | 410.7104 | 419.3353 | 428.1414
Other_C | 174.4781 | 178.2159 | 184.8462 | 192.4067 | 196.372 | 203.0631 | 208.4299 | 213.8491 | 219.2803 | 231.745 | 241.1092 | 246.5899 | 247.9813 | 251.9651 | 256.9897 | 261.6483 | 267.2782 | 271.9549 | 277.0243 | 305.3939 | 318.9532 | 331.2166 | 339.5026 | 346.4264 | 354.0515 | 361.4865 | 369.0778 | 376.8284 | 384.7418
Peak_D | 789.4497 | 820.0752 | 865.3321 | 900.0426 | 940.1804 | 1006.4786 | 1045.033 | 1083.9589 | 1135.1894 | 1166.2516 | 1295.8148 | 1436.0231 | 1021.0148 | 946.9548 | 973.4648 | 997.5031 | 1011.0908 | 1025.0424 | 1043.8172 | 1077.5435 | 1093.2376 | 1135.5892 | 1151.5992 | 1175.6352 | 1200.4667 | 1225.6765 | 1251.4157 | 1277.6954 | 1304.5271
Other_D | 1125.5897 | 1035.2442 | 971.1271 | 995.5197 | 1044.9303 | 1245.7631 | 1326.7403 | 1371.6085 | 1511.9498 | 1576.4131 | 1628.584 | 1690.4316 | 1848.5508 | 1856.1015 | 1955.9834 | 2253.79 | 2335.6857 | 2272.419 | 2404.2567 | 2283.5397 | 2391.6349 | 2382.2107 | 2407.8137 | 2459.6677 | 2508.0646 | 2560.7339 | 2614.5093 | 2669.414 | 2725.4717
Total | 170.3579 | 183.128 | 188.7471 | 193.5761 | 243.9224 | 275.1644 | 281.1738 | 293.1064 | 293.2669 | 304.4488 | 323.2915 | 328.571 | 272.6115 | 280.0754 | 291.0367 | 311.6173 | 320.4353 | 325.2903 | 324.874 | 323.0058 | 344.9384 | 353.9807 | 391.6651 | 403.6318 | 404.2013 | 413.7431 | 423.7304 | 434.1954 | 445.1749
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 172888.2605 | 168039.9701 | 175215.3508 | 181255.6696 | 174923.5008 | 176730.4323 | 173306.4579 | 182049.6986 | 178395.4776 | 175642.005 | 185608.9991 | 186278.7955 | 186026.2851 | 184739.1096 | 182879.973 | 185870.1196 | 187763.6242 | 189530.0769 | 189413.0569 | 202465.4506 | 208173.5067 | 207815.5559 | 212429.9281 | 212100.5185 | 212099.8951 | 212099.8951 | 212426.5846 | 212099.8951 | 212099.8951
Other_A | -4695.3528 | -3770.3251 | 14317.6966 | 92936.0378 | 252714.5181 | 268193.9145 | 270758.2617 | 270265.1335 | 256808.1215 | 258855.0353 | 252213.2413 | 253606.3646 | 257148.9224 | 266332.2324 | 255883.8942 | 258563.012 | 255006.8441 | 250295.1515 | 251682.6723 | 253299.0905 | 260406.1259 | 264939.3957 | 340012.1025 | 360239.8223 | 302219.5104 | 302219.5104 | 303042.2842 | 302219.5104 | 302219.5104
Peak_B | 192310.7067 | 173279.0551 | 178177.0149 | 51183.6373 | 54785.8708 | 131324.0591 | 152389.0422 | 162164.1858 | 130562.6399 | 161322.2539 | 195823.8665 | 251383.7251 | 237289.9101 | 198234.2279 | 172316.4587 | 185163.2485 | 195066.8702 | 244722.6049 | 248870.9212 | 242752.5375 | 223681.748 | 187150.5938 | 187632.9487 | 187292.5169 | 187163.3641 | 187163.3641 | 187560.0442 | 187163.3641 | 187163.3641
Other_B | 12457.6705 | 24633.6992 | 33249.4791 | 3067.7479 | 135451.5201 | 598177.0633 | 569594.7492 | 717534.0266 | 794920.2137 | 788139.8351 | 1331178.5074 | 1396479.7529 | 1509781.5662 | 1560007.8269 | 1587402.2181 | 1601709.5189 | 470041.0501 | 476228.4641 | 468403.8257 | 154914.3637 | 68518.3659 | 85086.7324 | 1189889.5457 | 1186938.2772 | 1186595.7767 | 1186595.7767 | 1189667.3059 | 1186595.7767 | 1186595.7767
Peak_C | 821729.3903 | 784758.4763 | 798562.1185 | 811112.4606 | 806566.9569 | 842360.4788 | 849426.1606 | 852080.5464 | 855350.5965 | 857863.8462 | 861761.3797 | 861241.9189 | 854526.632 | 858495.2729 | 864678.6769 | 866143.1648 | 865468.8686 | 869240.5808 | 867527.0054 | 922940.9441 | 932984.6924 | 932115.9812 | 933386.3206 | 931382.6447 | 930871.3635 | 930871.3635 | 933097.335 | 930871.3635 | 930871.3635
Other_C | 1043152.5498 | 1043584.4067 | 1062781.8671 | 1080811.6373 | 1080397.3413 | 1094231.6786 | 1102784.3121 | 1105437.2114 | 1110198.499 | 1149173.4235 | 1173928.0546 | 1173002.7912 | 1155359.103 | 1149774.688 | 1151437.6417 | 1145351.1797 | 1145931.1871 | 1142000.2172 | 1142193.2971 | 1230206.834 | 1258401.1276 | 1279907.0932 | 1288136.1778 | 1284179.9821 | 1285450.9556 | 1285450.9556 | 1288645.9803 | 1285450.9556 | 1285450.9556
Peak_D | 2092633.2378 | 2129102.5178 | 2203475.4312 | 2241581.2701 | 2293384.4939 | 2404608.9991 | 2448795.1772 | 2484284.0451 | 2548185.5973 | 2564066.0339 | 2794231.7111 | 3028634.9287 | 2109073.8085 | 1915857.7665 | 1931687.0331 | 1935961.6986 | 1921971.3914 | 1908415.2491 | 1906066.2734 | 1924484.2918 | 1912354.4226 | 1945581.0417 | 1935137.9551 | 1932186.9852 | 1932417.4931 | 1932417.4931 | 1935125.8564 | 1932417.4931 | 1932417.4931
Other_D | 6738207.3264 | 6069897.1515 | 5591039.9914 | 5599340.9583 | 5756368.9889 | 6721574.6286 | 7029095.659 | 7099278.9513 | 7664709.5598 | 7827131.3387 | 7940004.2252 | 8051535.2565 | 8623563.1807 | 8480692.7301 | 8775517.9399 | 9878512.9005 | 10026902.6692 | 9554655.9474 | 9926256.0224 | 9210511.2054 | 9448095.9664 | 9217302.8961 | 9147966.0388 | 9129534.358 | 9117697.1982 | 9117697.1982 | 9140898.5392 | 9117697.1982 | 9117697.1982
Total | 723443.9875 | 744714.7867 | 752484.0345 | 754578.5615 | 914357.4672 | 1022787.8459 | 1024273.6093 | 1054255.2951 | 1035862.9907 | 1047598.7761 | 1098712.0342 | 1101889.4733 | 898987.4992 | 916168.7939 | 921752.5863 | 950689.2296 | 956113.1596 | 939977.1217 | 933896.1146 | 931916.6962 | 966757.7639 | 972510.2871 | 1045923.2495 | 1053467.8824 | 1033205.4754 | 1035762.0852 | 1041022.7567 | 1042448.7981 | 1046643.8164
Savings-Weighted LCOE ($/MW) Nominal Dollars - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 172888.2605 | 171568.8094 | 182651.6655 | 192916.2567 | 190086.4363 | 196083.0485 | 196322.1035 | 210557.2301 | 210663.7338 | 211767.8683 | 228484.3454 | 234124.3496 | 238716.9288 | 242043.5384 | 244639.4762 | 253860.8383 | 261832.3676 | 269845.8568 | 275342.5123 | 300496.9194 | 315457.0951 | 321527.88 | 335569.1502 | 342084.8164 | 349267.571 | 356602.19 | 364651.6314 | 371736.7435 | 379543.2151
Other_A | -4695.3528 | -3849.502 | 14925.354 | 98914.8232 | 274620.6309 | 297562.11 | 306715.8149 | 312586.4989 | 303259.6928 | 312096.0673 | 310474.0481 | 318744.9491 | 329984.5555 | 348946.1222 | 342297.1954 | 353144.5673 | 355601.6029 | 356360.9044 | 365861.4692 | 375943.6296 | 394608.1388 | 409908.6899 | 537106.863 | 581010.2415 | 497668.6775 | 508119.7197 | 520202.608 | 529684.8287 | 540808.2101
Peak_B | 192310.7067 | 176917.9153 | 185739.0256 | 54476.3964 | 59534.8875 | 145704.5146 | 172626.7889 | 187557.8046 | 154178.8703 | 194502.8458 | 241058.8288 | 315951.4265 | 304500.6169 | 259724.7223 | 230508.609 | 252895.3958 | 272016.5883 | 348426.9203 | 361774.1343 | 360290.5556 | 338957.6107 | 289555.4831 | 296398.1098 | 302073.407 | 308204.2711 | 314676.5608 | 321965.7099 | 328031.7487 | 334920.4154
Other_B | 12457.6705 | 25151.0068 | 34660.6202 | 3265.1031 | 147192.8966 | 663679.5971 | 645238.7328 | 829894.1352 | 938705.7482 | 950243.6093 | 1638678.3577 | 1755164.4195 | 1937416.6315 | 2043908.3808 | 2123476.0741 | 2187609.9392 | 655462.2149 | 678036.3308 | 680900.7163 | 229922.137 | 103829.7572 | 131644.4122 | 1879632.6261 | 1914344.9788 | 1953982.2234 | 1995015.8501 | 2042183.7722 | 2079686.3178 | 2123359.7304
Peak_C | 821729.3903 | 801238.4043 | 832453.8934 | 863293.1591 | 876482.7928 | 934601.9723 | 962232.6405 | 985509.5674 | 1010066.8066 | 1034308.3818 | 1060826.7145 | 1082451.1917 | 1096565.3217 | 1124792.8715 | 1156685.0929 | 1182975.673 | 1206877.8705 | 1237592.3289 | 1261090.8089 | 1369818.4535 | 1413804.5012 | 1442150.3439 | 1474442.218 | 1502173.8902 | 1532877.6087 | 1565068.0384 | 1601755.5715 | 1631491.0911 | 1665752.404
Other_C | 1043152.5498 | 1065499.6792 | 1107887.3924 | 1150342.6937 | 1174049.6817 | 1214053.9718 | 1249237.5555 | 1278539.8663 | 1311011.715 | 1385534.2072 | 1445103.332 | 1474287.5854 | 1482606.4853 | 1506424.5707 | 1540284.0283 | 1564317.1218 | 1597976.5893 | 1625937.3294 | 1660362.6861 | 1825858.9931 | 1906926.4406 | 1980245.4758 | 2034829.8674 | 2071180.5725 | 2116768.2927 | 2161220.4269 | 2212090.6375 | 2252944.783 | 2300256.6235
Peak_D | 2092633.2378 | 2173813.6707 | 2296993.132 | 2385787.2614 | 2492182.489 | 2667922.3086 | 2774002.9194 | 2873303.1224 | 3009102.5824 | 3091440.4447 | 3439694.2303 | 3806537.2989 | 2706454.2083 | 2510139.8069 | 2584027.6338 | 2644130.5391 | 2680148.0956 | 2717130.4757 | 2770775.5996 | 2856297.7006 | 2897898.8752 | 3010162.2814 | 3056879.0603 | 3116314.0697 | 3182136.2455 | 3248961.1066 | 3321838.4683 | 3386850.265 | 3457974.1205
Other_D | 6738207.3264 | 6197364.9917 | 5828329.3197 | 5959559.2222 | 6255349.6948 | 7457611.1573 | 7962581.7872 | 8210969.441 | 9051105.7568 | 9437007.4977 | 9774130.9762 | 10119565.4109 | 11066127.116 | 11111328.1916 | 11739055.2762 | 13492042.565 | 13982301.825 | 13603562.8888 | 14429418.5179 | 13670135.9889 | 14317234.4778 | 14260818.1922 | 14450766.032 | 14724504.7131 | 15014226.9119 | 15329525.677 | 15691273.1551 | 15980126.0763 | 16315708.7239
Total | 723443.9875 | 760353.7972 | 784420.2095 | 803122.3064 | 993616.9336 | 1134786.7832 | 1160300.3832 | 1219343.27 | 1223230.3658 | 1263067.7928 | 1352512.5457 | 1384908.8709 | 1153619.4185 | 1200356.2058 | 1233033.1538 | 1298448.4286 | 1333279.4002 | 1338304.3785 | 1357569.043 | 1383140.1628 | 1464982.7477 | 1504647.5689 | 1652213.4103 | 1699078.1996 | 1701392.4807 | 1741420.1344 | 1787020.4297 | 1827047.2094 | 1872921.9971
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | Total $/MW (Cumulative)
Peak_A | 172888.2605 | 170280.9812 | 172180.7669 | 175083.6506 | 175043.6138 | 175382.2461 | 175010.9357 | 176059.3045 | 176375.8528 | 176284.7429 | 177271.8384 | 178136.9495 | 178784.0493 | 179202.5988 | 179451.1522 | 179865.0166 | 180352.0779 | 180928.87 | 181399.4747 | 182321.0216 | 183312.5308 | 184172.9016 | 185066.7357 | 185892.9668 | 186665.3056 | 187387.7257 | 188071.7184 | 188704.5167 | 189297.1649 | 189297.1649
Other_A | -4695.3528 | -4215.0814 | 2649.7728 | 29910.7445 | 77884.171 | 112861.0303 | 138649.0483 | 158403.0052 | 171746.0141 | 182023.6604 | 189101.6476 | 195153.5562 | 200100.7651 | 204902.1863 | 208177.6218 | 211024.0117 | 213344.0275 | 215184.7459 | 216971.6173 | 218602.4891 | 220179.5536 | 221747.5475 | 225299.2717 | 229225.7105 | 231276.4223 | 233199.2519 | 235019.1193 | 236709.9396 | 238295.6214 | 238295.6214
Peak_B | 192310.7067 | 181157.5636 | 179968.8283 | 142478.1962 | 126019.1248 | 126545.4517 | 128800.8967 | 131635.2778 | 131554.8696 | 133472.7823 | 136964.0614 | 143132.0311 | 148393.2669 | 150679.4849 | 151706.737 | 153168.3912 | 154860.4706 | 158665.2166 | 162071.2082 | 164351.9475 | 166026.565 | 166601.1998 | 167121.8787 | 167608.824 | 168067.8907 | 168503.5414 | 168924.8812 | 169317.0424 | 169689.1441 | 169689.1441
Other_B | 12457.6705 | 18247.734 | 23166.7286 | 18088.833 | 28935.5583 | 46570.1401 | 64273.8448 | 82942.5278 | 101655.505 | 119104.4388 | 138032.7455 | 157165.0418 | 173147.0559 | 188346.5934 | 203206.7414 | 217712.463 | 225541.655 | 232951.469 | 239663.6224 | 238179.0053 | 234903.6073 | 232414.2924 | 234350.3708 | 236270.9779 | 238175.203 | 240062.5602 | 241933.1239 | 243783.2934 | 245613.1722 | 245613.1722
Peak_C | 821729.3903 | 798956.413 | 798795.2852 | 803002.6116 | 803927.7179 | 810247.5361 | 816075.7719 | 820981.3092 | 825271.7162 | 829029.9381 | 832533.3778 | 835417.2255 | 837171.6604 | 838985.0089 | 841022.4044 | 842897.9775 | 844533.4462 | 846183.9306 | 847464.1633 | 850593.6994 | 853667.5283 | 856472.0306 | 859063.8656 | 861419.0535 | 863598.8842 | 865632.8122 | 867592.1165 | 869364.6838 | 871021.411 | 871021.411
Other_C | 1043152.5498 | 1043380.7206 | 1050454.2155 | 1059243.7153 | 1064126.3947 | 1069781.5532 | 1075165.7421 | 1079553.582 | 1083513.7221 | 1089979.4141 | 1096758.8535 | 1102665.4059 | 1106511.0885 | 1109646.2718 | 1112417.5996 | 1114429.2201 | 1116248.7138 | 1117636.4278 | 1118836.258 | 1121616.8613 | 1124376.0718 | 1127221.4936 | 1129952.0371 | 1132513.6889 | 1134987.7555 | 1137352.362 | 1139650.4553 | 1141795.6095 | 1143831.7953 | 1143831.7953
Peak_D | 2092633.2378 | 2112358.6782 | 2146491.5424 | 2174633.8015 | 2203324.5782 | 2243002.319 | 2278468.7455 | 2310032.707 | 2340645.5999 | 2365829.9602 | 2403506.6837 | 2447908.0766 | 2432931.5509 | 2411936.5204 | 2393157.3318 | 2375813.0376 | 2358798.935 | 2342509.8962 | 2327908.9479 | 2318447.4749 | 2309900.6092 | 2302573.9334 | 2295493.2331 | 2288635.2612 | 2282063.3048 | 2275763.9626 | 2269784.3285 | 2264003.1227 | 2258469.11 | 2258469.11
Other_D | 6738207.3264 | 6356512.6014 | 6041972.1864 | 5901790.7948 | 5865117.2813 | 6022939.4925 | 6178680.7113 | 6308374.949 | 6467263.6526 | 6611248.6538 | 6740324.4299 | 6857363.9017 | 6971230.1069 | 7064869.1093 | 7163033.4076 | 7295856.2618 | 7423819.2658 | 7526206.303 | 7628152.0978 | 7690544.4608 | 7752944.4428 | 7802648.2427 | 7845634.3241 | 7885406.8426 | 7922329.3007 | 7956976.24 | 7990092.3504 | 8020685.3099 | 8049480.5386 | 8049480.5386
Total | 723443.9875 | 734892.8983 | 741568.4457 | 745509.0221 | 783011.3161 | 824591.7729 | 855512.8394 | 883005.1609 | 901908.8927 | 917957.3069 | 934889.0623 | 949146.9044 | 945576.534 | 943709.0477 | 942404.3334 | 942857.2465 | 943550.5718 | 943365.8964 | 942914.1163 | 942481.7343 | 943316.7626 | 944251.1266 | 947139.8381 | 950070.947 | 952288.3576 | 954441.0931 | 956594.0048 | 958659.2888 | 960700.7639 | 960700.7639
Savings-Weighted LCOE ($/MW) Nominal Dollars - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 172888.2605 | 173856.8818 | 179488.2909 | 186347.1777 | 190216.9611 | 194587.231 | 198252.9413 | 203628.788 | 208278.7983 | 212542.8038 | 218221.3154 | 223891.2772 | 229423.3804 | 234789.6512 | 240052.7251 | 245659.087 | 251497.1244 | 257599.7791 | 263693.4745 | 270598.7869 | 277783.8514 | 284948.4601 | 292344.3404 | 299816.1525 | 307384.1117 | 315053.7784 | 322844.05 | 330732.8487 | 338738.7558
Other_A | -4695.3528 | -4303.5981 | 2762.2318 | 31834.9703 | 84635.4232 | 125219.7179 | 157062.0803 | 183207.653 | 202811.5123 | 219462.0958 | 232783.7894 | 245278.5853 | 256777.9068 | 268461.0222 | 278480.2704 | 288215.9468 | 297503.6942 | 306372.018 | 315403.3369 | 324447.3283 | 333650.5373 | 343083.166 | 355898.4641 | 369705.0608 | 380845.7999 | 392076.4028 | 403433.993 | 414869.522 | 426419.2881
Peak_B | 192310.7067 | 184961.8724 | 187606.8854 | 151644.1407 | 136942.8707 | 140402.6325 | 145906.063 | 152248.313 | 155350.575 | 160925.3241 | 168602.5142 | 179895.3746 | 190424.6215 | 197418.921 | 202938.8788 | 209196.918 | 215949.6219 | 225901.6194 | 235596.7132 | 243929.2915 | 251589.4493 | 257761.8907 | 263997.3911 | 270326.7026 | 276759.5143 | 283303.9207 | 289976.5754 | 296753.4044 | 303651.0852
Other_B | 12457.6705 | 18630.9365 | 24149.9477 | 19252.5285 | 31443.7862 | 51669.7374 | 72809.6147 | 95930.6665 | 120042.9996 | 143601.7147 | 169918.0624 | 197532.7524 | 222189.748 | 246770.0316 | 271830.6983 | 297351.013 | 314513.0255 | 331667.6159 | 348389.8364 | 353502.5711 | 355962.7291 | 359586.5305 | 370196.2123 | 381067.9703 | 392206.1092 | 403615.639 | 415302.5784 | 427266.6309 | 439513.716
Peak_C | 821729.3903 | 815734.4977 | 832696.9559 | 854661.5852 | 873614.776 | 898972.5473 | 924453.2147 | 949540.4376 | 974547.2445 | 999543.9456 | 1024847.0965 | 1049993.4472 | 1074294.6759 | 1099230.6971 | 1125039.9762 | 1151227.4676 | 1177683.8707 | 1204765.1301 | 1231926.2231 | 1262441.4957 | 1293610.714 | 1325115.6062 | 1357037.2776 | 1389333.6084 | 1422099.169 | 1455382.8816 | 1489309.2652 | 1523691.4487 | 1558653.6079
Other_C | 1043152.5498 | 1065291.7158 | 1095036.5429 | 1127387.2585 | 1156368.3167 | 1186926.4701 | 1217951.1522 | 1248603.067 | 1279500.1834 | 1314165.2361 | 1350108.1837 | 1385884.1011 | 1419922.6126 | 1453848.6766 | 1488086.7183 | 1522084.0044 | 1556585.0137 | 1591249.0744 | 1626409.4522 | 1664690.9905 | 1703830.689 | 1744013.5107 | 1784951.1515 | 1826566.6676 | 1868998.6443 | 1912223.2136 | 1956324.8097 | 2001167.3338 | 2046835.5108
Peak_D | 2092633.2378 | 2156718.2104 | 2237590.79 | 2314532.9108 | 2394315.888 | 2488619.1174 | 2581056.599 | 2671765.4138 | 2764022.6546 | 2852431.3834 | 2958712.4215 | 3076651.2363 | 3122042.3905 | 3160097.7784 | 3201338.815 | 3244878.1464 | 3289294.7844 | 3335178.2488 | 3383992.1523 | 3441013.3769 | 3500323.1085 | 3562494.2142 | 3626121.424 | 3691209.1426 | 3757902.4111 | 3826227.3182 | 3896313.4477 | 3968003.6035 | 4041428.8124
Other_D | 6738207.3264 | 6489999.366 | 6298399.528 | 6281466.3406 | 6373524.6413 | 6682472.9682 | 6999229.0456 | 7296216.1769 | 7637065.2822 | 7971043.3383 | 8297327.2975 | 8618672.1338 | 8945782.2598 | 9256328.6754 | 9582026.462 | 9964658.0638 | 10352357.5618 | 10715531.9167 | 11088752.7875 | 11414218.6317 | 11748475.4468 | 12072094.1105 | 12393511.903 | 12717922.4773 | 13045799.5265 | 13378012.9929 | 13715798.4051 | 14057448.9022 | 14404183.0949
Total | 723443.9875 | 750325.6492 | 773041.3521 | 793469.303 | 850885.2727 | 914887.5294 | 969127.6494 | 1021276.73 | 1065046.5888 | 1106761.8024 | 1150846.7608 | 1192934.4998 | 1213404.4715 | 1236439.2014 | 1260659.1016 | 1287751.5301 | 1315761.1395 | 1343129.1896 | 1370678.1671 | 1398820.6721 | 1429461.2718 | 1460925.587 | 1496168.2347 | 1532315.1858 | 1568145.2427 | 1604695.6732 | 1642089.9721 | 1680193.5803 | 1719130.7733
Financial Escalation Factor | 2.1%
LCOE Floor |  | Applies cap to negative levelized costs (e.g. when NEIs push costs negative or efficient option is cheaper than baseline option)
LCOE Ceiling |  | Applies cap to very high levelized costs (e.g. when a measure is an unusually small saver resulting in a near-infinite ratio)

## End Use Summary
Island | Lanai
|  | Peak_A | Peak_B | Peak_C | Peak_D | Other_A | Other_B | Other_C | Other_D
|  | Peak |  |  |  | Other
| End Use | A | B | C | D | A | B | C | D
Cooling | Cooling | 2.2168 | 0.2554 | 0.050647 | 0.55756 | 0.60805 | 0.0023263 | 0.040359 | 0.12309
Ventilation | Ventilation | 0.27998 | 0.017457 | 0.033839 | 0.061734 | 0.15359 | 0.004712 | 0.035289 | 0.039039
Water Heating | Water Heating | 0.055525 | 0.0029599 | 0.010416 | 0.011693 | 1.4424 | 0.0019821 | 0.017553 | 0.06566
Interior Lighting | Interior Lighting | 0.067235 | 0.42953 | 0.0098935 | 0.042997 | 1.5813 | 0.18942 | 0.023534 | 0.058045
Exterior Lighting | Exterior Lighting | 0.027702 | 0.054322 | 0.0059452 | 0.013038 | 0.22405 | 0.087381 | 0.0051245 | 0.069507
Appliances | Res Appliances | 0.0093809 | 0.010355 | 0.024575 | 0.035913 | 0.23778 | 0.00032957 | 0.039304 | 0.55284
Refrigeration | Com Refrigeration | 0.037538 | 0.00010515 | 0.00023473 | 0.016388 | 0.36094 | 0.015546 | 0.056707 | 0.096018
Electronics | Electronics | 0.11483 | 0.0021958 | 0.0050253 | 0.0011956 | 0.096804 | 0.001012 | 0.053266 | 0.016791
Office Equipment | Electronics | 0.0058409 | 0 | 0 | 0.0022599 | 0.15576 | 0.00784 | 8.6958e-05 | 0.011114
Food Preparation | Food Preparation | 0.0094283 | 0.0013658 | 0 | 2.3411e-05 | 0.063224 | 0.001983 | 6.4376e-07 | 8.5159e-05
Miscellaneous | Miscellaneous | 0.035271 | 0.004429 | 0.010521 | 0.002783 | 0.18623 | 0.00012498 | 0.055802 | 0.053632
| Total | 2.8596 | 0.77813 | 0.1511 | 0.74558 | 5.1102 | 0.31266 | 0.32703 | 1.0858