## Summary
Incremental Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 3.9075 | 4.3848 | 4.9583 | 5.543 | 6.1159 | 6.6723 | 7.3294 | 7.5512 | 7.4652 | 7.7763 | 7.4244 | 7.2764 | 6.5318 | 5.8198 | 5.6514 | 5.4124 | 5.3283 | 5.9788 | 5.1903 | 4.2168 | 3.6306 | 3.307 | 2.8618 | 2.8392 | 2.8087 | 2.7704 | 2.7242 | 2.6701 | 2.6082
Other_A | 8.7481 | 9.7236 | 10.8177 | 11.6803 | 12.0354 | 10.731 | 11.1398 | 11.8767 | 12.1591 | 12.4105 | 12.1132 | 11.9885 | 10.0857 | 9.0087 | 8.6939 | 7.2334 | 6.9693 | 6.9966 | 6.9561 | 6.5171 | 5.8776 | 5.672 | 5.0233 | 4.9958 | 4.957 | 4.9067 | 4.845 | 4.7719 | 4.6874
Peak_B | 1.6537 | 1.5614 | 1.652 | 1.5918 | 1.2417 | 1.0381 | 0.97714 | 0.936 | 0.86092 | 0.82905 | 0.78571 | 0.77729 | 0.72264 | 0.68153 | 0.68136 | 0.65883 | 0.59131 | 0.61887 | 0.45647 | 0.28472 | 0.24762 | 0.28351 | 0.24589 | 0.24521 | 0.24397 | 0.24218 | 0.23985 | 0.23696 | 0.23353
Other_B | 1.2997 | 1.0265 | 1.0769 | 1.1154 | 0.82688 | 0.7003 | 0.67901 | 0.73251 | 0.76396 | 0.81565 | 0.80356 | 0.80668 | 0.80469 | 0.80934 | 0.70702 | 0.69133 | 0.75907 | 0.78173 | 0.73431 | 0.70229 | 0.658 | 0.63648 | 0.51063 | 0.50866 | 0.50597 | 0.50256 | 0.49842 | 0.49356 | 0.48798
Peak_C | 0.17701 | 0.19352 | 0.20946 | 0.22374 | 0.2378 | 0.25172 | 0.26295 | 0.27384 | 0.2801 | 0.28398 | 0.28403 | 0.28539 | 0.26664 | 0.24137 | 0.23858 | 0.23588 | 0.2338 | 0.23067 | 0.21208 | 0.18619 | 0.1779 | 0.17482 | 0.17101 | 0.17032 | 0.16934 | 0.16807 | 0.1665 | 0.16464 | 0.16248
Other_C | 0.24226 | 0.28779 | 0.3384 | 0.37029 | 0.40565 | 0.4507 | 0.48593 | 0.51939 | 0.49366 | 0.48255 | 0.46865 | 0.46319 | 0.25478 | 0.24111 | 0.23273 | 0.22233 | 0.20847 | 0.21991 | 0.19608 | 0.15239 | 0.13479 | 0.11823 | 0.11255 | 0.11185 | 0.11094 | 0.10981 | 0.10846 | 0.10689 | 0.10509
Peak_D | 1.5478 | 1.7709 | 1.9848 | 2.1869 | 2.3795 | 2.5608 | 2.7299 | 2.8779 | 2.8273 | 2.7736 | 2.6402 | 2.5502 | 1.2626 | 1.0995 | 1.0938 | 1.0902 | 1.0459 | 0.99699 | 0.85667 | 0.58432 | 0.51888 | 0.50906 | 0.48804 | 0.48602 | 0.48304 | 0.47911 | 0.47423 | 0.4684 | 0.46162
Other_D | 1.1607 | 1.3053 | 1.5745 | 1.7168 | 1.8658 | 2.0216 | 2.1087 | 2.2383 | 2.2425 | 2.2698 | 2.2346 | 2.1489 | 1.7422 | 1.669 | 1.5793 | 1.4903 | 1.394 | 1.5452 | 1.3336 | 1.1591 | 1.0489 | 0.97529 | 0.9005 | 0.89502 | 0.88763 | 0.87834 | 0.86714 | 0.85404 | 0.83903
Total | 21.6228 | 24.6557 | 28.0509 | 31.3751 | 33.4276 | 33.6682 | 36.2904 | 38.5341 | 40.167 | 41.4474 | 41.6028 | 42.2097 | 38.1123 | 38.5818 | 39.4918 | 40.3686 | 41.223 | 43.3407 | 43.8372 | 43.3761 | 43.0181 | 43.815 | 52.1486 | 52.3821 | 52.7097 | 53.1312 | 53.6467 | 54.2562 | 54.9596
Cumulative Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 3.9075 | 8.2923 | 13.2506 | 18.7936 | 24.9095 | 31.5818 | 38.9112 | 46.4624 | 53.9276 | 61.7038 | 69.1282 | 76.4046 | 82.9364 | 88.7562 | 94.4076 | 99.82 | 105.1484 | 111.1272 | 116.3175 | 120.5343 | 124.165 | 127.472 | 130.3338 | 133.173 | 135.9817 | 138.7521 | 141.4763 | 144.1464 | 146.7547
Other_A | 8.7481 | 18.4717 | 29.2894 | 40.9697 | 53.0051 | 63.7361 | 74.8759 | 86.7525 | 98.9117 | 111.3221 | 123.4353 | 135.4239 | 145.5095 | 154.5183 | 163.2122 | 170.4456 | 177.4148 | 184.4115 | 191.3675 | 197.8847 | 203.7623 | 209.4343 | 214.4575 | 219.4533 | 224.4103 | 229.317 | 234.162 | 238.9338 | 243.6212
Peak_B | 1.6537 | 3.2151 | 4.8672 | 6.459 | 7.7007 | 8.7388 | 9.716 | 10.652 | 11.5129 | 12.3419 | 13.1276 | 13.9049 | 14.6276 | 15.3091 | 15.9905 | 16.6493 | 17.2406 | 17.8595 | 18.3159 | 18.6007 | 18.8483 | 19.1318 | 19.3777 | 19.6229 | 19.8669 | 20.109 | 20.3489 | 20.5859 | 20.8194
Other_B | 1.2997 | 2.3262 | 3.4031 | 4.5186 | 5.3455 | 6.0458 | 6.7248 | 7.4573 | 8.2212 | 9.0369 | 9.8404 | 10.6471 | 11.4518 | 12.2612 | 12.9682 | 13.6595 | 14.4186 | 15.2003 | 15.9346 | 16.6369 | 17.2949 | 17.9314 | 18.442 | 18.9507 | 19.4567 | 19.9592 | 20.4577 | 20.9512 | 21.4392
Peak_C | 0.17701 | 0.37053 | 0.57998 | 0.80373 | 1.0415 | 1.2932 | 1.5562 | 1.83 | 2.1101 | 2.3941 | 2.6782 | 2.9635 | 3.2302 | 3.4715 | 3.7101 | 3.946 | 4.1798 | 4.4105 | 4.6226 | 4.8088 | 4.9866 | 5.1615 | 5.3325 | 5.5028 | 5.6721 | 5.8402 | 6.0067 | 6.1713 | 6.3338
Other_C | 0.24226 | 0.53005 | 0.86845 | 1.2387 | 1.6444 | 2.0951 | 2.581 | 3.1004 | 3.5941 | 4.0766 | 4.5453 | 5.0085 | 5.2632 | 5.5043 | 5.7371 | 5.9594 | 6.1679 | 6.3878 | 6.5839 | 6.7363 | 6.871 | 6.9893 | 7.1018 | 7.2137 | 7.3246 | 7.4344 | 7.5429 | 7.6498 | 7.7549
Peak_D | 1.5478 | 3.3187 | 5.3035 | 7.4905 | 9.8699 | 12.4307 | 15.1606 | 18.0385 | 20.8658 | 23.6394 | 26.2796 | 28.8298 | 30.0924 | 31.1919 | 32.2857 | 33.3759 | 34.4217 | 35.4187 | 36.2754 | 36.8597 | 37.3786 | 37.8877 | 38.3757 | 38.8617 | 39.3448 | 39.8239 | 40.2981 | 40.7665 | 41.2281
Other_D | 1.1607 | 2.466 | 4.0405 | 5.7572 | 7.623 | 9.6446 | 11.7533 | 13.9916 | 16.2341 | 18.504 | 20.7386 | 22.8875 | 24.6297 | 26.2987 | 27.878 | 29.3683 | 30.7623 | 32.3075 | 33.6411 | 34.8002 | 35.849 | 36.8243 | 37.7248 | 38.6198 | 39.5075 | 40.3858 | 41.253 | 42.107 | 42.946
Total | 18.7368 | 38.9907 | 61.6027 | 86.031 | 111.1396 | 135.5661 | 161.2789 | 188.2847 | 215.3775 | 243.0189 | 269.7732 | 296.0698 | 317.7408 | 337.3112 | 356.1893 | 373.224 | 389.7542 | 407.123 | 423.0585 | 436.8615 | 449.1558 | 460.8322 | 471.1459 | 481.398 | 491.5646 | 501.6217 | 511.5455 | 521.312 | 530.8973
Incremental Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 1.242 | 1.3937 | 1.5721 | 1.7618 | 1.9439 | 2.1208 | 2.324 | 2.4001 | 2.3728 | 2.4717 | 2.3541 | 2.3128 | 2.0761 | 1.8498 | 1.7919 | 1.7203 | 1.6936 | 1.9004 | 1.6457 | 1.3403 | 1.154 | 1.0511 | 0.90742 | 0.90243 | 0.89274 | 0.88056 | 0.86377 | 0.8487 | 0.82902
Other_A | 1.4816 | 1.6468 | 1.8271 | 1.9782 | 2.0384 | 1.8174 | 1.8815 | 2.0115 | 2.0593 | 2.1019 | 2.0459 | 2.0304 | 1.7082 | 1.5258 | 1.4684 | 1.2251 | 1.1803 | 1.185 | 1.1749 | 1.1038 | 0.99546 | 0.96063 | 0.84842 | 0.84611 | 0.83953 | 0.83102 | 0.81831 | 0.80819 | 0.79387
Peak_B | 0.64248 | 0.60662 | 0.64011 | 0.61842 | 0.48242 | 0.40331 | 0.37862 | 0.36364 | 0.33447 | 0.32209 | 0.30444 | 0.30198 | 0.28075 | 0.26478 | 0.26401 | 0.25596 | 0.22973 | 0.24043 | 0.17687 | 0.11061 | 0.096202 | 0.11015 | 0.095277 | 0.095263 | 0.094783 | 0.094089 | 0.092935 | 0.092061 | 0.090726
Other_B | 0.26428 | 0.20873 | 0.21837 | 0.22681 | 0.16814 | 0.1424 | 0.13768 | 0.14895 | 0.15534 | 0.16585 | 0.16294 | 0.16403 | 0.16362 | 0.16457 | 0.14336 | 0.14057 | 0.15435 | 0.15896 | 0.1489 | 0.1428 | 0.1338 | 0.12942 | 0.10354 | 0.10343 | 0.10288 | 0.10219 | 0.10107 | 0.10036 | 0.099226
Peak_C | 0.042773 | 0.046763 | 0.050479 | 0.054066 | 0.057463 | 0.060828 | 0.06337 | 0.066173 | 0.067686 | 0.068623 | 0.068452 | 0.068962 | 0.064432 | 0.058326 | 0.057499 | 0.057 | 0.056497 | 0.05574 | 0.051111 | 0.044992 | 0.042988 | 0.042245 | 0.041213 | 0.041158 | 0.040921 | 0.040613 | 0.040127 | 0.039784 | 0.039262
Other_C | 0.0398 | 0.047281 | 0.055451 | 0.060834 | 0.066643 | 0.074045 | 0.079626 | 0.085329 | 0.081102 | 0.079277 | 0.076794 | 0.076097 | 0.041857 | 0.039612 | 0.038135 | 0.036527 | 0.034248 | 0.036129 | 0.03213 | 0.025037 | 0.022144 | 0.019423 | 0.018443 | 0.018376 | 0.018226 | 0.01804 | 0.017772 | 0.01756 | 0.017266
Peak_D | 0.49591 | 0.56741 | 0.63442 | 0.70071 | 0.76239 | 0.82049 | 0.87257 | 0.92209 | 0.90588 | 0.88868 | 0.8439 | 0.81708 | 0.40455 | 0.35228 | 0.34963 | 0.34929 | 0.3351 | 0.31944 | 0.27382 | 0.18722 | 0.16625 | 0.16311 | 0.156 | 0.15572 | 0.15477 | 0.15351 | 0.15158 | 0.15008 | 0.1479
Other_D | 0.19389 | 0.21804 | 0.26232 | 0.28678 | 0.31167 | 0.3377 | 0.35132 | 0.3739 | 0.3746 | 0.37916 | 0.37231 | 0.35896 | 0.29102 | 0.2788 | 0.26312 | 0.24895 | 0.23286 | 0.25811 | 0.22218 | 0.19362 | 0.17521 | 0.16292 | 0.15003 | 0.14951 | 0.14827 | 0.14672 | 0.14447 | 0.14266 | 0.14015
Total | 4.4027 | 4.7354 | 5.2604 | 5.6877 | 5.831 | 5.777 | 6.0887 | 6.3717 | 6.3512 | 6.4772 | 6.2288 | 6.1303 | 5.0305 | 4.5339 | 4.3761 | 4.0337 | 3.9167 | 4.1541 | 3.7256 | 3.1483 | 2.786 | 2.639 | 2.3203 | 2.312 | 2.2921 | 2.2667 | 2.23 | 2.1994 | 2.1574
Cumulative Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 1.242 | 2.6357 | 4.2078 | 5.9697 | 7.9136 | 10.0344 | 12.3584 | 14.7585 | 17.1313 | 19.6029 | 21.957 | 24.2698 | 26.3459 | 28.1957 | 29.9877 | 31.708 | 33.4016 | 35.3019 | 36.9477 | 38.288 | 39.442 | 40.4931 | 41.4005 | 42.3029 | 43.1957 | 44.0762 | 44.94 | 45.7887 | 46.6177
Other_A | 1.4816 | 3.1284 | 4.9555 | 6.9338 | 8.9721 | 10.7896 | 12.6711 | 14.6826 | 16.7419 | 18.8438 | 20.8897 | 22.9201 | 24.6283 | 26.154 | 27.6224 | 28.8475 | 30.0278 | 31.2128 | 32.3877 | 33.4915 | 34.4869 | 35.4475 | 36.296 | 37.1421 | 37.9816 | 38.8126 | 39.6309 | 40.4391 | 41.233
Peak_B | 0.64248 | 1.2491 | 1.8892 | 2.5076 | 2.9901 | 3.3934 | 3.772 | 4.1356 | 4.4701 | 4.7922 | 5.0966 | 5.3986 | 5.6794 | 5.9441 | 6.2082 | 6.4641 | 6.6938 | 6.9343 | 7.1111 | 7.2218 | 7.318 | 7.4281 | 7.5234 | 7.6186 | 7.7134 | 7.8075 | 7.9005 | 7.9925 | 8.0832
Other_B | 0.26428 | 0.47301 | 0.69138 | 0.91819 | 1.0863 | 1.2287 | 1.3664 | 1.5154 | 1.6707 | 1.8365 | 1.9995 | 2.1635 | 2.3271 | 2.4917 | 2.6351 | 2.7756 | 2.93 | 3.089 | 3.2379 | 3.3807 | 3.5145 | 3.6439 | 3.7474 | 3.8508 | 3.9537 | 4.0559 | 4.157 | 4.2573 | 4.3566
Peak_C | 0.042773 | 0.089537 | 0.14002 | 0.19408 | 0.25154 | 0.31237 | 0.37574 | 0.44192 | 0.5096 | 0.57822 | 0.64668 | 0.71564 | 0.78007 | 0.8384 | 0.8959 | 0.9529 | 1.0094 | 1.0651 | 1.1162 | 1.1612 | 1.2042 | 1.2465 | 1.2877 | 1.3288 | 1.3698 | 1.4104 | 1.4505 | 1.4903 | 1.5295
Other_C | 0.0398 | 0.08708 | 0.14253 | 0.20337 | 0.27001 | 0.34405 | 0.42368 | 0.50901 | 0.59011 | 0.66939 | 0.74618 | 0.82228 | 0.86414 | 0.90375 | 0.94188 | 0.97841 | 1.0127 | 1.0488 | 1.0809 | 1.106 | 1.1281 | 1.1475 | 1.166 | 1.1843 | 1.2026 | 1.2206 | 1.2384 | 1.2559 | 1.2732
Peak_D | 0.49591 | 1.0633 | 1.6977 | 2.3985 | 3.1608 | 3.9813 | 4.8539 | 5.776 | 6.6819 | 7.5706 | 8.4144 | 9.2315 | 9.6361 | 9.9884 | 10.338 | 10.6873 | 11.0224 | 11.3418 | 11.6156 | 11.8029 | 11.9691 | 12.1322 | 12.2882 | 12.4439 | 12.5987 | 12.7522 | 12.9038 | 13.0539 | 13.2018
Other_D | 0.19389 | 0.41193 | 0.67425 | 0.96103 | 1.2727 | 1.6104 | 1.9617 | 2.3356 | 2.7102 | 3.0894 | 3.4617 | 3.8206 | 4.1117 | 4.3905 | 4.6536 | 4.9025 | 5.1354 | 5.3935 | 5.6157 | 5.8093 | 5.9845 | 6.1474 | 6.2975 | 6.447 | 6.5953 | 6.742 | 6.8865 | 7.0291 | 7.1693
Total | 4.4027 | 9.1381 | 14.3985 | 20.0862 | 25.9172 | 31.6942 | 37.7829 | 44.1546 | 50.5058 | 56.983 | 63.2118 | 69.3422 | 74.3726 | 78.9066 | 83.2827 | 87.3164 | 91.2331 | 95.3872 | 99.1129 | 102.2612 | 105.0472 | 107.6863 | 110.0066 | 112.3186 | 114.6107 | 116.8775 | 119.1075 | 121.3069 | 123.4643
Savings-Weighted LCOE ($/MWh) Real Dollars (2019)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 62.58 | 62.178 | 62.4614 | 61.4739 | 60.8185 | 60.546 | 59.9802 | 59.8504 | 60.3464 | 59.7441 | 62.4233 | 64.3441 | 67.4393 | 67.6851 | 70.597 | 69.6085 | 68.8973 | 71.8853 | 71.532 | 74.3093 | 74.9244 | 74.5603 | 74.724 | 74.7258 | 74.7215 | 74.7215 | 74.7215 | 74.7215 | 74.7215
Other_A | 19.5111 | 13.7527 | 9.5918 | 9.7126 | 12.579 | 44.623 | 46.7869 | 46.8834 | 45.5381 | 46.006 | 45.69 | 44.8597 | 44.4603 | 44.4863 | 44.0234 | 45.6753 | 45.4626 | 44.8336 | 44.6407 | 42.4713 | 41.8741 | 41.8999 | 35.8414 | 35.8382 | 35.8075 | 35.8075 | 35.8075 | 35.8075 | 35.8075
Peak_B | 52.193 | 51.6054 | 55.5543 | 15.2236 | 15.7061 | 17.7305 | 18.4476 | 19.3761 | 7.356 | 7.8323 | 9.7839 | 11.0519 | 9.3925 | 9.5186 | 10.0018 | 10.1515 | 8.3264 | 9.0474 | 7.4798 | 1.5962 | -4.4224 | -6.3961 | -5.5087 | -5.5082 | -5.5094 | -5.5094 | -5.5094 | -5.5094 | -5.5094
Other_B | 17.8954 | 18.6745 | 21.0586 | 13.6322 | 16.2295 | 18.3182 | 15.9592 | 17.6036 | 17.5457 | 18.6718 | 18.8473 | 17.1108 | 19.0097 | 19.7935 | 20.4304 | 21.2669 | 22.9237 | 24.5068 | 24.7512 | 24.0954 | 26.0102 | 27.7409 | 13.7095 | 13.7057 | 13.7112 | 13.7112 | 13.7112 | 13.7112 | 13.7112
Peak_C | 208.8545 | 207.8937 | 207.5527 | 207.2602 | 207.0689 | 206.8097 | 206.778 | 206.7343 | 206.7369 | 206.8541 | 207.4544 | 207.5895 | 206.1495 | 204.4084 | 204.4687 | 205.1834 | 205.7885 | 206.2413 | 197.7643 | 198.1623 | 198.7392 | 197.77 | 197.2737 | 196.5463 | 197.8005 | 197.8005 | 197.8005 | 197.8005 | 197.8005
Other_C | 173.22 | 170.6715 | 165.9781 | 164.6213 | 163.438 | 162.3938 | 160.3383 | 158.6334 | 160.0718 | 160.425 | 160.981 | 161.157 | 160.9181 | 157.8807 | 157.9534 | 159.231 | 159.2548 | 155.8182 | 158.5425 | 159.2935 | 162.0564 | 163.7706 | 165.9627 | 166.0274 | 165.8995 | 165.8995 | 165.8995 | 165.8995 | 165.8995
Peak_D | 859.7849 | 841.0114 | 826.5721 | 815.0256 | 805.51 | 797.1564 | 789.3402 | 783.289 | 782.5347 | 779.8916 | 666.3063 | 597.2858 | 648.4286 | 667.9826 | 672.4074 | 678.9397 | 674.3748 | 669.7056 | 673.3978 | 725.5885 | 736.2018 | 745.5798 | 739.093 | 738.682 | 739.3967 | 739.3967 | 739.3967 | 739.3967 | 739.3967
Other_D | 1551.661 | 1488.9915 | 1317.7188 | 1272.6734 | 1232.8571 | 1192.5585 | 1157.7835 | 1127.4287 | 1132.8902 | 1125.5414 | 1088.5389 | 1040.9521 | 1055.3419 | 1047.8574 | 1060.6269 | 1071.7132 | 1081.8417 | 997.3811 | 1000.4177 | 979.1037 | 966.0625 | 949.8601 | 871.7421 | 871.9797 | 871.2809 | 871.2809 | 871.2809 | 871.2809 | 871.2809
Total | 176.393 | 168.4046 | 160.5714 | 149.3687 | 151.1942 | 171.9846 | 169.2542 | 167.8595 | 161.0817 | 158.5886 | 147.0651 | 135.6594 | 124.9414 | 123.5511 | 124.1733 | 125.1376 | 124.3213 | 122.9886 | 119.9239 | 114.8579 | 115.7511 | 115.3172 | 95.5677 | 95.3714 | 95.0637 | 94.6858 | 94.2205 | 93.6725 | 93.0476
Savings-Weighted LCOE ($/MWh) Nominal Dollars
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 62.58 | 63.4837 | 65.1124 | 65.4287 | 66.0904 | 67.176 | 67.9457 | 69.2225 | 71.2619 | 72.0321 | 76.843 | 80.8709 | 86.541 | 88.6804 | 94.438 | 95.0711 | 96.0758 | 102.3476 | 103.9833 | 110.289 | 113.5371 | 115.3582 | 118.0393 | 120.521 | 123.0449 | 125.6288 | 128.267 | 130.9606 | 133.7108
Other_A | 19.5111 | 14.0415 | 9.9989 | 10.3375 | 13.6694 | 49.5094 | 53.0004 | 54.2249 | 53.775 | 55.4684 | 56.2444 | 56.3818 | 57.0534 | 58.2855 | 58.8903 | 62.3832 | 63.3967 | 63.8325 | 64.8924 | 63.0354 | 63.4541 | 64.8267 | 56.6175 | 57.8014 | 58.9647 | 60.2029 | 61.4672 | 62.758 | 64.0759
Peak_B | 52.193 | 52.6891 | 57.9121 | 16.203 | 17.0676 | 19.672 | 20.8975 | 22.4103 | 8.6866 | 9.4432 | 12.044 | 13.8905 | 12.0528 | 12.4712 | 13.3794 | 13.8649 | 11.611 | 12.8813 | 10.8731 | 2.3691 | -6.7015 | -9.8958 | -8.7019 | -8.8839 | -9.0724 | -9.263 | -9.4575 | -9.6561 | -9.8589
Other_B | 17.8954 | 19.0667 | 21.9523 | 14.5091 | 17.6363 | 20.3241 | 18.0786 | 20.3601 | 20.7194 | 22.5122 | 23.2011 | 21.5057 | 24.3941 | 25.9333 | 27.3298 | 29.0463 | 31.9666 | 34.8918 | 35.9798 | 35.7621 | 39.4147 | 42.9202 | 21.6564 | 22.1052 | 22.5783 | 23.0525 | 23.5366 | 24.0308 | 24.5355
Peak_C | 208.8545 | 212.2594 | 216.3614 | 220.5937 | 225.0183 | 229.4561 | 234.2388 | 239.1072 | 244.1316 | 249.3996 | 255.3761 | 260.9087 | 264.54 | 267.8141 | 273.5188 | 280.2389 | 286.9677 | 293.6386 | 287.4823 | 294.1102 | 301.1607 | 305.9856 | 311.6274 | 316.9983 | 325.7206 | 332.5607 | 339.5445 | 346.6749 | 353.9551
Other_C | 173.22 | 174.2556 | 173.0223 | 175.2118 | 177.6054 | 180.1765 | 181.6317 | 183.4741 | 189.0257 | 193.4211 | 198.1674 | 202.5501 | 206.497 | 206.8539 | 211.2951 | 217.4772 | 222.0774 | 221.8481 | 230.4671 | 236.4217 | 245.5733 | 253.3824 | 262.1663 | 267.7761 | 273.1888 | 278.9258 | 284.7832 | 290.7637 | 296.8697
Peak_D | 859.7849 | 858.6726 | 861.6526 | 867.4581 | 875.3343 | 884.4478 | 894.1671 | 905.9458 | 924.0799 | 940.2989 | 820.2218 | 750.6982 | 832.0915 | 875.1849 | 899.4828 | 927.2937 | 940.4013 | 953.5019 | 978.8926 | 1076.9103 | 1115.6082 | 1153.5454 | 1167.5229 | 1191.3779 | 1217.5738 | 1243.1429 | 1269.2489 | 1295.9031 | 1323.1171
Other_D | 1551.661 | 1520.2603 | 1373.6441 | 1354.5474 | 1339.7252 | 1323.148 | 1311.5408 | 1303.9751 | 1337.8079 | 1357.0416 | 1339.9894 | 1308.3198 | 1354.2602 | 1372.8934 | 1418.806 | 1463.7426 | 1508.6051 | 1420.034 | 1454.269 | 1453.1745 | 1463.9292 | 1469.6036 | 1377.0647 | 1406.3662 | 1434.7492 | 1464.8789 | 1495.6414 | 1527.0499 | 1559.1179
Total | 176.393 | 171.9411 | 167.3862 | 158.9779 | 164.3002 | 190.8175 | 191.7317 | 194.145 | 190.2183 | 191.207 | 181.0369 | 170.5035 | 160.3302 | 161.8756 | 166.1072 | 170.9126 | 173.3633 | 175.1066 | 174.3288 | 170.4708 | 175.4042 | 178.4163 | 150.9654 | 153.819 | 156.5426 | 159.1947 | 161.7389 | 164.1751 | 166.5045
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 196887.0684 | 195622.0913 | 196991.5867 | 193407.1017 | 191344.8992 | 190487.5821 | 189166.1834 | 188299.2243 | 189859.6991 | 187964.5733 | 196871.4665 | 202437.1386 | 212174.9882 | 212948.4626 | 222649.6848 | 218999.7685 | 216762.1206 | 226162.9238 | 225598.3781 | 233789.1788 | 235724.3388 | 234578.9663 | 235665.5709 | 235099.6703 | 235086.1924 | 235086.1924 | 235657.6625 | 235086.1924 | 235086.1924
Other_A | 115202.0139 | 81201.944 | 56790.3194 | 57347.4815 | 74271.8195 | 263473.2694 | 277011.9151 | 276819.522 | 268876.1821 | 271639.0324 | 270517.6994 | 264870.7429 | 262512.5874 | 262665.9118 | 260649.8549 | 269686.4677 | 268430.9115 | 264717.0239 | 264304.5549 | 250768.7191 | 247242.3879 | 247395.1377 | 212206.5321 | 211603.9938 | 211422.9013 | 211422.9013 | 212006.0379 | 211422.9013 | 211422.9013
Peak_B | 134343.4054 | 132830.8831 | 143374.8351 | 39185.1214 | 40427.063 | 45637.6996 | 47609.6455 | 49873.5683 | 18934.2427 | 20159.9997 | 25250.4811 | 28447.2112 | 24175.9236 | 24500.5583 | 25812.6588 | 26129.6863 | 21431.9884 | 23287.6234 | 19303.933 | 4108.6756 | -11383.1507 | -16463.2608 | -14216.7985 | -14178.0634 | -14181.0935 | -14181.0935 | -14218.7519 | -14181.0935 | -14181.0935
Other_B | 88008.0294 | 91840.0165 | 103853.4428 | 67041.8959 | 79815.5314 | 90087.6772 | 78705.0304 | 86572.9262 | 86288.3388 | 91826.605 | 92948.3323 | 84149.7347 | 93488.4384 | 97342.9533 | 100755.1824 | 104589.127 | 112736.9794 | 120522.4003 | 122063.8123 | 118499.3689 | 127916.1611 | 136427.718 | 67610.0908 | 67403.7919 | 67430.4147 | 67430.4147 | 67618.4777 | 67430.4147 | 67430.4147
Peak_C | 864297.652 | 860321.4791 | 861213.6161 | 857700.1375 | 856908.4637 | 855835.7189 | 857999.3596 | 855523.5136 | 855534.5998 | 856019.3169 | 860806.097 | 859062.9171 | 853103.862 | 845898.5467 | 848417.0772 | 849105.7357 | 851609.892 | 853483.4657 | 820597.8717 | 820050.3588 | 822437.6638 | 818427.0203 | 818562.5133 | 813362.8729 | 818553.2206 | 818553.2206 | 820748.2949 | 818553.2206 | 818553.2206
Other_C | 1054370.3188 | 1038858.1301 | 1012906.3733 | 1002031.4288 | 994828.6554 | 988472.3408 | 978488.7654 | 965583.3188 | 974339.0489 | 976488.9704 | 982411.2535 | 980944.6028 | 979490.0312 | 961001.8907 | 963934.9608 | 969221.0067 | 969365.8976 | 948447.4362 | 967529.5342 | 969601.7421 | 986418.9874 | 996852.9928 | 1012812.8731 | 1010589.8332 | 1009811.4495 | 1009811.4495 | 1012427.0183 | 1009811.4495 | 1009811.4495
Peak_D | 2683440.2372 | 2624846.8198 | 2585975.2193 | 2543743.8053 | 2514045.0294 | 2487972.6711 | 2469493.1761 | 2444691.8334 | 2442337.5771 | 2434088.4073 | 2084574.9481 | 1864164.7377 | 2023784.4758 | 2084813.6324 | 2103662.709 | 2119011.3269 | 2104764.0925 | 2090191.3655 | 2106761.1128 | 2264605.2563 | 2297729.7561 | 2326999.0909 | 2312292.0722 | 2305470.5666 | 2307701.2388 | 2307701.2388 | 2313242.2096 | 2307701.2388 | 2307701.2388
Other_D | 9288897.7309 | 8913731.3574 | 7909123.3145 | 7618760.3873 | 7380403.237 | 7139158.7319 | 6949170.255 | 6749264.1153 | 6781959.0293 | 6737966.101 | 6533554.9287 | 6231578.7065 | 6317722.3189 | 6272916.497 | 6366023.4841 | 6415727.7777 | 6476360.7493 | 5970744.2178 | 6004640.1027 | 5861327.8289 | 5783257.8023 | 5686263.2291 | 5232311.6437 | 5220038.3192 | 5215855.0338 | 5215855.0338 | 5229543.442 | 5215855.0338 | 5215855.0338
Total | 866300.3852 | 876832.1461 | 856244.2957 | 823968.2356 | 866754.2365 | 1002324.5434 | 1008806.697 | 1015163.5966 | 1018733.5585 | 1014799.6318 | 982255.7761 | 934067.7369 | 946588.6765 | 1051362.8091 | 1120600.4005 | 1252351.484 | 1308464.2197 | 1283153.4303 | 1411079.9036 | 1582443.1473 | 1787264.9755 | 1914581.7086 | 2147836.142 | 2160790.9166 | 2186079.8272 | 2219391.1125 | 2266604.7106 | 2310785.6287 | 2370343.6675
Savings-Weighted LCOE ($/MW) Nominal Dollars - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 196887.0684 | 199730.1552 | 205352.1066 | 205849.4179 | 207931.2947 | 211346.6555 | 214288.0507 | 217785.3818 | 224201.609 | 226624.9295 | 242348.4226 | 254432.9497 | 272272.0691 | 279003.1818 | 297839.6233 | 299109.2109 | 302270.152 | 322002.3383 | 327943.729 | 346987.2405 | 357206.43 | 362935.6687 | 372273.7942 | 379178.8351 | 387119.3965 | 395248.9038 | 404530.1167 | 412023.6625 | 420676.1594
Other_A | 115202.0139 | 82907.1848 | 59200.5573 | 61036.7747 | 80709.9414 | 292324.5374 | 313799.9733 | 320167.2524 | 317510.6298 | 327509.4635 | 333006.8033 | 332902.5735 | 336867.4411 | 344142.5416 | 348672.6453 | 368336.9489 | 374321.1785 | 376894.2285 | 384209.4169 | 372188.0812 | 374660.3817 | 382764.581 | 335216.2583 | 341284.0001 | 348152.7568 | 355463.9647 | 363929.7206 | 370550.2108 | 378331.7652
Peak_B | 134343.4054 | 135620.3316 | 149459.8064 | 41705.9888 | 43931.4117 | 50635.1914 | 53932.357 | 57683.3715 | 22359.0772 | 24306.4873 | 31083.297 | 35753.8538 | 31023.5848 | 32100.4136 | 34529.7258 | 35687.8453 | 29886.4505 | 33156.05 | 28061.3887 | 6098.0496 | -17249.5324 | -25471.6127 | -22457.8478 | -22866.989 | -23352.1855 | -23842.5814 | -24407.9199 | -24854.4844 | -25376.4286
Other_B | 88008.0294 | 93768.6569 | 108261.0868 | 71354.8527 | 86734.2001 | 99952.6009 | 89157.3073 | 100129.5563 | 101896.2133 | 110713.4047 | 114419.2305 | 105763.5243 | 119968.3845 | 127537.8717 | 134780.7233 | 142847.5083 | 157209.3123 | 171595.2998 | 177439.4928 | 175875.4158 | 193838.5976 | 211078.1109 | 106801.6212 | 108711.7275 | 111038.5138 | 113370.3226 | 116073.9285 | 118181.8725 | 120663.6918
Peak_C | 864297.652 | 878388.2301 | 897764.3832 | 912877.9266 | 931188.0645 | 949552.7995 | 971944.3874 | 989491.6758 | 1010284.0925 | 1032084.4715 | 1059650.7632 | 1079712.515 | 1094739.562 | 1108288.7529 | 1134931.8678 | 1159706.0047 | 1187551.8233 | 1215157.936 | 1192871.7231 | 1217109.4169 | 1246286.333 | 1266253.1623 | 1293058.5129 | 1311826.5385 | 1347921.9069 | 1376228.2669 | 1408897.1266 | 1434636.7708 | 1464764.143
Other_C | 1054370.3188 | 1060674.1508 | 1055895.1327 | 1066494.3762 | 1081063.625 | 1096713.6073 | 1108435.1672 | 1116785.9691 | 1150577.9451 | 1177332.1969 | 1209346.493 | 1232899.4106 | 1256923.7294 | 1259096.1305 | 1289460.7321 | 1323759.0727 | 1351760.0605 | 1350364.0964 | 1406460.658 | 1439071.8792 | 1494776.5123 | 1542310.0938 | 1599909.9474 | 1629922.642 | 1662869.2433 | 1697789.4974 | 1737932.9643 | 1769845.3815 | 1807012.1345
Peak_D | 2683440.2372 | 2679968.6031 | 2695726.5936 | 2707388.5958 | 2731970.5942 | 2760414.6017 | 2797449.678 | 2827511.0859 | 2884108.7234 | 2934729.1563 | 2566108.0265 | 2342973.9048 | 2597007.269 | 2731504.2798 | 2814080.376 | 2894139.159 | 2935048.617 | 2975936.5326 | 3062518.0074 | 3361101.3683 | 3481879.926 | 3600284.3069 | 3652658.0435 | 3718361.8455 | 3800120.7203 | 3879923.2555 | 3970913.2783 | 4044591.0783 | 4129527.491
Other_D | 9288897.7309 | 9100919.7159 | 8244794.4171 | 8108892.469 | 8020160.4909 | 7920922.2175 | 7872042.0368 | 7806145.072 | 8008682.9036 | 8123823.897 | 8042794.4119 | 7832154.5301 | 8107172.9631 | 8218719.406 | 8515862.2068 | 8762581.2846 | 9031146.8768 | 8500922.9958 | 8728715.5294 | 8699316.1085 | 8763697.8176 | 8797667.4974 | 8265324.8875 | 8419101.7658 | 8589014.2339 | 8769383.5328 | 8977038.1187 | 9141564.9394 | 9333537.8031
Total | 866300.3852 | 895245.6212 | 892584.1599 | 876975.9752 | 941887.3006 | 1112082.6758 | 1142779.416 | 1174130.1232 | 1203002.554 | 1223522.555 | 1209155.1006 | 1173982.2606 | 1214703.2963 | 1377486.2022 | 1499032.8928 | 1710457.8086 | 1824625.4352 | 1826906.0112 | 2051232.8561 | 2348644.1236 | 2708343.7571 | 2962200.7617 | 3392871.9709 | 3485016.2985 | 3599845.2086 | 3731448.0078 | 3890855.3133 | 4049996.9322 | 4241623.2974
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | Total $/MW (Cumulative)
Peak_A | 196887.0684 | 196218.1728 | 196507.1383 | 195592.2265 | 194548.8967 | 193690.5363 | 192839.7296 | 192101.3228 | 191790.8434 | 191308.403 | 191904.8422 | 192908.5121 | 194426.744 | 195641.8848 | 197255.7521 | 198435.4819 | 199364.7167 | 200807.306 | 201911.5508 | 203027.4476 | 203984.0931 | 204778.2855 | 205455.2756 | 206087.6678 | 206686.9918 | 207254.3518 | 207800.2808 | 208306.0264 | 208782.2685 | 208782.2685
Other_A | 115202.0139 | 97304.2437 | 82366.8878 | 75228.7595 | 75011.353 | 106756.6628 | 132037.3959 | 151872.3146 | 166264.2685 | 178018.0977 | 187077.3513 | 193968.8633 | 198722.8757 | 202453.1483 | 205546.8424 | 208270.6936 | 210635.4986 | 212688.6817 | 214561.0552 | 215754.3421 | 216663.241 | 217496.0744 | 217372.4305 | 217241.0228 | 217112.4212 | 216990.603 | 216887.6803 | 216778.4651 | 216675.3524 | 216675.3524
Peak_B | 134343.4054 | 133608.8592 | 136917.8106 | 112815.4016 | 101136.1192 | 94539.9282 | 89829.2296 | 86315.9746 | 81274.1787 | 77166.6012 | 74065.4304 | 71513.693 | 69173.6308 | 67183.7015 | 65424.3507 | 63868.3958 | 62412.011 | 61055.4453 | 60016.9884 | 59160.6507 | 58233.2846 | 57125.6565 | 56222.169 | 55341.8864 | 54487.5829 | 53660.0483 | 52861.5726 | 52089.3511 | 51345.5357 | 51345.5357
Other_B | 88008.0294 | 89699.0366 | 94169.6349 | 87468.5743 | 86284.0775 | 86724.8787 | 85916.7689 | 85981.2637 | 86009.8156 | 86535.1077 | 87057.7263 | 86837.2549 | 87304.9071 | 87967.8904 | 88663.5995 | 89470.1584 | 90695.8254 | 92230.6837 | 93602.6141 | 94654.2822 | 95920.573 | 97359.2831 | 96537.3019 | 95754.8004 | 95017.7501 | 94322.6878 | 93673.4461 | 93054.8078 | 92471.1829 | 92471.1829
Peak_C | 864297.652 | 862220.9698 | 861857.7939 | 860699.5787 | 859833.5369 | 859055.0473 | 858877.0019 | 858374.8502 | 857997.6049 | 857762.8243 | 858084.9624 | 858179.2028 | 857759.992 | 856934.806 | 856388.1389 | 855952.5211 | 855709.4572 | 855592.9672 | 853990.5892 | 852675.5823 | 851596.1585 | 850471.9958 | 849450.7226 | 848332.983 | 847443.3218 | 846611.3986 | 845895.9223 | 845165.9955 | 844482.8659 | 844482.8659
Other_C | 1054370.3188 | 1045947.9366 | 1033093.2514 | 1023801.5625 | 1016650.5162 | 1010586.2229 | 1004553.8615 | 998020.9397 | 994766.2159 | 992601.5912 | 991552.8452 | 990571.1164 | 990034.3737 | 988761.867 | 987756.6672 | 987064.679 | 986466.101 | 985156.4239 | 984632.4646 | 984292.1994 | 984333.9466 | 984545.848 | 984992.9623 | 985390.1272 | 985760.2616 | 986115.7316 | 986493.3269 | 986819.3495 | 987131.1417 | 987131.1417
Peak_D | 2683440.2372 | 2652173.7344 | 2627436.3189 | 2602985.5707 | 2581533.2967 | 2562251.8209 | 2545576.8891 | 2529471.379 | 2517658.4679 | 2507848.5196 | 2465397.7153 | 2412182.6425 | 2395876.7167 | 2384905.8856 | 2375394.1735 | 2367014.817 | 2359041.9864 | 2351469.8498 | 2345701.1912 | 2344414.8407 | 2343766.38 | 2343540.9608 | 2343144.2651 | 2342672.8228 | 2342243.2174 | 2341827.4066 | 2341491.6148 | 2341103.1356 | 2340728.9243 | 2340728.9243
Other_D | 9288897.7309 | 9090317.2475 | 8630772.6907 | 8328782.3738 | 8096536.8669 | 7895776.1988 | 7726250.5957 | 7569846.6082 | 7460945.5179 | 7372214.288 | 7282015.776 | 7183323.086 | 7122056.4175 | 7068134.1618 | 7028436.6082 | 6997322.8737 | 6973699.9013 | 6925702.8225 | 6889261.3726 | 6855000.8929 | 6823623.998 | 6793482.2576 | 6756289.2531 | 6720662.9661 | 6686831.9123 | 6654819.8096 | 6624918.632 | 6596320.3886 | 6569333.1528 | 6569333.1528
Total | 866300.3852 | 871757.9429 | 866090.1472 | 854162.7719 | 856995.6797 | 883485.1574 | 903680.6186 | 919768.0959 | 932213.1888 | 941600.7562 | 945606.8676 | 944586.7283 | 944722.138 | 950849.6717 | 959769.1959 | 973285.5002 | 987675.0544 | 1000543.2459 | 1015975.1364 | 1033415.1736 | 1053408.6229 | 1074513.006 | 1097152.3619 | 1119046.6525 | 1140386.5212 | 1161312.861 | 1182007.1385 | 1202472.7594 | 1222880.3029 | 1222880.3029
Savings-Weighted LCOE ($/MW) Nominal Dollars - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 196887.0684 | 200338.7544 | 204847.0978 | 208175.1167 | 211413.0251 | 214900.3447 | 218449.4554 | 222182.8585 | 226482.0595 | 230656.5145 | 236234.5169 | 242456.9035 | 249496.7589 | 256328.2575 | 263870.0295 | 271022.5715 | 278009.8436 | 285901.9551 | 293511.0946 | 301331.0289 | 309108.6395 | 316828.6789 | 324551.5019 | 332387.0328 | 340354.0749 | 348455.4092 | 356710.1148 | 365087.4219 | 373606.4716
Other_A | 115202.0139 | 99347.6329 | 85862.6209 | 80068.3957 | 81513.58 | 118446.9002 | 149572.3796 | 175654.3084 | 196338.226 | 214632.6732 | 230291.8843 | 243789.605 | 255009.7398 | 265252.3144 | 274961.0634 | 284455.4733 | 293726.7084 | 302818.2148 | 311899.195 | 320220.1409 | 328322.0698 | 336505.3758 | 343376.6721 | 350375.6422 | 357521.7608 | 364824.9057 | 372309.5515 | 379936.6362 | 387730.7901
Peak_B | 134343.4054 | 136414.6452 | 142728.7394 | 120073.0715 | 109902.9255 | 104892.3894 | 101758.8353 | 99832.3681 | 95975.0896 | 93038.1467 | 91174.4121 | 89881.9257 | 88766.5778 | 88023.4882 | 87518.4889 | 87231.2587 | 87032.2176 | 86928.4665 | 87244.3993 | 87805.565 | 88244.1915 | 88383.6205 | 88812.4646 | 89257.7688 | 89725.3896 | 90218.2942 | 90742.2145 | 91294.3673 | 91880.5249
Other_B | 88008.0294 | 91582.7163 | 98166.2884 | 93095.6254 | 93763.4608 | 96221.564 | 97326.7874 | 99445.2442 | 101567.3107 | 104333.5579 | 107167.9052 | 109141.3319 | 112033.4111 | 115254.7476 | 118605.751 | 122198.0674 | 126473.3933 | 131314.6085 | 136066.5381 | 140484.8093 | 145353.8724 | 150632.2458 | 152497.0641 | 154437.4505 | 156466.9269 | 158584.1285 | 160799.9065 | 163092.4485 | 165473.0195
Peak_C | 864297.652 | 880327.6102 | 898435.9006 | 916070.3286 | 934366.6924 | 953124.656 | 972938.5833 | 992789.5089 | 1013192.607 | 1034186.5818 | 1056301.0514 | 1078601.8194 | 1100714.5083 | 1122748.3616 | 1145594.7979 | 1169057.3232 | 1193268.5796 | 1218161.3656 | 1241413.4386 | 1265531.4026 | 1290471.8501 | 1315832.4779 | 1341851.6855 | 1368227.8326 | 1395495.6007 | 1423402.3011 | 1452065.5624 | 1481279.6334 | 1511164.0761
Other_C | 1054370.3188 | 1067912.8432 | 1076938.7621 | 1089665.0319 | 1104777.0754 | 1121249.0388 | 1137961.7905 | 1154303.0629 | 1174699.9875 | 1196758.8447 | 1220599.776 | 1244998.4863 | 1270454.6831 | 1295467.0045 | 1321327.1507 | 1348129.9055 | 1375605.9294 | 1402628.9844 | 1431322.5335 | 1460875.289 | 1491616.932 | 1523268.7369 | 1555963.6733 | 1589279.475 | 1623263.849 | 1657950.0393 | 1693415.1704 | 1729548.2925 | 1766426.7445
Peak_D | 2683440.2372 | 2707869.3828 | 2738947.3437 | 2770441.5178 | 2805308.9631 | 2842827.5848 | 2883637.5486 | 2925566.4325 | 2973053.6917 | 3023660.1711 | 3034900.1706 | 3031749.754 | 3074492.0338 | 3124682.4811 | 3177576.9472 | 3232861.5637 | 3289633.7144 | 3347935.0966 | 3409856.0555 | 3479553.8459 | 3551641.8273 | 3625877.5419 | 3701394.322 | 3778363.2404 | 3857001.4318 | 3937299.3619 | 4019406.228 | 4103132.8911 | 4188629.0474
Other_D | 9288897.7309 | 9281213.9097 | 8997071.3144 | 8864591.7753 | 8798370.903 | 8760392.0107 | 8752321.1037 | 8755224.2418 | 8810484.7811 | 8888523.5854 | 8964148.374 | 9028353.6643 | 9139329.0675 | 9260606.5181 | 9401975.6343 | 9556922.0796 | 9724675.7123 | 9860557.4512 | 10014655.6164 | 10174114.3699 | 10340223.5873 | 10510733.6125 | 10672706.3511 | 10839373.5802 | 11011290.4026 | 11188705.7586 | 11372340.196 | 11561036.6475 | 11755525.9734
Total | 866300.3852 | 890064.8597 | 902847.8791 | 909112.9943 | 931282.8406 | 980229.9507 | 1023692.262 | 1063796.4476 | 1100832.3399 | 1135268.2115 | 1164040.3599 | 1187203.0462 | 1212308.0737 | 1245794.7835 | 1283888.1671 | 1329310.3455 | 1377291.7891 | 1424536.1679 | 1476884.176 | 1533783.0486 | 1596289.6977 | 1662464.0414 | 1733138.494 | 1804846.4537 | 1877888.86 | 1952507.8464 | 2029034.3233 | 2107513.1012 | 2188289.257
Financial Escalation Factor | 2.1%
LCOE Floor |  | Applies cap to negative levelized costs (e.g. when NEIs push costs negative or efficient option is cheaper than baseline option)
LCOE Ceiling |  | Applies cap to very high levelized costs (e.g. when a measure is an unusually small saver resulting in a near-infinite ratio)

## End Use Summary
Island | Maui
|  | Peak_A | Peak_B | Peak_C | Peak_D | Other_A | Other_B | Other_C | Other_D
|  | Peak |  |  |  | Other
| End Use | A | B | C | D | A | B | C | D
Cooling | Cooling | 108.3578 | 5.6121 | 2.5583 | 25.8701 | 20.3592 | 0.50971 | 0.5944 | 3.9143
Ventilation | Ventilation | 8.4178 | 0.41433 | 0.39217 | 1.6837 | 6.8621 | 0.48959 | 0.62803 | 1.1945
Water Heating | Water Heating | 1.6372 | 0.0088289 | 0.2828 | 0.18137 | 56.9689 | 9.125 | 0.17538 | 3.0371
Interior Lighting | Interior Lighting | 2.0687 | 15.4602 | 0.49012 | 1.1747 | 70.6599 | 5.8446 | 0.24406 | 0.91695
Exterior Lighting | Exterior Lighting | 0.91 | 1.8698 | 0.22111 | 0.45043 | 10.4704 | 2.652 | 0.033673 | 2.0996
Appliances | Res Appliances | 0.52161 | 0 | 0.62326 | 1.6433 | 16.3412 | 3.4532 | 1.7031 | 20.5495
Refrigeration | Com Refrigeration | 1.1676 | 0.0034871 | 0.0030303 | 0.52777 | 12.5363 | 0.48559 | 0.19025 | 2.9153
Electronics | Electronics | 5.9941 | 0 | 0.12989 | 0.0013543 | 4.2949 | 0.371 | 2.0451 | 0.32516
Office Equipment | Electronics | 0.16613 | 0 | 0 | 0.07676 | 4.7112 | 0.26884 | 0.0028296 | 0.37333
Food Preparation | Food Preparation | 0.27394 | 0.03972 | 0 | 0.00033061 | 1.8373 | 0.05774 | 1.6364e-05 | 0.0033415
Miscellaneous | Miscellaneous | 2.1068 | 0 | 0.60018 | 0.014206 | 15.4676 | 1.2207 | 1.0313 | 1.4676
| Total | 131.6217 | 23.4085 | 5.3009 | 31.624 | 220.509 | 24.478 | 6.6481 | 36.7967