## Summary
Incremental Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.073625 | 0.086384 | 0.10096 | 0.11722 | 0.12915 | 0.14168 | 0.1556 | 0.15833 | 0.16048 | 0.16787 | 0.16159 | 0.16032 | 0.1394 | 0.12222 | 0.12316 | 0.12 | 0.11983 | 0.13413 | 0.12869 | 0.096155 | 0.082001 | 0.07514 | 0.06632 | 0.065826 | 0.065163 | 0.064332 | 0.063332 | 0.062165 | 0.060829
Other_A | 0.17392 | 0.20451 | 0.23645 | 0.27396 | 0.26855 | 0.25628 | 0.27481 | 0.29898 | 0.31183 | 0.3181 | 0.31642 | 0.31756 | 0.26285 | 0.25633 | 0.24842 | 0.23095 | 0.22491 | 0.22479 | 0.23078 | 0.2166 | 0.19331 | 0.18495 | 0.16563 | 0.16484 | 0.16378 | 0.16244 | 0.16082 | 0.15893 | 0.15676
Peak_B | 0.068278 | 0.068501 | 0.071838 | 0.06934 | 0.051126 | 0.040488 | 0.037455 | 0.035302 | 0.031441 | 0.030879 | 0.030289 | 0.031602 | 0.033232 | 0.029834 | 0.032011 | 0.031327 | 0.028264 | 0.030762 | 0.027336 | 0.018449 | 0.016915 | 0.018487 | 0.01718 | 0.017149 | 0.017089 | 0.016999 | 0.016879 | 0.016729 | 0.016549
Other_B | 0.036392 | 0.034653 | 0.034008 | 0.029537 | 0.012485 | 0.0056766 | 0.0054934 | 0.0050161 | 0.004634 | 0.0047322 | 0.0039357 | 0.0027594 | 0.0020884 | 0.0019957 | 0.0019744 | 0.0019588 | 0.0043234 | 0.0043145 | 0.0040934 | 0.0024991 | 0.0023555 | 0.0022897 | 0.00056121 | 0.00056034 | 0.0005591 | 0.00055751 | 0.00055555 | 0.00055323 | 0.00055056
Peak_C | 0.0020498 | 0.0023463 | 0.0026471 | 0.0029809 | 0.0032567 | 0.0035247 | 0.0037771 | 0.0039652 | 0.0041095 | 0.0042919 | 0.0044237 | 0.0045568 | 0.0046041 | 0.0045595 | 0.0045461 | 0.0045395 | 0.0045415 | 0.0045291 | 0.0043278 | 0.0019106 | 0.0014504 | 0.0014316 | 0.0014139 | 0.0014025 | 0.0013856 | 0.0013631 | 0.0013351 | 0.0013016 | 0.0012625
Other_C | 0.013336 | 0.015161 | 0.016807 | 0.017888 | 0.019082 | 0.02051 | 0.021458 | 0.022099 | 0.021696 | 0.021626 | 0.021214 | 0.014807 | 0.014308 | 0.01463 | 0.01472 | 0.014249 | 0.014165 | 0.014072 | 0.013677 | 0.0053033 | 0.003575 | 0.0035282 | 0.0033764 | 0.003355 | 0.0033231 | 0.0032808 | 0.003228 | 0.0031648 | 0.0030911
Peak_D | 0.035477 | 0.041736 | 0.047846 | 0.053894 | 0.059346 | 0.064573 | 0.069436 | 0.073678 | 0.073579 | 0.07285 | 0.072239 | 0.066298 | 0.03405 | 0.031752 | 0.0318 | 0.0316 | 0.031631 | 0.03209 | 0.030475 | 0.021324 | 0.019265 | 0.018865 | 0.018455 | 0.018393 | 0.018305 | 0.01819 | 0.018048 | 0.017878 | 0.017681
Other_D | 0.028618 | 0.034355 | 0.043777 | 0.050097 | 0.056093 | 0.062928 | 0.067431 | 0.073796 | 0.074169 | 0.075771 | 0.076482 | 0.075334 | 0.058263 | 0.055931 | 0.052981 | 0.049566 | 0.047213 | 0.053815 | 0.050921 | 0.039658 | 0.035545 | 0.031949 | 0.031085 | 0.03087 | 0.03059 | 0.030244 | 0.029835 | 0.02936 | 0.02882
Total | 0.4317 | 0.48764 | 0.55433 | 0.61492 | 0.59908 | 0.59566 | 0.63547 | 0.67117 | 0.68194 | 0.69612 | 0.6866 | 0.67324 | 0.5488 | 0.51725 | 0.50961 | 0.48419 | 0.47488 | 0.4985 | 0.4903 | 0.4019 | 0.35442 | 0.33664 | 0.30403 | 0.3024 | 0.30019 | 0.2974 | 0.29403 | 0.29008 | 0.28554
Cumulative Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.073625 | 0.16001 | 0.26097 | 0.37819 | 0.50734 | 0.64903 | 0.80463 | 0.96296 | 1.1234 | 1.2913 | 1.4529 | 1.6132 | 1.7526 | 1.8749 | 1.998 | 2.118 | 2.2378 | 2.372 | 2.5007 | 2.5968 | 2.6788 | 2.754 | 2.8203 | 2.8861 | 2.9513 | 3.0156 | 3.0789 | 3.1411 | 3.2019
Other_A | 0.17392 | 0.37843 | 0.61487 | 0.88883 | 1.1574 | 1.4137 | 1.6885 | 1.9874 | 2.2993 | 2.6174 | 2.9338 | 3.2514 | 3.5142 | 3.7705 | 4.019 | 4.2499 | 4.4748 | 4.6996 | 4.9304 | 5.147 | 5.3403 | 5.5253 | 5.6909 | 5.8557 | 6.0195 | 6.182 | 6.3428 | 6.5017 | 6.6585
Peak_B | 0.068278 | 0.13678 | 0.20862 | 0.27796 | 0.32908 | 0.36957 | 0.40703 | 0.44233 | 0.47377 | 0.50465 | 0.53494 | 0.56654 | 0.59977 | 0.62961 | 0.66162 | 0.69294 | 0.72121 | 0.75197 | 0.77931 | 0.79775 | 0.81467 | 0.83316 | 0.85034 | 0.86749 | 0.88457 | 0.90157 | 0.91845 | 0.93518 | 0.95173
Other_B | 0.036392 | 0.071045 | 0.10505 | 0.13459 | 0.14707 | 0.15275 | 0.15824 | 0.16326 | 0.16789 | 0.17263 | 0.17656 | 0.17932 | 0.18141 | 0.18341 | 0.18538 | 0.18734 | 0.19166 | 0.19598 | 0.20007 | 0.20257 | 0.20492 | 0.20721 | 0.20778 | 0.20834 | 0.2089 | 0.20945 | 0.21001 | 0.21056 | 0.21111
Peak_C | 0.0020498 | 0.0043961 | 0.0070432 | 0.010024 | 0.013281 | 0.016806 | 0.020583 | 0.024548 | 0.028657 | 0.032949 | 0.037373 | 0.04193 | 0.046534 | 0.051093 | 0.055639 | 0.060179 | 0.06472 | 0.069249 | 0.073577 | 0.075488 | 0.076938 | 0.07837 | 0.079784 | 0.081186 | 0.082572 | 0.083935 | 0.08527 | 0.086572 | 0.087834
Other_C | 0.013336 | 0.028498 | 0.045304 | 0.063193 | 0.082275 | 0.10278 | 0.12424 | 0.14634 | 0.16804 | 0.18966 | 0.21088 | 0.22568 | 0.23999 | 0.25462 | 0.26934 | 0.28359 | 0.29776 | 0.31183 | 0.32551 | 0.33081 | 0.33438 | 0.33791 | 0.34129 | 0.34464 | 0.34797 | 0.35125 | 0.35447 | 0.35764 | 0.36073
Peak_D | 0.035477 | 0.077213 | 0.12506 | 0.17895 | 0.2383 | 0.30287 | 0.37231 | 0.44599 | 0.51957 | 0.59242 | 0.66466 | 0.73095 | 0.765 | 0.79676 | 0.82856 | 0.86016 | 0.89179 | 0.92388 | 0.95435 | 0.97568 | 0.99494 | 1.0138 | 1.0323 | 1.0507 | 1.069 | 1.0871 | 1.1052 | 1.1231 | 1.1408
Other_D | 0.028618 | 0.062973 | 0.10675 | 0.15685 | 0.21294 | 0.27587 | 0.3433 | 0.41709 | 0.49126 | 0.56703 | 0.64352 | 0.71885 | 0.77711 | 0.83304 | 0.88603 | 0.93559 | 0.9828 | 1.0366 | 1.0875 | 1.1272 | 1.1627 | 1.1947 | 1.2258 | 1.2566 | 1.2872 | 1.3175 | 1.3473 | 1.3767 | 1.4055
Total | 0.4317 | 0.91934 | 1.4737 | 2.0886 | 2.6877 | 3.2833 | 3.9188 | 4.59 | 5.2719 | 5.968 | 6.6546 | 7.3279 | 7.8767 | 8.3939 | 8.9035 | 9.3877 | 9.8626 | 10.3611 | 10.8514 | 11.2533 | 11.6077 | 11.9444 | 12.2484 | 12.5508 | 12.851 | 13.1484 | 13.4424 | 13.7325 | 14.018
Incremental Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.023855 | 0.027989 | 0.032648 | 0.037981 | 0.041845 | 0.045907 | 0.050317 | 0.051299 | 0.051997 | 0.054391 | 0.052253 | 0.051946 | 0.045168 | 0.039601 | 0.039824 | 0.038881 | 0.038827 | 0.04346 | 0.041612 | 0.031155 | 0.026569 | 0.024346 | 0.021445 | 0.021328 | 0.021113 | 0.020844 | 0.020479 | 0.020142 | 0.019709
Other_A | 0.031993 | 0.037619 | 0.043375 | 0.050395 | 0.049399 | 0.047142 | 0.050413 | 0.054998 | 0.057361 | 0.058515 | 0.058045 | 0.058414 | 0.048352 | 0.047151 | 0.045572 | 0.042484 | 0.041372 | 0.04135 | 0.042336 | 0.039844 | 0.03556 | 0.034021 | 0.030385 | 0.030323 | 0.030127 | 0.02988 | 0.029502 | 0.029235 | 0.028835
Peak_B | 0.026199 | 0.026285 | 0.027497 | 0.026607 | 0.019618 | 0.015536 | 0.014337 | 0.013546 | 0.012064 | 0.011849 | 0.011594 | 0.012126 | 0.012752 | 0.011448 | 0.012253 | 0.012021 | 0.010845 | 0.011804 | 0.010463 | 0.007079 | 0.0064906 | 0.0070936 | 0.0065759 | 0.0065805 | 0.0065573 | 0.0065227 | 0.0064607 | 0.0064191 | 0.0063501
Other_B | 0.006098 | 0.0058065 | 0.0056837 | 0.0049492 | 0.002092 | 0.00095119 | 0.00091811 | 0.0008405 | 0.00077648 | 0.00079294 | 0.00065778 | 0.00046236 | 0.00034994 | 0.0003344 | 0.00032998 | 0.00032822 | 0.00072444 | 0.00072295 | 0.00068413 | 0.00041876 | 0.00039469 | 0.00038367 | 9.3795e-05 | 9.3891e-05 | 9.3684e-05 | 9.3417e-05 | 9.2849e-05 | 9.2701e-05 | 9.2252e-05
Peak_C | 0.0005014 | 0.00057392 | 0.00064604 | 0.00072916 | 0.00079662 | 0.00086217 | 0.00092182 | 0.00096992 | 0.0010052 | 0.0010498 | 0.0010796 | 0.0011146 | 0.0011262 | 0.0011153 | 0.0011095 | 0.0011104 | 0.0011109 | 0.0011079 | 0.0010562 | 0.00046734 | 0.00035479 | 0.00035017 | 0.00034508 | 0.00034307 | 0.00033892 | 0.00033343 | 0.00032584 | 0.00031837 | 0.00030881
Other_C | 0.0022657 | 0.0025757 | 0.0028483 | 0.0030391 | 0.0032419 | 0.0034844 | 0.0036365 | 0.0037543 | 0.0036859 | 0.003674 | 0.0035951 | 0.0025156 | 0.0024308 | 0.0024855 | 0.0024945 | 0.0024208 | 0.0024064 | 0.0023906 | 0.0023179 | 0.00090098 | 0.00060736 | 0.00059941 | 0.00057219 | 0.00056998 | 0.00056457 | 0.00055738 | 0.00054705 | 0.00053767 | 0.00052514
Peak_D | 0.012064 | 0.014192 | 0.016241 | 0.018327 | 0.020181 | 0.021958 | 0.023569 | 0.025055 | 0.025021 | 0.024773 | 0.02452 | 0.022545 | 0.011579 | 0.010798 | 0.010794 | 0.010746 | 0.010756 | 0.010912 | 0.010344 | 0.0072512 | 0.006551 | 0.0064151 | 0.0062641 | 0.0062547 | 0.0062247 | 0.0061855 | 0.0061259 | 0.0060795 | 0.0060126
Other_D | 0.0046061 | 0.0055295 | 0.007028 | 0.0080633 | 0.0090283 | 0.010128 | 0.010825 | 0.011878 | 0.011938 | 0.012196 | 0.012278 | 0.012125 | 0.0093777 | 0.0090022 | 0.0085056 | 0.0079777 | 0.007599 | 0.0086617 | 0.0081749 | 0.0063831 | 0.0057211 | 0.0051423 | 0.0049904 | 0.0049686 | 0.0049235 | 0.0048679 | 0.0047897 | 0.0047255 | 0.0046387
Total | 0.10758 | 0.12057 | 0.13597 | 0.15009 | 0.1462 | 0.14597 | 0.15494 | 0.16234 | 0.16385 | 0.16724 | 0.16402 | 0.16125 | 0.13113 | 0.12194 | 0.12088 | 0.11597 | 0.11364 | 0.12041 | 0.11699 | 0.0935 | 0.082248 | 0.078351 | 0.070672 | 0.070462 | 0.069943 | 0.069285 | 0.068323 | 0.067549 | 0.066472
Cumulative Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.023855 | 0.051844 | 0.084492 | 0.12247 | 0.16432 | 0.21022 | 0.26054 | 0.31184 | 0.36384 | 0.41823 | 0.47048 | 0.52243 | 0.56759 | 0.6072 | 0.64702 | 0.6859 | 0.72473 | 0.76819 | 0.8098 | 0.84095 | 0.86752 | 0.89187 | 0.91331 | 0.93464 | 0.95576 | 0.9766 | 0.99708 | 1.0172 | 1.0369
Other_A | 0.031993 | 0.069612 | 0.11299 | 0.16338 | 0.21278 | 0.25992 | 0.31034 | 0.36533 | 0.42269 | 0.48121 | 0.53925 | 0.59767 | 0.64602 | 0.69317 | 0.73874 | 0.78123 | 0.8226 | 0.86395 | 0.90629 | 0.94613 | 0.98169 | 1.0157 | 1.0461 | 1.0764 | 1.1065 | 1.1364 | 1.1659 | 1.1952 | 1.224
Peak_B | 0.026199 | 0.052484 | 0.079981 | 0.10659 | 0.12621 | 0.14174 | 0.15608 | 0.16962 | 0.18169 | 0.19354 | 0.20513 | 0.21726 | 0.23001 | 0.24146 | 0.25371 | 0.26573 | 0.27658 | 0.28838 | 0.29884 | 0.30592 | 0.31241 | 0.31951 | 0.32608 | 0.33266 | 0.33922 | 0.34574 | 0.3522 | 0.35862 | 0.36497
Other_B | 0.006098 | 0.011904 | 0.017588 | 0.022537 | 0.024629 | 0.02558 | 0.026499 | 0.027339 | 0.028116 | 0.028909 | 0.029566 | 0.030029 | 0.030379 | 0.030713 | 0.031043 | 0.031371 | 0.032096 | 0.032819 | 0.033503 | 0.033921 | 0.034316 | 0.0347 | 0.034794 | 0.034888 | 0.034981 | 0.035075 | 0.035167 | 0.03526 | 0.035352
Peak_C | 0.0005014 | 0.0010753 | 0.0017214 | 0.0024505 | 0.0032471 | 0.0041093 | 0.0050311 | 0.006001 | 0.0070062 | 0.0080561 | 0.0091357 | 0.01025 | 0.011377 | 0.012492 | 0.013601 | 0.014712 | 0.015823 | 0.01693 | 0.017987 | 0.018454 | 0.018809 | 0.019159 | 0.019504 | 0.019847 | 0.020186 | 0.02052 | 0.020845 | 0.021164 | 0.021473
Other_C | 0.0022657 | 0.0048415 | 0.0076897 | 0.010729 | 0.013971 | 0.017455 | 0.021092 | 0.024846 | 0.028532 | 0.032206 | 0.035801 | 0.038317 | 0.040747 | 0.043233 | 0.045727 | 0.048148 | 0.050555 | 0.052945 | 0.055263 | 0.056164 | 0.056772 | 0.057371 | 0.057943 | 0.058513 | 0.059078 | 0.059635 | 0.060182 | 0.06072 | 0.061245
Peak_D | 0.012064 | 0.026256 | 0.042497 | 0.060824 | 0.081004 | 0.10296 | 0.12653 | 0.15159 | 0.17661 | 0.20138 | 0.2259 | 0.24845 | 0.26002 | 0.27082 | 0.28162 | 0.29236 | 0.30312 | 0.31403 | 0.32437 | 0.33163 | 0.33818 | 0.34459 | 0.35086 | 0.35711 | 0.36334 | 0.36952 | 0.37565 | 0.38173 | 0.38774
Other_D | 0.0046061 | 0.010136 | 0.017164 | 0.025227 | 0.034255 | 0.044384 | 0.055209 | 0.067087 | 0.079024 | 0.09122 | 0.1035 | 0.11562 | 0.125 | 0.134 | 0.14251 | 0.15049 | 0.15809 | 0.16675 | 0.17492 | 0.18131 | 0.18703 | 0.19217 | 0.19716 | 0.20213 | 0.20705 | 0.21192 | 0.21671 | 0.22143 | 0.22607
Total | 0.10758 | 0.22815 | 0.36412 | 0.51421 | 0.66041 | 0.80638 | 0.96132 | 1.1237 | 1.2875 | 1.4547 | 1.6188 | 1.78 | 1.9112 | 2.0331 | 2.154 | 2.2699 | 2.3836 | 2.504 | 2.621 | 2.7145 | 2.7967 | 2.8751 | 2.9457 | 3.0162 | 3.0862 | 3.1554 | 3.2238 | 3.2913 | 3.3578
Savings-Weighted LCOE ($/MWh) Real Dollars (2019)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 44.3057 | 48.4733 | 47.7463 | 49.7871 | 52.309 | 51.3754 | 51.0086 | 53.5615 | 54.7737 | 53.3326 | 57.0821 | 57.5066 | 67.0336 | 69.0066 | 60.4683 | 62.4093 | 61.7857 | 55.9967 | 66.6251 | 83.3468 | 76.6333 | 72.725 | 91.4365 | 82.4263 | 73.2158 | 73.4149 | 73.6222 | 73.8399 | 74.0703
Other_A | -1.4982 | -3.1217 | -4.106 | -8.642 | -1.6632 | 19.8371 | 43.3016 | 43.3588 | 43.856 | 52.4968 | 55.7519 | 59.9472 | 72.6922 | 64.0163 | 67.4323 | 68.075 | 66.2366 | 65.3222 | 62.1009 | 67.8456 | 74.9155 | 72.1138 | 78.8082 | 72.2294 | 72.379 | 72.5051 | 72.6345 | 72.768 | 72.9065
Peak_B | 49.3228 | 41.3646 | 49.7477 | 13.3667 | 12.1191 | 3.5785 | 22.1026 | 31.7271 | 29.2074 | 31.6367 | 38.4073 | 45.3461 | 55.2203 | 60.6611 | 36.6658 | 44.9129 | 48.1323 | 45.4186 | 62.0467 | 147.0985 | 73.9922 | 63.7455 | 42.8877 | 39.3233 | 39.3776 | 39.4472 | 39.5182 | 39.5907 | 39.6653
Other_B | 4.3932 | 5.4615 | 7.703 | 4.1185 | 18.1518 | 86.1182 | 114.4281 | 135.7513 | 158.805 | 160.0284 | 196.4507 | 290.8532 | 309.257 | 273.1117 | 270.3232 | 272.6033 | 123.474 | 117.3905 | 123.3763 | 189.5304 | 67.8545 | 48.4457 | 187.9185 | 213.0248 | 213.1281 | 213.2668 | 213.4068 | 213.5484 | 213.6918
Peak_C | 181.6764 | 192.8731 | 196.4073 | 197.4692 | 203.572 | 205.9827 | 208.4388 | 213.2017 | 216.672 | 214.5126 | 216.6328 | 211.2808 | 210.1177 | 209.4468 | 208.2252 | 208.5304 | 208.5806 | 209.619 | 218.9298 | 472.2225 | 321.3761 | 266.3932 | 264.1132 | 260.7757 | 262.1938 | 263.2981 | 264.4619 | 265.7039 | 267.0466
Other_C | 145.3585 | 151.367 | 156.6332 | 164.4056 | 164.9011 | 164.1915 | 169.0011 | 171.8448 | 180.0029 | 178.8757 | 182.2063 | 255.0893 | 193.1606 | 184.5063 | 183.5622 | 188.9109 | 186.7326 | 186.7723 | 190.7692 | 477.4605 | 280.7467 | 195.2016 | 199.9232 | 194.5717 | 195.3834 | 196.0247 | 196.693 | 197.3963 | 198.1438
Peak_D | 604.2025 | 638.8565 | 668.3343 | 686.6867 | 706.238 | 718.5816 | 728.9686 | 740.293 | 789.1704 | 790.5264 | 788.4824 | 848.0665 | 1568.2767 | 701.4985 | 603.5684 | 611.4539 | 613.0155 | 607.1549 | 637.4176 | 869.4043 | 670.4825 | 618.1107 | 645.742 | 635.798 | 624.9564 | 625.9016 | 626.8663 | 627.8552 | 628.8736
Other_D | 1569.1181 | 941.0875 | 862.8259 | 864.1542 | 864.3018 | 849.6057 | 864.4669 | 836.9245 | 891.0165 | 891.8648 | 906.2081 | 939.7264 | 1219.3196 | 1016.7742 | 1050.9166 | 1127.352 | 1184.1486 | 1047.7159 | 1142.9332 | 1398.571 | 1374.6997 | 1454.6435 | 1436.8606 | 1398.5811 | 1399.593 | 1402.7105 | 1405.9412 | 1409.3114 | 1412.8506
Total | 175.4367 | 140.8552 | 145.6762 | 149.7597 | 174.4873 | 199.8252 | 214.6619 | 217.1397 | 227.8977 | 227.3457 | 233.9418 | 239.87 | 288.2454 | 210.9889 | 202.9156 | 212.8193 | 214.591 | 205.0552 | 214.0699 | 253.5599 | 236.8984 | 231.5234 | 245.5898 | 236.0375 | 236.3517 | 236.6631 | 236.9735 | 237.2847 | 237.5987
Savings-Weighted LCOE ($/MWh) Nominal Dollars
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 44.3057 | 49.4912 | 49.7727 | 52.99 | 56.8434 | 57.0012 | 57.7827 | 61.9488 | 64.6812 | 64.302 | 70.2679 | 72.2772 | 86.0204 | 90.4118 | 80.8888 | 85.2384 | 86.1589 | 79.726 | 96.8503 | 123.7024 | 116.1267 | 112.5186 | 144.4395 | 132.9407 | 120.5653 | 123.432 | 126.38 | 129.4155 | 132.5455
Other_A | -1.4982 | -3.1873 | -4.2803 | -9.1979 | -1.8074 | 22.0093 | 49.0522 | 50.1484 | 51.7887 | 63.2942 | 68.6305 | 75.3446 | 93.2817 | 83.8736 | 90.2045 | 92.9767 | 92.3655 | 93.0033 | 90.2737 | 100.6957 | 113.5237 | 111.5729 | 124.491 | 116.4947 | 119.1875 | 121.9023 | 124.6844 | 127.5368 | 130.4628
Peak_B | 49.3228 | 42.2332 | 51.859 | 14.2266 | 13.1696 | 3.9703 | 25.0378 | 36.6954 | 34.4904 | 38.1437 | 47.2793 | 56.9932 | 70.861 | 79.4777 | 49.0481 | 61.3419 | 67.1194 | 64.6653 | 90.1949 | 218.322 | 112.1246 | 98.6257 | 67.7484 | 63.4224 | 64.8435 | 66.3224 | 67.8369 | 69.3886 | 70.9794
Other_B | 4.3932 | 5.5762 | 8.0299 | 4.3835 | 19.7253 | 95.5484 | 129.6245 | 157.0089 | 187.5297 | 192.9428 | 241.8304 | 365.5586 | 396.8519 | 357.8285 | 361.6127 | 372.3208 | 172.1818 | 167.1362 | 179.3474 | 281.2988 | 102.8237 | 74.9542 | 296.8493 | 343.5756 | 350.9607 | 358.5641 | 366.3343 | 374.2755 | 382.3919
Peak_C | 181.6764 | 196.9234 | 204.743 | 210.1729 | 221.2183 | 228.5386 | 236.1201 | 246.5874 | 255.8637 | 258.6334 | 266.6746 | 265.5482 | 269.6321 | 274.4153 | 278.5439 | 284.8102 | 290.8612 | 298.4476 | 318.2499 | 700.8673 | 486.9994 | 412.1579 | 417.2117 | 420.5903 | 431.7578 | 442.6814 | 453.9755 | 465.6858 | 477.8679
Other_C | 145.3585 | 154.5457 | 163.2808 | 174.9822 | 179.1953 | 182.1711 | 191.4449 | 198.7543 | 212.5619 | 215.6666 | 224.2956 | 320.6088 | 247.8719 | 241.7385 | 245.5521 | 258.0139 | 260.3946 | 265.9195 | 277.3139 | 708.6414 | 425.4314 | 302.0118 | 315.8127 | 313.8135 | 321.7402 | 329.575 | 337.6433 | 345.9664 | 354.5694
Peak_D | 604.2025 | 652.2725 | 696.6991 | 730.8628 | 767.457 | 797.2688 | 825.7779 | 856.217 | 931.9159 | 953.121 | 970.6205 | 1065.8917 | 2012.4801 | 919.0971 | 807.3966 | 835.1218 | 854.8371 | 864.4445 | 926.5895 | 1290.3599 | 1016.0201 | 956.328 | 1020.0592 | 1025.4423 | 1029.1236 | 1052.3244 | 1076.0791 | 1100.41 | 1125.3411
Other_D | 1569.1181 | 960.8503 | 899.4451 | 919.7472 | 939.2223 | 942.6405 | 979.2709 | 967.9803 | 1052.184 | 1075.3027 | 1115.5405 | 1181.0943 | 1564.6833 | 1332.1685 | 1405.8165 | 1539.7339 | 1651.27 | 1491.6988 | 1661.4383 | 2075.7432 | 2083.1603 | 2250.594 | 2269.7654 | 2255.6916 | 2304.7274 | 2358.3681 | 2413.4398 | 2470.0287 | 2528.2326
Total | 175.4367 | 143.8131 | 151.8589 | 159.3941 | 189.6124 | 221.7068 | 243.1697 | 251.1421 | 269.12 | 274.1059 | 287.9819 | 301.4804 | 369.8888 | 276.4357 | 271.4412 | 290.668 | 299.2425 | 291.9499 | 311.1853 | 376.3307 | 358.9856 | 358.2081 | 387.9508 | 380.6914 | 389.2033 | 397.9001 | 406.7889 | 415.8769 | 425.1722
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 136743.2184 | 149605.9947 | 147655.489 | 153660.8444 | 161444.519 | 158562.9526 | 157743.9462 | 165310.06 | 169051.3459 | 164603.7198 | 176526.2128 | 177486.1345 | 206889.707 | 212979.2285 | 186998.26 | 192617.4638 | 190692.937 | 172825.9502 | 206037.9484 | 257238.1683 | 236517.8393 | 224455.4445 | 282767.2067 | 254397.3408 | 225970.2267 | 226584.7386 | 227676.6479 | 227896.5006 | 228607.5845
Other_A | -8144.6482 | -16970.5457 | -22382.7674 | -46979.9257 | -9041.6448 | 107839.4834 | 236047.1585 | 235709.2618 | 238412.2729 | 285385.4765 | 303916.6811 | 325887.7921 | 395172.8248 | 348008.8118 | 367589.1079 | 370072.8011 | 360078.6105 | 355107.5742 | 338526.672 | 368825.6976 | 407259.4066 | 392028.5543 | 429602.1301 | 392657.2299 | 393470.4802 | 394155.7342 | 395947.5502 | 395584.911 | 396337.6969
Peak_B | 128540.1421 | 107800.1443 | 129968.1985 | 34834.836 | 31583.547 | 9325.9017 | 57743.9952 | 82684.068 | 76117.2803 | 82448.3296 | 100340.9758 | 118176.4293 | 143909.4265 | 158088.8444 | 95791.2755 | 117047.3439 | 125437.4374 | 118365.3322 | 162100.0432 | 383353.2575 | 192830.9355 | 166126.9823 | 112046.1523 | 102480.4982 | 102621.8182 | 102803.4001 | 103243.1094 | 103177.2919 | 103371.8011
Other_B | 26218.5091 | 32594.0753 | 46090.0286 | 24578.9852 | 108328.9908 | 513948.3904 | 684668.5967 | 810156.378 | 947739.505 | 955040.4705 | 1175442.5689 | 1735795.9832 | 1845628.6271 | 1629915.3433 | 1617451.0691 | 1626881.6353 | 736885.7656 | 700580.0407 | 738209.3429 | 1131106.7419 | 404951.8316 | 289121.4442 | 1124391.4734 | 1271320.41 | 1271936.5572 | 1272764.5081 | 1276897.9503 | 1274445.0694 | 1275301.1695
Peak_C | 742726.3 | 788500.257 | 804756.9851 | 807290.1639 | 832239.6047 | 842094.8517 | 854054.7601 | 871607.4027 | 885794.4894 | 876966.7161 | 887628.8848 | 863754.6136 | 858999.4901 | 856256.554 | 853179.6282 | 852510.2772 | 852715.6266 | 856960.4691 | 897040.5987 | 1930531.8358 | 1313843.9623 | 1089063.7998 | 1082174.5687 | 1066098.7561 | 1071895.8948 | 1076410.6437 | 1083603.3348 | 1086245.95 | 1091735.2033
Other_C | 855602.4964 | 890969.7014 | 924253.3949 | 967716.7285 | 970633.5427 | 966456.686 | 997233.3891 | 1011505.1697 | 1059525.0052 | 1052889.9181 | 1075154.1139 | 1501495.2547 | 1136972.9182 | 1086032.5144 | 1083155.2146 | 1111958.7002 | 1099136.8851 | 1099370.9275 | 1125681.7576 | 2810406.1472 | 1652518.7723 | 1148986.5509 | 1179697.2855 | 1145278.8533 | 1150056.6391 | 1153831.5604 | 1160636.5147 | 1161904.9092 | 1166304.9978
Peak_D | 1776791.8209 | 1878699.414 | 1968971.5631 | 2019354.9359 | 2076849.7167 | 2113148.8498 | 2147605.511 | 2176996.1299 | 2320730.8266 | 2324718.5338 | 2322938.5634 | 2493928.1176 | 4611866.0409 | 2062912.3445 | 1778165.6663 | 1798115.9357 | 1802708.3732 | 1785473.7907 | 1877888.1937 | 2556676.4604 | 1971702.8317 | 1817692.013 | 1902412.776 | 1869705.3223 | 1837823.1696 | 1840602.8611 | 1846803.1997 | 1846347.7727 | 1849342.6698
Other_D | 9748953.8804 | 5846990.7207 | 5374481.8864 | 5369002.7658 | 5369920.0602 | 5278612.599 | 5384703.8117 | 5199824.6467 | 5535898.7386 | 5541169.5528 | 5644706.5287 | 5838534.0261 | 7575650.7921 | 6317233.3451 | 6546085.4826 | 7004254.9212 | 7357132.9744 | 6509474.4789 | 7119250.6702 | 8689342.4669 | 8541029.9751 | 9037721.7544 | 8950104.0665 | 8689405.3251 | 8695692.1425 | 8715061.1521 | 8757509.2464 | 8756072.7727 | 8778061.9006
Total | 703977.9839 | 569680.7203 | 593918.9824 | 613565.6283 | 714989.1805 | 815433.0976 | 880426.0389 | 897726.2166 | 948513.2857 | 946308.8821 | 979269.0198 | 1001489.5274 | 1206316.6469 | 895019.836 | 855443.3404 | 888569.7046 | 896724.9409 | 848944.2952 | 897164.2201 | 1089912.8093 | 1020829.7011 | 994744.8701 | 1056511.9821 | 1013000.2676 | 1014413.6807 | 1015873.5317 | 1019829.5429 | 1018974.7558 | 1020640.4059
Savings-Weighted LCOE ($/MW) Nominal Dollars - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 136743.2184 | 152747.7206 | 153922.1356 | 163546.1939 | 175439.0527 | 175926.1646 | 178692.841 | 191196.2976 | 199629.4312 | 198459.2401 | 217303.4517 | 223073.301 | 265489.7689 | 279043.4911 | 250148.5298 | 263076.3402 | 265917.2317 | 246063.1441 | 299509.4809 | 381789.9641 | 358408.8662 | 347272.7675 | 446678.8276 | 410302.946 | 372108.0209 | 380955.4641 | 390829.9012 | 399422.6538 | 409082.9823
Other_A | -8144.6482 | -17326.9271 | -23332.7144 | -50002.2505 | -9825.4039 | 119648.2936 | 267394.9675 | 272619.4531 | 281536.3947 | 344083.2617 | 374120.8899 | 409591.8013 | 507102.7626 | 455958.0502 | 491725.8316 | 505444.2947 | 502121.9392 | 505588.9238 | 492103.2682 | 547406.9061 | 617143.2252 | 606538.377 | 678629.5274 | 633294.4273 | 647932.7998 | 662691.5018 | 679683.8559 | 693321.6374 | 709228.4684
Peak_B | 128540.1421 | 110063.9473 | 135484.1788 | 37075.8398 | 34321.3111 | 10347.1213 | 65412.5804 | 95631.7339 | 89885.409 | 99406.2155 | 123519.5615 | 148529.9472 | 184670.7646 | 207126.5979 | 128140.4797 | 159862.9026 | 174919.83 | 168524.1467 | 235638.6295 | 568968.5453 | 292207.6287 | 257028.1913 | 176995.9272 | 165284.9443 | 168988.6417 | 172842.6957 | 177227.1975 | 180833.6136 | 184979.1849
Other_B | 26218.5091 | 33278.5509 | 48046.1355 | 26160.2068 | 117719.2985 | 570227.5825 | 775594.7511 | 937020.4084 | 1119167.0634 | 1151472.1922 | 1446967.6965 | 2181633.7422 | 2368390.0226 | 2135500.587 | 2163672.576 | 2221989.9384 | 1027571.4769 | 997459.7405 | 1073106.6717 | 1678775.7633 | 613646.4263 | 447322.6494 | 1776167.2967 | 2050440.103 | 2094513.9625 | 2139890.7843 | 2191923.9606 | 2233655.3237 | 2282094.038
Peak_C | 742726.3 | 805058.7624 | 838911.6763 | 859224.9655 | 904380.8288 | 934307.2582 | 967475.9326 | 1008094.1736 | 1046017.4049 | 1057340.3099 | 1092669.5669 | 1085609.2698 | 1102305.0856 | 1121859.722 | 1141302.7567 | 1164355.917 | 1189093.7466 | 1220108.3638 | 1303993.59 | 2865273.3967 | 1990942.1054 | 1684976.7251 | 1709478.5258 | 1719449.8146 | 1765104.482 | 1809762.2944 | 1860114.2815 | 1903808.2592 | 1953611.0044
Other_C | 855602.4964 | 909680.0651 | 963479.6333 | 1029972.1337 | 1054771.2015 | 1072287.1593 | 1129669.1363 | 1169898.8157 | 1251172.3764 | 1269447.2114 | 1323512.788 | 1887153.0659 | 1459012.5423 | 1422910.1416 | 1448942.276 | 1518709.7759 | 1532722.9336 | 1565243.3361 | 1636360.493 | 4171172.8436 | 2504155.2103 | 1777687.9519 | 1863532.22 | 1847154.8726 | 1893812.765 | 1939929.5839 | 1992349.4948 | 2036411.8849 | 2087050.295
Peak_D | 1776791.8209 | 1918152.1017 | 2052536.6852 | 2149264.6046 | 2256877.776 | 2344546.2277 | 2432814.3132 | 2517896.3692 | 2740505.6879 | 2802864.2019 | 2859533.2099 | 3134491.4867 | 5918144.8295 | 2702809.4072 | 2378661.3155 | 2455861.2198 | 2513838.3615 | 2542091.0111 | 2729814.2035 | 3794590.1279 | 2987832.8779 | 2812295.0519 | 3005184.0819 | 3015540.963 | 3026366.5806 | 3094593.7561 | 3170223.7309 | 3236000.2254 | 3309315.4637
Other_D | 9748953.8804 | 5969777.5259 | 5602580.2721 | 5714402.853 | 5835402.1214 | 5856639.6103 | 6099809.5033 | 6014075.7344 | 6537234.6533 | 6680871.4909 | 6948623.6239 | 7338156.6494 | 9721400.8752 | 8276782.9462 | 8756732.0641 | 9566389.8488 | 10259364.9514 | 9267947.0547 | 10348982.2571 | 12896623.2739 | 12942706.051 | 13982974.0071 | 14138209.4422 | 14014645.7252 | 14319305.8669 | 14652576.2814 | 15033146.8133 | 15346325.2616 | 15707946.6467
Total | 703977.9839 | 581644.0154 | 619125.498 | 653037.6925 | 776966.7581 | 904725.9463 | 997349.4006 | 1038302.9856 | 1120080.8059 | 1140944.6998 | 1205478.4089 | 1258721.2821 | 1547997.397 | 1172647.0293 | 1144330.936 | 1213605.7722 | 1250463.7964 | 1208695.2343 | 1304173.2938 | 1617636.197 | 1546921.014 | 1539048.4505 | 1668940.1117 | 1633810.2941 | 1670447.7955 | 1707981.6372 | 1750640.1435 | 1785905.4443 | 1826390.0645
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | Total $/MW (Cumulative)
Peak_A | 136743.2184 | 143687.4483 | 145220.7055 | 147838.1237 | 151303.1019 | 152888.4445 | 153826.1579 | 155715.3238 | 157621.1999 | 158529.284 | 160528.0927 | 162214.2593 | 165769.4158 | 168848.4454 | 169965.5748 | 171249.6079 | 172291.2721 | 172321.5216 | 174054.0783 | 177135.7985 | 178954.4323 | 180196.496 | 182604.9521 | 184243.2059 | 185164.9784 | 186049.0143 | 186904.0195 | 187715.7038 | 188492.9372 | 188492.9372
Other_A | -8144.6482 | -12914.2526 | -16549.1542 | -25935.4899 | -22013.3982 | 1537.9948 | 39632.9828 | 69150.607 | 92119.9819 | 115621.2029 | 135889.2989 | 154459.1722 | 172475.5862 | 184415.7914 | 195715.5128 | 205197.2339 | 212986.9009 | 219788.9684 | 225335.6421 | 231378.4498 | 237749.4245 | 242916.9674 | 248339.3738 | 252404.8629 | 256245.5541 | 259871.6615 | 263314.7905 | 266550.2069 | 269607.7879 | 269607.7879
Peak_B | 128540.1421 | 118153.2237 | 122215.1674 | 100403.0753 | 89705.4765 | 80895.2529 | 78768.6744 | 79081.35 | 78884.533 | 79102.7132 | 80303.0573 | 82416.9359 | 85826.0742 | 89252.1845 | 89567.9821 | 90811.0531 | 92168.8606 | 93241.1322 | 95652.0705 | 102309.4865 | 104190.1349 | 105565.2493 | 105695.9463 | 105632.3405 | 105574.1451 | 105521.8727 | 105480.0721 | 105438.8539 | 105402.8895 | 105402.8895
Other_B | 26218.5091 | 29328.2277 | 34744.8874 | 32512.4527 | 38952.2303 | 56614.5559 | 78375.1031 | 100872.6083 | 124261.0026 | 147048.5659 | 169927.8291 | 194038.1712 | 213063.3243 | 228489.9251 | 243254.422 | 257730.5966 | 268545.6949 | 278062.7828 | 287458.978 | 297873.7258 | 299105.2997 | 298994.9104 | 301219.9738 | 303830.7588 | 306423.468 | 308997.1908 | 311552.6239 | 314084.1175 | 316592.4184 | 316592.4184
Peak_C | 742726.3 | 767156.8894 | 781268.4021 | 789011.2245 | 799616.4373 | 808528.8361 | 816870.2393 | 825717.1205 | 834336.5729 | 839891.8909 | 845533.3455 | 847514.7407 | 848651.6601 | 849330.6312 | 849644.6083 | 849860.8986 | 850061.3244 | 850512.7771 | 853245.0487 | 880526.6473 | 888700.2183 | 892362.2667 | 895720.5535 | 898665.6237 | 901574.1626 | 904415.1286 | 907216.087 | 909909.2614 | 912524.2041 | 912524.2041
Other_C | 855602.4964 | 874418.5338 | 892877.3136 | 914076.464 | 927200.5806 | 935036.969 | 945760.5381 | 955694.8688 | 969108.3346 | 978665.9598 | 988355.2674 | 1022044.9362 | 1028901.0238 | 1032185.6089 | 1034966.1193 | 1038837.1003 | 1041707.3821 | 1044311.0529 | 1047723.9777 | 1076000.7514 | 1082168.4862 | 1082866.5951 | 1083822.8022 | 1084421.4468 | 1085048.6795 | 1085691.5575 | 1086372.806 | 1087041.6333 | 1087721.2746 | 1087721.2746
Peak_D | 1776791.8209 | 1831876.4311 | 1884268.4229 | 1924971.2445 | 1962809.0758 | 1994871.256 | 2023320.9705 | 2048720.7383 | 2087257.5317 | 2116468.9812 | 2138880.1918 | 2171098.7383 | 2279786.5663 | 2271139.915 | 2252244.5613 | 2235553.289 | 2220193.5733 | 2205087.2532 | 2194652.8215 | 2202568.6545 | 2198096.4411 | 2191014.6418 | 2185862.0239 | 2180324.5947 | 2174456.7914 | 2168868.3045 | 2163616.1674 | 2158563.2638 | 2153768.2056 | 2153768.2056
Other_D | 9748953.8804 | 7620220.3464 | 6700652.8784 | 6275017.831 | 6036470.7895 | 5863525.7339 | 5769638.063 | 5668753.1358 | 5648683.7893 | 5634309.7508 | 5635543.1662 | 5656830.4147 | 5800781.2176 | 5835475.7306 | 5877888.0279 | 5937600.0769 | 6005835.2879 | 6031996.8283 | 6082808.8803 | 6174574.8913 | 6246964.2334 | 6321643.0694 | 6388174.1003 | 6444741.3445 | 6498266.553 | 6549187.747 | 6597995.8583 | 6644050.5049 | 6687837.4258 | 6687837.4258
Total | 703977.9839 | 633006.5592 | 618410.8065 | 616996.5748 | 638690.172 | 670683.886 | 704488.3289 | 732406.32 | 759908.0812 | 781337.0632 | 801392.7543 | 819519.2085 | 846059.5495 | 848995.9674 | 849357.8001 | 851361.0818 | 853523.8843 | 853303.6654 | 855261.4125 | 863343.9341 | 867975.3967 | 871430.0963 | 875870.407 | 879073.902 | 882141.1739 | 885077.5646 | 887933.4344 | 890622.8584 | 893196.738 | 893196.738
Savings-Weighted LCOE ($/MW) Nominal Dollars - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 136743.2184 | 146704.8848 | 151384.0175 | 157348.8845 | 164418.5448 | 169630.2775 | 174254.758 | 180099.1022 | 186131.7951 | 191135.4208 | 197609.7946 | 203878.8573 | 212722.443 | 221223.7315 | 227363.8196 | 233892.1883 | 240256.5028 | 245344.9574 | 253015.7528 | 262902.9378 | 271179.7782 | 278796.2485 | 288455.5352 | 297155.3473 | 304913.5041 | 312803.0116 | 320839.5774 | 328999.8064 | 337299.6265
Other_A | -8144.6482 | -13185.4519 | -17251.5168 | -27603.9786 | -23921.5909 | 1706.4107 | 44896.3682 | 79979.0408 | 108782.6867 | 139402.0506 | 167279.4835 | 194131.8826 | 221328.0892 | 241619.9298 | 261809.6434 | 280257.7515 | 297005.6887 | 312927.3382 | 327561.7997 | 343409.2639 | 360275.157 | 375836.0496 | 392294.2184 | 407089.3923 | 421962.7841 | 436920.5537 | 452006.363 | 467169.0471 | 482451.0007
Peak_B | 128540.1421 | 120634.4414 | 127402.1013 | 106862.2322 | 97481.4377 | 89753.5732 | 89229.4034 | 91464.859 | 93153.2037 | 95372.4762 | 98852.9196 | 103585.6576 | 110135.7092 | 116937.4184 | 119815.5482 | 124029.4573 | 128527.5095 | 132753.2475 | 139045.7545 | 151846.5764 | 157885.2074 | 163328.345 | 166964.6984 | 170368.3709 | 173850.2756 | 177413.2461 | 181067.1694 | 184797.3388 | 188613.7263
Other_B | 26218.5091 | 29944.1205 | 36219.4951 | 34604.0523 | 42328.7358 | 62814.0528 | 88783.5646 | 116668.4546 | 146737.3901 | 177293.3606 | 209180.8532 | 243876.7146 | 273412.0202 | 299365.4678 | 325402.6856 | 352007.6569 | 374481.2416 | 395895.4224 | 417868.1157 | 442100.7964 | 453251.1867 | 462598.6697 | 475828.1073 | 490031.2837 | 504591.3874 | 519514.9902 | 534811.4633 | 550479.3246 | 566527.8821
Peak_C | 742726.3 | 783267.184 | 814426.2143 | 839770.1006 | 868929.7796 | 897065.6434 | 925353.1899 | 955017.8391 | 985251.7566 | 1012639.9736 | 1040850.0335 | 1065198.1992 | 1089026.3052 | 1112785.4394 | 1136573.9424 | 1160737.4038 | 1185392.3788 | 1210928.3804 | 1240329.6749 | 1306867.6366 | 1346697.7317 | 1380644.2286 | 1414942.7418 | 1449406.4749 | 1484633.5386 | 1520587.3408 | 1557327.8021 | 1594751.8764 | 1632920.988
Other_C | 855602.4964 | 892781.323 | 930771.9197 | 972881.0696 | 1007573.3296 | 1037426.8706 | 1071360.5279 | 1105349.0666 | 1144401.0967 | 1179956.9473 | 1216663.5635 | 1284556.3306 | 1320330.04 | 1352360.405 | 1384479.4765 | 1418840.5195 | 1452638.7171 | 1486851.1396 | 1523036.2516 | 1596988.0789 | 1639871.1461 | 1675388.5397 | 1712082.1905 | 1749001.4363 | 1786763.3384 | 1825366.2352 | 1864868.3578 | 1905202.813 | 1946428.2596
Peak_D | 1776791.8209 | 1870345.8362 | 1964238.659 | 2048808.997 | 2132951.723 | 2213316.8131 | 2292024.3927 | 2369534.0739 | 2464801.6358 | 2551782.1 | 2632957.6841 | 2728743.6489 | 2925520.1604 | 2975627.3181 | 3012839.0804 | 3053311.8127 | 3096012.5651 | 3139521.0135 | 3190282.8208 | 3269027.3493 | 3330899.9257 | 3389892.0124 | 3452940.3095 | 3516521.0526 | 3580705.409 | 3646504.3357 | 3714065.1042 | 3783204.5032 | 3854071.257
Other_D | 9748953.8804 | 7780244.9736 | 6985035.2872 | 6678703.9158 | 6559731.6265 | 6505602.8312 | 6535864.2402 | 6556434.6867 | 6670420.316 | 6793168.667 | 6937343.5412 | 7109782.6161 | 7443811.9118 | 7645588.4042 | 7862880.9079 | 8109555.9401 | 8375009.1606 | 8588132.1788 | 8842346.49 | 9164233.8362 | 9466378.4134 | 9780713.8926 | 10091205.9472 | 10394355.3505 | 10700777.4484 | 11011107.2509 | 11326124.5429 | 11644690.8048 | 11967584.0357
Total | 703977.9839 | 646299.697 | 644656.7795 | 656689.3594 | 694053.9045 | 744126.1769 | 798046.6064 | 847095.3111 | 897360.6051 | 942041.6503 | 986513.0448 | 1030012.0377 | 1085699.9973 | 1112346.9659 | 1136190.2777 | 1162786.3495 | 1190220.8448 | 1214901.9431 | 1243260.7858 | 1281365.249 | 1315292.2367 | 1348258.4125 | 1383586.0641 | 1417808.1056 | 1452632.9911 | 1488075.2187 | 1524227.1865 | 1560949.5747 | 1598335.3574
Financial Escalation Factor | 2.1%
LCOE Floor |  | Applies cap to negative levelized costs (e.g. when NEIs push costs negative or efficient option is cheaper than baseline option)
LCOE Ceiling |  | Applies cap to very high levelized costs (e.g. when a measure is an unusually small saver resulting in a near-infinite ratio)

## End Use Summary
Island | Molokai
|  | Peak_A | Peak_B | Peak_C | Peak_D | Other_A | Other_B | Other_C | Other_D
|  | Peak |  |  |  | Other
| End Use | A | B | C | D | A | B | C | D
Cooling | Cooling | 2.2203 | 0.25264 | 0.034016 | 0.69799 | 0.47765 | 0.001132 | 0.044355 | 0.10825
Ventilation | Ventilation | 0.19297 | 0.0073568 | 0.006951 | 0.031364 | 0.1843 | 0.010489 | 0.014859 | 0.039172
Water Heating | Water Heating | 0.042263 | 0.0050411 | 0.0041544 | 0.007522 | 1.6128 | 0.0014163 | 0.01928 | 0.1006
Interior Lighting | Interior Lighting | 0.082942 | 0.67376 | 0.0039491 | 0.044679 | 1.2359 | 0.15653 | 0.026363 | 0.042213
Exterior Lighting | Exterior Lighting | 0.035659 | 0.088282 | 0.0020061 | 0.018355 | 0.17604 | 0.071698 | 0.0056353 | 0.061078
Appliances | Res Appliances | 0.01077 | 0.0072599 | 0.01576 | 0.040045 | 0.34245 | 0 | 0.046027 | 0.71719
Refrigeration | Com Refrigeration | 0.030792 | 0.0001218 | 2.8623e-05 | 0.014285 | 0.33449 | 0.013122 | 0.0048496 | 0.077875
Electronics | Electronics | 0.14067 | 0.001027 | 0.0031856 | 0.00042343 | 0.16698 | 0.010919 | 0.083994 | 0.012888
Office Equipment | Electronics | 0.0048465 | 0 | 8.5065e-06 | 0.0020767 | 0.12807 | 0.0064817 | 8.1561e-05 | 0.010058
Food Preparation | Food Preparation | 0.0072874 | 0.0010573 | 4.666e-06 | 1.2395e-05 | 0.048622 | 0.001526 | 1.0631e-06 | 8.2109e-05
Miscellaneous | Miscellaneous | 0.04892 | 0.0038139 | 0.004998 | 0.001077 | 0.34186 | 0 | 0.058578 | 0.075277
| Total | 2.8175 | 1.0404 | 0.075062 | 0.85783 | 5.0492 | 0.27332 | 0.30402 | 1.2447