## Summary
Incremental Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 20.3925 | 22.5956 | 25.3741 | 32.2799 | 31.407 | 34.0534 | 36.9369 | 37.4232 | 37.1705 | 38.5445 | 36.7235 | 34.4762 | 32.2266 | 28.7386 | 28.1893 | 27.3684 | 27.5274 | 30.7509 | 27.8556 | 24.1853 | 20.2032 | 18.5786 | 16.7492 | 16.6342 | 16.4815 | 16.2911 | 16.063 | 15.7972 | 15.4937
Other_A | 51.0842 | 55.4354 | 60.6799 | 75.2172 | 68.4822 | 63.6138 | 66.6784 | 70.2191 | 72.2708 | 72.6429 | 70.9007 | 63.8657 | 60.5943 | 54.292 | 53.5367 | 43.0371 | 41.9096 | 42.6521 | 41.9589 | 43.3348 | 35.6026 | 37.1854 | 32.8614 | 32.7635 | 32.597 | 32.3619 | 32.0584 | 31.6862 | 31.2456
Peak_B | 8.8385 | 8.5915 | 9.0925 | 9.2504 | 7.7953 | 7.1549 | 7.078 | 7.121 | 6.8912 | 6.8532 | 6.8608 | 6.9941 | 7.3078 | 6.4895 | 6.3305 | 6.0512 | 5.6564 | 6.5457 | 5.4957 | 4.2687 | 3.6947 | 3.4779 | 3.0129 | 2.9927 | 2.9644 | 2.928 | 2.8836 | 2.8311 | 2.7705
Other_B | 7.5304 | 5.5423 | 5.785 | 8.1245 | 4.6749 | 3.0098 | 3.5849 | 4.0052 | 4.4267 | 4.7083 | 4.6229 | 4.6661 | 4.5466 | 4.4794 | 4.0968 | 4.0023 | 4.5127 | 4.5617 | 4.3173 | 3.7827 | 3.5415 | 3.2282 | 2.6016 | 2.5862 | 2.5666 | 2.5428 | 2.5147 | 2.4823 | 2.4457
Peak_C | 1.3735 | 1.4622 | 1.5447 | 1.9254 | 1.726 | 1.7951 | 1.8559 | 1.9129 | 1.9354 | 1.4641 | 1.2119 | 1.2142 | 1.1906 | 1.1965 | 1.2143 | 1.231 | 1.249 | 1.2662 | 1.1119 | 0.84309 | 0.79664 | 0.77537 | 0.75473 | 0.7522 | 0.74865 | 0.74408 | 0.7385 | 0.73189 | 0.72427
Other_C | 1.7081 | 1.9912 | 2.2579 | 2.7003 | 2.6719 | 2.956 | 3.1682 | 3.3769 | 3.3096 | 3.2967 | 3.1209 | 3.0044 | 2.0857 | 2.104 | 2.035 | 1.8398 | 1.7454 | 1.7702 | 1.5792 | 1.1931 | 0.94211 | 0.78077 | 0.74301 | 0.73684 | 0.72875 | 0.71873 | 0.70678 | 0.69291 | 0.67712
Peak_D | 7.6513 | 8.8032 | 9.9135 | 11.2205 | 12.053 | 13.0154 | 13.917 | 14.7328 | 14.5813 | 14.0872 | 13.8569 | 13.0332 | 6.7557 | 6.46 | 6.4654 | 6.4784 | 6.5003 | 6.526 | 6.0631 | 4.093 | 3.6633 | 3.5787 | 3.4962 | 3.4842 | 3.4668 | 3.444 | 3.4159 | 3.3825 | 3.3437
Other_D | 7.3495 | 8.1585 | 9.5421 | 10.7296 | 11.3448 | 12.189 | 12.5122 | 13.2929 | 13.3445 | 13.1774 | 13.0933 | 12.5946 | 10.6096 | 10.2162 | 9.7904 | 9.415 | 8.9437 | 9.5916 | 8.6756 | 7.3987 | 6.7969 | 6.3536 | 5.7216 | 5.688 | 5.6427 | 5.5859 | 5.5175 | 5.4376 | 5.346
Total | 105.9281 | 112.5799 | 124.1896 | 151.4477 | 140.155 | 137.7874 | 145.7315 | 152.084 | 153.93 | 154.7742 | 150.3909 | 139.8485 | 125.3168 | 113.9762 | 111.6584 | 99.4232 | 98.0445 | 103.6646 | 97.0574 | 89.0994 | 75.241 | 73.9584 | 65.9407 | 65.6377 | 65.1964 | 64.6166 | 63.8983 | 63.0417 | 62.0466
Cumulative Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 20.3925 | 42.988 | 68.3621 | 100.642 | 132.049 | 166.1024 | 203.0393 | 240.4625 | 277.633 | 316.1774 | 352.901 | 387.3772 | 419.6038 | 448.3424 | 476.5317 | 503.9001 | 531.4276 | 562.1785 | 590.0341 | 614.2194 | 634.4227 | 653.0012 | 669.7504 | 686.3846 | 702.8661 | 719.1572 | 735.2202 | 751.0174 | 766.5111
Other_A | 51.0842 | 106.5196 | 167.1994 | 242.4167 | 310.8989 | 374.5126 | 441.191 | 511.4101 | 583.681 | 656.3238 | 727.2245 | 791.0902 | 851.6845 | 905.9765 | 959.5132 | 1002.5502 | 1044.4598 | 1087.1119 | 1129.0708 | 1172.4056 | 1208.0082 | 1245.1935 | 1278.055 | 1310.8184 | 1343.4154 | 1375.7773 | 1407.8357 | 1439.5219 | 1470.7675
Peak_B | 8.8385 | 17.43 | 26.5225 | 35.7729 | 43.5682 | 50.7231 | 57.8011 | 64.922 | 71.8132 | 78.6664 | 85.5272 | 92.5213 | 99.8291 | 106.3186 | 112.6491 | 118.7003 | 124.3567 | 130.9024 | 136.3981 | 140.6667 | 144.3614 | 147.8393 | 150.8523 | 153.845 | 156.8094 | 159.7374 | 162.621 | 165.4521 | 168.2225
Other_B | 7.5304 | 13.0728 | 18.8577 | 26.9822 | 31.6571 | 34.6669 | 38.2518 | 42.257 | 46.6838 | 51.392 | 56.0149 | 60.681 | 65.2276 | 69.707 | 73.8038 | 77.8061 | 82.3188 | 86.8806 | 91.1978 | 94.9806 | 98.5221 | 101.7503 | 104.3518 | 106.938 | 109.5046 | 112.0474 | 114.5621 | 117.0444 | 119.4901
Peak_C | 1.3735 | 2.8358 | 4.3804 | 6.3058 | 8.0319 | 9.827 | 11.6829 | 13.5958 | 15.5312 | 16.9952 | 18.2071 | 19.4213 | 20.6119 | 21.8084 | 23.0227 | 24.2537 | 25.5027 | 26.769 | 27.8809 | 28.724 | 29.5206 | 30.296 | 31.0507 | 31.8029 | 32.5516 | 33.2957 | 34.0342 | 34.7661 | 35.4903
Other_C | 1.7081 | 3.6993 | 5.9572 | 8.6575 | 11.3294 | 14.2854 | 17.4536 | 20.8305 | 24.1401 | 27.4367 | 30.5576 | 33.562 | 35.6477 | 37.7517 | 39.7867 | 41.6265 | 43.3719 | 45.1421 | 46.7214 | 47.9145 | 48.8566 | 49.6374 | 50.3804 | 51.1173 | 51.846 | 52.5647 | 53.2715 | 53.9644 | 54.6415
Peak_D | 7.6513 | 16.4545 | 26.3681 | 37.5885 | 49.6415 | 62.6569 | 76.5739 | 91.3067 | 105.888 | 119.9753 | 133.8322 | 146.8654 | 153.6211 | 160.0811 | 166.5465 | 173.0249 | 179.5253 | 186.0513 | 192.1144 | 196.2075 | 199.8707 | 203.4494 | 206.9456 | 210.4298 | 213.8966 | 217.3406 | 220.7565 | 224.139 | 227.4827
Other_D | 7.3495 | 15.508 | 25.0501 | 35.7796 | 47.1244 | 59.3135 | 71.8257 | 85.1186 | 98.463 | 111.6404 | 124.7337 | 137.3283 | 147.9379 | 158.1541 | 167.9446 | 177.3595 | 186.3032 | 195.8948 | 204.5704 | 211.9691 | 218.766 | 225.1196 | 230.8412 | 236.5292 | 242.1719 | 247.7579 | 253.2754 | 258.713 | 264.059
Total | 105.9281 | 218.508 | 342.6976 | 494.1453 | 634.3003 | 772.0877 | 917.8192 | 1069.9032 | 1223.8332 | 1378.6074 | 1528.9983 | 1668.8468 | 1794.1637 | 1908.1398 | 2019.7982 | 2119.2214 | 2217.2659 | 2320.9305 | 2417.988 | 2507.0874 | 2582.3284 | 2656.2868 | 2722.2275 | 2787.8652 | 2853.0616 | 2917.6781 | 2981.5765 | 3044.6182 | 3106.6648
Incremental Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 5.9226 | 6.5624 | 7.3548 | 9.3751 | 9.1215 | 9.8901 | 10.7064 | 10.8688 | 10.7954 | 11.1945 | 10.6445 | 10.0129 | 9.3596 | 8.3465 | 8.1708 | 7.9486 | 7.9948 | 8.931 | 8.0741 | 7.0242 | 5.8676 | 5.3958 | 4.8548 | 4.8311 | 4.7867 | 4.7314 | 4.6559 | 4.588 | 4.4998
Other_A | 7.9564 | 8.6341 | 9.4255 | 11.7151 | 10.6661 | 9.9079 | 10.3572 | 10.9366 | 11.2562 | 11.3141 | 11.0131 | 9.9471 | 9.4376 | 8.456 | 8.3159 | 6.703 | 6.5274 | 6.6431 | 6.5175 | 6.7494 | 5.5451 | 5.7916 | 5.1044 | 5.1029 | 5.077 | 5.0404 | 4.9797 | 4.9351 | 4.8665
Peak_B | 2.7682 | 2.6908 | 2.8416 | 2.8972 | 2.4414 | 2.2409 | 2.212 | 2.2302 | 2.1583 | 2.1464 | 2.1441 | 2.1905 | 2.2888 | 2.0325 | 1.9784 | 1.8952 | 1.7715 | 2.0501 | 1.7175 | 1.3369 | 1.1572 | 1.0893 | 0.94159 | 0.9373 | 0.92844 | 0.91705 | 0.90117 | 0.88668 | 0.8677
Other_B | 1.4247 | 1.0485 | 1.0915 | 1.5371 | 0.88444 | 0.56942 | 0.67639 | 0.75775 | 0.83749 | 0.89075 | 0.87223 | 0.88278 | 0.86017 | 0.84745 | 0.77297 | 0.7572 | 0.85376 | 0.86303 | 0.81458 | 0.71565 | 0.67002 | 0.61074 | 0.49085 | 0.48928 | 0.48558 | 0.48106 | 0.47446 | 0.46963 | 0.4627
Peak_C | 0.37312 | 0.39722 | 0.41859 | 0.52304 | 0.46888 | 0.48765 | 0.50293 | 0.51964 | 0.52575 | 0.39772 | 0.32841 | 0.32983 | 0.32344 | 0.32504 | 0.32906 | 0.3344 | 0.33931 | 0.34398 | 0.30133 | 0.22903 | 0.21641 | 0.21063 | 0.20452 | 0.20434 | 0.20337 | 0.20213 | 0.20013 | 0.19882 | 0.19675
Other_C | 0.28967 | 0.33768 | 0.38195 | 0.45794 | 0.45311 | 0.5013 | 0.53593 | 0.57268 | 0.56125 | 0.55907 | 0.52794 | 0.5095 | 0.3537 | 0.35682 | 0.34424 | 0.312 | 0.29599 | 0.30021 | 0.26715 | 0.20234 | 0.15977 | 0.13241 | 0.12569 | 0.12496 | 0.12358 | 0.12189 | 0.11956 | 0.11751 | 0.11483
Peak_D | 2.3345 | 2.6859 | 3.019 | 3.4235 | 3.6775 | 3.9711 | 4.2382 | 4.4951 | 4.4489 | 4.2981 | 4.2199 | 3.9765 | 2.0612 | 1.971 | 1.9689 | 1.9766 | 1.9833 | 1.9911 | 1.8464 | 1.2488 | 1.1177 | 1.0919 | 1.0647 | 1.063 | 1.0577 | 1.0508 | 1.0403 | 1.032 | 1.0202
Other_D | 1.4294 | 1.5868 | 1.8513 | 2.0868 | 2.2065 | 2.3707 | 2.4275 | 2.5854 | 2.5954 | 2.5629 | 2.5403 | 2.4495 | 2.0635 | 1.987 | 1.8995 | 1.8311 | 1.7395 | 1.8655 | 1.6832 | 1.439 | 1.3219 | 1.2357 | 1.1101 | 1.1063 | 1.0975 | 1.0864 | 1.0705 | 1.0576 | 1.0398
Total | 17.9602 | 19.1716 | 19.7159 | 25.3044 | 26.1521 | 23.441 | 25.5038 | 23.5773 | 28.924 | 26.3471 | 28.308 | 24.3296 | 21.4824 | 17.4578 | 19.9283 | 19.0532 | 16.8022 | 18.4431 | 17.0853 | 16.4861 | 12.6736 | 13.541 | 10.9101 | 11.2221 | 10.0715 | 12.2577 | 11.823 | 11.2574 | 11.6177
Cumulative Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 5.9226 | 12.485 | 19.8399 | 29.2149 | 38.3364 | 48.2266 | 58.933 | 69.8018 | 80.5972 | 91.7917 | 102.4362 | 112.4492 | 121.8087 | 130.1553 | 138.3261 | 146.2747 | 154.2695 | 163.2006 | 171.2746 | 178.2988 | 184.1664 | 189.5622 | 194.4171 | 199.2481 | 204.0349 | 208.7663 | 213.4222 | 218.0102 | 222.5101
Other_A | 7.9564 | 16.5904 | 26.0159 | 37.731 | 48.3971 | 58.3049 | 68.6621 | 79.5988 | 90.855 | 102.1691 | 113.1822 | 123.1293 | 132.5668 | 141.0228 | 149.3387 | 156.0417 | 162.5692 | 169.2122 | 175.7297 | 182.4791 | 188.0242 | 193.8159 | 198.9203 | 204.0232 | 209.1002 | 214.1405 | 219.1202 | 224.0553 | 228.9218
Peak_B | 2.7682 | 5.459 | 8.3006 | 11.1977 | 13.6392 | 15.8801 | 18.0921 | 20.3223 | 22.4806 | 24.627 | 26.7711 | 28.9616 | 31.2504 | 33.2829 | 35.2613 | 37.1565 | 38.928 | 40.9781 | 42.6956 | 44.0325 | 45.1897 | 46.279 | 47.2205 | 48.1578 | 49.0863 | 50.0033 | 50.9045 | 51.7912 | 52.6589
Other_B | 1.4247 | 2.4732 | 3.5647 | 5.1018 | 5.9862 | 6.5556 | 7.232 | 7.9898 | 8.8273 | 9.718 | 10.5903 | 11.473 | 12.3332 | 13.1807 | 13.9536 | 14.7108 | 15.5646 | 16.4276 | 17.2422 | 17.9578 | 18.6279 | 19.2386 | 19.7294 | 20.2187 | 20.7043 | 21.1854 | 21.6598 | 22.1295 | 22.5922
Peak_C | 0.37312 | 0.77034 | 1.1889 | 1.712 | 2.1809 | 2.6685 | 3.1714 | 3.6911 | 4.2168 | 4.6145 | 4.943 | 5.2728 | 5.5962 | 5.9213 | 6.2503 | 6.5847 | 6.924 | 7.268 | 7.5693 | 7.7984 | 8.0148 | 8.2254 | 8.4299 | 8.6343 | 8.8376 | 9.0398 | 9.2399 | 9.4387 | 9.6355
Other_C | 0.28967 | 0.62735 | 1.0093 | 1.4672 | 1.9203 | 2.4216 | 2.9576 | 3.5303 | 4.0915 | 4.6506 | 5.1785 | 5.688 | 6.0417 | 6.3985 | 6.7428 | 7.0548 | 7.3508 | 7.651 | 7.9181 | 8.1205 | 8.2802 | 8.4126 | 8.5383 | 8.6633 | 8.7869 | 8.9088 | 9.0283 | 9.1458 | 9.2606
Peak_D | 2.3345 | 5.0204 | 8.0394 | 11.4628 | 15.1403 | 19.1114 | 23.3496 | 27.8447 | 32.2935 | 36.5917 | 40.8116 | 44.7881 | 46.8493 | 48.8203 | 50.7892 | 52.7658 | 54.7491 | 56.7403 | 58.5867 | 59.8355 | 60.9532 | 62.0451 | 63.1098 | 64.1729 | 65.2306 | 66.2814 | 67.3216 | 68.3537 | 69.3739
Other_D | 1.4294 | 3.0162 | 4.8675 | 6.9543 | 9.1608 | 11.5314 | 13.959 | 16.5443 | 19.1397 | 21.7026 | 24.2429 | 26.6924 | 28.7559 | 30.7429 | 32.6423 | 34.4735 | 36.2129 | 38.0784 | 39.7616 | 41.2006 | 42.5225 | 43.7583 | 44.8683 | 45.9746 | 47.0721 | 48.1585 | 49.229 | 50.2865 | 51.3263
Total | 22.4985 | 46.442 | 72.8261 | 104.8417 | 134.7612 | 164.7002 | 196.3567 | 229.323 | 262.5017 | 295.8652 | 328.1557 | 358.4544 | 385.2023 | 409.5246 | 433.3044 | 455.0626 | 476.5682 | 499.5562 | 520.778 | 539.7232 | 555.779 | 571.337 | 585.2337 | 599.0929 | 612.8528 | 626.4839 | 639.9256 | 653.2109 | 666.2792
Savings-Weighted LCOE ($/MWh) Real Dollars (2019)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 69.9912 | 70.1413 | 70.3217 | 73.5515 | 69.3148 | 69.2681 | 67.9031 | 70.3996 | 70.2401 | 68.9639 | 72.4873 | 76.9341 | 81.9642 | 80.2829 | 80.0887 | 80.396 | 79.7231 | 82.9102 | 82.3273 | 86.1004 | 90.1055 | 88.6545 | 89.6716 | 89.6738 | 89.6665 | 89.6665 | 89.6665 | 89.6665 | 89.6665
Other_A | 25.651 | 20.6944 | 16.8664 | 17.5749 | 16.5919 | 43.3548 | 45.1569 | 45.1015 | 42.0954 | 42.937 | 43.0311 | 42.276 | 43.8348 | 48.5758 | 48.3588 | 68.0922 | 68.0502 | 66.5993 | 68.5933 | 66.9376 | 72.1006 | 72.647 | 73.8093 | 73.7028 | 73.8962 | 73.8962 | 73.8962 | 73.8962 | 73.8962
Peak_B | 71.7924 | 83.9147 | 87.9152 | 59.1407 | 70.2089 | 94.3516 | 107.0412 | 115.5403 | 114.2467 | 126.4001 | 133.0106 | 137.2061 | 135.6729 | 126.7515 | 124.0223 | 123.9895 | 128.2163 | 138.7301 | 158.3454 | 157.4167 | 155.8861 | 132.875 | 130.9158 | 130.9092 | 130.919 | 130.919 | 130.919 | 130.919 | 130.919
Other_B | 27.1999 | 48.2577 | 62.6385 | 45.0013 | 101.6705 | 185.6383 | 170.1795 | 173.6926 | 172.9695 | 179.578 | 185.2797 | 186.0491 | 186.0367 | 186.5604 | 187.1106 | 187.2315 | 157.0287 | 159.4222 | 154.1787 | 155.6766 | 147.6574 | 150.945 | 180.4025 | 180.271 | 180.5081 | 180.5081 | 180.5081 | 180.5081 | 180.5081
Peak_C | 199.5147 | 200.2433 | 200.9043 | 209.3414 | 202.9729 | 203.6983 | 204.3487 | 205.0304 | 206.1034 | 223.7692 | 239.084 | 236.6934 | 238.6933 | 240.6157 | 241.3763 | 242.0164 | 242.5359 | 242.5267 | 238.1842 | 247.3148 | 249.2318 | 249.1503 | 249.0676 | 249.1336 | 248.9705 | 248.9705 | 248.9705 | 248.9705 | 248.9705
Other_C | 185.583 | 183.5584 | 182.5343 | 185.9923 | 180.5802 | 179.4393 | 177.3264 | 175.429 | 173.3224 | 174.7819 | 174.6986 | 175.8775 | 186.7603 | 188.3891 | 189.5318 | 191.7607 | 192.8305 | 187.0596 | 189.161 | 180.6416 | 183.5096 | 194.0392 | 193.1169 | 193.0155 | 193.1831 | 193.1831 | 193.1831 | 193.1831 | 193.1831
Peak_D | 782.0409 | 799.1298 | 810.8922 | 818.0648 | 829.9395 | 835.556 | 839.6543 | 844.1108 | 844.3435 | 862.6873 | 869.7558 | 853.4929 | 751.1484 | 718.2218 | 723.5465 | 727.9499 | 731.203 | 729.2309 | 730.0677 | 790.2461 | 815.6719 | 823.5522 | 825.4845 | 826.1198 | 825.7895 | 825.7895 | 825.7895 | 825.7895 | 825.7895
Other_D | 1723.3433 | 1678.3699 | 1534.1248 | 1482.8336 | 1468.57 | 1427.4512 | 1428.904 | 1395.9029 | 1401.3883 | 1425.6487 | 1435.3939 | 1372.1789 | 1422.065 | 1458.2578 | 1518.6188 | 1579.7855 | 1652.6616 | 1558.8956 | 1624.2906 | 1689.1709 | 1752.7963 | 1807.693 | 1325.8744 | 1326.3025 | 1325.1262 | 1325.1262 | 1325.1262 | 1325.1262 | 1325.1262
Total | 215.4051 | 223.0118 | 220.3854 | 202.0722 | 227.1236 | 257.7956 | 256.5821 | 258.3857 | 254.6031 | 254.1254 | 260.4091 | 260.2941 | 223.1988 | 235.3524 | 238.4332 | 270.2666 | 271.854 | 264.073 | 265.7096 | 251.4055 | 275.9054 | 271.4374 | 236.4987 | 236.3935 | 236.2915 | 236.2351 | 236.2097 | 236.2161 | 236.2559
Savings-Weighted LCOE ($/MWh) Nominal Dollars
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 69.9912 | 71.6143 | 73.3062 | 78.2832 | 75.3233 | 76.8532 | 76.9209 | 81.4236 | 82.9452 | 83.1483 | 89.2318 | 96.6945 | 105.1799 | 105.186 | 107.1351 | 109.8046 | 111.1722 | 118.0445 | 119.6761 | 127.7892 | 136.542 | 137.1644 | 141.6516 | 144.6298 | 147.655 | 150.7557 | 153.9216 | 157.1539 | 160.4542
Other_A | 25.651 | 21.1289 | 17.5822 | 18.7055 | 18.0301 | 48.1023 | 51.1539 | 52.1641 | 49.7096 | 51.7682 | 52.9712 | 53.1346 | 56.2508 | 63.6436 | 64.6898 | 93.0001 | 94.8945 | 94.8216 | 99.7115 | 99.348 | 109.2582 | 112.3979 | 116.5943 | 118.8711 | 121.6859 | 124.2413 | 126.8503 | 129.5142 | 132.234
Peak_B | 71.7924 | 85.6769 | 91.6464 | 62.9454 | 76.2948 | 104.6835 | 121.2567 | 133.633 | 134.9117 | 152.398 | 163.7358 | 172.4474 | 174.1013 | 166.0687 | 165.9052 | 169.3444 | 178.795 | 197.5187 | 230.1806 | 233.6361 | 236.223 | 205.5814 | 206.8037 | 211.1361 | 215.586 | 220.1133 | 224.7357 | 229.4551 | 234.2737
Other_B | 27.1999 | 49.2711 | 65.297 | 47.8963 | 110.4837 | 205.9664 | 192.7799 | 200.8914 | 204.2563 | 216.5134 | 228.079 | 233.8356 | 238.7303 | 244.4298 | 250.2988 | 255.7202 | 218.9731 | 226.9793 | 224.1236 | 231.0535 | 223.7537 | 233.539 | 284.9764 | 290.7488 | 297.2449 | 303.4871 | 309.8603 | 316.3674 | 323.0111
Peak_C | 199.5147 | 204.4484 | 209.4309 | 222.8088 | 220.5672 | 226.004 | 231.4868 | 237.1365 | 243.3835 | 269.7938 | 294.3119 | 297.488 | 306.3015 | 315.2526 | 322.8903 | 330.5453 | 338.2111 | 345.3005 | 346.2392 | 367.0618 | 377.675 | 385.4801 | 393.4445 | 401.8134 | 409.9828 | 418.5924 | 427.3829 | 436.3579 | 445.5214
Other_C | 185.583 | 187.4131 | 190.2813 | 197.9576 | 196.2335 | 199.0886 | 200.8759 | 202.8998 | 204.6731 | 210.7308 | 215.0537 | 221.0515 | 239.6588 | 246.8257 | 253.5376 | 261.9062 | 268.898 | 266.3284 | 274.9761 | 268.1062 | 278.0825 | 300.2133 | 305.061 | 311.3037 | 318.117 | 324.7974 | 331.6182 | 338.5822 | 345.6924
Peak_D | 782.0409 | 815.9115 | 845.3073 | 870.6928 | 901.8813 | 927.0524 | 951.1631 | 976.2918 | 997.0688 | 1040.1239 | 1070.6679 | 1072.7119 | 963.906 | 941.0078 | 967.8919 | 994.2318 | 1019.647 | 1038.2517 | 1061.2714 | 1172.8743 | 1236.0337 | 1274.1828 | 1303.993 | 1332.4014 | 1359.8379 | 1388.3945 | 1417.5508 | 1447.3194 | 1477.7131
Other_D | 1723.3433 | 1713.6156 | 1599.2346 | 1578.2277 | 1595.8704 | 1583.7622 | 1618.667 | 1614.4902 | 1654.8721 | 1718.8747 | 1766.9673 | 1724.6219 | 1824.855 | 1910.5964 | 2031.4641 | 2157.6662 | 2304.6013 | 2219.4974 | 2361.1691 | 2507.0482 | 2656.1114 | 2796.8248 | 2094.4439 | 2139.1176 | 2182.102 | 2227.9262 | 2274.7126 | 2322.4816 | 2371.2537
Total | 215.4051 | 227.695 | 229.7388 | 215.072 | 246.8114 | 286.0251 | 290.657 | 298.8469 | 300.6558 | 306.3937 | 320.5631 | 327.1504 | 286.4182 | 308.3566 | 318.9533 | 369.1292 | 379.0946 | 375.9772 | 386.2519 | 373.1332 | 418.095 | 419.9622 | 373.5899 | 381.2656 | 389.1043 | 397.1806 | 405.4777 | 414.0041 | 422.7692
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 240991.3334 | 241508.0979 | 242609.5391 | 253250.0336 | 238662.4464 | 238501.4737 | 234265.6271 | 242397.4159 | 241848.3997 | 237454.1351 | 250081.0392 | 264896.7616 | 282216.1988 | 276427.4333 | 276305.87 | 276816.7097 | 274499.8839 | 285473.7222 | 284029.0985 | 296457.9371 | 310248.1835 | 305252.0902 | 309366.8234 | 308761.8876 | 308736.6533 | 308736.6533 | 309349.1457 | 308736.6533 | 308736.6533
Other_A | 164693.5586 | 132869.0288 | 108583.8625 | 112840.2421 | 106528.8023 | 278360.9766 | 290714.5939 | 289576.1332 | 270275.2625 | 275678.7864 | 277028.7328 | 271434.989 | 281443.4181 | 311882.9884 | 311327.9369 | 437188.6556 | 436918.8168 | 427603.2954 | 441595.1497 | 429775.2947 | 462924.9729 | 466432.9047 | 475174.6309 | 473212.072 | 474453.7796 | 474453.7796 | 475734.5322 | 474453.7796 | 474453.7796
Peak_B | 229225.8004 | 267930.9725 | 281312.6142 | 188830.2903 | 224169.6537 | 301255.07 | 342512.6059 | 368908.349 | 364777.8134 | 403582.5843 | 425609.9046 | 438084.9582 | 433189.6776 | 404704.4685 | 396848.802 | 395885.5395 | 409381.5448 | 442950.7761 | 506676.5438 | 502615.2704 | 497728.1995 | 424256.2222 | 418906.7757 | 417979.7196 | 418010.8942 | 418010.8942 | 418917.1629 | 418010.8942 | 418010.8942
Other_B | 143771.0267 | 255076.2421 | 331987.5142 | 237863.5601 | 537400.9994 | 981230.2245 | 901959.9738 | 918088.5267 | 914266.4181 | 949197.2389 | 981991.9403 | 983401.5344 | 983335.9846 | 986104.4241 | 991695.5402 | 989651.2348 | 830007.9143 | 842659.2593 | 817154.8914 | 822861.5444 | 780474.3943 | 797851.5329 | 956142.5474 | 952860.0918 | 954113.3769 | 954113.3769 | 956702.0773 | 954113.3769 | 954113.3769
Peak_C | 734448.1535 | 737130.2551 | 741370.0951 | 770621.8357 | 747178.1242 | 749848.7095 | 754080.4836 | 754752.1594 | 758702.2984 | 823732.948 | 882259.4491 | 871309.3896 | 878671.2207 | 885747.9369 | 890718.5467 | 890904.2294 | 892816.4574 | 892782.6808 | 878939.1301 | 910408.4529 | 917465.2116 | 917165.0392 | 919100.5278 | 917103.8373 | 916503.168 | 916503.168 | 918742.2146 | 916503.168 | 916503.168
Other_C | 1094335.1103 | 1082396.5153 | 1079043.7592 | 1096748.346 | 1064834.8048 | 1058107.3926 | 1048257.5226 | 1034459.378 | 1022037.4712 | 1030643.4287 | 1032723.2697 | 1037104.2849 | 1101277.0562 | 1110881.5748 | 1120408.7801 | 1130763.3204 | 1137071.6827 | 1103041.927 | 1118216.8953 | 1065196.9243 | 1082108.745 | 1144198.8495 | 1141602.2236 | 1138162.6467 | 1139150.572 | 1139150.572 | 1141993.2761 | 1139150.572 | 1139150.572
Peak_D | 2563161.1723 | 2619170.2276 | 2662751.7824 | 2681230.4804 | 2720150.0436 | 2738558.3984 | 2757198.6499 | 2766596.7856 | 2767359.5828 | 2827481.7747 | 2856043.9661 | 2797347.0234 | 2461910.052 | 2353992.1535 | 2375932.0068 | 2385876.3716 | 2396538.3708 | 2390074.639 | 2397345.6666 | 2590053.8816 | 2673387.4231 | 2699215.6185 | 2710668.8696 | 2707630.7073 | 2706548.1931 | 2706548.1931 | 2711670.267 | 2706548.1931 | 2706548.1931
Other_D | 8860765.6104 | 8629529.7594 | 7907273.3562 | 7624157.8477 | 7550819.9591 | 7339402.732 | 7364938.0865 | 7177193.6281 | 7205397.4795 | 7330135.2627 | 7398388.7643 | 7055213.9308 | 7311709.1718 | 7497798.6318 | 7827351.099 | 8122647.038 | 8497347.6936 | 8015238.9373 | 8372010.9032 | 8685064.3877 | 9012201.6245 | 9294459.2205 | 6833897.3845 | 6819335.4596 | 6813287.2214 | 6813287.2214 | 6830040.7496 | 6813287.2214 | 6813287.2214
Total | 1270444.7219 | 1309574.4771 | 1388198.3846 | 1209408.9511 | 1217204.1378 | 1515336.2968 | 1466139.1696 | 1666701.4918 | 1354967.4541 | 1492844.6891 | 1383467.5394 | 1496190.5086 | 1302022.8652 | 1536541.4196 | 1335944.6274 | 1410305.796 | 1586328.3237 | 1484297.3362 | 1509433.3817 | 1358729.6986 | 1638007.3456 | 1482542.5427 | 1429396.1311 | 1382656.0329 | 1529596.8203 | 1245315.2443 | 1276614.8934 | 1322811.1753 | 1261768.4742
Savings-Weighted LCOE ($/MW) Nominal Dollars - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 240991.3334 | 246579.768 | 252906.1305 | 269542.1808 | 259350.4801 | 264618.2405 | 265376.8431 | 280354.9189 | 285594.0497 | 286293.4524 | 307849.3113 | 332935.2752 | 362151.9626 | 362172.7647 | 369615.7769 | 378075.4115 | 382784.231 | 406446.8417 | 412882.2311 | 439999.4988 | 470136.6292 | 472279.6474 | 488697.4399 | 497984.4197 | 508400.5388 | 519076.9501 | 531028.9711 | 541107.095 | 552470.344
Other_A | 164693.5586 | 135659.2784 | 113192.2702 | 120099.51 | 115763.0638 | 308842.5019 | 329322.4112 | 334921.4472 | 319162.7766 | 332380.1099 | 341021.8737 | 341152.8408 | 361160.2971 | 408626.3177 | 416464.9751 | 597110.9224 | 609273.9673 | 608805.6286 | 641929.97 | 637867.6049 | 701496.4079 | 721655.2313 | 750619.0324 | 763216.7328 | 781289.0198 | 797696.0892 | 816646.2479 | 831551.1089 | 849013.6822
Peak_B | 229225.8004 | 273557.523 | 293251.8028 | 200978.1698 | 243601.4052 | 334243.5806 | 387999.363 | 426676.4556 | 430758.9924 | 486591.0266 | 523925.03 | 550606.7164 | 555887.6229 | 530240.1954 | 530866.6742 | 540699.2534 | 570873.8291 | 630656.7994 | 736536.3021 | 745975.8685 | 754235.7067 | 656400.3505 | 661734.3986 | 674135.6251 | 688343.8088 | 702799.0288 | 719113.51 | 732626.5224 | 748011.6794
Other_B | 143771.0267 | 260432.8432 | 346077.3963 | 253165.8607 | 583984.6584 | 1088678.4532 | 1021743.1101 | 1061853.8712 | 1079639.3491 | 1144427.1308 | 1208830.3192 | 1235987.4031 | 1261859.0222 | 1291985.2465 | 1326596.2013 | 1351662.6156 | 1157428.3263 | 1199746.8346 | 1187866.7944 | 1221281.7466 | 1182697.0161 | 1234419.1986 | 1510389.5432 | 1536813.6382 | 1571150.525 | 1604144.686 | 1642275.4895 | 1672226.1906 | 1707342.9406
Peak_C | 734448.1535 | 752609.9905 | 772834.5834 | 820197.6808 | 811945.9437 | 831959.8326 | 854224.7561 | 872940.3308 | 895936.7198 | 993157.4762 | 1086059.8012 | 1095104.4838 | 1127548.6963 | 1160499.0695 | 1191518.7601 | 1216794.259 | 1245013.4995 | 1271110.6932 | 1277680.1779 | 1351217.8726 | 1390286.9537 | 1419018.5592 | 1451875.382 | 1479144.4169 | 1509217.32 | 1540910.8838 | 1577113.5613 | 1606308.6826 | 1640041.1649
Other_C | 1094335.1103 | 1105126.8421 | 1124839.4554 | 1167304.6468 | 1157138.1342 | 1173973.9469 | 1187469.436 | 1196447.4701 | 1206904.08 | 1242625.0874 | 1271280.4948 | 1303483.6605 | 1413206.0772 | 1455467.1596 | 1498776.5613 | 1544393.0684 | 1585622.1995 | 1570469.9684 | 1625509.1083 | 1580953.1616 | 1639780.6169 | 1770280.5205 | 1803354.5998 | 1835677.5492 | 1875853.6067 | 1915246.5324 | 1960346.4976 | 1996531.5105 | 2038458.6723
Peak_D | 2563161.1723 | 2674172.8024 | 2775761.6308 | 2853720.0995 | 2955941.4586 | 3038440.3648 | 3123363.3483 | 3199823.7875 | 3267920.8593 | 3409035.2587 | 3515785.0055 | 3515843.2869 | 3159228.8492 | 3084179.5843 | 3178296.4095 | 3258622.6171 | 3341921.6224 | 3402899.1561 | 3484929.6529 | 3844128.517 | 4051135.2469 | 4176169.9307 | 4281961.8545 | 4366982.975 | 4456907.0276 | 4550502.0752 | 4654855.1747 | 4743629.9338 | 4843246.1624
Other_D | 8860765.6104 | 8810749.8844 | 8242865.9447 | 8114637.1603 | 8205349.4863 | 8143093.6539 | 8343025.1509 | 8301084.9351 | 8508713.0958 | 8837789.7903 | 9107403.3141 | 8867339.7788 | 9382699.6375 | 9823549.0855 | 10470687.6389 | 11093886.3654 | 11849370.0482 | 11411798.3476 | 12170071.8667 | 12890273.7975 | 13656699.1146 | 14380192.8429 | 10795301.5754 | 10998516.8113 | 11219525.9541 | 11455135.9992 | 11724452.974 | 11941303.4261 | 12192070.7981
Total | 1270444.7219 | 1337075.5411 | 1447114.9123 | 1287212.9634 | 1322715.3343 | 1681271.056 | 1660847.0869 | 1927693.6588 | 1600054.5915 | 1799891.4179 | 1703046.0624 | 1880485.8001 | 1670811.732 | 2013162.9026 | 1787099.9678 | 1926191.3226 | 2212100.9995 | 2113287.2047 | 2194205.5434 | 2016611.1671 | 2482165.2243 | 2293758.8037 | 2257973.9552 | 2230006.9724 | 2518806.3657 | 2093740.5135 | 2191438.0649 | 2318424.1477 | 2257877.8889
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | Total $/MW (Cumulative)
Peak_A | 240991.3334 | 241262.9574 | 241762.1477 | 245448.607 | 243833.9495 | 242740.3841 | 241200.772 | 241387.1012 | 241448.889 | 240961.7078 | 241909.3297 | 243956.2278 | 246896.0619 | 248789.8386 | 250415.1916 | 251849.8588 | 253023.6646 | 254799.466 | 256177.386 | 257764.2539 | 259436.4187 | 260740.5356 | 261954.7953 | 263089.7046 | 264160.5978 | 265170.8593 | 266134.6379 | 267031.1897 | 267874.6025 | 267874.6025
Other_A | 164693.5586 | 148131.2915 | 133803.4111 | 127294.5562 | 122718.0464 | 149166.6947 | 170518.2088 | 186876.4189 | 197208.8541 | 205898.5594 | 212819.8029 | 217555.0722 | 222103.3502 | 227486.6992 | 232155.3821 | 240962.9198 | 248830.8727 | 255849.267 | 262738.2533 | 268916.4934 | 274638.0793 | 280369.3131 | 285368.1122 | 290066.3593 | 294543.3114 | 298777.989 | 302799.4434 | 306580.3743 | 310149.0905 | 310149.0905
Peak_B | 229225.8004 | 248304.0897 | 259604.033 | 241292.8744 | 238227.7826 | 247121.731 | 258784.5823 | 270869.9917 | 279885.7924 | 290666.689 | 301474.3463 | 311806.9244 | 320697.0077 | 325827.0856 | 329811.8539 | 333182.0371 | 336649.7404 | 341967.8156 | 348593.4988 | 353269.9622 | 356969.0702 | 358552.7992 | 359756.2757 | 360889.4825 | 361969.8987 | 362997.673 | 363987.6257 | 364912.516 | 365787.4568 | 365787.4568
Other_B | 143771.0267 | 190959.9085 | 234141.6175 | 235262.9637 | 279902.5449 | 340819.7919 | 393301.4533 | 443072.1203 | 487776.8929 | 530070.6974 | 567291.7547 | 599308.8875 | 626092.4541 | 649239.4265 | 668209.9384 | 684755.2137 | 692722.7094 | 700599.6845 | 706106.1241 | 710759.0122 | 713266.5743 | 715951.7651 | 721927.5397 | 727515.9874 | 732830.3438 | 737855.0931 | 742648.9534 | 747136.616 | 751375.6481 | 751375.6481
Peak_C | 734448.1535 | 735831.1578 | 737781.2581 | 747814.728 | 747677.8578 | 748074.5671 | 749026.9924 | 749832.9941 | 750938.8178 | 757212.8103 | 765520.9619 | 772138.3278 | 778295.4351 | 784193.868 | 789802.0674 | 794936.4232 | 799732.9616 | 804136.8063 | 807114.603 | 810148.202 | 813045.9076 | 815712.1438 | 818220.5185 | 820560.6633 | 822768.495 | 824864.4249 | 826897.7102 | 828785.1969 | 830576.3521 | 830576.3521
Other_C | 1094335.1103 | 1087908.9349 | 1084554.1012 | 1088360.0155 | 1082809.212 | 1077695.753 | 1072361.3291 | 1066212.8608 | 1060153.1127 | 1056605.6173 | 1054170.8389 | 1052642.1104 | 1055489.3092 | 1058578.2732 | 1061734.9567 | 1064787.7912 | 1067698.399 | 1069085.2023 | 1070742.8624 | 1070604.6738 | 1070826.6473 | 1071981.457 | 1073006.3148 | 1073946.1132 | 1074863.194 | 1075742.7453 | 1076620.0985 | 1077423.505 | 1078188.899 | 1078188.899
Peak_D | 2563161.1723 | 2593126.2202 | 2619272.2638 | 2637776.4934 | 2657784.3428 | 2674568.1236 | 2689566.3814 | 2702001.7745 | 2711005.696 | 2724687.2064 | 2738269.365 | 2743514.6214 | 2731125.0205 | 2715899.3025 | 2702719.9215 | 2690850.8699 | 2680189.3114 | 2670008.515 | 2661415.2669 | 2659925.898 | 2660172.7405 | 2660859.8247 | 2661700.143 | 2662460.9989 | 2663175.8868 | 2663863.4911 | 2664602.2025 | 2665235.516 | 2665843.0505 | 2665843.0505
Other_D | 8860765.6104 | 8739116.7633 | 8422731.8552 | 8183099.6895 | 8030808.2047 | 7888667.0808 | 7797587.5458 | 7700639.4722 | 7633483.5424 | 7597660.638 | 7576779.9474 | 7528916.2853 | 7513329.9169 | 7512326.1016 | 7530657.6861 | 7562102.4315 | 7607026.3056 | 7627024.8723 | 7658561.8459 | 7694413.6381 | 7735381.2438 | 7779408.881 | 7756016.1565 | 7733477.2975 | 7712023.4592 | 7691748.7109 | 7673010.9002 | 7654930.2979 | 7637880.4724 | 7637880.4724
Total | 1014175.6795 | 1031913.3969 | 1033882.604 | 1010065.5934 | 1022026.7454 | 1051914.5686 | 1072754.7208 | 1089899.3702 | 1101440.7226 | 1110174.6461 | 1120276.9742 | 1127136.298 | 1121482.1869 | 1120377.4233 | 1120332.9364 | 1125814.2146 | 1130939.3649 | 1133695.7731 | 1137017.836 | 1138609.3175 | 1143068.2524 | 1147078.447 | 1146487.747 | 1145865.0793 | 1145275.03 | 1144721.6183 | 1144262.9012 | 1143787.6219 | 1143354.6836 | 1143354.6836
Savings-Weighted LCOE ($/MW) Nominal Dollars - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 240991.3334 | 246329.4795 | 252022.775 | 261238.8708 | 264970.2659 | 269321.3268 | 273232.9972 | 279186.397 | 285122.2753 | 290522.4589 | 297789.9514 | 306616.1827 | 316827.644 | 325962.2339 | 334981.6839 | 343975.7633 | 352836.1014 | 362773.9793 | 372395.2625 | 382570.7743 | 393138.6866 | 403412.3013 | 413802.0892 | 424322.3634 | 434996.5864 | 445830.0609 | 456846.9151 | 468012.0413 | 479349.5433
Other_A | 164693.5586 | 151242.0486 | 139482.1617 | 135483.7028 | 133355.6441 | 165500.9827 | 193163.5661 | 216139.7764 | 232880.0825 | 248247.559 | 261980.7961 | 273433.912 | 285012.5701 | 298051.0501 | 310555.4431 | 329106.4154 | 346989.3426 | 364268.647 | 381932.5442 | 399122.8013 | 416174.6231 | 433781.5352 | 450787.3996 | 467831.4695 | 485028.1839 | 502333.5119 | 519785.7472 | 537327.8941 | 554997.8368
Peak_B | 229225.8004 | 253518.4756 | 270621.8878 | 256815.7906 | 258878.1383 | 274182.4469 | 293151.993 | 313286.073 | 330511.6635 | 350450.7086 | 371114.3802 | 391894.2743 | 411532.1914 | 426895.7498 | 441191.0056 | 455059.0024 | 469450.8797 | 486881.0255 | 506737.029 | 524319.2605 | 540935.4327 | 554745.3892 | 568296.1378 | 582058.0412 | 596060.3951 | 610305.6537 | 624821.426 | 639563.6843 | 654560.1889
Other_B | 143771.0267 | 194970.0666 | 244078.8219 | 250397.9621 | 304165.4039 | 378140.7815 | 445533.1298 | 512453.6822 | 576006.2021 | 639095.0821 | 698335.1337 | 753240.8783 | 803428.7612 | 850627.7226 | 893867.8557 | 935236.5668 | 965987.0374 | 997487.7087 | 1026439.451 | 1054900.4432 | 1080853.2031 | 1107705.5915 | 1140407.1597 | 1173368.9984 | 1206760.965 | 1240551.0239 | 1274831.7397 | 1309468.5052 | 1344552.9008
Peak_C | 734448.1535 | 751283.6121 | 769093.4325 | 795923.3403 | 812488.9959 | 829991.4152 | 848500.1453 | 867250.8634 | 886768.9772 | 912955.5464 | 942354.9326 | 970461.417 | 998742.1716 | 1027443.8315 | 1056522.2691 | 1085721.7241 | 1115210.5508 | 1144900.0023 | 1173271.6114 | 1202412.7484 | 1232054.4734 | 1262052.7622 | 1292518.2741 | 1323435.4438 | 1354863.2523 | 1386839.254 | 1419453.2174 | 1452569.8373 | 1486278.9957
Other_C | 1094335.1103 | 1110755.0226 | 1130583.6618 | 1158376.6761 | 1176670.6212 | 1195707.3031 | 1214774.3042 | 1233173.2952 | 1251914.0963 | 1273927.1518 | 1297682.414 | 1323012.3636 | 1354449.2712 | 1386939.839 | 1420288.2874 | 1454283.8934 | 1488882.6355 | 1522123.6498 | 1556497.9234 | 1588979.282 | 1622684.2158 | 1658547.2817 | 1694995.7117 | 1732106.3687 | 1769990.771 | 1808639.3612 | 1848126.8528 | 1888345.6067 | 1929370.5026
Peak_D | 2563161.1723 | 2647581.8708 | 2730436.7979 | 2807470.6192 | 2888169.6968 | 2967442.9255 | 3046749.3008 | 3125113.7126 | 3201373.6555 | 3285098.0114 | 3370804.6825 | 3448184.0771 | 3504697.074 | 3558347.1122 | 3615442.2761 | 3675155.8497 | 3737466.8068 | 3801458.5714 | 3868797.5255 | 3947831.7691 | 4031110.2906 | 4116826.6491 | 4204607.4341 | 4294131.3313 | 4385485.3042 | 4478736.5603 | 4574058.1005 | 4671223.2971 | 4770406.1421
Other_D | 8860765.6104 | 8922638.2153 | 8780201.0178 | 8709536.9945 | 8726944.6675 | 8752504.4188 | 8833131.8263 | 8906498.2256 | 9014231.563 | 9160339.5041 | 9327002.5409 | 9462712.1903 | 9641428.0481 | 9842582.8472 | 10073799.3414 | 10328296.2643 | 10607835.8697 | 10859073.6366 | 11132958.2746 | 11419961.2205 | 11721860.9376 | 12036138.6563 | 12251944.7868 | 12472883.9884 | 12699486.2462 | 12932087.6534 | 13171496.1545 | 13416408.6179 | 13667643.3037
Total | 1014175.6795 | 1053583.5782 | 1077761.6156 | 1075045.3968 | 1110619.3335 | 1167102.9866 | 1215219.9396 | 1260568.9231 | 1300669.828 | 1338514.2022 | 1379058.9482 | 1416640.3216 | 1439134.1697 | 1467908.5359 | 1498675.1048 | 1537633.595 | 1577070.8131 | 1614113.7714 | 1652839.3164 | 1689911.0007 | 1732156.0081 | 1774735.7735 | 1811072.1137 | 1848100.363 | 1885938.829 | 1924613.0969 | 1964242.5378 | 2004658.633 | 2045981.7408
Financial Escalation Factor | 2.1%
LCOE Floor |  | Applies cap to negative levelized costs (e.g. when NEIs push costs negative or efficient option is cheaper than baseline option)
LCOE Ceiling |  | Applies cap to very high levelized costs (e.g. when a measure is an unusually small saver resulting in a near-infinite ratio)

## End Use Summary
Island | Oahu
|  | Peak_A | Peak_B | Peak_C | Peak_D | Other_A | Other_B | Other_C | Other_D
|  | Peak |  |  |  | Other
| End Use | A | B | C | D | A | B | C | D
Cooling | Cooling | 551.656 | 90.2124 | 17.0424 | 140.7242 | 156.798 | 4.5463 | 3.6821 | 43.6694
Ventilation | Ventilation | 41.74 | 3.565 | 7.4768 | 9.7891 | 49.6604 | 1.2001 | 5.6271 | 16.1428
Water Heating | Water Heating | 13.3992 | 0.38116 | 0.76643 | 0.69186 | 258.3082 | 48.4352 | 0.46227 | 10.4307
Interior Lighting | Interior Lighting | 9.8268 | 66.8503 | 1.7029 | 7.7617 | 466.6668 | 38.3495 | 1.6032 | 7.731
Exterior Lighting | Exterior Lighting | 4.7099 | 8.8249 | 0.95927 | 2.3508 | 63.9863 | 17.8126 | 0.254 | 15.6296
Appliances | Res Appliances | 2.3846 | 1.599 | 0.17821 | 7.4543 | 73.1488 | 17.9065 | 10.3411 | 90.9488
Refrigeration | Com Refrigeration | 12.5778 | 0.19558 | 0.097281 | 5.9232 | 85.7842 | 3.4538 | 11.2685 | 26.1984
Electronics | Electronics | 34.1861 | 0.3505 | 0.043265 | 5.3569e-05 | 21.2234 | 1.3371 | 10.3238 | 1.2392
Office Equipment | Electronics | 1.1516 | 0.00079124 | 0 | 0.52143 | 34.6841 | 0.25713 | 1.4566 | 2.7311
Food Preparation | Food Preparation | 1.8029 | 0.26563 | 0 | 0.0024298 | 13.2962 | 0.39374 | 0.00042766 | 0.020085
Miscellaneous | Miscellaneous | 7.9404 | 0.542 | 0.05439 | 0.060731 | 107.8279 | 8.7072 | 4.6515 | 12.2402
| Total | 681.3754 | 172.7873 | 28.3209 | 175.2799 | 1331.3842 | 142.3991 | 49.6707 | 226.9813