## Demand Response
A - All Companies | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
| Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual
Demand Response ("DR")
DR Customer Load (MW) | 6.6 | 15.8 | 34.7 | 46.5 | 55.5 | 40 | 36.7 | 32.2 | 29.9 | 34.6 | 34.6 | 33.5 | 32.6 | 31.7 | 34.8 | 34.7 | 35.86 | 42.1558 | 44.4254
Number of Events | N/A | 12 | 11 | 8 | 64 | 55 | 75 | 130 | 165 | 154 | 126 | 71 | 88 | 106 | 85 | 57 | 158.3 | 182.659 | 503
Total Duration (hours:min) | N/A | 7:02 | 16:05 | 2:41 | 54:20 | 17:27 | 71:14 | 131:20 | 129:28 | 132:14 | 122:49 | 48:35 | 67:43 | 112:49 | 88:47 | 53:53 | 1900-01-10 08:14 | 1900-01-23 04:02 | 1900-02-23 04:41
B - All Companies | 2013 |  |  |  | 2014 |  |  |  | 2015 |  |  |  | 2016 |  |  |  | 2017 |  |  |  | 2018 |  |  |  | 2019 |  |  |  | 2020 |  |  |  | 2021 |  |  |  | 2022 |  |  |  | 2023
| Q1 2013 | Q2 2013 | Q3 2013 | Q4 2013 | Q1 2014 | Q2 2014 | Q3 2014 | Q4 2014 | Q1 2015 | Q2 2015 | Q3 2015 | Q4 2015 | Q1 2016 | Q2 2016 | Q3 2016 | Q4 2016 | Q1 2017 | Q2 2017 | Q3 2017 | Q4 2017 | Q1 2018 | Q2 2018 | Q3 2018 | Q4 2018 | Q1 2019 | Q2 2019 | Q3 2019 | Q4 2019 | Q1 2020 | Q2 2020 | Q3 2020 | Q4 2020 | Q1 2021 | Q2 2021 | Q3 2021 | Q4 2021 | Q1 2022 | Q2 2022 | Q3 2022 | Q4 2022 | Q1 2023 | Q2 2023 | Q3 2023 | Q4 2023
Demand Response ("DR")
DR Customer Load (MW) | 29.9 | 30.1 | 30.1 | 30.1 | 34.6 | 34.6 | 34.6 | 34.6 | 34.6 | 34.6 | 34.6 | 34.6 | 33.9 | 33.9 | 34 | 33.5 | 33.5 | 33.5 | 32.6 | 32.6 | 32.5 | 31.9 | 31.8 | 31.7 | 34.5 | 35.2 | 34.2 | 34.8 | 35 | 35 | 35 | 34.7 | 35.9291 | 36.1 | 35.4 | 35.86 | 36.21 | 36.471 | 39.254 | 42.1558 | 51.4118 | 39.65 | 40.3543 | 44.4254
Number of Events | 27 | 39 | 42 | 57 | 47 | 34 | 46 | 27 | 57 | 9 | 52 | 8 | 16 | 9 | 21 | 25 | 24 | 24 | 22 | 18 | 38 | 25 | 37 | 13 | 10 | 25 | 25 | 25 | 5 | 16 | 5 | 31 | 38 | 45 | 47 | 28.3 | 44.3 | 23.176 | 39.413 | 75.77 | 133 | 140 | 121 | 109
Total Duration (hours:min) | 18:50 | 27.11 | 31:55 | 51:32 | 37:35 | 26:02 | 43:52 | 24:45 | 56:34 | 6:22 | 54:38 | 5:15 | 10:48 | 2:19 | 16:15 | 19:13 | 14:30 | 23:26 | 18:24 | 11:23 | 35:39 | 31:32 | 34:50 | 10:48 | 7:21 | 27:07 | 26:32 | 1899-12-31 03:48 | 0.13333 | 0.475 | 0.086111 | 1899-12-31 13:13 | 1900-01-01 07:39 | 1900-01-02 20:06 | 1900-01-02 01:00 | 1900-01-01 03:29 | 1900-01-01 16:05 | 1900-01-03 06:30 | 1900-01-06 23:00 | 1900-01-08 06:27 | 1900-01-11 03:30 | 1900-01-12 16:09 | 1900-01-14 16:48 | 1900-01-12 16:14
C - HECO | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
| Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual
Demand Response
DR Customer Load (MW) | 6.6 | 15.8 | 34.7 | 46.5 | 55.5 | 40 | 36.7 | 32.2 | 29.7 | 34.4 | 34.4 | 33.3 | 32.4 | 31.7 | 29.9 | 30.1 | 30.65 | 36.51 | 38.0614
Residential Direct Load Control ("RDLC") | 4.4 | 10.9 | 18.1 | 23.6 | 27.3 | 17.5 | 17.1 | 15.2 | 14.8 | 14.7 | 14.7 | 14.8 | 14.2 | 14.1 | 13.4 | 13.6 | 13.6 | 13.6 | 12.2
Commercial & Industrial Direct Load Control ("CIDLC") | 2.2 | 4.9 | 16.6 | 22.9 | 28.2 | 22.5 | 19.6 | 16.6 | 12.8 | 12.7 | 12.7 | 11.8 | 11.8 | 11.7 | 11.7 | 11.7 | 11.1 | 10.8 | 9.4
Fast DR | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.4 | 2.1 | 7 | 7 | 6.7 | 6.4 | 5.9 | 4.8 | 4.5 | 4.2 | 4.03 | 4.04
FFR | [16 empty] | 0.72 | 3.44 | 4.9629
Capacity Build | [16 empty] | 0.31 | 1.53 | 2.6083
Capacity Reduction | [16 empty] | 0.72 | 3.11 | 4.8502
Number of Events | N/A | 12 | 11 | 8 | 64 | 55 | 75 | 130 | 136 | 123 | 107 | 60 | 70 | 106 | 57 | 56 | 158 | 164 | 246
RDLC | N/A | 11 | 7 | 6 | 32 | 51 | 68 | 123 | 77 | 79 | 68 | 42 | 36 | 51 | 28 | 26 | 36 | 38 | 42
CIDLC | N/A | 1 | 4 | 2 | 32 | 4 | 7 | 7 | 5 | 13 | 20 | 7 | 15 | 27 | 15 | 14 | 32 | 32 | 35
Fast DR | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 54 | 31 | 19 | 11 | 19 | 28 | 14 | 16 | 32 | 30 | 25
FFR | [16 empty] | 17 | 23 | 2
Capacity Build | [16 empty] | 17 | 17 | 67
Capacity Reduction | [16 empty] | 24 | 24 | 75
Total Duration (hours:min) | N/A | 7:02 | 16:05 | 2:41 | 54:20 | 17:27 | 71:14 | 131:20 | 109:58 | 102:44 | 104:34 | 37:35 | 48:31 | 93:50 | 1900-01-01 04:17 | 1900-01-01 04:53 | 1900-01-09 18:14 | 1900-01-09 21:40 | 1900-01-25 06:41
RDLC | N/A | 6:32 | 5:29 | 2:02 | 27:10 | 17:15 | 68:11 | 128:16 | 75:30 | 63:15 | 55:47 | 24:34 | 21:13 | 29:32 | 0.66111 | 0.52569 | 1900-01-01 00:35 | 1899-12-31 22:40 | 1899-12-31 10:10
CIDLC | N/A | 0:30 | 10:36 | 0:39 | 27:10 | 0:12 | 3:03 | 3:04 | 1:13 | 9:59 | 30:32 | 2:01 | 8:06 | 36:20 | 0.93403 | 1899-12-31 00:16 | 1900-01-02 07:29 | 1900-01-02 14:40 | 1900-01-03 21:07
Fast DR | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0:00 | 33:15 | 29:30 | 18:15 | 11:00 | 19:12 | 27:58 | 0.58333 | 0.66667 | 1899-12-31 08:00 | 1899-12-31 06:00 | 1899-12-31 01:00
FFR | [16 empty] | 0.069444 | 0.076389 | 0.1
Capacity Build | [16 empty] | 1900-01-01 20:00 | 1900-01-01 20:00 | 1900-01-10 04:00
Capacity Reduction | [16 empty] | 1899-12-31 04:30 | 1899-12-31 04:30 | 1900-01-06 16:00
D - HECO | 2013 |  |  |  | 2014 |  |  |  | 2015 |  |  |  | 2016 |  |  |  | 2017 |  |  |  | 2018 |  |  |  | 2019 |  |  |  | 2020 |  |  |  | 2021 |  |  |  | 2022 |  |  |  | 2023
| Q1 2013 | Q2 2013 | Q3 2013 | Q4 2013 | Q1 2014 | Q2 2014 | Q3 2014 | Q4 2014 | Q1 2015 | Q2 2015 | Q3 2015 | Q4 2015 | Q1 2016 | Q2 2016 | Q3 2016 | Q4 2016 | Q1 2017 | Q2 2017 | Q3 2017 | Q4 2017 | Q1 2018 | Q2 2018 | Q3 2018 | Q4 2018 | Q1 2019 | Q2 2019 | Q3 2019 | Q4 2019 | Q1 2020 | Q2 2020 | Q3 2020 | Q4 2020 | Q1 2021 | Q2 2021 | Q3 2021 | Q4 2021 | Q1 2022 | Q2 2022 | Q3 2022 | Q4 2022 | Q1 2023 | Q2 2023 | Q3 2023 | Q4 2023
Demand Response
DR Customer Load (MW) | 29.9 | 29.9 | 29.9 | 29.9 | 34.4 | 34.4 | 34.4 | 34.4 | 34.4 | 34.4 | 34.4 | 34.4 | 33.7 | 33.7 | 33.8 | 33.3 | 33.3 | 33.3 | 32.4 | 32.4 | 32.3 | 31.7 | 31.7 | 31.7 | 31.7 | 31.5 | 29.9 | 29.9 | 30.1 | 30.1 | 30.1 | 29.8 | 31.0291 | 31.2 | 30.5 | 30.65 | 31 | 31.594 | 33.85 | 36.51 | 32.822 | 33.57 | 34.39 | 38.0614
Residential Direct Load Control ("RDLC") | 14.8 | 14.8 | 14.8 | 14.8 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.8 | 14.8 | 14.8 | 14.8 | 14.2 | 14.2 | 14.1 | 14.1 | 14.1 | 14.1 | 14.1 | 13.9 | 13.4 | 13.4 | 13.6 | 13.6 | 13.6 | 13.6 | 13.6 | 13.6 | 13.6 | 13.6 | 13.6 | 13.6 | 13.6 | 13.6 | 12.2 | 12.2 | 12.2 | 12.2
Commercial & Industrial Direct Load Control ("CIDLC") | 12.8 | 12.8 | 12.8 | 12.8 | 12.7 | 12.7 | 12.7 | 12.7 | 12.7 | 12.7 | 12.7 | 12.7 | 12.1 | 12.1 | 12.1 | 11.8 | 11.8 | 11.8 | 11.8 | 11.8 | 11.8 | 11.7 | 11.7 | 11.7 | 11.7 | 11.7 | 11.7 | 11.7 | 11.7 | 11.7 | 11.7 | 11.7 | 11.7 | 11.7 | 11.1 | 11.1 | 11.1 | 10.8 | 10.8 | 10.8 | 9.4 | 9.4 | 9.4 | 9.4
Fast DR | 2.1 | 2.1 | 2.1 | 2.1 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 6.9 | 6.9 | 6.9 | 6.7 | 6.7 | 6.7 | 6.4 | 6.4 | 6.4 | 5.9 | 5.9 | 5.9 | 5.9 | 5.9 | 4.8 | 4.8 | 4.8 | 4.8 | 4.8 | 4.5 | 4.5 | 4.5 | 4.3 | 4.2 | 4.5 | 4.5 | 4.5 | 4.03 | 4.038 | 4 | 4 | 4.04
FFR | [32 empty] | 0.50649 | 0.58 | 0.62 | 0.72 | 0.8 | 1.143 | 2.1 | 3.44 | 2.9197 | 3.22 | 3.53 | 4.9629
Capacity Build | [32 empty] | 0.21609 | 0.25 | 0.26 | 0.31 | 0.31 | 0.479 | 0.93 | 1.53 | 1.397 | 1.57 | 1.71 | 2.6083
Capacity Reduction | [32 empty] | 0.50653 | 0.57 | 0.62 | 0.72 | 0.69 | 1.072 | 1.92 | 3.11 | 2.8674 | 3.18 | 3.55 | 4.8502
Number of Events | 27 | 31 | 32 | 46 | 36 | 27 | 37 | 23 | 48 | 9 | 42 | 8 | 15 | 8 | 17 | 20 | 21 | 19 | 16 | 14 | 38 | 25 | 30 | 13 | 7 | 13 | 16 | 21 | 4 | 16 | 5 | 31 | 38 | 45 | 47 | 28 | 44 | 23 | 39 | 75 | 72 | 51 | 55 | 68
RDLC | 21 | 20 | 12 | 24 | 22 | 18 | 21 | 18 | 28 | 9 | 24 | 7 | 12 | 4 | 12 | 14 | 14 | 10 | 6 | 6 | 20 | 10 | 13 | 8 | 4 | 8 | 7 | 9 | 2 | 8 | 2 | 14 | 15 | 2 | 12 | 7 | 17 | 1 | 3 | 10 | 13 | 9 | 1 | 19
CIDLC | 2 | 2 | 0 | 1 | 3 | 2 | 7 | 1 | 11 | 0 | 8 | 1 | 2 | 3 | 1 | 1 | 4 | 4 | 3 | 4 | 9 | 6 | 10 | 2 | 1 | 3 | 4 | 7 | 0 | 5 | 1 | 8 | 11 | 2 | 10 | 9 | 11 | 1 | 3 | 6 | 7 | 9 | 1 | 18
Fast DR | 4 | 9 | 20 | 21 | 11 | 7 | 9 | 4 | 9 | 0 | 10 | 0 | 1 | 1 | 4 | 5 | 3 | 5 | 7 | 4 | 9 | 9 | 7 | 3 | 2 | 2 | 5 | 5 | 2 | 3 | 2 | 9 | 12 | 4 | 10 | 6 | 10 | 3 | 5 | 7 | 6 | 3 | 3 | 13
FFR | [32 empty] | 0 | 4 | 7 | 6 | 6 | 0 | 0 | 7 | 0 | 0 | 2 | 0
Capacity Build | [32 empty] | 0 | 14 | 3 | 0 | 0 | 10 | 13 | 19 | 21 | 15 | 24 | 7
Capacity Reduction | [32 empty] | 0 | 19 | 5 | 0 | 0 | 8 | 15 | 26 | 25 | 15 | 24 | 11
Total Duration (hours:min) | 18:50 | 22:11 | 24:25 | 44:32 | 28:05 | 19:02 | 34:52 | 20:45 | 48:19 | 6:22 | 44:38 | 5:15 | 9:48 | 1:19 | 12:15 | 14:13 | 11:30 | 18:14 | 11:24 | 7:23 | 35:39 | 22:33 | 27:50 | 7:48 | 4:21 | 12:07 | 12:31 | 23:18 | 2:12 | 11:24 | 2:04 | 37:13 | 1900-01-01 07:39 | 1900-01-02 20:06 | 1900-01-02 01:00 | 1899-12-31 13:29 | 1900-01-01 11:05 | 1900-01-01 07:00 | 1900-01-03 07:30 | 1900-01-05 03:27 | 1900-01-05 22:30 | 1900-01-03 18:09 | 1900-01-06 09:48 | 1900-01-06 04:14
RDLC | 16:26 | 16:22 | 12:10 | 30:32 | 17:55 | 11:40 | 18:25 | 15:15 | 22:58 | 6:22 | 21:17 | 5:10 | 7:59 | 0:10 | 8:12 | 8:13 | 8:14 | 7:30 | 3:17 | 2:12 | 12:14 | 5:18 | 9:12 | 2:48 | 2:19 | 4:07 | 3:16 | 6:10 | 0:12 | 0.13403 | 0.0020833 | 0.38125 | 0.54514 | 0.083333 | 0.5 | 0.89583 | 0.46528 | 0.041667 | 0.125 | 0.14722 | 0.24792 | 0.29375 | 0.090278 | 0.79167
CIDLC | 0:09 | 0:34 | 0:00 | 0:30 | 0:40 | 0:22 | 7:27 | 1:30 | 17:06 | 0:00 | 13:21 | 0:05 | 0:49 | 0:09 | 0:03 | 1:00 | 0:16 | 5:32 | 1:07 | 1:11 | 14:26 | 8:16 | 11:38 | 2:00 | 0:02 | 6:00 | 4:15 | 12:08 | 0:00 | 0.21597 | 0.00069444 | 0.79444 | 1899-12-31 06:34 | 0.29167 | 1899-12-31 08:55 | 0.375 | 1899-12-31 13:45 | 0.125 | 0.4375 | 0.18264 | 0.85625 | 1899-12-31 04:06 | 0.0097222 | 1900-01-01 20:14
Fast DR | 2:15 | 5:15 | 12:15 | 13:30 | 9:30 | 7:00 | 9:00 | 4:00 | 8:15 | 0:00 | 10:00 | 0:00 | 1:00 | 1:00 | 4:00 | 5:00 | 3:00 | 5:12 | 7:00 | 4:00 | 8:59 | 8:59 | 7:00 | 3:00 | 2:00 | 2:00 | 5:00 | 5:00 | 2:00 | 0.125 | 0.083333 | 0.375 | 0.5 | 0.16667 | 0.41667 | 0.25 | 0.41667 | 0.125 | 0.20833 | 0.29167 | 0.25 | 0.125 | 0.125 | 0.54167
FFR | [32 empty] | 0 | 0.0041667 | 0.024306 | 0.040972 | 0.0069444 | 0 | 0 | 0.022222 | 0 | 0 | 0.1 | 0
Capacity Build | [32 empty] | 0 | 1900-01-01 08:00 | 0.5 | 0 | 0 | 1899-12-31 16:00 | 1900-01-01 04:00 | 1900-01-02 04:00 | 1900-01-02 12:00 | 1900-01-01 12:00 | 1900-01-03 | 1899-12-31 04:00
Capacity Reduction | [32 empty] | 0 | 0.95833 | 0.22917 | 0 | 0 | 0.33333 | 1899-12-31 09:00 | 1900-01-01 08:00 | 1900-01-01 02:00 | 0.66667 | 1900-01-02 02:00 | 1899-12-31 20:00
E - MECO | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
| Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual
Demand Response
DR Customer Load (MW) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 2.8 | 4.9 | 4.9 | 4.9 | 5.4 | 5.0398
Fast DR | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 2.8 | 4.9 | 4.9 | 4.9 | 3.79 | 2.57
FFR | [17 empty] | 0.48 | 1.0874
Capacity Build | [17 empty] | 0.36 | 0.457
Capacity Reduction | [17 empty] | 0.77 | 0.92545
Number of Events | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 29 | 31 | 19 | 11 | 18 | 28 | 28 | 1 | 1 | 64 | 121
Fast DR | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 29 | 31 | 19 | 11 | 18 | 28 | 28 | 1 | 1 | 20 | 9
FFR | [17 empty] | 0 | 0
Capacity Build | [17 empty] | 18 | 53
Capacity Reduction | [17 empty] | 26 | 59
Total Duration (hours:min) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 19:30 | 29:30 | 18:15 | 11:00 | 19:12 | 27:58 | 36:30 | 1:00 | 1:00 | 1900-01-13 09:50 | 1900-01-12 14:00
Fast DR | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 19:30 | 29:30 | 18:15 | 11:00 | 19:12 | 27:58 | 36:30 | 1:00 | 1:00 | 0.79167 | 0.375
FFR | [17 empty] | 0 | 0
Capacity Build | [17 empty] | 1900-01-07 04:00 | 1900-01-07 18:00
Capacity Reduction | [17 empty] | 1900-01-04 10:50 | 1900-01-03 11:00
| 2013 |  |  |  | 2014 |  |  |  | 2015 |  |  |  | 2016 |  |  |  | 2017 |  |  |  | 2018 |  |  |  | 2019 |  |  |  | 2020 |  |  |  | 2021 |  |  |  | 2022 |  |  |  | 2023
F - MECO | Q1 2013 | Q2 2013 | Q3 2013 | Q4 2013 | Q1 2014 | Q2 2014 | Q3 2014 | Q4 2014 | Q1 2015 | Q2 2015 | Q3 2015 | Q4 2015 | Q1 2016 | Q2 2016 | Q3 2016 | Q4 2016 | Q1 2017 | Q2 2017 | Q3 2017 | Q4 2017 | Q1 2018 | Q2 2018 | Q3 2018 | Q4 2018 | Q1 2019 | Q2 2019 | Q3 2019 | Q4 2019 | Q1 2020 | Q2 2020 | Q3 2020 | Q4 2020 | Q1 2021 | Q2 2021 | Q3 2021 | Q4 2021 | Q1 2022 | Q2 2022 | Q3 2022 | Q4 2022 | Q1 2023 | Q2 2023 | Q3 2023 | Q4 2023
Demand Response
DR Customer Load (MW) | 0 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 2.8 | 2.8 | 3.7 | 4.3 | 4.9 | 4.9 | 4.9 | 4.9 | 4.9 | 4.9 | 4.9 | 4.9 | 5.21 | 5.21 | 4.877 | 5.404 | 5.4 | 5.2568 | 5.06 | 4.96 | 5.0398
Fast DR | 0 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 2.8 | 3.7 | 4.3 | 4.9 | 4.9 | 4.9 | 4.9 | 4.9 | 4.9 | 4.9 | 4.9 | 4.9 | 4.9 | 4.6 | 4.6 | 3.79 | 3.66 | 2.57 | 2.57 | 2.57
FFR | [32 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0.197 | 0.48 | 0.54107 | 0.92 | 1.06 | 1.0874
Capacity Build | [32 empty] | 0 | 0 | 0 | 0.01 | 0.01 | 0.101 | 0.194 | 0.36 | 0.3605 | 0.53 | 0.43 | 0.457
Capacity Reduction | [32 empty] | 0 | 0 | 0 | 0.3 | 0.3 | 0.176 | 0.413 | 0.77 | 0.6952 | 1.04 | 0.9 | 0.92545
Number of Events | 0 | 8 | 10 | 11 | 11 | 7 | 9 | 4 | 9 | 0 | 10 | 0 | 1 | 1 | 4 | 5 | 3 | 5 | 7 | 3 | 0 | 9 | 7 | 3 | 3 | 12 | 9 | 4 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 5 | 24 | 52 | 0 | 48 | 46 | 25 | 2
Fast DR | 0 | 8 | 10 | 11 | 11 | 7 | 9 | 4 | 9 | 0 | 10 | 0 | 1 | 1 | 4 | 5 | 3 | 5 | 7 | 4 | 0 | 9 | 7 | 3 | 3 | 12 | 9 | 4 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 5 | 4 | 8 | 3 | 2 | 3 | 2 | 2
FFR | [32 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Build | [32 empty] | 0 | 0 | 0 | 11 | 0 | 11 | 20 | 18 | 22 | 21 | 10 | 0
Capacity Reduction | [32 empty] | 0 | 0 | 0 | 7 | 0 | 9 | 24 | 26 | 24 | 22 | 13 | 0
Total Duration (hours:min) | N/A | 5:00 | 7:30 | 7:00 | 9:30 | 7:00 | 9:00 | 4:00 | 8:15 | 0:00 | 10:00 | 0:00 | 1:00 | 1:00 | 4:00 | 5:00 | 3:00 | 5:12 | 7:00 | 4:00 | 0:00 | 8:59 | 7:00 | 3:00 | 3:00 | 15:00 | 14:00 | 4:30 | 1:00 | 0:00 | 0:00 | 0:00 | 0 | 0 | 0 | 0.58333 | 0.20833 | 1899-12-31 23:30 | 1900-01-02 15:30 | 1900-01-02 03:00 | 1900-01-02 16:00 | 1900-01-02 15:00 | 1899-12-31 18:00 | 0.083333
Fast DR | N/A | 5:00 | 7:30 | 7:00 | 9:30 | 7:00 | 9:00 | 4:00 | 8:15 | 0:00 | 10:00 | 0:00 | 1:00 | 1:00 | 4:00 | 5:00 | 3:00 | 5:12 | 7:00 | 4:00 | 0:00 | 8:59 | 7:00 | 3:00 | 3:00 | 15:00 | 14:00 | 4:30 | 1:00 | 0:00 | 0:00 | 0:00 | 0 | 0 | 0 | 0.125 | 0.20833 | 0.14583 | 0.3125 | 0.125 | 0.083333 | 0.125 | 0.083333 | 0.083333
FFR | [32 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Build | [32 empty] | 0 | 0 | 0 | 0.45833 | 0 | 1899-12-31 20:00 | 1900-01-02 08:00 | 1900-01-02 | 1900-01-02 14:00 | 1900-01-02 12:00 | 1899-12-31 16:00 | 0
Capacity Reduction | [32 empty] | 0 | 0 | 0 | 0.30556 | 0 | 0.375 | 1900-01-01 17:50 | 1900-01-01 08:00 | 1899-12-31 18:00 | 1899-12-31 09:00 | 1899-12-31 08:00 | 0
G - HELCO | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
| Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual
Demand Response
DR Customer Load (MW) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.24578 | 1.3242
FFR | [17 empty] | 0.13 | 0.61361
Capacity Build | [17 empty] | 0.00578 | 0.20701
Capacity Reduction | [17 empty] | 0.11 | 0.50357
Number of Events | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 136
FFR | [17 empty] | 0 | 0
Capacity Build | [17 empty] | 0 | 64
Capacity Reduction | [17 empty] | 0 | 72
Total Duration (hours:min) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 1900-01-18 19:00
FFR | [17 empty] | 0 | 0
Capacity Build | [17 empty] | 0 | 1900-01-09 13:00
Capacity Reduction | [17 empty] | 0 | 1900-01-08 06:00
| 2013 |  |  |  | 2014 |  |  |  | 2015 |  |  |  | 2016 |  |  |  | 2017 |  |  |  | 2018 |  |  |  | 2019 |  |  |  | 2020 |  |  |  | 2021 |  |  |  | 2022 |  |  |  | 2023
H - HELCO | Q1 2013 | Q2 2013 | Q3 2013 | Q4 2013 | Q1 2014 | Q2 2014 | Q3 2014 | Q4 2014 | Q1 2015 | Q2 2015 | Q3 2015 | Q4 2015 | Q1 2016 | Q2 2016 | Q3 2016 | Q4 2016 | Q1 2017 | Q2 2017 | Q3 2017 | Q4 2017 | Q1 2018 | Q2 2018 | Q3 2018 | Q4 2018 | Q1 2019 | Q2 2019 | Q3 2019 | Q4 2019 | Q1 2020 | Q2 2020 | Q3 2020 | Q4 2020 | Q1 2021 | Q2 2021 | Q3 2021 | Q4 2021 | Q1 2022 | Q2 2022 | Q3 2022 | Q4 2022 | Q1 2023 | Q2 2023 | Q3 2023 | Q4 2023
Demand Response
DR Customer Load (MW) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.036285 | 0.24578 | 13.333 | 1.02 | 1.0043 | 1.3242
FFR | [38 empty] | 0.019 | 0.13 | 0.15618 | 0.45 | 0.47961 | 0.61361
Capacity Build | [38 empty] | 0.000885 | 0.00578 | 0.05046 | 0.12 | 0.13333 | 0.20701
Capacity Reduction | [38 empty] | 0.0164 | 0.11 | 0.12635 | 0.45 | 0.39135 | 0.50357
Number of Events | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 13 | 43 | 41 | 39
FFR | [38 empty] | 0 | 0 | 0 | 0 | 0 | 0
Capacity Build | [38 empty] | 0 | 0 | 6 | 20 | 23 | 15
Capacity Reduction | [38 empty] | 0 | 0 | 7 | 23 | 18 | 24
Total Duration (hours:min) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 1899-12-31 13:00 | 1900-01-04 07:00 | 1900-01-05 13:00 | 1900-01-05 10:00
FFR | [38 empty] | 0 | 0 | 0 | 0 | 0 | 0
Capacity Build | [38 empty] | 0 | 0 | 1899-12-31 | 1900-01-02 08:00 | 1900-01-02 17:00 | 1900-01-01 12:00
Capacity Reduction | [38 empty] | 0 | 0 | 0.54167 | 1899-12-31 23:00 | 1900-01-01 20:00 | 1900-01-02 22:00
I | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
| Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual
Duration of Events
Hawaiian Electric | N/A | 7:02 | 16:05 | 2:41 | 54:20 | 17:27 | 71:14 | 131:20 | 129:28 | 132:14 | 122:49 | 48:35 | 67:43 | 121:48 | 88:47 | 53:53 | 1900-01-10 08:14 | 1900-01-23 04:02 | 1900-02-23 04:41
O‘ahu | N/A | 7:02 | 16:05 | 2:41 | 54:20 | 17:27 | 71:14 | 131:20 | 109:58 | 102:44 | 104:34 | 37:35 | 48:31 | 93:50 | 52:17 | 52:53 | 1900-01-09 18:14 | 1900-01-14 05:02 | 1900-01-25 06:41
Maui County | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 19:30 | 29:30 | 18:15 | 11:00 | 19:12 | 27:58 | 36:30 | 1:00 | 0.58333 | 1900-01-07 23:00 | 1900-01-08 03:00
Hawai‘i Island | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 1900-01-18 19:00
Duration of Events | 2013 |  |  |  | 2014 |  |  |  | 2015 |  |  |  | 2016 |  |  |  | 2017 |  |  |  | 2018 |  |  |  | 2019 |  |  |  | 2020 |  |  |  | 2021 |  |  |  | 2022 |  |  |  | 2023
J | Q1 2013 | Q2 2013 | Q3 2013 | Q4 2013 | Q1 2014 | Q2 2014 | Q3 2014 | Q4 2014 | Q1 2015 | Q2 2015 | Q3 2015 | Q4 2015 | Q1 2016 | Q2 2016 | Q3 2016 | Q4 2016 | Q1 2017 | Q2 2017 | Q3 2017 | Q4 2017 | Q1 2018 | Q2 2018 | Q3 2018 | Q4 2018 | Q1 2019 | Q2 2019 | Q3 2019 | Q4 2019 | Q1 2020 | Q2 2020 | Q3 2020 | Q4 2020 | Q1 2021 | Q2 2021 | Q3 2021 | Q4 2021 | Q1 2022 | Q2 2022 | Q3 2022 | Q4 2022 | Q1 2023 | Q2 2023 | Q3 2023 | Q4 2023
Company
Hawaiian Electric | 0.78472 | 1899-12-31 03:11 | 1899-12-31 07:55 | 1900-01-01 03:32 | 1899-12-31 13:35 | 1899-12-31 02:02 | 1899-12-31 19:52 | 1899-12-31 00:45 | 1900-01-01 08:34 | 0.26528 | 1900-01-01 06:38 | 0.21875 | 0.45 | 0.096528 | 0.67708 | 0.80069 | 0.60417 | 0.97639 | 0.76667 | 0.47431 | 1899-12-31 11:39 | 1899-12-31 07:32 | 1899-12-31 10:50 | 0.45 | 0.30625 | 1899-12-31 03:07 | 1899-12-31 02:31 | 1899-12-31 03:48 | 0.13333 | 0.475 | 0.086111 | 1899-12-31 13:13 | 1900-01-01 07:39 | 1900-01-02 20:06 | 1900-01-02 01:00 | 1900-01-01 03:29 | 1900-01-01 16:05 | 1900-01-03 06:30 | 1900-01-06 23:00 | 1900-01-08 06:27 | 1900-01-11 03:30 | 1900-01-12 16:09 | 1900-01-14 16:48 | 1900-01-12 16:14
O‘ahu | 0.78472 | 0.92431 | 1899-12-31 00:25 | 1899-12-31 20:32 | 1899-12-31 04:05 | 0.79306 | 1899-12-31 10:52 | 0.86458 | 1900-01-01 00:19 | 0.26528 | 1899-12-31 20:38 | 0.21875 | 0.40833 | 0.054861 | 0.51042 | 0.59236 | 0.47917 | 0.75972 | 0.475 | 0.30764 | 1899-12-31 11:39 | 0.93958 | 1899-12-31 03:50 | 0.325 | 0.18125 | 0.50486 | 0.52153 | 0.97083 | 0.091667 | 0.475 | 0.086111 | 1899-12-31 13:13 | 1900-01-01 07:39 | 1900-01-02 20:06 | 1900-01-02 01:00 | 1899-12-31 13:29 | 1900-01-01 11:05 | 1900-01-01 07:00 | 1900-01-03 07:30 | 1900-01-05 03:27 | 1900-01-05 22:30 | 1900-01-03 18:09 | 1900-01-06 09:48 | 1900-01-06 04:14
Maui County | N/A | 0.20833 | 0.3125 | 0.29167 | 0.39583 | 0.29167 | 0.375 | 0.16667 | 0.34375 | 0 | 0.41667 | 0:00 | 0.041667 | 0.041667 | 0.16667 | 0.20833 | 0.125 | 0.21667 | 0.29167 | 0.16667 | 0 | 0.37431 | 0.29167 | 0.125 | 0.125 | 0.625 | 0.58333 | 0.1875 | 0.041667 | 0 | 0 | 0 | 0 | 0 | 0 | 0.58333 | 0.20833 | 1899-12-31 23:30 | 1900-01-02 15:30 | 1900-01-02 03:00 | 1900-01-02 16:00 | 1900-01-02 15:00 | 1899-12-31 18:00 | 0.083333
Hawai‘i Island | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 1899-12-31 13:00 | 1900-01-04 07:00 | 1900-01-05 13:00 | 1900-01-05 10:00
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Formulas:
Annual = SUM([Annual, row below]:S75)
Annual = SUM([Annual, row below]:T75)
Q4 2022 = SUM([Q4 2022, row below]:AP103)
Q1 2023 = SUM([Q1 2023, row below]:AQ240)
Q2 2023 = SUM([Q2 2023, row below]:AR240)
Q3 2023 = SUM([Q3 2023, row below]:AS240)
Q4 2023 = SUM([Q4 2023, row below]:AT240)
Q1 2021 = SUM([Q1 2021, row below]:AI103)
Q2 2021 = SUM([Q2 2021, row below]:AJ103)
Q3 2021 = SUM([Q3 2021, row below]:AK103)
Q3 2021 = AK239+[Q3 2021, row below]
Q4 2021 = SUM([Q4 2021, row below]:AL103)
Q1 2022 = SUM([Q1 2022, row below]:AM103)
Q2 2022 = SUM([Q2 2022, row below]:AN103)
Q3 2022 = SUM([Q3 2022, row below]:AO152)
Q3 2022 = AO239+[Q3 2022, row below]
Q1 2020 = AE239+[Q1 2020, row below]
Q1 2018 = SUM([Annual]:[Annual])
Q2 2018 = SUM([Annual]:[Annual])
Q3 2018 = SUM([Annual]:[Annual])